| **No** | **Name of Manufacturer** | **Address of the Manufacturer** | **Address of Pipe Manufacturing factory** | **Name & Address of Fitting Manufacturer** | **Scope (Dia. in mm)** |  **Brand Name** |
| --- | --- | --- | --- | --- | --- | --- |
| **Water** | **Sewer** |
| 10 | **M/s Thai Asia PE Pipe Co. Ltd.,** | **M/s Thai Asia PE Pipe Co.Ltd.,**67 Moo4,Suksawat Road T,Bangkru, A,Prapadaeng, Samutprakam, 10130,Thailand | **M/s Thai Asia PE Pipe Co.Ltd.,**555 Moo18, Pakchong, Pakchong, Nakornratchasima, 30130 Thailand  | **M/s Thai Asia PE Pipe Co.Ltd.,** 555 Moo 18, Pakchong, Pakchong, Nakornratchasima, 30130, Thailand  | **Blue colour****Pipes** PN 6 50-2000PN8 40-1200PN10 32-1200PN12.5 25-1200PN16 20-800PN20 16-450**Blue colour****Fittings** PN 6 50-1200PN8 40-1200PN10 32-1200PN12.5 25-1000PN16 20-800PN20 20-800 |  **Not** **Supply** | Brand name: **“TAP”****QMS – ISO 9001:2015** issued by SGS for Pipes & Fittings factory-upto 22nd August 2024.**Product Conformity** **Pipes**- EN 12201-2:2011 & ISO 4427-2:2019 issued by TISI. valid up to 22nd June 2024 **Fittings**-ISO 4427-3:2019 issued by TISI; valid up to 07th November 2024**Water Suitability Certificate** issued by WRAS  |
|  | **Local Agent -**M/s. Hovael Holding (Pvt) Ltd., No.245/47, Old Avissawela Road, Orugodawatte.Tele Phone: 0112531636/39, 0112533044 Fax :011 2531640 |