| **No** | **Name of Manufacturer** | **Address of the Manufacturer** | **Address of Pipe Manufacturing factory** | **Name & Address of Fitting Manufacturer** | **Scope (Dia. in mm)** | | **Brand Name** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Water** | **Sewer** |
| 10 | **M/s Thai Asia PE Pipe Co. Ltd.,** | **M/s Thai Asia PE Pipe Co.Ltd.,**  67 Moo4,  Suksawat Road T,  Bangkru, A,  Prapadaeng, Samutprakam, 10130,  Thailand | **M/s Thai Asia PE Pipe Co.Ltd.,**  555 Moo18, Pakchong, Pakchong, Nakornratchasima, 30130  Thailand | **M/s Thai Asia PE Pipe Co.Ltd.,**  555 Moo 18, Pakchong, Pakchong, Nakornratchasima,  30130, Thailand | **Blue colour**  **Pipes**  PN 6 50-2000  PN8 40-1200  PN10 32-1200  PN12.5 25-1200  PN16 20-800  PN20 16-450  **Blue colour**  **Fittings**  PN 6 50-1200  PN8 40-1200  PN10 32-1200  PN12.5 25-1000  PN16 20-800  PN20 20-800 | **Not**  **Supply** | Brand name: **“TAP”**  **QMS – ISO 9001:2015**  issued by SGS for Pipes & Fittings factory-upto 22nd August 2024.  **Product Conformity**  **Pipes**- EN 12201-2:2011 & ISO 4427-2:2019 issued by TISI. valid up to 22nd June 2024  **Fittings**-ISO 4427-3:2019 issued by TISI; valid up to 07th November 2024  **Water Suitability Certificate**  issued by WRAS |
|  | **Local Agent -**M/s. Hovael Holding (Pvt) Ltd., No.245/47, Old Avissawela Road, Orugodawatte.Tele Phone: 0112531636/39, 0112533044 Fax :011 2531640 | | | | | | |