**Annual Auditing of**

**Pre-qualification requirement of DI Pipes and Fittings**

**Current Details Previous Details**

**Pipe Manufacturer :**  **Rizhoa Zhufu Industry Co.Ltd., .** Zhufu Industrial

Park, lanshan District, Rizhao City, Shandong Province,

 Beikuo Town Highway 342 to the North, China.

**Fitting Manufacturer : Rizhoa Zhufu Industry Co.Ltd.,** Zhufu Industrial Park,

Beikou Township Lansha Rizhao, Shandong,

 276809,People’s Republic of China.

**Local Agent** : **Megatech (Pvt) Ltd**., 66/4, Havelock Road, Colombo 05.

**Rubber Ring :** **Andhra Polymers Pvt. Ltd**. , Plot No. 2, Phase V, IDA

 Jeedimetla, Hyderabad- 500 055, a, India.

**Restrained Pipes : -**

**Rizhao Zhufu Industry Co., Ltd.** Zhufu Industrial Park, lanshan District, Rizhao City, Shandong Province, Beikuo Town Highway 342 to the North, China.

**Rizhao Zhufu Industry Co., Ltd**. Zhufu Industrial Park,

Beikuo Township Lanshan Rizhao City, Shandong Province, 276809, China.

**Megatech (Pvt) Ltd**, 66/4, Havelock Road, Colombo 05

**Andhra Polymers Private Ltd.,** Plot No. 2, Phase V, IDA Jeedimetla, Hyderabad, 500055, India.

**Rizhao Zhufu Industry Co., Ltd.**

Zhufu Industrial Park, Beikuo Township Lanshan Rizhao City, Shandong Province, 276809, China

| **No** | **Description of the Requirement** | **Yes/No** | **Validity period** | **Details/Description** | **Observation** | **Remarks** |
| --- | --- | --- | --- | --- | --- | --- |
| **2** | **Technical details required**  |  |  |  |  |  |
| (a)  | Valid ISO 9001:2015 Quality Management System Certificate in operation from an accredited agency which is a member of International Accreditation Forum (IAF).*The certifications should indicate the applicability for pipes and fittings, factory locations, product range and validity. The certificates shall be for the particular factory and for the particular range of products.* | Pipe & Fittings | 2019-08-14 - 2022-08-13 | Name: **Rizhoa Zhufu Industry Co.Ltd. from Sea Stone**Certificate No:10419Q21235R0M  |  | **Accepted** |
| (b)  | Valid product conformity certificate conforming to BSEN 545:2010 / ISO 2531:2009 / BSEN 598:2007+A1:2009 / ISO 7186:2011 for **DI pipes & fittings**; issued by an Accredited Agency which is a member of International Accreditation Forum (IAF) | Pipe & Fittings WaterBS EN 545:2010 and ISO 2531:2009 | 01.04.2019- 31.03.2022 | Name: **Rizhoa Zhufu Industry Co.Ltd**Certificate No:FA-INS/HN-19/044Diameter range: DN 80,100,125,150,200,250,300,350, 400,450,500,600,700,800,900,,1000,1200BV Certificate Accepted by Bureau VeritasBut Expired. | **Megatech response:** Request for another 4 months’ time to submit the certificate due to covid | Please submit valid certificate on or before 31st October 2022 to remain further in Pre-Qualified Manufacturers’ list. |
| Pipe & Fittings SewerBS EN 598:2007 | 01.01.2020 – 31.12.2022 | Name: **Rizhoa Zhufu Industry Co.Ltd**Certificate No:FA-INS/HN-19/044-01Diameter range: DN 80,100,125,150,200,250,300,350,400,450,500,600,700,800,900,1000,1200  |  | **Accepted** |
| (c) | Valid **ISO 9001:2015** Quality Management System Certificate for **Rubber rings** and **Nuts & Bolts**, which shall be manufactured to conform to the **specifications**  |  | Valid until 30.08.2023 | Name: **Andhra Polymers Pvt. Ltd**. , from TUV NORDCertificate No:QM 06 0025 |  | **Accepted** |
| (d) | Valid product conformity certificate conforming to BSEN 681-1:1996 / ISO 4633:2015 for **Rubber rings**; issued by an Accredited Agency which is a member of International Accreditation Forum (IAF) |  | Latest issue 16.02.2022 to 15.02.202 | Name: **Andhra Polymers Pvt. Ltd**. , from KitemarkCertificate No: KM 758244 |  | **Accepted** |
| (e) | For self-anchoring (restrained) joints, a Type Test Certificate issued by an Accredited Inspection Agency which is a member of International Accredited Forum (IAF) and evidence of previous supplies shall be provided. (ISO 10804:2010) |  |  | Not Submitted | **Megatech response:**Due to high cost involved with testing etc., and due to limited inquiries for the Restrained DI pipes & fittings it is not economical to maintain a certificate by their manufacturer through they have the experience in supplying same restrained type DI pipes & fittings to Kaluganga and KG 2 & KG3. And they would be able to consider to conduct the Design and conduct the type tests if a considerable quantity of supply is awarded | If it is interested to Pre-Qualify for Restrained pipes, shall submit valid certificate or latest valid test report by indicating range of pipe diameter |