**Annual Auditing of**

**Pre-qualification requirement of DI Pipes and Fittings**

 **Current Details Previous Details**

**Pipe Manufacturer : Shin Nan Casting Factory Co.,** Ltd.

|  |
| --- |
|  (Sun Shine Plant) 90, Pei Shu Jou, Ming Ho Li, Shan Shang  Dist., Tainan 743, Taiwan, R.O.C.  |

**Fitting Manufacturer : Shin Nan Casting Factory Co., Ltd**. , 72, Jou Wei Street,

Yen Jou Li, Yung Kang Dist., Tainan City 710, Taiwan.

**Local Agent : Lanka Development Network (Pvt) Ltd**., No. 60,

 S de S Jayasinghe, Mawatha, Kohuwela,

**Rubber Ring :** **Andhra Polymers Pvt. Ltd**. , Plot No. 2, Phase V, IDA

 Jeedimetla, Hyderabad- 500 055, Telangana, India.

**Restrained Pipes : Shin Nan Casting Factory Co.,** Ltd.

90, Pei Shu Jou, Ming Ho, Shan Shang District, Tainan City 734, Taiwan, R.O.C.

**Shin Nan Casting Factory Co., Ltd**., (Shan Shine Plant)

90, Pei Shu Jou, Ming Ho Li, Shan Shang District, Tainan 743, Taiwan, R.O.C.

**Shin Nan Casting Factory Co., Ltd**., 72, Jou Wei Street, Yen Jou Li, Yung Kang District, Tainan City, 710, Taiwan, R.O.C.

**Lanka Development Network (Pvt) Ltd**., No. 60, S de S Jayasinghe, Mawatha, Kohuwela,

**Andhra Polymers Private Ltd**, Plot No. 2, Phase V, IDA Jeedimetla, Hyderabad 500 055, India

**Shin Nan Casting Factory Co., Ltd**., (Shan Shine Plant)

90, Pei Shu Jou, Ming Ho Li, Shan Shang District, Tainan 743, Taiwan, R.O.C.

| **No** | **Description of the Requirement** | **Yes/No** | **Validity period** | **Details/****Description** | **Remarks** |
| --- | --- | --- | --- | --- | --- |
| **1** | **General details required**  |  |  |  |  |
| (a) | **Local Accredited Agency Agreement** between Manufacturer and Local Accredited Agent attested by any court Judge, Magistrate and certified by the Ambassador or High Commissioner or other diplomatic representative of Sri Lanka in the manufacturer’s country. (*and certified by the Ambassador or High Commissioner or other diplomatic representative of the manufacturer’s country in Sri Lanka)* |  | Made on 28.06.2022 valid for 02 years. |  | Submitted. Should certify from the Manufacturer as a valid Local Accredited Agency Agreement. |