**Annual Auditing of**

**Pre-qualification requirement of DI Pipes and Fittings**

| **No** | **Description of the Requirement** | **Yes/No** | **Validity period** | **Details/****Description** | **Remarks** |
| --- | --- | --- | --- | --- | --- |
| **2** | **Technical details required**  |  |  |  |  |
| (a)  | Valid ISO 9001:2015 Quality Management System Certificate in operation from an accredited agency which is a member of International Accreditation Forum (IAF).*The certifications should indicate the applicability for pipes and fittings, factory locations, product range and validity. The certificates shall be for the particular factory and for the particular range of products.* | Pipes & Fittings | Valid until: 17.05.2021 to 16.05.2024 | Name: Suns Pipelines Company LimitedCertificate No: CN-00221Q22822E0MIQNet | **Accepted** |
| (b)  | Valid product conformity certificate conforming to BSEN 545:2010 / ISO 2531:2009 / BSEN 598:2007+A1:2009 / ISO 7186:2011 for **DI pipes & fittings**; issued by an Accredited Agency which is a member of International Accreditation Forum (IAF) | Pipe:WATERSEWER | Valid until 15.05.2025ISO 2531:2009Valid until 15.05.2025EN 545:2010EN 598:2007+A1:2009 | Name: **Suns Pipelines Company Limited**Certificate No:KM645976Diameter range: DN – 80-1000BSI KITEMARKCertificate No:KM 645979Diameter range: DN – 80-1000BSI KITEMARKCertificate No: KM 64980Diameter range: DN – 80-1000BSI KITEMARK | **Accepted****Accepted****Accepted** |
| (c) | Valid **ISO 9001:2015** Quality Management System Certificate for **Rubber rings** and **Nuts & Bolts**, which shall be manufactured to conform to the **specifications**  |  | Valid until 17.12.2022 | Name: **Xingtai Rubber Factory**Certificate No:02619Q31139R1MDiameter range: -BTCC-QMS | **Accepted** |
| (C) | Valid **ISO 9001:2015** Quality Management System Certificate for **Rubber rings** and **Nuts & Bolts**, which shall be manufactured to conform to the **specifications** |  | 18.12.2019 – 17.12.2022 | Name: **Xingtai Rubber Factory**Certificate No:02619Q31139R1M | **Accepted** |
| (d) | Valid product conformity certificate conforming to BSEN 681-1:1996 / ISO 4633:2015 for **Rubber rings**; issued by an Accredited Agency which is a member of International Accreditation Forum (IAF) |  | Valid until17.12.2023 | Name: **Xingtai Rubber Factory**Certificate No:FA-IPC/NR/IPCA-20/147Diameter range: BV | **Accepted** |
| (e) | For self-anchoring (restrained) joints, a Type Test Certificate issued by an Accredited Inspection Agency which is a member of International Accredited Forum (IAF) and evidence of previous supplies shall be provided (ISO 10804:2010). |  |  | Not Qualified | Not relevant |