**Annual Auditing of**

**Pre-qualification requirement of DI Pipes and Fittings**

| **No** | **Description of the Requirement** | **Yes/No** | **Validity period** | **Details/**  **Description** | **Remarks** |
| --- | --- | --- | --- | --- | --- |
| **2** | **Technical details required** |  |  |  |  |
| (a) | Valid ISO 9001:2015 Quality Management System Certificate in operation from an accredited agency which is a member of International Accreditation Forum (IAF).  *The certifications should indicate the applicability for pipes and fittings, factory locations, product range and validity. The certificates shall be for the particular factory and for the particular range of products.* | Pipes & Fittings | Valid until: 17.05.2021 to 16.05.2024 | Name: Suns Pipelines Company Limited  Certificate No: CN-00221Q22822E0M  IQNet | **Accepted** |
| (b) | Valid product conformity certificate conforming to BSEN 545:2010 / ISO 2531:2009 / BSEN 598:2007+A1:2009 / ISO 7186:2011 for **DI pipes & fittings**; issued by an Accredited Agency which is a member of International Accreditation Forum (IAF) | Pipe:  WATER  SEWER | Valid until 15.05.2025  ISO 2531:2009  Valid until 15.05.2025  EN 545:2010  EN 598:2007+A1:2009 | Name: **Suns Pipelines Company Limited**  Certificate No:KM645976  Diameter range:  DN – 80-1000  BSI KITEMARK  Certificate No:KM 645979  Diameter range:  DN – 80-1000  BSI KITEMARK  Certificate No: KM 64980  Diameter range:  DN – 80-1000  BSI KITEMARK | **Accepted**  **Accepted**  **Accepted** |
| (c) | Valid **ISO 9001:2015** Quality Management System Certificate for **Rubber rings** and **Nuts & Bolts**, which shall be manufactured to conform to the **specifications** |  | Valid until 17.12.2022 | Name: **Xingtai Rubber Factory**  Certificate No:02619Q31139R1M  Diameter range: -  BTCC-QMS | **Accepted** |
| (C) | Valid **ISO 9001:2015** Quality Management System Certificate for **Rubber rings** and **Nuts & Bolts**, which shall be manufactured to conform to the **specifications** |  | 18.12.2019 – 17.12.2022 | Name: **Xingtai Rubber Factory**  Certificate No:  02619Q31139R1M | **Accepted** |
| (d) | Valid product conformity certificate conforming to BSEN 681-1:1996 / ISO 4633:2015 for **Rubber rings**; issued by an Accredited Agency which is a member of International Accreditation Forum (IAF) |  | Valid until  17.12.2023 | Name: **Xingtai Rubber Factory**  Certificate No:  FA-IPC/NR/IPCA-20/147  Diameter range: BV | **Accepted** |
| (e) | For self-anchoring (restrained) joints, a Type Test Certificate issued by an Accredited Inspection Agency which is a member of International Accredited Forum (IAF) and evidence of previous supplies shall be provided (ISO 10804:2010). |  |  | Not Qualified | Not relevant |