**Pre-qualification requirement of PVC Pipes and Fittings**

| **No** | **Description of the Requirement** | | **Yes/No** | **Validity period** | **Details/**  **Description** | **Decision** | **Remarks** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **1** |  | **General details required** | | | | |  |
| (a) | Applicant shall be the pipe manufacturer | |  |  |  |  |  |
| **2** | **Technical details required in PQ application are listed below**. | | | | | |  |
| (a) | SLS 147:2013 Product Conformity Certificate for uPVC pipes. | |  | 31.12.2021 |  |  |  |
| (b) | SLS 659:2015 or ISO 1452-Part 3:2009 Product Conformity Certificate for Mechanical welded fittings (Rubber ring joints) / Solvent welded fittings. | |  |  |  |  |  |
| (c) | SLS 935:1991, Product Conformity Certificate for Solvent Cement Manufacturer. | |  |  |  |  |  |
| (d) | ISO 9001:2015 Quality Management System Certificate for uPVC pipes, Pipe fittings, Rubber rings and Solvent Cement Manufacturing factories. | |  |  |  |  |  |
| (e) | BSEN 681-1:1996/ISO 4633:2015/SLS ISO 4633:2016, Product Conformity Certificate for joint ring. | |  |  |  |  |  |
| (f) | Guarantee to supply pipe fittings to pipe Manufacturer, if pipes and pipe fittings are not from same manufacturer. Annex I. | |  |  |  |  |  |
| **No** | **Description of the Requirement** | | **Yes/No** | **Validity period** | **Details/**  **Description** | **Decision** | **Remarks** |
| (g) | Guarantee from Rubber Rings Manufacturer to supply Rubber Rings to uPVC pipe manufacturer. Annex II | |  |  |  |  |  |
| (h) | Guarantee from the Solvent Cement Manufacturer to supply Solvent Cement to uPVC pipe Manufacturer. Annex III | |  |  |  |  |  |
| (i) | Guarantee from Pipe Manufacturer to ensure a leak proof pipeline. Annex IV | |  |  |  |  |  |