AGM(P&D)/PQ PVC/C45

 -09-2018

M/s. Nalota Marketing (Pvt) Ltd.,

224, Diggala Road,

Keselwatta,

Panadura.

**Pre-qualification of uPVC Sewerage Pipe Manufactures for Supply of Non – Pressure Sewerage pipes and fittings**

This is to inform you that NWSDB has initiated to prequalify uPVC Pipe Manufactures for supply of uPVC non pressure pipes & fittings for the Sewerage applications. The following certificates and complete guarantee forms are required to proceed the prequalification.

1. SLS 1285:2006 Product Conformity certificate for non pressure uPVC fittings.
2. SLS 1286:2006 Product Conformity certificate for non pressure uPVC pipes.
3. SLS ISO 4633:2015 Product Conformity Certificate for joint rings Manufacturer.
4. SLS 935:1991, Product Conformity Certificate for solvent cement Manufacturer.
5. ISO 9001:2015 Quality Management System Certificate for uPVC pipe, fittings, Rubber rings and Solvent Cement Manufacturing factories.
6. Guarantee to supply pipe fittings to pipe manufacturer, if pipes and fittings are not from same manufacturer (Annex I)
7. Guarantee to supply Rubber Rings to uPVC pipe manufacturer (Annex II).
8. Guarantee from Pipe manufacturer to ensure a leak proof pipe line (Annex III).
9. Guarantee from the Solvent cement manufacturer to supply solvent cement to uPVC pipe manufacturer. (Annex IV).

Please submit the above certificates on or before 28th September 2018 in order to proceed the prequalification of non-pressure uPVC sewerage pipes and fittings.

**Assistant General Manager**

**(Tenders & Contracts)**