Ministry of CITY PLANNING & Water supply

National Water Supply & Drainage Board

PRE-qualification of manufacturer

for

supply of uPVC pipes & fittings

report No. 01

BI ANNUAL AUDIT OF PRE-QUALIFIED UPVC

MANUFACTURERS

EVALUATION REPORT

MAY 2018

PVC Pipes & Fittings Manufacturers

(01)	Introduction

Sri Lanka Standard Institution has revised SLS 147 in year 2013 and effective from year 2016. Hence, all pre-qualified manufactures need to qualify for the revised SLS standards for PVC pipes and fittings. Accordingly, SBDRC decided to study the Technical suitability of the PVC pipe & fitting manufacturers in Sri Lanka in order to confirm the suitability of their products to be used by the NWS&DB for pipe lines.

(02)	NWSDB Requirements for upvc pipes & fittings

Manufacturer shall have the following certificates issued by SLSI or accredited agency which is a member of IAF.

a.	SLS 147:2013, Product Conformity Certificate for uPVC pipes.

b.	ISO 9001:2008, Quality Management System Certificate for the pipe manufacturing factory.

c.	SLS 659-Part 1 : 1993 or SLS 659:2015/ ISO 1452-Part 3 Product Conformity Certificate for solvent welded fittings.

d.	ISO 1452 Part 3, Product Conformity Certificate for Mechanical welded fittings (Rubber ring joints)

e.	SLS 935:1991for solvent cement.

f.	ISO 9001:2008, Quality Management System Certificate for the fittings manufacturing factory.

- ISO 9001:2008, Quality Management System Certificate for the Solvent cement manufacturing factory.

- ISO 9001:2008 Quality Management System Certificate for joint rings manufacturing factory.

- If DI fittings are provided instead of PVC fittings.

(i)	EN 12842/ EN 545/ ISO 2531, Product Conformity Certificate for DI pipes and fittings.

(ii)	ISO 9001:2008, Quality Management System Certificate for DI pipe manufacturing factory.

- BSEN 681-1 /ISO 4633, Product Conformity Certificate for joint rings.

(03)	Present SITUATION

At present NWSDB has short listed seven pipe Manufacturers for uPVC pipes and fittings.  Bids are invited from these short listed manufactures. The approved contractors with their scope are as bellow.

|  | Manufacturer’s Name | Name & Address of the Pipes & Fitting Manufacturer | Scope for Pipes & Fittings |  | Factory Address for joint rings | Factory Address for Solvent Cement |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Pressure Class | Dia. Range(mm) |  |  |
| 1 | M/s St.Anthony’s Industries Group (Pvt.) Ltd | Pipes M/s St. Anthony’s Industries Group (Pvt.) Ltd. 752/1, Dr Danister De Silva Mawatha, Colombo 09 Tel No. 011-2692161-4 Fax No. 011-2694575, 011-2680500 | PNT 7 | 32-315 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle. | M/s St. Anthony’s Industries Group (Pvt.) Ltd., 752/1, Dr Danister De Silva Mawatha, Colombo 09 |
|  |  |  | PNT 9 | 32-315 |  |  |
|  |  |  | PNT 11 | 25-315 |  |  |
|  |  |  | PNT 14 | 20-315 |  |  |
|  |  | Fittings M/s St. Anthony’s Industries Group (Pvt.) Ltd.,752/1, Dr Danister De Silva Mawatha, Colombo 09 |  | 20-160 |  |  |
| 2 | M/s Central Industries PLC | Pipes M/s Central Industries PLC 312, Nawala Road, Nawala, Rajagiriya Tel No. 011-5303000-1, 011-2806733 Fax No. 011-5303031-4 | PNT 7 | 32-280 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle. | M/s Central Industries PLC, 312, Nawala Road,Nawala, Rajagiriya |
|  |  |  | PNT 9 | 32-280 |  |  |
|  |  |  | PNT 11 | 25-280 |  |  |
|  |  |  | PNT 14 | 20-280 |  |  |
|  |  | Fittings M/s Central Industries PLC 312, Nawala Road, Nawala, Rajagiriya |  | 20-110 |  |  |
| 3 | M/s S-lon Lanka (Pvt.) Ltd | Pipes M/s S-lon Lanka (Pvt.) Ltd 515/7,T.B. Jaya Mawatha, Colombo 07 Tel No. 011-4760100 Fax No. 011-4760170, 011-4760175 | PNT 7 | 20-280 | Lancor Rubber Industries, Lancor Mawatha, Kurunduwatte, Rilaulla, Kandana. | M/s S-lon Lanka (Pvt.) Ltd 515/7,T.B. Jaya Mawatha, Colombo 07 |
|  |  |  | PNT 9 | 20-280 |  |  |
|  |  |  | PNT 11 | 20-280 |  |  |
|  |  |  | PNT 14 | 20-280 |  |  |
|  |  | Fittings M/s S-lon Lanka (Pvt.) Ltd 515/7,T.B. Jaya Mawatha, Colombo 07. |  | 20-315 |  |  |
| 4 | M/s Kamal PVC Industries (Pvt.) Ltd | Pipes M/s Kamal PVC Industries (Pvt.) Ltd., No.56,Kandawala Mawatha, Rathmalana. Tel No. 011-2624800 Fax No. 011-2635520 | PNT 7 | 32-280 | Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle | Kamal PVC Industries (Pvt.) Ltd., No.56, Kandawala Mawatha, Rathmalana |
|  |  |  | PNT 9 | 32-280 |  |  |
|  |  |  | PNT 11 | 25-280 |  |  |
|  |  |  | PNT 14 | 20-280 |  |  |
|  |  | Fittings M/s Kamal PVC Industries (Pvt.) Ltd., No.56,Kandawala Mawatha, Rathmalana. |  | 20-63 |  |  |
| 5 | M/s Sierra Industries (Pvt.) Ltd | Pipes M/s Sierra Industries (Pvt.) Ltd., 39/1A, Galwarusa Road, Koratota, Kaduwela Tel No. 011 -4412000-4 Fax No. 011 -2770291 | PNT 7 | 32-280 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle | M/s Central Industries PLC 312, Nawala Road, Nawala, Rajagiriya |
|  |  |  | PNT 9 | 32-280 |  |  |
|  |  |  | PNT 11 | 25-280 |  |  |
|  |  |  | PNT 14 | 20-280 |  |  |
|  |  | Fittings M/s Sierra Industries (Pvt.) Ltd., 39/1A, Galwarusa Road, Koratota, Kaduwela |  | 20-63 |  |  |
| 6 | M/s. Duro Pipe Industrial (Pvt) Ltd. | Pipes M/s. Duro Pipe Industrial (Pvt) Ltd, 793/30, Y W C A Hostel Road, Kadolkelewatta, Seeduwa Tel No. 011-2253860 Fax No. 011- 2253861 | PNT 14 | 20-225 | M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama | M/s. Duro Pipe Industrial (Pvt) Ltd, 793/30, Y W C A Hostel Road, Kadolkelewatta, Seeduwa |
|  |  |  | PNT 11 | 25-225 |  |  |
|  |  |  | PNT 9 | 110-225 |  |  |
|  |  |  | PNT 7 | 32-225 |  |  |
|  |  | Fittings M/s Sierra Industries (Pvt.) Ltd. , 39/1A, Galwarusa Road, Koratota, Kaduwela | PNT 11 | 20-63 |  |  |
|  |  |  | PNT 14 |  |  |  |
| 7 | M/s. Samson International PLC | Pipes M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama Tel No. 011-2320978-9 Fax No. 011-2131777 | PNT 7 | 32-90 | M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama | M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama |
|  |  |  | PNT 9 | 110 |  |  |
|  |  |  | PNT 11 | 25-90 |  |  |
|  |  |  | PNT 14 | 20-110 |  |  |
|  |  | Fittings M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama | PNT 14 | 20 |  |  |
|  |  |  | PNT 11 | 25-63 |  |  |

(04)	TECHNICAL REVIEW Of Manufacturers

4.1	Evaluation

As per the terms of the pre-qualification, the pre-qualified manufacturers have been requested to submit the required certificates before 11th December 2017 for bi-annual review in order to check whether they continue with the valid certificates to meet the pre-qualification condition.

4.2	Detailed Evaluation

4.2.1	St. Anthony’s Industries Group (Pvt) Ltd

The manufacturer has already been included in the short list for supplying all diameter PVC Pipes and fittings.

The position of the certificates produced by the manufacturer for the bi-annual audit is given below.

| Requirement | Submission | Remarks |  |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 13-01- 2019 | Approved dia range 20mm-315mm | Annex 01 |
| SLS 659:2015 | Submitted valid upto 31-12- 2018 | Approved dia range 20mm-160mm | Annex 02 |
| SLS 935:1991 | Submitted- valid upto 18-03- 2019 |  | Annex 03 |
| ISO 9001:2015 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto 22-02- 2020 |  | Annex 04 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted valid upto 15-09- 2018 | Rubber rings from Samson | Annex 05 |
| Test Reports for Rubber Rings | Submitted |  |  |
| Guarantee from Pipe manufacturer to ensure a leak proof pipe line | Submitted |  |  |
| Guarantee to supply Rubber Rings to uPVC pipe manufacturer | Not submitted |  |  |

4.2.2	Central Industries PLC

The manufacturer has already been included in the short list for supplying all diameter PVC Pipes and fittings.

The position of the certificates produced by the manufacturer for the bi-annual audit is given below.

| Requirement | Submission | Remarks |  |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto12-05-2018 | Approved dia range 20mm-280mm | Annex 06 |
| SLS 659:2015 | Submitted valid upto18-04- 2018 | Approved dia range 20mm-110mm | Annex 07 |
| SLS 935:1991 | Submitted valid upto28-05- 2018 |  | Annex 08 |
| ISO 9001:2008 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto12-11- 2018 |  | Annex 09 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted valid upto15-09- 2018 | Rubber rings from Samson | Annex 10 |
| Test Reports for Rubber Rings | Submitted |  |  |
| Guarantee from Pipe manufacturer to ensure a leak proof pipe line | Submitted |  |  |
| Guarantee to supply Rubber Rings to uPVC pipe manufacturer | Submitted |  |  |

4.2.3	S-lon Lanka (Pvt) Ltd

The manufacturer has already been included in the short list for supplying all diameter PVC Pipes and fittings.

The position of the certificates produced by the manufacturer for the bi-annual audit is given below.

| Requirement | Submission | Remarks |  |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 31-12-2018 | Approved dia range 20mm-280mm | Annex 11 |
| SLS 659:1993 | Submitted valid upto 31-10-2018. | Approved dia range 20mm-315mm | Annex 12 |
| SLS 935:1991 | Submitted valid upto 13-08-2018 |  | Annex 13 |
| ISO 9001:2008 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto 30-11 2020 |  | Annex 14 |
| ISO 9001:2008 for rubber rings manufacturing factory | Not Submitted | Submitted from Lancor |  |
| Test Reports for Rubber Rings | Submitted | Submitted from Lancor | Annex 15 |
| Guarantee from Pipe manufacturer to ensure a leak proof pipe line | Submitted |  |  |
| Guarantee to supply Rubber Rings to uPVC pipe manufacturer | Not submitted |  |  |

4.2.4 Kamal PVC Industries (Pvt) Ltd

The manufacturer has already been included in the short list for supplying all diameter PVC Pipes and fittings.

The position of the certificates produced by the manufacturer for the bi-annual audit is given below.

| Requirement | Submission | Remarks |  |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 26-05-2018 | Approved dia range 20mm-280mm | Annex 16 |
| SLS 659:1993 | Submitted valid upto 26-05-2018 | Approved dia range 20mm-63mm | Annex 17 |
| SLS 935:1991 | Submitted valid upto 26-05-2018 |  | Annex 18 |
| ISO 9001:2008 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto14-09- 2018 |  | Annex 19 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted |  |  |
| Test Reports for Rubber Rings | Submitted |  |  |
| Guarantee from Pipe manufacturer to ensure a leak proof pipe line | Submitted |  |  |
| Guarantee to supply Rubber Rings to uPVC pipe manufacturer | Submitted |  |  |

4.2.5	Sierra Industries (Pvt) Ltd

The manufacturer has already been included in the short list for supplying all diameter PVC Pipes and fittings. Fittings have been supplied by Kamal PVC Industries (Pvt) Ltd.

The position of the certificates produced by the manufacturer for the bi-annual audit is given below.

| Requirement | Submission | Remarks |  |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 07-07-2018 | Approved dia range 20mm-280mm | Annex 20 |
| SLS 659:1993 | Submitted valid upto 24-05-2018 | Approved dia upto 63mm | Annex 21 |
| SLS 935:1991 | Submitted valid upto 28-05-2018 | From Central Industries PLC | Annex 22 |
| ISO 9001:2008 for pipes, pipe fittings manufacturing factory. | Submitted valid upto 22-10-2018 | From Sierra Industries | Annex 23 |
| ISO 9001:2008 for solvent cement manufacturing factory | Submitted valid upto 12-11-2018 | From Central Industries PLC | Annex 24 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted valid upto 15-09-2018 | From Samson | Annex 25 |
| Test Reports for Rubber Rings | Submitted |  |  |
| Guarantee to supply uPVC pipe fittings to uPVC pipe manufacturer | Submitted |  |  |
| Guarantee from Pipe manufacturer to ensure a leak proof pipe line | Submitted |  |  |
| Guarantee to supply Rubber Rings to uPVC pipe manufacturer | Submitted |  |  |
| Guarantee to supply Solvent Cement to uPVC pipe manufacturer | Submitted |  |  |

4.2.6	M/s. Samson International PLC

The manufacturer has already been included in the short list for supplying PVC Pipes upto dia 160mm and fittings upto dia 63mm.

The position of the certificates produced by the manufacturer for the bi-annual audit is given below.

| Requirement | Submission | Remarks |  |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 24-05-2018 | Approved dia range 20mm-110mm | Annex 26 |
| SLS 659:1993 | Submitted valid upto 24-05-2018 | Approved dia upto 63mm | Annex 27 |
| SLS 935:1991 | Submitted valid upto 17-11-2017 |  | Annex 28 |
| ISO 9001:2008 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto 17-02-2018 |  | Annex 29 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted valid upto 15-09-2018 |  | Annex 30 |
| Test Reports for Rubber Rings | submitted |  | Annex 31 |
| Guarantee from Pipe manufacturer to ensure a leak proof pipe line | submitted |  | Annex 32 |
| Guarantee to supply Rubber Rings to uPVC pipe manufacturer | submitted |  |  |
| Guarantee to supply Solvent Cement to uPVC pipe manufacturer | submitted |  |  |

4.2.7	Duro Pipe Industrial (Pvt) Ltd

The manufacturer has already been evaluated and included in the PVC PQ short list in 19.12.2017 for supplying PVC Pipes and fittings.

| Requirement | Submission | Remarks |  |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 19-04-2017 | Approved dia range 20mm-225 mm |  |
| SLS 659:1993 | Submitted valid upto 20-04-2018 | Approved dia range 20mm- 63mm, Sierra Industries (Pvt.) Ltd. |  |
| SLS 935:1991 | Submitted valid upto 05-08-2018 |  |  |
| ISO 9001:2008 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted |  |  |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted | M/s. Samson International PLC |  |
| Test Reports for Rubber Rings | Submitted |  |  |
| Guarantee from Pipe manufacturer to ensure a leak proof pipe line | Submitted |  |  |
| Guarantee to supply Rubber Rings to uPVC pipe manufacturer | Submitted |  |  |

(05)	Recommendation

SBDRC having studied on the documents and certificates, recommends to pre-qualify the following manufacturers as Pre-qualified manufacturers for supply of PVC pipes, fittings and rubber rings as detailed in Table 1 subjected to the conditions that submission of following guarantee by these manufacturers as given below.

- St. Anthony’s Industries Group (Pvt) Ltd.-Subjected to the submission of Guarantee to supply Rubber Rings to                     uPVC pipe manufacturer.

- Central Industries PLC

- S-lon Lanka (Pvt.) Ltd.	-Subjected to the submission of Guarantee to supply Rubber Rings to uPVC pipe manufacturer & ISO 9001:2008 for rubber rings manufacturing factory.

- Kamal PVC Industries (Pvt.) Ltd

- Sierra Industries (Pvt.) Ltd

- M/s. Samson International PLC