TECHNICAL EVALUATION report

FOR PVC pipe manufacturer

ARPITECH (PVT) LTD

PVC Pipes & Fittings Manufacturers

(01)	Introduction

SBDRC studied the Technical suitability of the PVC pipe & fittings manufacturers in Sri Lanka in order to conform the suitability of their products to be used for water supply systems.

(02)	NWSDB Requirements for upvc pipes & fittings

Manufacturer shall have the following certificates issued by SLSI or accredited agency who is a member of IAF.

a.	SLS 147:2013, Product Conformity Certificate for uPVC pipes.

b.	ISO 9001: 2015, Quality Management System Certificate for the pipe manufacturing factory.

c.	SLS 659:2015 or ISO 1452-Part 3 Product Conformity Certificate for Mechanical welded fittings (Rubber ring joints) / solvent welded fittings.

d.	ISO 9001: 2015, Quality Management System Certificate for the fittings manufacturing factory.

e.	SLS 935:1991 for solvent cement.

f.	ISO 9001: 2015, Quality Management System Certificate for the fittings manufacturing factory.

- If DI fittings are provided instead of uPVC fittings.

(i)EN 12842/ EN 545/ ISO 2531, Product Conformity Certificate for DI fittings.

(ii)ISO 9001: 2015, Quality Management System Certificate for DI fittings manufacturing factory.

h.	BSEN 681-1 /ISO 4633/SLS ISO 4633, Product Conformity Certificate for joint rings.

- ISO 9001: 2015 Quality Management System Certificate for joint rings manufacturing factory.

- Guarantee from Pipe manufacturer to ensure a leak proof pipe line.

- Guarantee to supply Rubber Rings to uPVC pipe manufacturer

(03)	Present SITUATION

At present NWSDB has short listed seven pipe Manufacturers for uPVC pipes and fittings.  The approved contractors with their scope are as bellow.

|  | Manufacturer Name | Name of the Fitting Manufacturer | Scope for Pipes &fittings |  |  |  | Joint rings | Solvent Cement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Pipes |  | Fittings |  |  |  |
|  |  |  | Pressure Class | Dia. Range (mm) | Pressure Class | Dia. Range (mm |  |  |
| 1 | St. Anthony’s Industries Group (Pvt.) Ltd | St. Anthony’s Industries Group (Pvt.) Ltd | PNT 7 | 32-315 | PNT 11 | 20-63 | Samson International PLC. | St. Anthony’s Industries Group (Pvt.) Ltd. |
|  |  |  | PNT 9 | 32-315 |  |  |  |  |
|  |  |  | PNT 11 | 25-315 | PNT 14 | 63-160 |  |  |
|  |  |  | PNT 14 | 20-315 |  |  |  |  |
| 2 | Central Industries PLC | Central Industries PLC | PNT 7 | 32-280 | PNT 11 | 25-110 | Samson International PLC. | Central Industries PLC |
|  |  |  | PNT 9 | 32-280 |  |  |  |  |
|  |  |  | PNT 11 | 25-280 | PNT 14 | 20 |  |  |
|  |  |  | PNT 14 | 20-280 |  |  |  |  |
| 3 | S-lon Lanka (Pvt.) Ltd | S-lon Lanka (Pvt.) Ltd, | PNT 7 | 40-280 | PNT 11 | 25-315 | Samson International PLC, | S-lon Lanka (Pvt.) Ltd |
|  |  |  | PNT 9 | 32-280 |  |  |  |  |
|  |  |  | PNT 11 | 25-280 | PNT 14 | 20 |  |  |
|  |  |  | PNT 14 | 20-280 |  |  |  |  |
| 4 | Kamal PVC Industries (Pvt.) Ltd | Kamal PVC Industries (Pvt.) Ltd | PNT 7 | 32-280 |  | 20-63 | Samson International PLC | Kamal PVC Industries (Pvt.) Ltd |
|  |  |  | PNT 9 | 32-280 |  |  |  |  |
|  |  |  | PNT 11 | 25-280 |  |  |  |  |
|  |  |  | PNT 14 | 20-280 |  |  |  |  |
| 5 | Sierra Industries (Pvt.) Ltd | Sierra Industries (Pvt.) Ltd | PNT 7 | 32-315 | PNT 11 | 20-63 | Samson International PLC. | Central Industries PLC |
|  |  |  | PNT 9 | 32-315 |  |  |  |  |
|  |  |  | PNT 11 | 25-315 | PNT 14 | 20-63 |  |  |
|  |  |  | PNT 14 | 20-315 |  |  |  |  |
| 6 | M/s. Duro Pipe Industrial (Pvt) Ltd. | Sierra Industries (Pvt.) Ltd | PNT 7 | 32-225 | PNT 11 | 20-63 | Samson International PLC | Duro Pipe Industrial (Pvt) Ltd. |
|  |  |  | PNT 9 | 110-225 |  |  |  |  |
|  |  |  |  |  | PNT 14 |  |  |  |
|  |  |  | PNT 11 | 25-225 |  |  |  |  |
|  |  |  | PNT 14 | 20-225 |  |  |  |  |
| 7 | M/s. Samson International PLC | M/s. Samson International PLC | PNT 7 | 32-90 | PNT 11 | 25-63 | Samson International PLC | Samson International PLC |
|  |  |  | PNT 9 | 110 |  |  |  |  |
|  |  |  | PNT 11 | 25-90 | PNT 14 | 20 |  |  |
|  |  |  | PNT 14 | 20-110 |  |  |  |  |

(04)	TECHNICAL REVIEW Of Manufacturer

Arpitech (Pvt)Ltd.

The manufacturer has submitted certificates and the position of the certificates produced by the manufacturer is given below.

This manufacturer posses

  - SLS 147:2013, Product Conformity Certificates (PCC) for uPVC pipes of following sizes;

| Pressure Class | Size (mm) |
| --- | --- |
| PNT 18 | 63-315 |
| PNT 14 | 20,25,63-315 |
| PNT 11 | 25-315 |
| PNT 7 | 32-315 |
| PNT 9 | 32-315 |

  - SLS 659:2015, Product Conformity Certificates (PCC) for uPVC pipe fittings of following sizes;

| Product | Pressure Class | Size (mm) |
| --- | --- | --- |
| Elbow | PNT 14 | 20 |
|  | PNT 11 | 25,32,40,50,63,90,110 |
|  | PNT 9 | 90,110 |
| Equal Tee | PNT 14 | 20 |
|  | PNT 11 | 25,32,40,50,63,90,110 |
|  | PNT 9 | 90,110 |
| Equal Socket | PNT 14 | 20 |
|  | PNT 11 | 25,32,40,50,63,90,110 |
|  | PNT 9 | 90,110 |
| Valve Socket | PNT 14 | 20 |
|  | PNT 11 | 25,32,40,50,63,90,110 |
|  | PNT 9 | 90,110 |
| Faucet Socket | PNT 14 | 20 |
|  | PNT 11 | 25,32,40,50,63,90,110 |
|  | PNT 9 | 90,110 |
| End cap | PNT 14 | 20 |
|  | PNT 11 | 25,32,40,50,63,90,110 |
|  | PNT 9 | 90,110 |
| Faucet Elbow | PNT 14 | 20 |
| Faucet Tee | PNT 14 | 20 |

iii). SLS 935:1991 PCC for solvent cement.

iv). Instead of EN 681-1:1996 the manufacturers has produced a test certificate for joint rings from ITI.

| Requirement | Submission | Remarks |  |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 12-01-2019 | Approved dia range 20mm-225mm | Annex 01 |
| SLS 659:2015 | Submitted valid upto 01-04-2020 | Approved dia range 20mm-110mm | Annex 02 |
| SLS 935:1991 | Submitted- valid upto 08-01- 2019 |  | Annex 03 |
| ISO 9001:2015 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto 22-02- 2020 |  | Annex 04 |
| ISO 9001:2015 for rubber rings manufacturing factory | Submitted valid upto 11-11- 2018 | Rubber rings from Samson | Annex 05 |
| Test Reports for Rubber Rings | Submitted |  | Annex 06 |
| Guarantee from Pipe manufacturer to ensure a leak proof pipe line | Submitted |  | Annex 07 |
| Guarantee to supply Rubber Rings to uPVC pipe manufacturer | Submitted | Rubber rings from Samson | Annex 08 |

(05)	Recommendation

Having studied on the documents and certificates submitted from Arpitech (Pvt) Ltd., this manufacturer is recommended to be short listed manufacturer to supply of PVC pipes, fittings and rubber rings as detailed in Table 1 given below.

| Manufacturer’s Name | Name & Address of the Pipes & Fitting Manufacturer | Pressure Class | Dia. Range(mm) | Factory Address for joint rings | Factory Address for Solvent Cement |
| --- | --- | --- | --- | --- | --- |
|  |  | Pressure Class | Dia. Range(mm) |  |  |
| M/s. Arpitech (Pvt)Ltd., | Pipes M/s. Arpitech (Pvt)Ltd.,- PVC Operation, P O Box 01, Siyabalagoda, Polgasowita. Tel No. 011-7107555 Fax No. 011-7107530, 011-7107562 | PNT 7 | 32-315 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle. | M/s. Arpitech (Pvt)Ltd.,- PVC Operation, P O Box 01, Siyabalagoda, Polgasowita. |
|  |  | PNT 9 | 32-315 |  |  |
|  |  | PNT 11 | 25-315 |  |  |
|  |  | PNT 14 | 20,25,63-315 |  |  |
|  |  | PNT 18 | 63-315 |  |  |
|  | Fittings M/s. Arpitech (Pvt)Ltd.,- PVC Operation, P O Box 01, Siyabalagoda, Polgasowita. | PNT 14 | 20 |  |  |
|  |  | PNT 11 | 25-110 |  |  |
|  |  | PNT 9 | 90,110 |  |  |

Details of Pre-Qualification Scope for PVC Pipes, Fittings and Rubber Rings                                       Table 1