Table 01

Details of Pre-Qualification Scope for PVC Pipes, Fittings and Rubber Rings

M/s. Samson International PLC (Pvt.) Ltd.,

| Manufacturers Name | Factory Address | Scope for pipes & fittings |  | Factory address for joint rings | Factory address for Solvent Cement |
| --- | --- | --- | --- | --- | --- |
|  |  | Pressure class | Size (mm) |  |  |
| Pipes | Pipes | PNT 14 | 20,110 | M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama | M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama |
| M/s. Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle | M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama |  |  |  |  |
|  |  | PNT 11 | 25-160 |  |  |
|  |  | PNT 9 | 140,225 |  |  |
|  |  | PNT 7 | 32-225 |  |  |
| Fitttings | Fitttings |  |  |  |  |
| M/s. Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle M/s Prince Plastic Industries (Pvt) Ltd, Industries (Pvt) Ltd, No 11,Messenger Street, Colombo 12 | M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama M/s Prince Plastic Industries (Pvt) Ltd, No 226,Negombo Road, Peliyagoda | PNT 14 | 20 |  |  |
|  |  | PNT 11 | 25-63 |  |  |
|  |  | PNT 11 | 75-110 |  |  |

Note: Higher diameter fittings can be imported if necessary with the SLS approval at the port.