AGM(P&D)/PQ PVC/C45

 25 -01-2018

St. Anthoney’s Industries Group (Pvt) Ltd.,

P.O. Box. 1455, 752/1,

Dr. Danister de Silva Mawatha,

Colombo 09.

**Review of Pre-qualification of PVC Pipe Manufactures –**

**St. Anthoney’s Industries Group (Pvt) Ltd**.

This refers to our letter dated 11th December 2017 and your submissions received on 16th December 2017 on above subject. Following details were not submitted with your submission.

1. Submitted SLS 147:2013 was expired on 13.01.2018 hence submit valid SLS 147:2013 Product Conformity Certificate for u-PVC pipes with all annexures.
2. ISO 9001:2008 or ISO 9001:2015 Quality Management System Certificate for the pipe manufacturing factory.
3. Submitted SLS 659:2015 was expired on 31.12.2017 hence submit valid SLS 659:2015 Product Conformity Certificate for solvent welded fittings with all annexures.
4. ISO 9001:2008 or ISO 9001:2015 Quality Management System Certificate for the fittings manufacturing factory.
5. ISO 9001:2008 or ISO 9001:2015 Quality Management System Certificate for the solvent cement manufacturing factory.
6. EN 681-1:1996/ SLS ISO 4633:2015 Product Conformity Certificate for joint rings.
7. ISO 9001:2008 or ISO 9001:2015 Quality Management System Certificate for joint rings factory.

Please submit the above certificates on or before 07th February 2018. Failure to submit the above details may result the removal of your name from NWSDB pre-qualified manufacturer’s list.

**Assistant General Manager**

**(Tenders & Contracts)**