AGM(P&D)/PQ PVC/C45

23-05-2019

M/s. Duro Pipe Industrial (Pvt) Ltd,

793/30, Y W C A Hostel Road,

Kadolkelewatta, Seeduwa

**Review of Qualification of short listed PVC Pipe Manufactures - 2019**

This is to inform you that NWSDB has done a bi-annual audit for short listed uPVC Pipe Manufactures for supply of uPVC pipes & fittings for water applications. For the review, uPVC pipe manufactures shall posses following certificates issued by SLSI or any accredited agency who is a member of IAF.

1. SLS 147:2013 Product Conformity Certificate for uPVC pipes.
2. SLS 659:2015 or ISO 1452-Part 3:2009 Product Conformity Certificate for Mechanical welded fittings (Rubber ring joints) / solvent welded fittings. .
3. SLS 935:1991, Product Conformity Certificate for solvent cement Manufacturer.
4. SLS ISO 4633:2015 Product Conformity Certificate for joint rings Manufacturer.
5. ISO 9001:2015 Quality Management System Certificate for uPVC pipe, fittings, Rubber rings and Solvent Cement Manufacturing factories.
6. Guarantee to supply pipe fittings to pipe manufacturer, if pipes and fittings are not from same manufacturer (Annex I)
7. Guarantee from Rubber Rings Manufacturer to supply Rubber Rings to uPVC pipe manufacturer (Annex II).
8. Guarantee from the Solvent cement manufacturer to supply solvent cement to uPVC pipe manufacturer. (Annex III).
9. Guarantee from Pipe manufacturer to ensure a leak proof pipe line (Annex IV).

Please submit the above certificates on or before 10th June 2019 in order to proceed the short listing of uPVC pipes and fittings for water applications in year 2019.

**Assistant General Manager**

**(Tenders & Contracts)**