Ministry of CITY PLANNING & Water supply

National Water Supply & Drainage Board

PRE-qualification of manufacturer

for

supply of uPVC pipes & fittings

report No. 02

BI ANNUAL AUDIT OF PRE-QUALIFIED UPVC

MANUFACTURERS

EVALUATION REPORT

JuLY 2018

PVC Pipes & Fittings Manufacturers

- GENERAL

There are Seven Manufacturers were pre-qualified by the NWSDB to supply PVC pipes & fittings to the NWSDB as at 19th December 2017. As per the terms of the pre- qualification, the pre-qualified manufacturers have been requested to submit the following certificates for bi annual review in order to check whether they continue with the valid certificates to meet the pre-qualification condition.

(02)	NWSDB Requirements for upvc pipes & fittings

Manufacturer shall have the following certificates issued by SLSI or accredited agency which is a member of IAF.

a.	SLS 147:2013, Product Conformity Certificate for uPVC pipes.

b.	ISO 9001:2008/2015, Quality Management System Certificate for the pipe manufacturing factory.

c.	SLS 659:2015 or ISO 1452-Part 3 Product Conformity Certificate for Mechanical welded fittings (Rubber ring joints) / solvent welded fittings.

d.	ISO 9001:2008/2015, Quality Management System Certificate for the fittings manufacturing factory.

e.	 SLS 935:1991for solvent cement.

- ISO 9001:2008/2015, Quality Management System Certificate for the Solvent cement manufacturing factory.

- If DI fittings are provided instead of uPVC fittings.

(i)	EN 12842/ EN 545/ ISO 2531, Product Conformity Certificate for DI fittings.

(ii)	ISO 9001:2008/2015, Quality Management System Certificate for DI fittings manufacturing factory.

- BSEN 681-1 /ISO 4633/SLS ISO 4633, Product Conformity Certificate for joint rings.

- ISO 9001:2008/2015 Quality Management System Certificate for joint rings manufacturing factory.

(03)	TECHNICAL REVIEW Of Manufacturers

3.1	Evaluation

As per the terms of the pre-qualification of manufacturers, the pre-qualified manufacturers were requested to submit the required certificates before 11th December 2017 for bi-annual review in order to check whether they continue with the valid certificates to meet the pre-qualification condition.

3.2	Detailed Evaluation

3.2.1	St. Anthony’s Industries Group (Pvt) Ltd

The manufacturer has already been included in the pre-qualified manufacturers list for supply PVC Pipes and fittings.

The position of the certificates produced by the manufacturer for the bi-annual audit and their authenticity are given below.

The manufacturer has changed their Rubber ring manufacturer M/s Polymer Products Impex  (Private) Limited to M/s Samson International PLC.

| Requirement | Submission | Remarks | Annexure |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 13-01- 2019 | Approved dia range 20mm-315mm | Annex 01 |
| SLS 659:2015 | Submitted valid upto 31-12- 2018 | Approved dia range 20mm-160mm | Annex 02 |
| SLS 935:1991 | Submitted- valid upto 18-03- 2019 |  | Annex 03 |
| ISO 9001:2015 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto 22-02- 2020 |  | Annex 04 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted valid upto 15-09- 2018 | Rubber rings from M/s. Samson International PLC | Annex 05 |
| Guarantee to supply Rubber Rings to uPVC pipe manufacturer | Submitted |  | Annex 05a |

3.2.2	Central Industries PLC

The manufacturer has already been included in the pre-qualified manufacturers list for supply PVC Pipes and fittings.

The position of the certificates produced by the manufacturer for the bi-annual audit and their authenticity are given below.

| Requirement | Submission | Remarks | Annexure |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto12-05-2018 | Approved dia range 20mm-280mm | Annex 06 |
| SLS 659:2015 | Submitted valid upto18-04- 2018 | Approved dia range 20mm-110mm | Annex 07 |
| SLS 935:1991 | Submitted valid upto 28-05- 2018 |  | Annex 08 |
| ISO 9001:2008 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto12-11- 2018 |  | Annex 09 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted valid upto15-09- 2018 | Rubber rings from M/s. Samson International PLC | Annex 10 |

3.2.3	S-lon Lanka (Pvt) Ltd

The manufacturer has already been included in the pre-qualified manufacturers list for supply PVC Pipes and fittings.

The position of the certificates produced by the manufacturer for the bi-annual audit and their authenticity are given below.

| Requirement | Submission | Remarks | Annexure |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 31-12-2018 | Approved dia range 20mm-280mm | Annex 11 |
| SLS 659:2015 | Submitted valid upto 31-10-2018. | Approved dia range 20mm-315mm | Annex 12 |
| SLS 935:1991 | Submitted valid upto 13-08-2018 |  | Annex 13 |
| ISO 9001:2008 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto 30-11 2020 |  | Annex 14 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted valid upto15-09- 2018 | Submitted from M/s. Samson International PLC | Annex 14a |
| Guarantee to supply Rubber Rings to uPVC pipe manufacturer | Submitted | Submitted from M/s. Samson International PLC | Annex 15 Annex 15a |

3.2.4 Kamal PVC Industries (Pvt) Ltd

The manufacturer has already been included in the pre-qualified manufacturers list for supply PVC Pipes and fittings.

The position of the certificates produced by the manufacturer for the bi-annual audit and their authenticity are given below.

| Requirement | Submission | Remarks | Annexure |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 26-05-2018 | Approved dia range 20mm-280mm | Annex 16 |
| SLS 659:2015 | Submitted valid upto 26-05-2018 | Approved dia range 20mm-63mm | Annex 17 |
| SLS 935:1991 | Submitted valid upto 26-05-2018 |  | Annex 18 |
| ISO 9001:2008 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto 14-09- 2018 |  | Annex 19 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted | Submitted from M/s. Samson International PLC | Annex 19a |

3.2.5	Sierra Industries (Pvt) Ltd

The manufacturer has already been included in the pre-qualified manufacturers list for supply PVC Pipes and fittings.

The position of the certificates produced by the manufacturer for the bi-annual audit and their authenticity are given below.

| Requirement | Submission | Remarks | Annexure |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 07-07-2018 | Approved dia range 20mm-315mm | Annex 20 |
| SLS 659:2015 | Submitted valid upto 24-05-2018 | Approved dia range 20mm-63mm | Annex 21 |
| SLS 935:1991 | Submitted valid upto 28-05-2018 | From Central Industries PLC | Annex 22 |
| ISO 9001:2008 for pipes, pipe fittings manufacturing factory. | Submitted valid upto 02-10-2018 | From Sierra Industries | Annex 23 |
| ISO 9001:2008 for solvent cement manufacturing factory | Submitted valid upto 12-11-2018 | From Central Industries PLC | Annex 24 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted valid upto 15-09-2018 | From M/s. Samson International PLC | Annex 25 |

3.2.6	M/s. Samson International PLC

The manufacturer has already been included in the pre-qualified manufacturers list for supply PVC Pipes  fittings.

The position of the certificates produced by the manufacturer for the bi-annual audit and their authenticity are given below.

| Requirement | Submission | Remarks | Annexure |
| --- | --- | --- | --- |
| SLS 147:2013 | Submitted valid upto 24-05-2018 | Approved dia range 20mm-110mm | Annex 26 |
| SLS 659:2015 | Submitted valid upto 24-05-2018 | Approved dia range 20mm-63mm | Annex 27 |
| SLS 935:1991 | Submitted valid upto 17-11-2018 |  | Annex 28 |
| Requirement | Submission | Remarks | Annexure |
| ISO 9001:2008 for pipes, pipe fittings & solvent cement manufacturing factory | Submitted valid upto 17-02-2018 |  | Annex 29 |
| ISO 9001:2008 for rubber rings manufacturing factory | Submitted valid upto 15-09-2018 |  | Annex 30 |

3.2.7	Duro Pipe Industrial (Pvt) Ltd

The manufacturer has already been evaluated and included in the PVC PQ short list in 19th December 2017 for supplying PVC Pipes up to dia 225mm and fittings upto dia 63mm. Fittings have been supplied by Sierra Industries (Pvt) Ltd.

Therefore the manufacturer has not been invited for the bi-annual audit.

(04)	Recommendation

Having studied on the documents and certificates submitted, SBDRC recommends to pre-qualify the following manufacturers as Pre-qualified manufacturers for supply of the PVC pipes, fittings, solvent cement and rubber rings as detailed in Table 1 subjected to the conditions that submission of following updated certificates by these manufacturers as given below.

|  | Manufacturer | Condition |
| --- | --- | --- |
| 01 | St.Anthony’s Industries Group (Pvt) Ltd | - |
| 02 | Central Industries PLC | Subject to the submission of updated SLS 147 : 2013, SLS 659:2015 & SLS 935:1991 |
| 03 | S-lon Lanka (Pvt.) Ltd. | - |
| 04 | Kamal PVC Industries (Pvt.) Ltd | Subject to the submission of updated SLS 147 : 2013 , SLS 659:2015 & SLS 935:1991 |
| 05 | Sierra Industries (Pvt.) Ltd | Subject to the submission of updated SLS 147 : 2013 , SLS 659:2015 & SLS 935:1991 |
| 06 | M/s. Samson International PLC | Subject to the submission of updated SLS 147 : 2013 & SLS 659:2015 |
| 07 | Duro Pipe Industrial (Pvt) Ltd | Subject to the submission of updated SLS 147 : 2013 , SLS 659:2015 & SLS 935:1991 |

| Table 1 Recommended List of PVC Pipe Manufacturers - 2018 | Manufacturer’s Name | Name & Address of the Pipes & Fitting Manufacturer | Scope for Pipes & Fittings |  | Factory Address for joint rings | Factory Address for Solvent Cement |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Pressure Class | Dia. Range(mm) |  |  |
| 1 | M/s St.Anthony’s Industries Group (Pvt.) Ltd | Pipes M/s St. Anthony’s Industries Group (Pvt.) Ltd. 752/1, Dr Danister De Silva Mawatha, Colombo 09 Tel No. 011-2692161-4 Fax No. 011-2694575, 011-2680500 | PNT 7 | 32-315 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle. | M/s St. Anthony’s Industries Group (Pvt.) Ltd., 752/1, Dr Danister De Silva Mawatha, Colombo 09 |
|  |  |  | PNT 9 | 32-315 |  |  |
|  |  |  | PNT 11 | 25-315 |  |  |
|  |  |  | PNT 14 | 20-315 |  |  |
|  |  | Fittings M/s St. Anthony’s Industries Group (Pvt.) Ltd.,752/1, Dr Danister De Silva Mawatha, Colombo 09 | PNT 14 | 20-63 |  |  |
|  |  |  | PNT 11 | 63-160 |  |  |
| 2 | M/s Central Industries PLC | Pipes M/s Central Industries PLC 312, Nawala Road, Nawala, Rajagiriya Tel No. 011-5303000-1, 011-2806733 Fax No. 011-5303031-4 | PNT 7 | 32-280 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle. | M/s Central Industries PLC, 312, Nawala Road,Nawala, Rajagiriya |
|  |  |  | PNT 9 | 32-280 |  |  |
|  |  |  | PNT 11 | 25-280 |  |  |
|  |  |  | PNT 14 | 20-280 |  |  |
|  |  | Fittings M/s Central Industries PLC 312, Nawala Road, Nawala, Rajagiriya | PNT 14 | 20 |  |  |
|  |  |  | PNT 11 | 25-110 |  |  |
| 3 | M/s S-lon Lanka (Pvt.) Ltd | Pipes M/s S-lon Lanka (Pvt.) Ltd 515/7,T.B. Jaya Mawatha, Colombo 07 Tel No. 011-4760100 Fax No. 011-4760170, 011-4760175 | PNT 7 | 40-280 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle. | M/s S-lon Lanka (Pvt.) Ltd 515/7,T.B. Jaya Mawatha, Colombo 07 |
|  |  |  | PNT 9 | 32-280 |  |  |
|  |  |  | PNT 11 | 25-280 |  |  |
|  |  |  | PNT 14 | 20-280 |  |  |
|  |  | Fittings M/s S-lon Lanka (Pvt.) Ltd 515/7,T.B. Jaya Mawatha, Colombo 07. | PNT 14 | 20 |  |  |
|  |  |  | PNT 11 | 25-315 |  |  |
| 4 | M/s Kamal PVC Industries (Pvt.) Ltd | Pipes M/s Kamal PVC Industries (Pvt.) Ltd., No.56,Kandawala Mawatha, Rathmalana. Tel No. 011-2624800 Fax No. 011-2635520 | PNT 7 | 32-280 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle | M/s Kamal PVC Industries (Pvt.) Ltd., No.56, Kandawala Mawatha, Rathmalana |
|  |  |  | PNT 9 | 32-280 |  |  |
|  |  |  | PNT 11 | 25-280 |  |  |
|  |  |  | PNT 14 | 20-280 |  |  |
|  |  | Fittings M/s Kamal PVC Industries (Pvt.) Ltd., No.56,Kandawala Mawatha, Rathmalana. |  | 20-63 |  |  |
| 5 | M/s Sierra Industries (Pvt.) Ltd | Pipes M/s Sierra Industries (Pvt.) Ltd., 39/1A, Galwarusa Road, Koratota, Kaduwela Tel No. 011 -4412000-4 Fax No. 011 -2770291 | PNT 7 | 32-315 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle | M/s Central Industries PLC 312, Nawala Road, Nawala, Rajagiriya |
|  |  |  | PNT 9 | 32-315 |  |  |
|  |  |  | PNT 11 | 25-315 |  |  |
|  |  |  | PNT 14 | 20-315 |  |  |
|  |  | Fittings M/s Sierra Industries (Pvt.) Ltd., 39/1A, Galwarusa Road, Koratota, Kaduwela | PNT 14 | 20-63 |  |  |
|  |  |  | PNT 11 | 20-63 |  |  |
| 6 | M/s. Duro Pipe Industrial (Pvt) Ltd. | Pipes M/s. Duro Pipe Industrial (Pvt) Ltd, 793/30, Y W C A Hostel Road, Kadolkelewatta, Seeduwa Tel No. 011-2253860 Fax No. 011- 2253861 | PNT 7 | 32-225 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle | M/s. Duro Pipe Industrial (Pvt) Ltd, 793/30, Y W C A Hostel Road, Kadolkelewatta, Seeduwa |
|  |  |  | PNT 9 | 110-225 |  |  |
|  |  |  | PNT 11 | 25-225 |  |  |
|  |  |  | PNT 14 | 20-225 |  |  |
|  |  | Fittings M/s Sierra Industries (Pvt.) Ltd. , 39/1A, Galwarusa Road, Koratota, Kaduwela | PNT 11 | 20-63 |  |  |
|  |  |  | PNT 14 |  |  |  |
| 7 | M/s. Samson International PLC | Pipes M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama Tel No. 011-2320978-9 Fax No. 011-2131777 | PNT 7 | 32-90 | M/s Samson International PLC, Akuressa Road, Bogahagoda, Angulugaha, Galle | M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama |
|  |  |  | PNT 9 | 110 |  |  |
|  |  |  | PNT 11 | 25-90 |  |  |
|  |  |  | PNT 14 | 20-110 |  |  |
|  |  | Fittings M/s. Samson International PLC, Gilcroft Estate, Kiribathawila, Baddegama | PNT 14 | 20 |  |  |
|  |  |  | PNT 11 | 25-63 |  |  |