MINUTES OF THE STANDARD BIDDING DOCUMENT

# REVIEW COMMITTEE MEETING

Date	: 18.03.2008

Time	: 2 : 00 p .m.

Venue: Addl. G.M (S/E)’s room

Present:

- Eng. A.H.C. Silva			-	Addl.G.M (S/E)	-	Chairman

- Eng. (Ms). G.S. Munasinghe	-	Addl.G.M (CS)	-	Member

- Eng. D.S.D. Jayasiriwardhane	-	DGM (P&D)		-	Member

- Eng. M.Abeysekara			-	AGM (S&I)		-	Member

- Mrs. A.P.S. de Silva		-	A.G.M (F)		-	Member

- Eng. U.C. Pathiranage		-	AGM (P&D – Doc)	-	Member

- Eng. R.A.A. Ranawaka		-	AGM (T&C)		-	Member

- Eng. (Ms) R.A.D.S Mangalika	-	CE (Doc)		-	Secretary

Following Officers were excused

1.	Eng. G.A. Kumararatne		-	Addl.G.M (S)		-	Member

2.	Eng. K.R. Dewasurendra		-	DGM (PC)		-	Member

Minutes are circulated among all the above officers and those below.

General Manager

Addl. GMM (Water Supply Projects, N/C, Policy & Planning, Western)

DGMM, (RSC)

AGMM (P&D)

| Category 1: Issues in ongoing Contracts |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Issue |  | Decision |  | Action |
| 1 | (a) Cumulative Value of variations to be approved by the Engineer. (b) Definition of Contract Price & including 10% contingencies in the contract and Letter of Acceptance. |  | Clause shall not be added to Contract Data to state “Price variation will not be paid under contingencies”. Other clauses have been included. To include contingencies amount separately in the Agreement and Letter of Acceptance and to Write to NPA for clarifications. Letter shall be processed. |  | A.G.M (Doc) A.G.M (Doc) |
| Category 2: Common Issues in present contract Documents |  |  |  |  |  |
| 2 | Issuing soft copies of BOQ |  | Seal is to be stamped and signed on all pages in the BOQ issued and it shall be considered as the original. Contractors should price in this BOQ. Soft copy of Specification and questionnaire of supply/Supply and Installation Documents too should be issued to all the bidders. Committee approved the decision. |  | A.G.M (T&C) |
| Category 3(b): SBDs for Supply Contracts |  |  |  |  |  |
|  | Issue | Decision |  | Action |  |
| 3 |  | Check list of DI Pipes and fittings for the acceptance at site to be prepared. The condition stating that quality assurance certificates should be valid for a period of one year shall be verified before including in the ITB of the document. |  | AGM (Doc) AGM (Doc) |  |
| 4 | Separation of volume I and volume II of supply documents | Volume I and II shall be separated after further study of NPA/Goods/SBD/01. |  | A.G.M (Doc) |  |
| 5 | Discount rate shall be determined to be included in pumps tender documents | Prevailing Interest Rate shall be used as the discount rate. The Rate given by the DGM (F) shall be used in document. |  | AGM (F) |  |
| Category 3 ( c): SBD for Water Meters |  |  |  |  |  |

| 6 | SBD for Supply of Water Meters | The SBD prepared by the committee shall be used subject to considering offers of which 5 samples pass out of 5 and 4 samples pass out of 5, as substantially responsive upon other requirements being satisfied. The document shall state that the standard sampling procedure given in ISO 2859 – 1: 1999 (E) is used only when goods are accepted upon delivery. But for evaluation purposes, NWSDB will use its own criteria as it is practically not possible for NWSDB to obtain samples as per ISO 2859. | AGM(DOC) /AGM(S&I) |
| --- | --- | --- | --- |
| Category 4: . Other Issues |  |  |  |
|  | Issue | Decision | Action |
| 7 | Pre-qualification for DI Pipes below 300mm dia and equal to and above 300mm dia. | Draft document shall be prepared next week. | Committee for DI PQ document |
| 8 | Emphasis on checking Eligibility and Qualification Criterion by the Procurement Committee. | Committee agreed that the chairman of the STDRC will speak to the General Manager/Chairman. | Chairman- STDRC / AGM (Doc) AGM (T&C) |
| 9 | Appointment of Adjudicator for NWSDB | The matter is to be finalized after discussion with GM. | Chairman STDRC/AGM(DOC) |
| 10 | Aluminium Sulphate Contract Document | The document was approved by the DPC. |  |
| 11 | Two standard documents are to be finalized for Procurement of Brass and Gunmetal Ferrules. | It was decided that the SBD only for Gunmetal shall be finalized, since PAC has decided only Gunmetal ferrules will be purchased here onwards. It was decided that Testing shall be done through Atomic Energy Authority. A letter in GM’s signature is to be prepared to that effect. | AGM (Doc)/ AGM (S&I) |
|  | Issue | Decision | Action |
| 12 | Temperature Correction for imported PVC fittings as per BS 3505. St Anthoney’s Industries Group (Pvt) Ltd has raised this issue and expect to remove BS 3505 and include SLS 659 The prevailing PVC Specification refers generally BS/ISO Standard for mechanical joints and fittings not referring to a particular Standard. Also formed Bends and Repair Sockets are acceptable in addition to injection moulded. | A letter was sent to M/s St.Anthony’s Industries Group (Pvt) Ltd explaining the issue. Also a letter was sent to SLS to prepare SLS 659 Part II for rubber ring joint. This matter to be followed up. It was decided to study BS 1452 to incorporate in the specification. To check with BS1452. | AGM (DOC) |
| 13 | Committee for preparation of SBD for purchasing Stop Cocks (PVC/Brass) | Following Committee was proposed for preparing the document. Mr Nalin Wickramatunga AGM (GC) Chairman Ms R A D S Mangalika CE (DOC) Member Mr P N Herath Manager (TSC) Member | AGM(DOC) |
|  | Issue | Decision | Action |
| 14 | Standard Bidding Document for minor works published by ICTAD/SBD/03 has been reviewed by Documentation Unit to adopt for NWSDB for specific works up to Rs.5.0 million limit (minor civil works except pipe laying. | The SBDRC members will forward the comments before the next meeting, and is to be approved. | STDRC Members |
| 15 | Volume 1 of standard tender document of supply and installation of M&E equipment based on the NPA guide line | The section Instructions to Bidders prepared by the Documentation Unit was circulated among STDRC members for early comments due to the urgency of the document. | STDRC Members/ AGM(M&E) |

The meeting concluded.