MINUTES OF THE STANDARD BIDDING DOCUMENT

# REVIEW COMMITTEE MEETING NO.7/2009

Date	: 25.08.2009

Time	: 9.00 a .m.

Venue: Addl. G.M (Sewerage)’s Office

Present:

- Eng. G.A. Kumararathna		-	Addl.G.M (S)		      -	Chairman

- Eng. (Ms). G.S. Munasinghe	-	Addl.G.M (CS)	      -	Member

3.  Eng.   D.S.D. Jayasiriwardene	-	DGM (P&D)		      -	Member

4 	Eng. K.R. Dewasurendra		-	DGM (PC)		      -	Member

5.	Eng. M.Abeysekara			-	AGM (M&E -Services)  -	Member

6	Eng. U.C. Pathiranage		-	AGM (P&D – Doc)	      -	Member

7.	Eng. R.A.A. Ranawaka		-	AGM (T&C)		      -	Member

8.	Mrs. A.P.S. de Silva		-	AGM (F)		      -	Member

Following Officer was excused

Eng. K. H.  Nandisena            - 	CE (Doc)		-	Secretary

Also circulated to:

Chairman;  Vice Chairman, Working Director

General Manager

Addl. GMM (WSP, P&P, Western, N/C, , S/E)

DGM (Dev),DGMM (RSC) – [Western –C, Western –S, Western N, Southern,    Uva & Sab, Central,   NW, NC&N,East]

AGMM (P&D)

Project Directors, AGM(Supplies)

| 1. 1.1 |  | Confirmation of Decisions Minutes were confirmed. |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 1.2 Some suppliers obtain a letter from the Manufacturers stating that they will supply all the materials according to BOQ and the Specifications on 100% credit for 90 days. DPC did not accept this letter directly. However DPC is of the view that NWSDB can accept a letter issued from a Commercial Bank offering credit facility by considering the credit that is available from the manufacturer. This shall be included in the Contract Document.. Decision confirmed. 1.3 Nominated Suppliers in Civil Contracts DGM (NC/N) sent a letter no. RSC/NC/DGM/Gen/25 dated 09.07.2009 asking some clarifications on Contract administration of Nominated Suppliers in Civil Contracts SBDRC went through the letter and decided that a). The Engineer (General Manager) can change the supplier based on an appeal by the Civil Contractor giving acceptable reasons. b). The Suppliers indicated in the schedule of particulars of the contract can be used although it is not mentioned in the award letter, as the award is based on the contractor’s Bid, which is a part of the Contract. |  |
|  |  |  | In future, Civil Contractor can indicate three Suppliers in schedule of particulars at Bidding Stage. SBD to be changed accordingly. |  |  |
|  |  |  | Decision confirmed |  |  |
|  | 1.4 |  | Cabinet Decision on Domestic Water Meters Date : 24.07.2009 Subject : Supply and Delivery of 80,000 Non Volumetric Displacement type 15 mm Domestic Water Meter Contract No: Logistics/WM/2007/16 |  |  |
|  |  |  | Addl. GM (Sewerage) discussed with Mr. N.T.M. Sirajudeen, Director (Tender) of the Ministry of Water Supply and Drainage over the phone and Director (Tender) conveyed that; a) The decision does not intend to change the NWSDB Bidding Procedure. b) But the Specification should remain from without changing time to time. Decision confirmed. |  |  |

1.5	Greater Kandy Water Supply Project Funded under JICA Loan Payment to Contractors in Foreign Currency

The above letter dated 10.07.2009 was forwarded by PD (KGWSP).

Committee discussed the above and decided that such items should be considered case by case and common decision cannot be taken.

| Decision confirmed |  |
| --- | --- |

1.6	Confirmed Board Decision on Foreign Visits and Training Programmes Arranged by Foreign Funded Project.

Board meeting No.  725

Board decision No.  3569 (S)

Date of Board Meeting   03.06.2009

The above decision was received to the SBDRC on 21.07.2009 and hence earlier SBDRC decision on Pre-shipment Inspection (Item 4.2b of the minutes of meeting No.5/2009) to be replaced by the following.

a).  In future inspections/testing of materials/equipment should be carried out utilizing local funds.  The contractor should not be made responsible for any payments in regard to such inspection/testing.  Any stipulations, in the contract documents, contrary to this decision should be amended.

b).  Foreign exchange allowances, in regard to inspections/testing, should be strictly in accordance with the Government circulars on foreign travel.

c). Transport and other facilities for Inspection at Manufacturer’s country should be handled by the contractor.  BOQ items shall be included in the contract for this.

d).   Travel Insurance and other overseas incurrence to be obtained for officers traveling abroad on Inspection by the Board.

e).    Project Directors / Respective DGMs (RSC) shall arrange through MD&T Division Air Passage, through Sri Lankan Airlines.

f).       Project Directors/ Respective DGMs (RSC) shall arrange Visa through contractor for respective officers on Inspections.

g).      It is to be included in the GM’s circular that DGM (F) should release funds for the Inspection.

A Board circular to be issued in implementing the Board Decision GM signed in office copy and forwarded to DGM (P&A) for issuing as a Board circular. (See annex 3)

Decision confirmed

1.7   Pre-shipment Inspection Duration

Duration for pre-shipment inspections for pipes and fittings is not enough as factories situated in several locations.

Hence pre-shipment inspection duration for DI Pipes and fitting shall be minimum of 10 days in the respective country and that for pumps and equipment shall be minimum of 07 days.  This also incorporated into the GM’s circular.

Clauses in the SBDs to be changed accordingly

Decision confirmed

| 2. | NCB Contracts – Issuing Tender Documents to Foreign Contractors. The details forwarded by the PD (GKWSP) was discussed in detail. Recent NCB tenders of Foreign Funded Projects shows that there are adequate responses from local contractors and it proves that there are sufficient competition for the NCB. Basically allowing foreign Contractors to bid for NCB Contracts will badly effect the local contractors as at present due to limited works available for them to bid. There may be protests from Local Contractors Association due to limited work available for them in the Foreign funded projects. Considering above, the committee decided, not to allow foreign contractors to bid for NCB Contracts. If there is no sufficient competitive bidding for NCB Contracts of Foreign Funded Projects or Donor Conditions insists to allow foreign Contractors for NCB; these matters to be solved at the respective CAPC as a special case. a; A meeting will be arranged with the Secretary / MW&D and Grade M1 contractors to discuss their problems.. AGM (T&C). b; Issue mentioned in item 2 above also to be taken at that meeting. A letter to be drafted to ADB and JICA for secretary’s signature.. DGM (PC). c; Similar letters(as above item b) has been sent to NPA & ERD PDs.. |
| --- | --- |
|  | d; ICTAD GRADING C/M As the ICTAD letter has been circulated to all PDs, DGMM, it was decided that writing to PDs again is not required. It was decided to include in NWSDB Web site.. 15-10-2009; AGM (Doc). |
| 3. | SBD for Supply and Installation of Sewerage M&E Equipment. The SBD circulated among SBDRC members, for comments, will be discussed very soon.. SBDRC. |
| 4 ADB Contract Documents ADB comments on NWSDB -SBDs are as follows. “In relation to standard bidding documents for civil works and equipment, NWSDB is encouraged to use ADB’s SBDs for both NCB and international competitive bidding. Whilst the latest is compulsory, NWSDB may choose to use its own bidding documents for NCB. However, each of these will have to be submitted to ADB for multi departmental scrutiny. Upon ADB’s review, comprehensive comments will be provided to ensure that Project related procurement documents are brought in line ADB’s Procurement Guidelines. All comments will have to be incorporated prior to obtaining ADB’s approval for tendering. This period is lengthy (Several months are typically needed before receiving approval) and the comments to be incorporated are in our experience very extensive. We have previously reviewed NWSDB’s SBDs and found that they significantly deviated from ADB’s Guidelines, which has led to requesting entire re-writing of sections. We seriously discourage following this approach. (Further) delays resulting from it, will be NWSDB’s responsibility”. |  |  |  |
| A letter has been sent to ICTAD explaining the situation by General Manager’s Signature. |  |
| 4.1 ADB5 Contract Documents |  |  |  |
|  |  | The committee decided that ICTAD conditions to be sent to ADB for ADB 5th Project and obtain approval for ICTAD conditions. For urgent works, ADB condition with suitable modifications will be used. |  |
|  |  | DGM(P&D) |  |
| 5. | Testing and Inspection of Pump and Motors |  |  |
|  | a.; Guideline to decide the requirement of Pre-shipment inspection of Pump and Motor assemblies.. b.; TOR for the Independent Inspection Agency for Pumps/Motor Assemblies.. c; Guidelines for inspection team of NWSDB Engineers for Pre-Shipment Inspections of Pumps/Motor Assembles.. d.; Guidelines for final acceptance of Pump and Motor Assemblies.. e.; Soft copies of 5a, 5b, 5c, 5d to be handed over to Documentation Section.. 03-10-2009; AGM(M&E-services). |  |
|  | f.; 5a 5b, 5c. 5d to be circulated among the officers given in below for comments, after receiving soft copies. Mr. H.G.Tilakerathne - Addl. GM(P&P), Mr. S.K.Wijetunga - Addl. GM(Western), Mr. B.W.R.Balasooriya - Addl. GM(N&C), Mr. Nalin Wickramatunga - DGM(Sab & Uva)) Mr. BL Gunarathna - AGM(P&D-M&E) Mr. A.R.D. Attanayake - CE (E&M- Western-Central) Mr. R.V.P. Wijeratna - M(O&M- Kandana TP). After receiving item 5e; C E (Doc). |  |
| 6. | Payment to SBD Preparation and Review Committees Explanation “Note to the Board” was sent to the Chairman. |  |
| 7. 7.1 | Financial Matters Indicator for Financial Strength of Contractors. The indicators submitted by AGM (F), To be incorporated into SBDs.. With Next Revision; AGM (Doc). |  |
| 7.2 | VAT, NBT & Other Taxes AGM(Doc) discussed this matter with DGM(F) and DGM(F) agreed to revise it. Also committee decided to obtain clauses for custom duty / Tax for - Design built contracts - Direct works contracts - Supply and Delivery Contracts - Supply and Installation of Machinery and Equipment Contracts.. Next Meeting; DGM (F) / AGM(F). |  |
| 8. | Training on Evaluation Guidelines. One day training programme will be arranged for NWSDB Higher Officers/Engineers. After evaluation of this program it will be conducted for all Officers / Engineers who will participate for TECs. AGM (T&C). |  |

| 9. | New Issues |
| --- | --- |
| 9.1 9.2 9.3 9.4 9.5 | DPC decision No.237/2009 on the minutes of the meeting on activities of National Water Supply & Drainage Board Laboratories was tabled for information. Supply & Lay Letter sent by National Construction Association of Sri Lanka on the contract No. WSDP/KGWSP – P1-S2/NCB-08A (Supply & Laying Contract) requesting relaxation on minimum Qualification. Committee discussed and decided that as almost all NWSDB contracts pipes are provided by NWSDB – and only laying are done by the contractors. Therefore committee decided to exclude the requirement of supply of pipes as a qualification of bidders in Supply & Laying of Pipe Line Contracts until contractors acquire experience on both supply & Laying to get a sufficient competition in bidding. Cost of supply of pipes to be considered in the financial aspects and evaluation. Supply & Laying Contracts shall be given only for Major Contracts of Foreign Funded Project. To be incorporated to Supply and Laying SBD. 31-09-10; AGM (Doc.). Flow Meters Committee directed AGM(M&E- Services) to provide flowable range of flow meters. DI SBD DPC decision No/ 232/2009 was tabled. Based on DPC decision SBDRC has directed AGM (Doc) to ammend the present DI Pipe Supply Document, allowing Pipes and Fittings to be Supplied by two manufacturers. Committee directed AGM(Doc) to ammend the Bidding Document as per above DPC decision.. Immediately; AGM (Doc.). Document Evaluation DPC decision No. 215/2009 was tabled. DPC has directed AGM(T&C) to follow the following procedure in Bidding Document evaluation - Document Evaluation is not required. TEC comments as Bidding Data, Contract Data and BOQ may be obtaining before calling for bids. - Formal approval of the DPC to proceed with the tender should be obtained simultaneously. |
| 10. | Progress of Committee – See Annex 1 and Annex 2 |
| 11. | Progress was discussed. Decided to send reminders. The meeting concluded at 12.30 p.m |

PROGRESS OF  SPECIFICATIONS PREPARATION COMMITTEES		Annex 1

As at 30th  September 2009

| No | Title/Chairman | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| S 1. | Specification of M&E Equipment (Water) Committee Chairman - DGM (Sabaragamuwa) Mr NMS Kalinga | Comments of Mr.R.P.P.R. Rajapaksa, Manager (Operation-Ambatale) Mr. L.S. Kariyawasam, PD (Spanish Project) to be included “Comments on Intake modeling to be done to suit pumping sets by the supplier” also suitably incorporated into the specification. | AGM (M&E – Services) | Re submission required |
|  |  | Full committee signature for the report are required. |  |  |
| S 2. | Specification of DI Pipes, Fittings & Specials, Rubber Rings, Manhole Covers etc. Committee Chairman AGM (Documentation) Mr. UC Pathiranage | See item 9.4 for an amendment based on DPC decision | AGM(Doc.) Immediately | Submitted |
|  |  | Specification of Valves to be prepared | DGM (P&D) 30-10-2009 |  |
| S3. | Specification for Road Reinstatement. Committee Chairman - AGM (Documentation) Mr. UC Pathiranage | The report has been completed and sent to RDA for their observation. | DGM (P&D) | Submitted |
|  |  | Road reinstatement of Leak Repair places also to be included. | AGM (Doc) |  |
|  |  | Finalize after receiving RDA comments. | AGM (Doc) 31-10-2009 |  |

| No | Title/Chairman | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| S4. | Specification for sewerage pump and motors Chairman – Addl.G.M (Sewerage) Mr. G.A. Kumararathna | Uploaded NWSDB Web. See item 3 also. |  | Submitted |
| S5. | To study Water Meter problems and preparation of new specifications. Committee Chairman - Addl.G.M (Sewerage) Mr. G.A. Kumararatna | Specification for Electronic Meters with Fluidic Oscillation Technology Type and AMR (Automatic Meter Rending) compatible Electronic Meters Type to be included in the specifications. | AGM (M&E- Services) 15-10-2009 | SBDRC approved the report on 09-09-2009 |
| S6. | a)Specification for Nuts and Bolts with comparison of costs. | Polymer (Polypropalene / Polyethelene) nuts and bolts to be tested on research basis, purchase 100 nuts & bolts for this purpose. AGM(Supplies) to arrange purchase those. AGM (M&E – Services) to provide suppliers list. | AGM (M&E – Services) Next Meeting | Submitted |
|  | b) Lightening Protection System | Circulated among a) Mr. H.G. Thilakarathna – Addl. GM(WS) b) Mr. B.L. Gunarathna - AGM (P&D – M&E) - Mr. L.S. Kariyawasam - PD(Spanish Project) for comments. | CE(Doc.) 20-10-2009 | Submitted |
|  | c) Stop Valves Committee Chairman - AGM (M&E Services) Mr M Abeysekara | Specifications circulated among SBDRC Members for comments | SBDRC | Submitted |
| S7. | PE Pipes and Fittings for Sewerage/Water Committee Chairman - AGM (P&D_SE) Mr KW Premasiri | Corrugated PE also to be included. Colour - Water - Blue Sewerage - Black | AGM (P&D - SE) 15-10-2009 | Work in progress |

Annex 2

PROGRESS OF  SBD PREPARATION COMMITTEES

As at 30th  September 2009

| No | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| D 1. | NWSDB/SBD/SUP/COMP/V1 SBD for Supply of Server, computer, Printers & Ups, etc. Committee Chairman - AGM (IT) Mr. J. Chandradasa | SBD to be modified according to Volume I | SBDRC 15-10-2009 | Submitted |
|  |  | Volume I to be prepared by Documentation Unit. | AGM(Doc) 10-10-2009 |  |
| D 2. | NWSDB/SBD/RFP/V1 Request for proposals Committee Chairman - DGM (P&D) Mr.D.S.D. Jayasiriwardana | This will apply only for consultants. It seems that 02 SBDs have to be prepared for ADB and JICA. However, see the possibilities of preparing single SBD. To be discussed with Donor Agencies. | DGM (P&D) 15-10-2009 | Work in progress |
| D 3. | NWSDB/SBD/S&I/Chemical & Chlori/V1 Chlorinators and chemicals equipment Committee Chairman – AGM (P&D – M&E) Mr.B.L. Gunaratne | Committee is rearranging the clauses in parallel with the ADB and World Bank Documents. SBD will be submitted by 30-09-2009 | AGM (P&D – M&E) 22-10-2009 | Work in progress |
|  |  | Volume I to be prepared by Documentation Unit. | CE(Doc) 17-10-2009 |  |

| No | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| D 4. | NWSDB/SBD/Civil/PQ/V1 Pre-qualification of Civil Contractors Committee Chairman – DGM (PC) Mr. .K.R. Dewasurendra | SBD has been circulated among SBDRC Members for comments, on 21-08-2009. | SBDRC 15-09-2009 | Submitted. To be discussed very soon |
| D 5. | NWSDB/SBD/S&I/Air Conditioner/V1 Supply and Installation of Air Conditioners Committee Chairman – PD (Spanish Project) Mr. L.S. Kariyawasam | There are about 06 types of ACs. Include centralized system also. Prepare SBD with specification for all available types. See Item D3 | PD (Spanish Project) 25-10-2009 | Work in progress |
|  |  | Volume I to be prepared by Documentation Unit. | CE (Doc.) 17-10-2009 |  |
| D 6. | NWSDB/SBD/S&I/Photo copier/V1 Supply and Installation of Photo copy machine & Office Equipment. Committee Chairman – AGM (M&E – Services) Mr.Mangala Abeysekara | Specifications have been prepared and submitted. SBD has to be prepared. | AGM (M&E – Services) 31-10-2009 | Specification submitted |
|  |  | Volume I to be prepared by Documentation Unit. See Item D3 by 17-10-2009 |  |  |

| No | Title |  |  | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- | --- |
| D 7. | NWSDB/SBD/Services/Servey/V1 SBD for survey work. Committee Chairman – AGM (P&D-C N) Mr. U.Rathnapala |  |  | Comments of SDBRC to be included. | AGM(Doc.) 10-10-2009 | Submitted. Discussed on 21-09-2009 |
| D 8. | NWSDB/SBD/Service Connection/V1 SBD for Service Connection Committee Chairman – AGM (Western – C) Mr.Nalin Wickramatunga |  | Rearrange the document using ICTAD Minor Works Contract SBD (ICTAD/SBD/03) |  | AGM (Doc.) 30-10-2009 | Submitted |
| D 9. |  | NWSDB/SBD/Design & Build/V1 Design & Build Document - FIDIC Committee Chairman – DGM (P&D) Mr.D.S.D Jayasiriwardana | Being prepared. Comments from Project Director who are handling Design & Build Contracts were obtained. Minutes were circulated among other PDD / Addl. GMs to obtain views. Basic format of document was finalized |  | DGM (P&D) 31-10-2009 | Work in progress |
| D10. |  | NWSDB/SBD/Civil – FIDIC/V1 SBD for Foreign Funded Project – Work Contracts designed by the Employer. Committee Chairman PD (K’ Ganga) Mrs. Chandra Perera | Work in progress. |  | PD(Kalu Ganga) 31-10-2009 | Work in progress |

| No | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| D11. | NWSDB/SBD/Civil- Major /V1 Civil Works (Major Construction) for above 100 million. Committee Chairman – PD (TNCWSP- II) Mr. R.H. Ruvinis | Draft already completed. After final corrections, SBD will be submitted. | PD (TNCWSP- II) 15-10-2009 | Nearing completion. |
| D12. | NWSDB/SBD/Service- Hiring Vehicles/V1 Hiring of vehicles. Committee Chairman – C.E ( E&M ) Mr.A.R.D. Attanayake | SBDRC comments sent to SBD committee. | C.E ( E&M ) / (Western – Central) 10-10-2009 | Resubmission required |
|  |  | Sinhala SBD to be submitted | 30-10-2009 |  |
|  |  | Tamil version will be arranged by the Documentation Section. When English SBD is received. | AGM (Doc) |  |
| D13 | NWSDB/SBD/Bulk Meters/V1 Bulk Meters Committee Chairman AGM(M&E Services) Mr M Abeysekara | a). A field study to be completed and problems of existing Bulk Meters to be identified | AGM(M&E- Services) | Work in progress |
|  |  | b). A seminar to be arranged with the suppliers. AGM (Western – Central), Mr. Nalin Wickramatunga to coordinate with the supplier. | AGM (M&E -Services) |  |
|  |  | - AGM (M&E) to provide flowable range of flow meters. Also a meeting to be arranged for OICC concern with some Local Agents of Manufacturers for awareness. | AGM (M&E -Services) |  |

| No | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| D14. | NWSDB/SBD/Sup/Clamp /V1 SBD for Clamp Saddle and Repair Clamps. Committee Chairman AGM(S/E) Mr RKLD Soyza | Clamp Saddles A meeting conducted with all Manufacturers and all Suppliers of Clamp Saddles. Factory visits arranged and two factories were visited. Specifications to be finalized. | AGM (S/E) 18-10-2009 | Resubmission required. |
|  |  | Repair Clamps Specification of repair Clamps to be prepared SBD SBD including both specification to be prepared. | AGM (S/E) 31-10-2009 |  |
| D 15 | NWSDB/SBD/Supply/Ball Valves/V1 SBD for Ball Valves Committee Chairman – AGM (Western –South) Mr.R.A.B.S. Mendis. | SBDRC comments to be sent to the SBD Committee. A meeting to be arranged with the SBD committee in order to discuss the specification in presence of DGM(P&D) | AGM(Doc) 20-10-2009 | Submitted. And SBDRC discussed on 09.09.2009 |
|  |  | Volume I to be prepared by Documentation Unit | AGM(Doc) 15-10-2009 |  |
| D16. | NWSDB/SBD/Sup/PAC/LC/V1 SBD for Poly Aluminium Chloride Committee Chairman – AGM (R&D) – Mr. S. Sumanaweera | AGM (Doc) will instruct the SBD Committee to prepare SBD after completion of Vol. I | AGM(Doc) 20-10-2009 | Submitted |
|  |  | Volume I to be prepared by Documentation Unit. | AGM(Doc) 15-10-2009 |  |