MINUTES OF THE STANDARD BIDDING DOCUMENT

# REVIEW COMMITTEE MEETING NO.5/2009

Date	: 25.06.2009

Time	: 9.00  a .m.

Venue: Addl. G.M (Sewerage)’s Office

Present:

- Eng. G.A. Kumararathna	-	Addl.G.M (S)		-	Chairman

- Eng. (Ms). G.S. Munasinghe-	Addl.G.M (CS)	-	Member

3.  Eng.   D.S.D. Jayasiriwardhane-	DGM (P&D)		-	Member

4 	Eng. K.R. Dewasurendra	-	DGM (PC)		-	Member

5.	Eng. M.Abeysekara		-	AGM (M&E -Services)	Member

6	Eng. U.C. Pathiranage	-	AGM (P&D – Doc)	-	Member

7.	Eng. R.A.A. Ranawaka	-	AGM (T&C)		-	Member

8.	Eng K H  Nandisena  	- 	CE (Doc)		-	Secretary

Following Officer was excused

Mrs. A.P.S. de Silva	-	AGM (F)		-	Member

Also circulated to:

Chairman;  Vice Chairman, Working Director

General Manager

Addl. GMM (WSP, P&P, Western, N/C, , S/E)

DGM (Dev),DGMM (RSC) – [Western –C, Western –S, Western N, Southern,    Uva, Sab, Central,   NW, NC&N,East]

AGMM (P&D)

Project Directors, AGM(Supplies)

| 1. 1.1. | Confirmation of Decisions Minutes were confirmed with the following correction. 4.2b; TOR for the Independent Inspection Agency for DI Pipes and Fittings. This is too lengthy to be re-arranged. Valves also to be included. To discuss with DGM (P&D) & finalize.. 30.05.2009; AGM (Doc). |  |
| --- | --- | --- |
| 1.2 | Reference to Director (Tenders) letter No. 03/II/08/02/121 dated 24th March 2009 and connected minutes of the meeting, it says that “Any clarifications from the prospective bidders could be obtained on the instructions of the CAPC/CANC/MPC”/ But according to NPA guidelines given in Government Procurement Guidelines under “Responsibilities and Duties of TEC” Clause No.2.6.1 (v) and under clarifications from bidders Clause No.7.9.9 clarifications from bidders should be obtained by PE as per TEC advice.. Decision Confirmed.. |  |
| 1.3 | Alum – Product Conformity. Bidding Document has allowed either Product Conformity Certificate or Test Certificate issued within 03 months prior to date of submission of bids. Bidders will be informed accordingly in writing and verbally at the Bid opening.. In July 2009; AGM (T&C). Decision Confirmed.. |  |
| 1.4. | Tenders on Rupee Contract For tenders on Rupee Contract for Water Meters, Chemicals and connection items, AGM (Supplies) has requested; (i). to introduce exchange rate fluctuation clause in the Tender documents. OR (ii). to invite offers on C&F basis (INCOTERM 2000) for chemicals, connection materials and water meters. Decided to use foreign currency document above Rs.10.0 mln contracts. Decision Confirmed. |  |
| 2.1 | NCB Contracts – Issuing Tender Documents to Foreign Contractors. The details forwarded by the PD (GKWSP) was discussed in detail. Recent NCB tenders of Foreign Funded Projects shows that there are adequate responses from local contractors and it proves that there are sufficient competition for the NCB. Basically allowing foreign Contractors to bid for NCB Contracts will badly effect the local contractors as at present due to limited works available for them to bid. There may be protests from Local Contractors Association due to limited work available for them in the Foreign funded projects. Considering above, the committee decided, not to allow foreign contractors to bid for NCB Contracts. If there is no sufficient competitive bidding for NCB Contracts of Foreign Funded Projects or Donor Conditions insists to allow foreign Contractors for NCB; these matters to be solved at the respective CAPC as a special case. |  |
|  | a; A meeting will be arranged with Grade M1 contractors to discuss their problems by the secretary of Ministry of Water Supply and Drainage.. AGM (T&C). b; Issue mensioned in item 2.1 above also to be taken at that meeting. A letter to be drafted to ADB and JICA for secretary’s signature.. DGM (PC). c; Similar letter (as above item b) to be drafted to NPA. It is to be indicated that all most all work of foreign contractors are constructed by the Local Contractors under sub-contracts. Hence, it is suggested to change the relevant clauses in the NPA Guide Lines.. 15.07.2009; AGM (Doc). |  |
| 2.2 | SBD for Supply and Installation of Sewerage M&E Equipment. The SBD will be completed and circulated among SBDRC members.. 15.07.2009; AGM (Doc)/CE (Doc). |  |
| 3. | Progress of Committee – See Annex 1 and Annex 2 |  |
| 4. 4.1 | Testing and Inspection Pump and Motors a.; Guideline to decide the requirement of Preshipment inspection of Pump and Motor assemblies.. (i); Justification to be given for 45 kW pump capacity. Cost of the pump also to be considered.. 30.06.2009; AGM (M&E-Services). After above correction to be circulated among the following officers for their comments. Mr H.G.Tilakerathne - Addl. GM(P&P), Mr S.K.Wijetunga - Addl. GM(Western), Mr B.W.R.Balasooriya - Addl. GM(N&C), Mr Nalin Wickramatunga AGM(Western-Central) Mr BL Gunarathna - AGM(P&D-M&E) Mr A.R.D. Attanayake CE (E&M- Western-Central) Mr R.V.P. Wijeratna M(O&M- Kndana TP). After Above justification given in 4.1 (a) (i).; CE (Doc). b.; TOR for the Independent Inspection Agency for Pumps/Motor Assemblies.. c; Guidelines or inspection team of NWSDB Engineers for Pre-Shipment Inspections of Pumps/Motor Assembles. Guideline for choosing of pump Tests according to pump capacity to be included, as follows. Test to be performed; Required tests capacity (Kw) above ………Kw; Required Test, Between ………… .Kw; Required Test Below ……………Kw. 1. Body Test. 2.. 3.. 4... 15.07.2009; AGM(M&E-services). d.; Guidelines for final acceptance of Pump and Motor Assemblies. DGM (Western – N) – Comments to be included.. 15.07.2009; AGM(M&E-services). e.; 4.1b, 4.1c. 4.1d to be circulated among the officers given in 4.1 a. for comments, after corrections indicated in the items.. 20.07.2009; C E (Doc). |  |
| 4.2 | SBDs For Supply of Goods a.; TOR for the Independent Inspection Agency & Guidelines for the inspection team of NWSDB Engineers for Pre-Shipment Inspection should be included in General Conditions of Contract and Contract Data of all supply SBDs.(In local currency documents Guidelines for the inspection team of NWSDB Engineers is not required.) Contd……P/1-7. An appendix also to be included into the SBDs in which the manufacturers should sign stating that he is aware of the TOR for the Independent Inspection Agency & Guidelines for the inspection team of NWSDB Engineers for Pre- Shipment Inspection.. 20-06-2009; AGM (Doc). |  |
|  | b; Board of Directors has decided that expenses required by the NWSDB officers in carrying out inspection shall be born by the NWSDB.. |  |
|  | b1 b2; The activities to be performed by the contractor such as internal transport within the manufacturer’s country, facilitating for necessary inspection, testing, taking measurements etc shall be included in a separate item of the General Bill. The expenses required by NWSDB officers will be included in the General Bill as Provisional Sum both in L/C and F/C, which can be transferred to MPDT Section.. After next meeting; AGM (Doc). |
|  | b3; Internal Board Circular to be drafted accordingly.. 30.06.2009; Addl.G.M (CS). |
| 5. | Payment to SBD Preparation and Review Committees Addl.GM (Sewerage) to discuss with the Chairman.. Next Board Meeting; Addl.GM (Sewerage). |
| 6. 6.1 | Financial Matters Indicator for Financial Strength of Contractors. Prepared sheet is satisfactory for works contracts. Two (02) separate sheets will be required for supply (Local) and supply (Foreign) contracts.. Next Meeting; AGM (Finance). |
|  | Some suppliers obtain a letter from the Manufacturers Stating that they will supply all the materials according to BOQ and the Specifications on 100% credit for 90 days. This has to be reported to SBDRC after Procurement Committee Decision.. Next meeting.; AGM (T&C). |
|  | If this is acceptable to the Department Procurement Committee, a format as an appendix to the Bidding Document to be prepared for this.. After above decision.; AGM (Doc). |
| 6.2 | VAT, NBT & Other Taxes A letter has been sent to DGM(F) requesting him to draft a clause for General Conditions of contract of SBDs to incude above taxes.. 15.07.2009; DGM (F). |
| 7. | Evaluation Guidelines. One day training programmes will be arranged for NWSDB Engineers in groups of 25. Resource person will be Eng.Jayantha De Mel.. 31.07.2009; AGM (T&C). |
| 8. | ADB Contract Documents ADB comments on NWSDB -SBDs are as follows. In relation to standard bidding documents for civil works and equipment, NWSDB is encouraged to use ADB’s SBDs for both NCB and international competitive bidding. Whilst the latest is compulsory, NWSDB may choose to use its own bidding documents for NCB. However, each of these will have to be submitted to ADB for multi departmental scrutiny. Upon ADB’s review, comprehensive comments will be provided to ensure that Project related procurement documents are brought in line ADB’s Procurement Guidelines. All comments will have to be incorporated prior to obtaining ADB’s approval for tendering. This period is lengthy (Several months are typically needed before receiving approval) and the comments to be incorporated are in |  |
|  | our experience very extensive. We have previously reviewed NWSDB’s SBDs and found that they significantly deviated from ADB’s Guidelines, which has led to requesting entire re-writing of sections. We seriously discourage following this approach. (Further) delays resulting from it, will be NWSDB’s responsibility. Write to ICTAD explaining the situation with copies to Director Finance Treasury (NPA) and ERD.. 15.07.2009; DGM (P&D). |
| 9. | The meeting concluded at 12.30 p.m |  |

PROGRESS OF  SPECIFICATIONS PREPARATION COMMITTEES		Annex 1

As at 23rd  June 2009

| No | Title/Chairman | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| S 1. | Specification of M&E Equipment (Water) Committee Chairman - DGM (Sabaragamuwa) Mr NMS Kalinga | Comments of Mr.R.P.P.R. Rajapaksa, Manager (Operation-Ambatale) Mr. L.S. Kariyawasam, PD (Spanish Project) to be included “Intake modeling to be done to suit pumping sets by the supplier” also suitably incorporated into the specification. | AGM (M&E – Services 15.07.2009 | Submitted |
|  |  | Full committee signature for the report are required. |  |  |
| S 2. | Specification of DI Pipes, Fittings & Specials, Rubber Rings, Manhole Covers etc. Committee Chairman AGM (Documentation) Mr. UC Pathiranage | A letter to be sent to DGMM (RSC) asking for past performance of valves. A format to be developed for this purpose. ICTAD specifications also to be checked for installation. | AGM (Doc) 31.07.2009 | Submitted |
|  |  | Some standards has to be purchased. It was given to DANIDA Consultant (NIRAS Consultants) to purchase. Also try PD (GKWSP) | AGM (Doc) |  |
|  |  | DI SBDs to be uploaded to NWSDB website | CE (Doc) 15. 07. 2009 |  |
| S3. | Specification for Road Reinstatement. Committee Chairman - AGM (Documentation) Mr. UC Pathiranage | The report has been completed and sent to RDA for their observation. | DGM (P&D) 31.07.2009 | Submitted |
|  |  | Road reinstatement of Leak Repair places also to be included. | AGM (Doc) 15.08.2009 |  |
|  |  | Finalize after receiving RDA comments. | AGM (Doc) |  |

| No | Title/Chairman | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| S4. | Specification for sewerage pump and motors Chairman – Addl.G.M (Sewerage) | To be included into GM’s Circular and to be uploaded to the NWDDB web. | CE (Doc) 10.07.2009 | Completed |
| S5. | To study Water Meter problems and preparation of new specifications. Committee Chairman - Addl.G.M (Sewerage) | Data has been entered to Access Data Base. Data compatibility has to be verified. | Addl.GM (Sew) 30.08.2009 | Work continued |
| S6. | a)Specification for Nuts and Bolts with comparison of costs. | Polymer (Polypropalene / Polyethelene) nuts and bolts to be tested on research basis, purchase 100 nuts & bolts for this purpose. AGM(Supplies) to purchase those. AGM (M&E – Services) to give suppliers list. | AGM (M&E – Services) Next Meeting | Submitted |
|  | b) Lightening Protection System | Prepared and distributed among SBDRC members for comments. | SBDRC Members. 15.07.2009 | Submitted |
|  | c) Stop Valves Committee Chairman - AGM (M&E Services) Mr M Abeysekara | Being prepared | AGM (M&E – Services) 31/07/2009 |  |
| S7. | PE Pipes and Fittings for Sewerage/Water Committee Chairman - AGM (P&D_SE) Mr KW Premasiri | Corrugated PE also to be included. Colour - Water - Blue Sewerage - Black | AGM (P&D_SE) 31/07/2009 | Committee appointed |

PROGRESS OF  SBD PREPARATION COMMITTEES

As at 23rd  June 2009                                                                                 Annex 2

| No | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| D 1. | NWSDB/SBD/SUP/COMP/V1 SBD for Supply of Server, computer, Printers & Ups, etc. Committee Chairman - AGM (IT) Mr. J. Chandradasa | Specifications to be changed quarterly. Initial specifications will be valid up to end of September 2009. | AGM (IT) 31/07/2009 |  |
| D 2. | NWSDB/SBD/RFP/V1 Request for proposals Committee Chairman - DGM (P&D) Mr.D.S.D. Jayasiriwardana | This will apply only for consultants. It seems that 02 SBDs have to be prepared for ADB and JICA. However,see the possibilities of preparing single SBD. To be discussed with Donor Agencies. | DGM (P&D) 31/07/2009 |  |
| D 3. | NWSDB/SBD/S&I/Chemical & Chlori/V1 Chlorinators and chemicals equipment Committee Chairman – AGM (P&D – M&E) Mr.B.L. Gunaratne | Neutralization system also to be included. | AGM (P&D – M&E) 31/07/2009 |  |

| No | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| D 4. | NWSDB/SBD/Civil/PQ/V1 Pre-qualification of Civil Contractors Committee Chairman – DGM (PC) Mr. .K.R. Dewasurendra | Three 03 documents are required such as for ADB, JICA and NWSDB (Normal use). | DGM (PC) 31.07.2009 |  |
| D 5. | NWSDB/SBD/S&I/Air Conditioner/V1 Supply and Installation of Air Conditioners Committee Chairman – PD (Spanish Project) Mr. L.S. Kariyawasam | There are about 06 types of ACs. Include centralized system also. Prepare SBD with specification for all available types. | PD (Spanish Project) 31/07/2009 |  |
| D 6. | NWSDB/SBD/S&I/Photo copier/V1 Supply and Installation of Photo copy machine & Office Equipment. Committee Chairman – AGM (M&E – Services) Mr.Mangala Abeysekara | Specifications have been prepared and submitted. SBD has to be prepared. | AGM (M&E – Services) 01/07/2009 | Specification submitted |

| No | Title |  | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| D 7. | NWSDB/SBD/Services/Servey/V1 SBD for survey work. Committee Chairman – AGM (P&D-C N) Mr. U.Rathnapala |  | Existing SBDs may not be useful. It is possible to use ICTAD/SBD/03 for minor works. Also new member to be appointed in place of Mrs.Gammanpila. | AGM (P&D- C,N) 31/07/2009 |  |
| D 8. | NWSDB/SBD/Service Connection/V1 SBD for Service Connection Committee Chairman – AGM (Western – C) Mr.Nalin Wickramatunga |  | SBD Submitted. To be gone through by SBDRC members. | SBDRC Members 15.07.2009 | Submitted |
|  |  |  | Document to be sent to DGM (RSC) and Attorney General. | AGM (Doc) 31.08.2009 |  |
|  |  |  | It is noted that warning tapes must not be damaged by the Contractors. Others comments also to be included and re-submitted. | AGM (Western –C) 31.07.2009 |  |
| D 9. |  | NWSDB/SBD/Design & Build/V1 Design & Build Document - FIDIC Committee Chairman – DGM (P&D) Mr.D.S.D Jayasiriwardana | Being prepared. | DGM (P&D) 31/07/2009 |  |

| No | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| D10. | NWSDB/SBD/Civil – FIDIC/V1 | Go through ADB 4 document and report. (A committee can be considered after this report) | AGM (Doc) 30.07.2009 |  |
| D11. | NWSDB/SBD/Civil- Major /V1 Civil Works (Major Construction) for above 100 million. Committee Chairman – PD (TNCWSP- II) Mr. R.H. Ruvinis | Mr. Jayawardena – AGM (Sewerage) to initiate the preparation of document. | PD (TNCWSP- II) 31/07/2009 |  |
| D12. | NWSDB/SBD/Service- Hiring Vehicles/V1 Hiring of vehicles. Committee Chairman – C.E ( E&M ) Mr.A.R.D. Attanayake | Document to be prepared in both language English and Sinhala. . | C.E ( E&M ) / (Western – Central) 31/07/2009 |  |
|  |  | Tamil version will be arranged by the Documentation Section. | AGM (Doc) 31.10. 2009 |  |
| D13 | NWSDB/SBD/Bulk Meters/V1 Bulk Meters Committee Chairman AGM(M&E Services) Mr M Abeysekara | a). A field study to be completed | AGM(M&E- Services) 31/07/2009 |  |
|  |  | b). A seminar to be arranged with the supplier. AGM (Western – Central ), Mr. Nalin Wickramatunga to coordinate with the supplier. | AGM (M&E -Services) 30.08.2009. |  |

| No | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- |
| D14. | NWSDB/SBD/Sup/Clamp /V1 SBD for Clamp Saddle and Repair Clamps. Committee Chairman AGM(S/E) Mr RKLD Soyza | Specifications being prepared. | AGM (S/E) Specification 30.06.2009 |  |
|  |  | SBD to be prepared | AGM (S/E) SBD 31.07.2009 |  |
| D 15 | NWSDB/SBD/Supply/Ball Valves/V1 SBD for Ball Valves Committee Chairman - AGM (Western –South) Mr.R.A.B.S. Mendis. | Specifications have been submitted. SBD to be prepared. | SBDRC 25.06.2009 AGM (Western - South) 31/07/2009 | Draft Specification Submitted. |
|  |  | ASTM D 2466 -6 & ASTM F 1970 to be purchased. | AGM (Doc) 15/06/2009 |  |
| D16. | NWSDB/SBD/Sup/PAC/LC/V1 SBD for Poly Aluminium Chloride Committee Chairman – AGM (R&D) – Mr. S. Sumanaweera | Polymers also to be included. | AGM (R&D) 31/07/2009 |  |