MINUTES OF THE STANDARD BIDDING DOCUMENT

# REVIEW COMMITTEE MEETING NO.01/2010

Date	: 24.02.2010

Time	: 9.30 a.m.

Venue: Addl. G.M (Sewerage)’s Office

Present:

- Eng. G.A. Kumararathna		-	Addl. G.M (S)	      -	Chairman

- Eng. (Ms). G.S. Munasinghe	-	Addl. G.M (CS)	      -	Member

- Eng. D.S.D. Jayasiriwardene	-	DGM (P&D)		      -  Member

4	Eng. U.C. Pathiranage		-	AGM (P&D – Doc)	      -	Member

5.	Eng. R.A.A. Ranawaka		-	AGM (T&C)		      -	Member

6.	Eng, M. Abeysekara		-	AGM (M&E-Services)   -  Member

7.	Mrs. A.P.S. de Silva		-	AGM (F)		      -	Member

8.	Eng. K. H.  Nandisena           	- 	CE (P&D-Doc)	      -	Secretary

9.	Mrs. K.T.T.K. Premaratne   	- 	Eng. (P&D-Doc)

Following Officer was excused

1.  Eng. K.R. Dewasurendra		-	DGM (Western -S)	      -	Member

Also circulated to:

Chairman;  Vice Chairman, Working Director

General Manager

Addl. GMM (WSP, P&P, Western, N/C, , S/E)

DGM (Dev), DGMM (RSC) – [Western –C, Western N, Southern, Uva &  Sab, Central, NW, NC, N, East]

AGMM (P&D)

Project Directors, AGM(Supplies)

| 1. | Previous minutes were confirmed. |
| --- | --- |
| 2. | Testing and Inspection of Pump and Motors a.; Guideline to decide the requirement of Pre-shipment inspection of Pump and Motor assemblies.. b.; TOR for the Independent Inspection Agency for Pumps/Motor Assemblies.. c; Guidelines for inspection team of NWSDB Engineers for Pre-Shipment Inspections of Pumps/Motor Assembles.. d.; Guidelines for final acceptance of Pump and Motor Assemblies.. |
|  | e.; These were circulated among officers given below, but no comments were received. Mr. H.G. Tilakerathne - Addl. GM(P&P), Mr. S.K. Wijetunga - Addl. GM(Western), Mr. B.W.R. Balasooriya - Addl. GM(N&C), Mr. Nalin Wickramatunga - DGM(Sab & Uva)) Mr. B.L. Gunarathna - AGM(P&D-M&E) Mr. A.R.D. Attanayake - CE (E&M- Western-Central) Mr. R.V.P. Wijeratna - M(O&M- Kandana TP). |
|  | To be incorporated into SBDs and uploaded to NWSDB Web. 11-03-2010; AGM(Doc). |
| 3. | Payment to SBD Preparation and Review Committees Secretary is waiting for Management Services approval. A new letter was sent to secretary for granting approval. AGM (Doc) to meet secretary and obtain the approval.. AGM (Doc). |

| 4. | Financial Matters |
| --- | --- |
| 4.1 | Not quoted items of supply contract DPC Decision No. 15/2010 dated 22-01-2010 The decision was as follows, “The request received from AGM (Doc) for the DPC to grant approval to add a clause in the Standard Bidding Document for supply contracts enabling the consideration of bills having unquoted items as incomplete bills and exclude them from further evaluation. DPC discussed the matter in detail and noted that awarding a part of a bill can be uneconomical since the balance items (unquoted items) are to be procured separately. Therefore DPC accepted the AGM (Doc)’s request and directed him to add a suitable clause under “Evaluation Criteria” to address this issue. However, formal approval of the SBDRC shall be obtained before including this clause in the SBD”. |
|  | SBDRC decided to include above decision into SBDs.. 31-03-2010; AGM (Doc). |
| 5. | Evaluation Guidelines. a; Training Training programme was conducted for Higher Officers and it is to be continued for other Engineers / Accountants. Programme was delayed due to delay in payment to resource person. Payment to be followed up.. AGM (F). b; Sample Technical Evaluation Report A sample Evaluation Report has been prepared. DGM (P&D) and AGM (T&C) to go through it.. 31-03-2010; AGM (T&C)/DGM (P&D). |

| 6. | Bidding Document Approval GM’s circular No. T&C/Misc/2001 dated 28/12/2009, issued indicating the procedure to call for Bids using SBDs. Two formats (for document approval and calling of bids) in sending documents to T&C Section also included in the circular. This circular to be scanned and uploaded to the Web.. AGM (Doc). |
| --- | --- |
| 7. | Endurance test for stop valves. PD (GKWSP) has taken initiative to call tenders to Design & Build a machine at Kandy. A professional team comprise of Peradeniya University Lecturers and Kandy Municipality Officer involved in assembling, operation and maintenance of the machine. |
|  | AGM (Production) is processing to purchase a machine. He has gone through the documents prepared by PD (GKWSP) and prepared specifications accordingly. The document is prepared for Supplying and Delivery of the machine and it will be sent to AGM (T&C) for document approval by 17/03/2010.. AGM (Production). |
| 8 | Translation of Technical Circulars to Tamil and Sinhala Language. GM has principally approved payment. SBDRC decided to obtain approval from Finance Committee on the amounts of payments to make a payment to Engineers for Translation of Technical circulars.. AGM(Doc). |
| 9. | Uploading Specification to NWSDB Web |
|  | Specifications of Alum, Lime, Bleaching Powder, Water Meter, DI Pipes, PE pipes to be uploaded to NWSDB Web, which could be read by general public also.. After next meeting; AGM(Doc). |

| 10. 10.1 | Any other Issues DPC Decision No. 23/2010 dated 22-01-2010 Pre Qualification of Manufacturers for Supply & Delivery of DI Pipes and Fittings The decision is as follows, “DPC went through the DG (General Treasury)’s letter No. PF/P/03/Policy-C/ri dated 01/02/2010 and noted that NPA’s position on this issue is to have an independent inquiry at Departmental Level. Further DPC noted that any meaningful inquiry will not be possible on this as the manufacturer is a foreign party. Therefore, DPC dropped the idea of having an inquiry and decided to reconsider this item at the end of March 2010.” |
| --- | --- |
|  | However SBDRC decided that this manufacturer should be considered only after end of this pre-qualification period and inform to DPC.. AGM (Doc)/ AGM (T&C). |
| 10.2 | DPC Decision No. 326/2009 dated 03-11-2009 Opening of Letter of Credit by NWSDB for Supply Contracts The decision is as follows, “1. For all procurement exceeding DPC authority limit, pre shipment inspection report by a team of Specialist NWSDB officials shall be obtained before releasing the 75% payment. This pre shipment inspection would be in addition to the normal inspection carried out by the approved inspection agency. 2. For procurements within DPC authority limit where the supply is from a new source/supplier or for procurement of specialized item such as pumps, motors etc, pre shipment inspection report by a team of specialist NWSDB officials in addition to the normal inspection by approved inspection agency shall be obtained before releasing the 75% payment. 3. For all other procurements within the DPC authority limit only the pre shipment inspection report by an approved inspection agency shall be obtained before releasing the 75% payment.” |
|  | SBDRC is in agreement with the above decision. But problems may arise in implementing decision 3. Several cases to be studied and take a decision at the next meeting.. SBDRC. |
| 10.3 | Warning Tape A letter from PD (TNCWSP) was discussed and decided to check the specification for elongation of warning tapes.. AGM (Doc)/ PD (TNCWSP). |
| 10.4 | Attorney Generals Comments Attorney Generals comments to be circulated among SBDRC meeting before include into SBDs.. 12-03-2010; AGM (Doc). |
| 10.4 | Minutes of the Meeting on Price Variation in Capital Projects Minutes of the meeting on Price Variation in Capital Projects held on 14th December 2009 to be uploaded to NWSDB Web.. AGM (T&C). |
| 10.5 | Awareness Programme of using of SBDs Awareness programme of using of SBDs to be conducted RSC wise.. AGM (Doc). |
|  | The meeting concluded at 12.10 p.m. |