MINUTES OF THE STANDARD BIDDING DOCUMENT

# REVIEW COMMITTEE MEETING NO.03/2010

Date	: 20.04.2010

Time	: 1.30 p.m.

Venue: Addl. G.M (Sewerage)’s Office

Present:

- Eng.  G.A. Kumararathna		-	Addl. G.M (S)	      -	Chairman

- Eng.  (Ms). G.S. Munasinghe	-	Addl. G.M (CS)	      -	Member

- Eng.  D.S.D. Jayasiriwardene	-	DGM (P&D)		      -  Member

- Eng.  K.R. Dewasurendra		-	DGM (Western -S)	      -	Member

- Eng.  M. Abeysekara		-	AGM (M&E-Services)   -  Member

6.	Eng.  U.C. Pathiranage		-	AGM (P&D – Doc)	      -	Member

7.	Eng.  R.A.A. Ranawaka		-	AGM (T&C)		      -	Member

8.	Mrs.  A.P.S. de Silva		-	AGM (F)		      -	Member

9.	Eng.  K. H.  Nandisena           	- 	CE (P&D-Doc)	      -	Secretary

10.	Eng.  (Ms). K.T.T.K. Premaratne  - 	Eng. (P&D-Doc)

Also circulated to:

Chairman,  Vice Chairman, Working Director

General Manager

Addl. GMM (WSP, P&P, Western, N/C,  S/E)

DGM (Dev), DGMM (RSC) – [Western –C, Western N, Southern, Uva &  Sab, Central, NW, NC, N, East]

AGMM (P&D)

Project Directors, AGM (Supplies)

| 1. | Previous minutes were confirmed. |  |  |
| --- | --- | --- | --- |
| 1.1. | Translation of Technical Circulars to Tamil and Sinhala Language. GM has approved to make payments to Engineers for Translation of Technical circulars. SBDRC decided to use methods given in Public Administration Circular 12/2003 dated 11-12-2003 in making payments.. Decision confirmed. |
| 1.2 | Selling Price of Volume 1 of Goods/DI pipes Above SBDs can be sold to interested outside parties at Rs. 1000/- per copy.. Decision confirmed. |
| 2. | Evaluation Guidelines. a; Training Training programme was conducted for Higher Officers and it has been continued for other Engineers / Accountants in to next 3 batches.. Action: AGM (T&C). b; Sample Technical Evaluation Report A sample Evaluation Report has been prepared. DGM (P&D) and AGM (T&C) to finalize it and circulate among SBDRC.. 15-05-2010; Action: AGM (T&C)/DGM (P&D). |
| 3 3.1 3.2 |  | Stop Valves Correct name of the item is “Stop Valve”. Action: AGM (Doc). Endurance test for stop valves. PD (GKWSP) has taken initiative to call tenders to Design & Build a machine at Kandy. A professional team comprise of Peradeniya University Lecturers and Kandy Municipality Officer involved in assembling, operation and maintenance of the machine. |  |

| 3.3 | Specifications for Stop Valves PD (GKWSP) will arrange a workshop on above. Specification committee, AGM (Doc) and other interested SBDRC members to participate and outcome of the workshop shall be discussed at the SBDRC meeting.. Within a Month; Action: PD(GKWSP); Follow up: AGM (Doc). |
| --- | --- |
| 4. 4.1 | Financial Matters Payment to SBD Preparation and Review Committees A letter to be sent to Secretary (Ministry of Finance & Planning) through Secretary (Ministry of Water Supply & Drainage.. 15-05-2010; Action: DGM (P&D). |
| 5. 5.1 | DPC Decision No. 326/2009 dated 03-11-2009 Opening of Letter of Credit by NWSDB for Supply Contracts The decision of DPC is as follows, “1. For all procurement exceeding DPC authority limit, pre shipment inspection report by a team of Specialist NWSDB officials shall be obtained before releasing the 75% payment. This pre shipment inspection would be in addition to the normal inspection carried out by the approved inspection agency. 2. For procurements within DPC authority limit where the supply is from a new source/supplier or for procurement of specialized item such as pumps, motors etc, pre shipment inspection report by a team of specialist NWSDB officials in addition to the normal inspection by approved inspection agency shall be obtained before releasing the 75% payment. 3. For all other procurements within the DPC authority limit only the pre shipment inspection report by an approved inspection agency shall be obtained before releasing the 75% payment.” |
|  | SBDRC is in agreement with the above decision. But problems may arise in implementing decision 3 as 75% of the payment is released to the manufacturer without any testing by the NWSDB. Hence committee decided to add a clause to the SBD’s stating that any defect of goods should be replaced by the contractor, with no additional cost to the Board, ensuring timely completion of the Project, and if the contractor does not agreed to do so, an immediate action shall be taken to suspend issuing bidding documents to the supplier and thereafter action shall be taken to blacklist the supplier. A Form will be included in the bidding document to obtain manufacturer’s consent for the above in the bidding itself. A warranty format also to be included in the SBD.. Included in the SBDs. |

| 5.2 | AGM (Supplies) contacted Ceylon Shipping Corporation Ltd. for using the vessels of shipping corporation of Sri Lanka and reported to DPC.. |
| --- | --- |

| 5.3 | DPC Decision No. 79/2010 Report on Reservation of Government Sector Import Cargo for Ceylon Shipping Corporation Ltd. |
| --- | --- |
|  | Further to Item 5.1 DPC has been discussed and decision is as follows; - Invite offers for purchases exceeding RPC authority limits on FOB terms or any offer similar to INCO terms excluding freight and freight separately when calling bids. - DPC /MPC/CAPC approval shall be obtained only for the cost of goods. It would then be possible for NWSDB to take up with the CSCL to negotiate the best terms and consider whether it would be cheaper to import on freight payable at destination basis through CSCL. - The SBDs be amended incorporating suitable clause/appendix to safeguard against the supply of unacceptable goods. |
| 6. | Warning Tape A letter from PD (TNCWSP) was discussed and decided to inform the PD to adhere to the specification in the contract. AGM (Doc) to purchase relevant standards and to compare the specification for elongation of various make of warning tapes. Material properties should be checked with the relevant BS standard & then the specification to be finalized. Details at projects such as Kaluganga, TNCWSP, GKWSP, etc, to be collected.. 31-05-2010; Action: AGM (Doc). |
| 7. | Attorney Generals Comments on SBDs Attorney Generals comments to be circulated among SBDRC before include into SBDs.. 15-05-2010; Action: AGM (Doc). |
| 8. | Minutes of the Meeting on Price Variation in Capital Projects Minutes of the meeting held at GM’s room and chaired by the GM on “Price Variation in Capital Projects” held on 14th December 2009 to be uploaded to NWSDB Web.. 12-05-2010; Action: AGM (T&C). |
| 9. | Awareness Programme of using of SBDs Awareness programme of using of SBDs to be conducted RSC wise. A booklet to be prepared as a Hand Book. First programme to be conducted for P&D Engineers. Two from RSCs also to be involved.. 30-05-2010; Action: AGM (Doc). |
| 10. | Evaluation of PVC Suppliers Nalota, Prince and Excellent PVC manufacturers requested for participating in NWSDB tenders. SLS-PVC Suppliers to be evaluated, and forwarded to next SBDRC meeting. Those factories to be visited. A format for guarantee should be included in the SBD if fittings are supplied by a separate manufacturers.. Next SBDRC meeting; Action: AGM (Doc)/ AGM (T&C). |
| 11. | SBD for Supply & Installation of M&E Equipment (Water) NWSDB/ SBD/ S&I/ M&E Equipment (Water)/Ver. 1 - Comments from Mr. P.N. Herath (Manager – TEC-N) for specification of the above SBD is sent to SBD committee to review. - A BOQ prepared by AGM (P&D-M&E) is also sent for review so that it could be included in the above SBD. - A letter from CE (P&D-Ampara) also handed over to AGM (M&E-Services) in the meeting in order to consider and correct if necessary. This letter includes that; - The specification for water pumps are repeated in two places as indicated in the attachments of the letter. - The specification for Vertical Turbine Water Pumping Sets in Standard Bidding Documents (Item No. 16) is seem to be mixed up of Specification for Centrifugal Pumping Sets where as Vertical Turbine Water Pumping Sets in Specifications (Sub Item No. 07) is to be the correct document. Pump committee to download the documents from NWSDB Web site and revise important clauses such as eligibility, work experience etc. Convene Mr. Herath to a SBD committee meeting.. 30-05-2010; Action: DGM (M&E)/ AGM (M&E Services). |
| 12. | Ferrules Letter of PD (GKWSP) regarding ferrules was discussed. It was studied when ferrule is fully closed or fully opened, there is no leak through ferrules. But there are leaks at intermediate positions. Therefore SBD committee has to study this and give suggestions to overcome this situation. SBD committee to study and include the suggestions into the standard specification if necessary.. 15-05-2010; Action: Addl. GM (Sewerage). |
| 13. | Hydrated Lime Specifications Colombo Machinery and Equipment Limited and their principal M/s. Ras Al Khaimah Lime Company “NOORNA” of Dubai have discussed with Addl. GM (CS) and confirmed in writing that some constitutes such as Asanic and Lead not included in NWSDB specification as they are not included in SLS standards. SBDRC discussed the issue in detail and decided that, - AGM (Doc) to discuss with AGM (Research) and Chief of Laboratory Services (CLS) and make a recommendation whether change of specifications is necessary. It is also necessary to give the reasons for the decision. - Inform Sri Lankan Standard Institution (SLSI) if it is needed to change the SLS. - Report SBDRC in order to change NWSDB Specifications for future procurement.. 15-05-2010; Action: AGM (Doc). |

| 14. | Water Meter (Domestic & Commercial) NRW Section has ordered 500 Nos Fluid Oscillation meters with AMR (Automatic Meter Reading) Performance of this to be monitored and include into NWSDB Specifications (For both commercial and domestic). Action: AGM (M&E - Services). |
| --- | --- |
| The meeting concluded at 4.30 p.m. |  |

PROGRESS OF SPECIFICATIONS PREPARATION COMMITTEES		          Annex1

As at 23rd April 2010

| Sr No. | Key | Title/Chairman | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 01 | S2. | Specification of DI Pipes, Fittings & Specials, Rubber Rings, Manhole Covers etc. Committee Chairman AGM (Documentation) Mr. U.C. Pathiranage | Completed and uploaded to Web. |  | Up loaded to web |
|  |  |  | Specification of Valves to be prepared | AGM (Doc) 14-05-2010 |  |
| 02 | S3. | Specification for Road Reinstatement. Committee Chairman - AGM (Documentation) Mr. U.C. Pathiranage | The report has been finalized. To be circulated among SBDRC | CE (Doc) 14-05-2010 | Submitted |
| 03 | S6. | a)Specification for Nuts and Bolts with comparison of costs. | Polymer (Polypropylene / Polyethylene) nuts and bolts to be tested on research basis. | AGM (M&E –Services) |  |
|  |  | Committee Chairman - AGM (M&E Services) Mr. M. Abeysekara | Above nuts & bolts (100 nos) are to be imported | AGM (M&E –Services)/ AGM (Supplies) |  |
| 04 | S7. | PE Pipes and Fittings for Sewerage/Water Committee Chairman - AGM (P&D_SE) Mr. K.W. Premasiri | Circulated among SBDRC members. | SBDRC to discuss | Submitted |

PROGRESS OF  SBD PREPARATION COMMITTEES					Annex 2

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 05 | D2. | NWSDB/SBD/RFP/Ver 1 Request for proposals Committee Chairman - DGM (P&D) Mr. D.S.D. Jayasiriwardana | This will apply only for consultants. It seems that 02 SBDs have to be prepared for ADB and JICA. However, see the possibilities of preparing single SBD. To be discussed with Donor Agencies. Works is in progress. | DGM (P&D) 30-05-2010 | Work in progress |
| 06 | D3. | NWSDB/SBD/S&I/Chemical & Chlori/Ver 1 Chlorinators and chemicals equipment Committee Chairman – AGM (P&D – M&E) Mr. B.L. Gunaratne | SBDRC comments for specifications sent to SBD committees. | AGM (P&D – M&E) 15-05-2010 | Resubmission required Work in progress |
|  |  |  | Committee is rearranging the clauses (volume 1) in parallel with the ADB and World Bank Documents. | AGM (P&D – M&E) 15-05-2010 |  |
| 07 | D5 | NWSDB/SBD/S&I/AC/Ver 1 Supply and Installation of Air Conditioners Committee Chairman – PD (Spanish Project) Mr. L.S. Kariyawasam | Specifications completed and uploaded to Web. |  | Uploaded to Web |
|  |  |  | AGM (Doc) to go through the SBD | AGM (Doc) 15-05-2010 | SBD submitted |

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 08 | D6 | NWSDB/SBD/S&I/Photo copier/Ver 1 Supply and Installation of Photo copy machine & Office Equipment. Committee Chairman – AGM (M&E – Services) Mr. Mangala Abeysekara | Specification submitted |  | Uploaded to Web |
|  |  |  | SBD prepared by Documentation Unit and forwarded to the SBD committee for comments. | AGM (M&E –Services) 14-05-2010 |  |
| 09 | D8 | NWSDB/SBD/Service Connection/Ver 1 SBD for Service Connection Committee Chairman – AGM (Western – C) Mr. Nalin Wickramatunga | Rearranged the document using ICTAD Minor Works Contract SBD (ICTAD/SBD/03). Comments received from SBD committee incorporated and sent to RSC (Western-Central) for further verification prior to uploading | Action : CE – P&C (Western-Central) 25-05-2010 Follow up : AGM (Doc) | Submitted |
| 10 | D9 | NWSDB/SBD/Design & Build/Ver1 Design & Build Document - FIDIC Committee Chairman – DGM (P&D) Mr. D.S.D Jayasiriwardana | SBDRC comments to be included. | AGM (Doc) 15-05-2010 | Submitted |

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 11 | D10 | NWSDB/SBD/Civil – FIDIC/Ver 1 SBD for Foreign Funded Project – Work Contracts designed by the Employer. Committee Chairman DGM(Western-S) Mr. K.R. Devasurendra | Workshop on comparison and contrast of FIDIC 1987 and FIDIC 1999 was done. Comparison of Conditions of Contract for Construction FIDIC 1999 Version and Harmonized Edition will be arranged in near future. | AGM(Doc)/ DGM (P&D) 30-05-2010 | SBD committee to meet |
| 12 | D11 | NWSDB/SBD/Civil- Major / Ver 1 Civil Works (Major Construction) for above 100 million. Committee Chairman – PD (TNCWSP- II) Mr. R.H. Ruvinis | Draft already completed. Circulated among SBDRC for comments and to be discussed. | SBDRC to discuss | Submitted |
| 13 | D12 | NWSDB/SBD/Service- Hiring Vehicles/Ver 1 Hiring of vehicles. Committee Chairman – C.E ( E&M ) Mr. A.R.D. Attanayake | Document is being rearranged | AGM(Doc) 15-05-2010 | Submitted |
|  |  |  | Sinhala SBD to be submitted | 30-06-2010 |  |
|  |  |  | Tamil version will be arranged by the Documentation Section, when English SBD is received. | AGM (Doc) 30-06-2010 |  |

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 14 | D13 | NWSDB/SBD/Bulk Meters/ Ver 1 Bulk Meters Committee Chairman AGM(M&E Services) Mr. M. Abeysekara | a) A presentation to be arranged with the manufacturer followed by a field visit to see Installed Bulk Meters after discussion with AGM (NRW)/ Manager (NRW). | AGM (Doc)/ AGM (M&E- Services) | Work in progress |
|  |  |  | - AGM (M&E) to provide flowable range of flow meters. Also a meeting to be arranged for OICC concern with some Local Agents of Manufacturers for awareness. | AGM (M&E -Services) |  |

SBDs/Specifications for SBDRC to Discuss

| S.No. | Key | Title | % Completion | Remarks |
| --- | --- | --- | --- | --- |
| SBDs |  |  |  |  |
| 1 | D2 | Request for Proposals | 50% |  |
| 2 | D3 | Chlorinators and Chemical Equipment | 95% |  |
| 3 | D8 | SBD for Service Connection | 98% |  |
| 4 | D9 | Design & Build Document –FIDIC | 50% |  |
| 5 | D10 | SBD for Foreign Funded Project – Work Contracts designed by the Employer | 30% |  |
| 6 | D11 | Civil Works (Major Construction) for above 100 Million | 100% | Scheduled on 26 May 2010 |
| 7 | D12 | Hiring of Vehicles | 90% |  |
| 8 | D13 | Bulk Meters | - |  |
| Specifications |  |  |  |  |
| 9 | S7 | PE Pipes & Fittings for Sewerage /Water | 100% |  |