MINUTES OF THE STANDARD BIDDING DOCUMENT

# REVIEW COMMITTEE MEETING NO.08/2010

Date	: 21.09.2010

Time	: 1.00 p.m.

Venue: Addl. G.M (Sewerage)’s Office

Present:

- Eng.  G.A. Kumararathna		-	Addl. G.M (S)			-  Chairman

- Eng.  (Ms) G.S. Munasinghe		-	Addl. G.M (CS)		-  Member

- Eng.  D.S.D. Jayasiriwardene	-	DGM (P&D)		 	-  Member

- Eng. (Ms) K.T.P. Fernando		-	DGM (PC)			-  Member

5.	Mrs.  A.P.S. de Silva			-	AGM (F)		      	-  Member

6.  Eng.  M. Abeysekara			-	AGM (M&E-Services)     	-  Member

7.	Eng.  U.C. Pathiranage		-	AGM (P&D – Doc)	      	-  Member

8.	Eng.  R.A.A. Ranawaka		-	AGM (T&C)		      	-  Member

9.	Eng.  K. H.  Nandisena           	- 	CE (P&D-Doc)	      	      	-  Secretary

10.  Eng. (Ms)  M.L. Wijesinghe	  	- 	Eng. (P&D-Doc)

Following Officer was excused

- Eng.  K.R. Dewasurendra		-	DGM (Western -S)	      	-  Member

Also circulated to:

Chairman,  Vice Chairman, Working Director

General Manager

Addl. GMM (WSP, P&P, Western, N/C,  S/E)

DGM (Dev), DGMM (RSC) – [Western –C, Western N, Southern, Uva &  Sab, Central, NW, NC, N, East]

AGMM (P&D), Specialists

Project Directors, AGM (Supplies), AGM (NRW)

| 1. | Previous minutes were confirmed |
| --- | --- |
| 1.1 | Endurance Test for Stopvalves |
|  | Reading of Endurance Test Machine can be challenged by Suppliers/Manufacturers. Therefore, accreditation for the machine should be obtained from SLSI. |
|  | PD (KGWSP) has sent a letter to SLSI in order to obtain an accreditation certificate.. End of 2010; Action: PD (GKWSP); Follow up: AGM (Doc). Decision confirmed. |
| 2. | Evaluation |
| 2.1 | Evaluation Guidelines |
|  | Sample Technical Evaluation Reports for - Civil Works - Supply of DI pipes and fittings - Supply and installation of pumps to be discussed by the committee comprising DGM (P&D), AGM (M&E-Services), AGM (Doc) and AGM (T&C). |
|  | Finalized three (03) reports to be forwarded to SBDRC.. 30-10-2010; Action: AGM (Doc). |
| 2.2 | Evaluation of PVC Suppliers a); A recommendation report to be written for DPC.. Next SBDRC meeting; Action: AGM (Doc). |
|  | b); A factory inspection to be arranged for SBDRC members.. 30-10-2010; Action: AGM (T&C). |

| 3. | Specifications |
| --- | --- |
| 3.1 | Polypropylene Nuts & Bolts |
|  | a); A L/C has been opened in order to purchase 100 nos. Polypropylene nuts & bolts.. 15-10-2010; Action: AGM (Supplies); Follow up: AGM (M&E-Services). |
|  | b); Necessary tests to be carried out and to be installed in coastal area and monitor for sometime.. 15-11-2010; Action: AGM (M&E-Services). |
| 3.2 | Ferrules There are leaks at intermediate positions. Therefore SBD committee has studied letter of PD (GKWSP) regarding ferrules and given suggestions to overcome this situation. Also they have requested to get DGM (M&E) opinion before included into SBD. DGM (M&E) studied the Specification Committee suggestion and sent his observation. DGM (M&E)’s comments to be circulated among SBDRC members for their comments.. 15-10-2010; Follow up: AGM (Doc). |
| 3.3 | Warning Tape a); A specification for Warning Tape has been prepared and circulated among SBDRC members for comments.. 05-10-2010; Action: SBDRC Members. |
|  | b); Cost of the Warning Tape to be obtained from Project Director’s and Web.. Next SBDRC meeting; Action: AGM (Doc). |
|  | DGM (Western-S) stated that in previous SBDRC meeting, when connections are given pipe fitters cut the warning tape as it is difficult to give connection with the warning tape. SBDRC is of the view that the correct type of warning tape which allow elongation for easy workmanship to be used. |
|  | c); It is noticed that low quality warning tapes are being used in some contracts. Therefore, a letter to be sent to PDs stating that correct specifications to use under the signature of Addl. GM (Sewerage) Chairman-SBDRC.. 15-10-2010; Action: AGM (Doc). |
| 3.4 | Hydrated Lime Specifications Colombo Machinery and Equipment Limited and their principal M/s. Ras Al Khaimah Lime Company “NOORNA” of Dubai have discussed with Addl. GM (CS) and confirmed in writing that some constituents such as Arsenic and Lead not included in NWSDB specification as they are not included in SLS standards. |
|  | a) b) c); AGM (Doc) has discussed with AGM (R&D) and Chief of Laboratory Services (CLS) and asked them to make a recommendation whether a change of specifications is necessary. It is also necessary to give the reasons for the decision. Same also informed in-writing. Report to SBDRC in order to change NWSDB Specifications for future procurement. Inform Sri Lankan Standard Institution (SLSI) if it is needed to change the SLS.. 15-10-2010; Action: AGM (Doc). |
| 4. | Prequalification |
|  | Conclusions of working Groups of the workshop held at Kandy organized by Greater Kandy Water Supply Project on Prevention of Non Revenue Water and Conservation of Treated Water on 9th June 2010 were discussed. All Groups have recommended to Pre-qualify Manufacturers of Valves, Stopvalves, Ball Valves and Gunmetal Ferrules in order to avoid non standard products entering into the procurement process. The committee decided to Pre-qualify Manufacturers of, - Valves for pipe laying - Couplings - Appliances on water services (Brass Stopvalves, PVC Ball Valves and Gunmetal Ferrules) |
|  | DPC approved to pre-qualify manufacturers. The same DI-PQ committee appointed. Documentation Section to prepare necessary three (03) Documents.. 15-10-2010; Action: AGM (Doc). |
| 5. 5.1 | Financial Matters Payment to SBD Preparation and Review Committees A Board Paper to be forwarded.. 15-10-2010; Action: AGM (Doc). |
| 6. | Legal |
| 6.1 | Attorney Generals Comments on SBDs Attorney General’s (AG) comments on FIDIC Conditions for Ambatale Energy Conservation Project circulated among SBDRC members. AG’s comments for all projects should be indicated in a single page so that it is easier to read and arrive at a decision.. 30-10-2010; Action: AGM (Doc). |
| 6.2 | Clarification on Company Act by Attorney General |
|  | a); The committee decided to tabulate the questions indicating the current procedure which followed by NWS&DB and send to AG under the signature of GM.. 30-10-2010; Action: AGM (Doc). |
|  | b); Original and corrected contract documents of unsolicited projects to be kept at Tendering Section.. Continually; Action: AGM (T&C). |
| 7. | Water Meter (Domestic & Commercial) a); NRW Section has purchased 200 Nos Fluid Oscillation meters with digital reading.. |
|  | b); AGM (NRW) informed over the phone that about Thirty Five (35) water meters have been installed. About ten (10) Water Meter installed in series in order to check the reading.. |
|  | c); These to be monitored for four months and include into specifications if necessary.. 30-11-2010; Action: AGM (M&E - Services). |

|  | d); A fluid oscillation meter, with another meter in series were installed at a Temple and indicated the same reading to be followed up.. Next SBDRC Meeting; Action: Manager (NRW); Follow up: Addl. GM (Sewerage). |
| --- | --- |
| 8. | Bulk Meters AGM (NRW) participated for the item and explain the position of Bulk meters. |
|  | a); AGM (M&E-Services) will study the position of Bulk Water Meter at Pelanwatta and Panadura area.. 15-10-2010; Action: AGM (M&E-Services). |
|  | b); AGM (NRW) will arrange a inspection visit for SBDRC members, and selected team from P&D on 08th October 2010.. 08-10-2010; Action: AGM (NRW); Follow up: AGM (Doc). |
|  | c); SBDRC decided that a meeting to be arranged among the following officers in order to, - prepare a guideline for selection, installation and maintenance of Bulk Meters - finalize a board policy on purchasing the same The participants will be; - GM - All Addl. GMs - All DGM’s in RSC - All SBDRC Members - DGM (M&E) & Bulk Meter Committee - AGM (M&E-Services) & SBD preparation committee. 30-10-2010; Action: DGM (P&D)/AGM (Doc). |
| 9 | Performance Guarantee Extension – Building & Civil Works DGM (F) has forwarded a letter No. PF/P/03/Policy-Clri (15) dated 26-04-2010 from Additional Director General (Procurement Management Division) of Department of Public Finance. By DGM (F) letter he requested to forward 02 different Performance Guarantee without extending original guarantee. It seems that by implementing DGM (F)’s letter contractors may face difficult situation. |

|  | A reminder also has been sent to NPA by GM’s signature asking for further clarification.. Next SBDRC Meeting; Follow up: AGM (Doc). |
| --- | --- |
| 10 | DI Supply SBD Clause for Mutual Termination |
|  | DGM (Audit) in his report for Kalutara Water Supply (Augmentation), Supply of DI Pipes and Fittings contract suggested that a clause for “mutual termination” to be included. |
|  | SBDRC discussed the issue and written to FIDIC and ICTAD asking their views.. Next SBDRC Meeting; Follow up: AGM (Doc). |
| 11 | Report on Assessment of Accredited Laboratories DPC Decision No. 119/201 DPC decided that following laboratories are acceptable for the testing of Solid Metal Composition. However none of these laboratories have received accreditation. - Industrial Development Board (IDB) - Industrial Technology Institute (ITI) - Atomic Energy Authority (AEA) DPC decided that laboratories of ITI, IDB and Rubber Research Institute (RRI) are acceptable for rubber testing. However, only ITI has got accreditation for rubber testing. |
|  | Details of tests performed for solid Metal Composition, through outside Agencies to be forwarded to AGM (T&C) in order to get the rates.. 15-10-2010; Action: CME (Workshop); Follow up: AGM (M&E-Services). |

| 12. | GM’s Circular on Provisional Sums to be provided in the Preliminary Bill of Tenders for Procurement of Works |
| --- | --- |
|  | A letter has been sent to GM under the signature of Addl. GM (Sew), Chairman –SBDRC, with copy to Chairman and DGM (F) indicating that, - Comply with the GM’s circular No. AGM(Doc)/STD Doc/02 dated 07th August 2006 - Explaining the fundamental of itemizing of a BOQ. |

| 13. | Monitoring the Performance of Contractors/Suppliers |
| --- | --- |
|  | General Manager has appointed 03 member committee chaired by Mr. K.R. Dewasurendra (DGM-Western South) for above task. |
|  | Some details to be collected from RSCs.. 30-10-2010; Action: DGM (PC); Follow up: DGM (Western-South). |
| The meeting concluded at 3.30 p.m. |  |

Annex1

PROGRESS OF SPECIFICATIONS PREPARATION COMMITTEES

As at 31st August 2010

| Sr No. | Key | Title/Chairman | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 01 | S2. | Specification of DI Pipes, Fittings & Specials, Rubber Rings, Manhole Covers etc. Committee Chairman AGM (Documentation) Mr. U.C. Pathiranage | Specification have been circulated for SBDRC members for their comments. | SBDRC 13-10-2010 | Submitted |
|  |  |  | A training on selection of valves to be arranged for valve committee. | DGM (P&D) |  |
|  |  |  | A presentation from A/V Manufacturer to be arranged for Engineers in designing of AVs. Details to be discussed at the next SBDRC meeting. | AGM (Doc) 30-11-2010 |  |
| 02 | S7. | PE Pipes and Fittings for Sewerage/Water Committee Chairman – AGM (Dev-WC) Mr. K.W. Premasiri | Specification for PE pipes and fittings for water has been uploaded to Web. Specification for PE pipes and fittings for Sewer has been prepared and circulated for SBDRC members for comments. To be discussed on 13-10-2010. | SBDRC 13-10-2010 | Uploaded |
| 03 | S8. | Specification for Hydraulic and Electrical Surge Arresters Committee Chairman AGM (P&D-M&E) Mr. B.L. Gunarathne | Committee has been appointed. | AGM (P&D-M&E) 30-10-2010 |  |

PROGRESS OF  SBD PREPARATION COMMITTEES

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 04 | D2. | NWSDB/SBD/RFP/Ver 1 Request for proposals Committee Chairman - DGM (P&D) Mr. D.S.D. Jayasiriwardene | Circulated among SBDRC members for their comments. To be discussed on 13-10-2010. | SBDRC 13-10-2010 | Submitted |
| 05 | D3. | NWSDB/SBD/S&I/ Chemical & Chlori/Ver 1 Chlorinators and chemicals equipment Committee Chairman – AGM (P&D – M&E) Mr. B.L. Gunaratne | SBD submitted. AGM (Doc) to go through before circulation among SBDRC. | AGM (Doc) 20-11-2010 | Submitted |
| 06 | D8 | NWSDB/SBD/Service Connection/Ver 1 SBD for Service Connection Committee Chairman – AGM (Western – C) Mr. Nalin Wickramatunga | Rearranged the document using ICTAD Minor Works Contract SBD (ICTAD/SBD/03). Comments received from RSC (Western-Central) and to be included into SBD. | AGM(Doc) 15-11-2010 | Submitted |
| 07 | D9 | NWSDB/SBD/Design & Build/Ver1 Design & Build Document - FIDIC Committee Chairman – DGM (P&D) Mr. D.S.D Jayasiriwardene | SBDRC comments has included and will be circulated among SBDRC members for their comments. | AGM (Doc) 08-10-2010 | Submitted |

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 08 | D10 | NWSDB/SBD/Civil – FIDIC/Ver 1 SBD for Foreign Funded Project – Work Contracts designed by the Employer. Committee Chairman DGM(Western-S) Mr. K.R. Devasurendra | Workshop on comparison and contrast of FIDIC 1987 and FIDIC 1999 was done. Comparison of Conditions of Contract for Construction FIDIC 1999 Version and Harmonized Edition will be arranged in near future. Draft SBD to be prepared based on the FIDIC Harmonize Edition. | AGM(Doc)/ DGM (Western-S) 30-10-2010 | Work in progress |
| 09 | D11 | NWSDB/SBD/Civil- Major / Ver 1 Civil Works (Major Construction) for above 100 million. Committee Chairman – PD (TNCWSP- II) Mr. R.H. Ruvinis | SBDRC discussed on 26-05-2010 and comments to be included to the SBD. To be uploaded to Web. | AGM (Doc) 12-10-2010 | Submitted |
| 10 | D12 | NWSDB/SBD/Service- Hiring Vehicles/Ver 1 Hiring of vehicles. Committee Chairman – C.E ( E&M ) Mr. A.R.D. Attanayake | English SBD uploaded to Web. |  | Uploaded |
|  |  |  | Sinhala SBD to be submitted. | CE (E&M-Western Central) 15-10-2010 |  |
|  |  |  | Tamil version will be arranged by the Documentation Section, when English SBD is received. | Mr. Sarawanakugan (Eng. -P&D) 15-10-2010 |  |

Outstanding SBDs/Specifications

| S.No. | Key | Title | % Completion | Remarks |
| --- | --- | --- | --- | --- |
| SBDs |  |  |  |  |
| 1 | D2 | Request for Proposals | 100% | * 1 |
| 2 | D3 | Chlorinators and Chemical Equipment | 98% | * 1 |
| 3 | D8 | SBD for Service Connection | 98% | * 1 |
| 4 | D10 | SBD for Foreign Funded Project – Work Contracts designed by the Employer (FIDIC) | 50% | * 1 |
| 5 | D11 | Civil Work (Major) | 100% | * 2 |
| 6 | D12 | Hiring of Vehicles (Sinhala) | 60% | * 1 |
| 7 | D12 | Hiring of Vehicles (Tamil) | 50% | - |
| 8 | D13 | Bulk Meters | - | - |
| Specifications |  |  |  |  |
| 9 | S2 | Specification for Valves | 100% | * 1 |
| 10 | S7 | PE Pipes & Fittings for Sewerage | 100% | *1 |
| 11 | S8 | Hydraulic and Electrical Surge Arresters | 10% | - |

Note :

* 1 – Documents to be discussed by the SBDRC members.

* 2 – Documents discussed at the SBDRC meeting and the comments to be included to SBD.