MINUTES OF THE STANDARD BIDDING DOCUMENT

# REVIEW COMMITTEE MEETING NO.01/2011

Date	: 18.01.2011

Time	: 1.30 p.m.

Venue: Addl. G.M (Sewerage)’s Office

Present:

- Eng.  G.A. Kumararathna		-	Addl. G.M (S)			-  Chairman

- Eng.  (Ms) G.S. Munasinghe		-	Addl. G.M (CS)		-  Member

- Eng.  D.S.D. Jayasiriwardene	-	DGM (P&D)		 	-  Member

- Eng.  K.R. Dewasurendra		-	DGM (Western -S)	      	-  Member

5.	Mrs.  A.P.S. de Silva			-	AGM (F)		      	-  Member

6.  Eng.  M. Abeysekara			-	AGM (M&E-Services)     	-  Member

7.	Eng.  U.C. Pathiranage		-	AGM (P&D – Doc)	      	-  Member

8.	Eng.  K. H.  Nandisena           	- 	CE (P&D-Doc)	      	      	-  Secretary

9.  Eng. (Ms)  M.L. Wijesinghe	  	- 	Eng. (P&D-Doc)

Excused :

Eng. (Ms) K.T.P. Fernando                     -		DGM (PC)			- Member

Eng. R.A.A. Ranawaka                            -		AGM(T&C)			- Member

Also circulated to:

Chairman,  Vice Chairman, Working Director

General Manager

Addl. GMM (WSP, P&P, Western, N/C,  S/E)

DGM (Dev)/(F), DGMM (RSC) – [Western –C, Western N, Southern,

Uva &  Sab, Central, NW, NC, N, East]

AGMM (P&D), Specialists

Project Directors, AGM (Supplies)

| 1. | Previous minutes were confirmed |
| --- | --- |
| 2. | Evaluation |
| 2.1 | Evaluation Guidelines |
|  | A sample Technical Evaluation Report has been prepared to include, - Civil Works - Supply of DI pipes and fittings - Supply and installation of pumps by the Committee comprising DGM (P&D), AGM (M&E-Services), AGM (Doc) and AGM (T&C). The report was distributed among SBDRC members, |
|  | Comments of SBDRC members to be given. 15-02-2011; Action: SBDRC members. Life cycle cost to be given by AGM (M&E-Services). 15-02-2011; Action: AGM (M&E). |

| 3. | Specifications |
| --- | --- |
| 3.1 | Polypropylene Nuts & Bolts |
|  | a); Polypropylene nuts & bolts have been received.. |
|  | b); Necessary laboratory tests to be carried out.. 28-02-2011; Action: CE (WS); Follow up: AGM (M&E-Services). |
|  | c); Twenty (20) nos. sets of nuts and bolts to be sent to DGM (Southern) for fixing in Dickwella area.. d) e); Sixty (60) nos. sets of nuts and bolts to be sent to DGM (Western-South) to install in corrosive area. A letter to be sent to DGM (RSC-South) and DGM (RSC-Western – South) stating that these nuts and bolts should be inspected after 06 months time and hence it should be installed, where it can be inspected.. Immediately; Action: AGM (Doc). |
| 3.2 | Ferrules There are leaks at intermediate positions. Therefore SBD committee has studied letter of PD (GKWSP) regarding ferrules and given suggestions to overcome this situation. Also they have requested to get DGM (M&E) opinion before included into SBD. |
|  | DGM (M&E) studied the Specification Committee suggestion and sent his observation, which is contradictory to SBD Committee Recommendation. |
|  | A discussion to be arranged among SBD Committee, DGM(M&E), PD(GKWSP) in order to arrive at a decision, on next SBDRC meeting.. Next SBDRC meeting; Action: AGM (Doc). |
| 3.3 | Endurance Test for Stopvalves Reading of Endurance Test Machine can be challenged by Suppliers/Manufacturers. Therefore, accreditation for the machine should be obtained from SLSI. A discussion has been conducted with SLSI on 28th October 2010. Sectoral Committee of Materials and Mechanical System of SLSI has decided to constitute a Working Group to assist the Sectoral Committee for Formulation of National Standard in the area of Pipe Fitting and the Accessories (Metallic). The main responsibility of the Working Group is to support the work of the Sectoral Committee on technical aspects of standard formulation for expedite the decision making process of Sectoral Committee. Normally meetings are held once a month. SLSI requested to make arrangements to nominate one expert who has knowledge in the subject of Pipe Fittings and Accessories (Metallic) to serve as a member of the above Working Group. SLSI has sent the TOR of the working committee.. |
|  | Eng. K.W. Premasiri, AGM (Dev-WC) and Eng. B.L. Gunarathna AGM (P&D-M&E) were nominated as members of the working Group. To be informed to SLSI.. 28-01-2011; Action: AGM (Doc). |

| 3.4 | Hydrated Lime Specifications 3.4 H |
| --- | --- |
|  | AGM (R&D) and CLS has been informed to study the Europeon, American, Indian, Japanese and Chinese Standards and prepare a report with their recommendation with justification to their recommendation which can be sent SLSI in order to amend the SLS 682:1984 for Hydrated Lime. Relevant Standards could be purchased if identifications of these Standards are informed to AGM (Doc).. 15-02-2011; Action: AGM (Doc)/AGM (R&D). |
| 3.5 | PVC Clamp Saddles - Excellent PVC (Private) Limited |
|  | The excellent PVC (Private) Limited complained in a letter dated 25th November 2010 address to the GM that, they do not get quotations / tenders for PVC fittings such as Clamp Saddles. When Specifications for Clamp Saddles were prepared all PVC manufacturers/Suppliers were convened on 13-08-2009 and listed on follows; - Industrial Plastics (Pvt.) Ltd., - Kamal PVC Industries (Pvt.) Ltd., - Excelent PVC (Pvt.) Ltd., - Central Industries PLC, - Prince Plastics Industries (Pvt.) Ltd. - St. Anthonys Industries Group (Pvt.) Ltd. - Duro Pipe Industries (Pvt.) Ltd. Therefore a letter to be sent to DGM(RSCs) under GM’s signature to call Bids/quotations for Clamp Saddles from above list too.. 28-01-2011; Action: AGM (Doc). |
| 3.6 | Brass Unions at Water Meters |
|  | According to letter No m%d fia uo/04/04/úú/2010/07 dated 2010-12-29 on c, udml i¦yd iúlrkq ,nk ms;a;, hqkshka mrSlaId lsrsu Brass Unions of Water Meters have been replaced with faucet sockets in order to avoid illegal water connections. |
|  | International Standards is to install domestic Water Meters with Brass Unions with safety locks. This should not be modified to replace the Unions with solvent cement faucet socket. |
|  | This message should be Circulated among all RSCs by a GM’s circular.. 28-02-2011; Action: AGM (Doc). |
| 3.7 | Uploading of Specification |
|  | All specification to be uploaded to general page of web so that General Public could refer.. Immediately; Action: AGM (Doc). |
| 4. | Prequalification (PQ) |
|  | Conclusions of working Groups of the workshop held at Kandy organized by Greater Kandy Water Supply Project on Prevention of Non Revenue Water and Conservation of Treated Water on 9th June 2010 were discussed. All Groups have recommended to Pre-qualify Manufacturers of Valves, Stopvalves, Ball Valves and Gunmetal Ferrules in order to avoid non standard products entering into the procurement process. The committee decided to Pre-qualify Manufacturers of, - Valves for pipe laying - Couplings - Appliances on water services (Brass Stopvalves, PVC Ball Valves and Gunmetal Ferrules) |
|  | DPC approved to pre-qualify manufacturers. The same DI-PQ committee was appointed. Documentation Section to prepare necessary three (03) Documents. |
| 4.1 | PQ of Valves Annual Water Board requirement of valves has been decided as follows considering of details sent by PDs. Larger Diameter Sluice Valves 500 Nos/year Smaller Diameter Sluice Valves 1000 Nos/year Air Valves 300 Nos/year Larger Diameter Butterfly Valves 200 Nos/year Smaller Diameter Butterfly Valves 500 Nos/year Refer several catalogues and above requirement, decide upon the manufacturing capacity. The PQ document to be circulated among SBDRC for comments.. 09-02-2011; Action: AGM (Doc). |

| 4.2 | Couplings |
| --- | --- |
|  | Couplings document will be done by end of February. 28-02-2011; Action: AGM (Doc). |

| 4.3 | PQ of Other Appliances on Water Service Connection |
| --- | --- |
|  | PQ document will be prepared after preparation of PQ -couplings document.. 31-03-2011; Action: AGM (Doc). |
| 5. | Financial Matters Payment to SBD Preparation and Review Committees |
|  | A Board Paper has been forwarded to Chairman. To be taken up at the next Board meeting.. Follow up: Addl.GM(Sew). |

| 6. | Legal |
| --- | --- |
| 6.1 | Attorney Generals Comments on SBDs Attorney General’s (AG) comments circulated among SBDRC members. To be discussed at SBDRC meeting.. 09-02-2011; Action: AGM (Doc). |
| 7. 7.1 | Post Contract Issues Originals of Unsolicited Proposals It is noticed that original proposal of unsolicited projects is not kept securely, for future use. Prepare a procedure for keeping originals of unsolicited proposals of Water Supply to be kept at Addl. GM (P&P) and Sewerage proposals to be kept at Addl. GM (Sew). After next meeting; Action: AGM (T&C). |
| 7.2 | Performance Guarantee Extension – Building & Civil Works DGM (F) has forwarded a letter No. PF/P/03/Policy-Clri (15) dated 26-04-2010 from Additional Director General (Procurement Management Division ) of Department of Public Finance. By DGM (F) letter he requested to forward 02 different Performance Guarantee without extending original guarantee. It seems that by implementing DGM (F)’s. letter contractors may face difficult situation. |
|  | A reminder also has been sent to NPA by GM’s signature asking for further clarification. Another letter has been sent to Director General of Department of Public Finance, under Chairman’s signature asking for further clarification annexing above letter.. Next SBDRC Meeting; Follow up: AGM (Doc). |
| 7.3 | SBD for DI Supply, Clause for Mutual Termination DGM (Audit) in his report for Kalutara Water Supply (Augmentation), Supply of DI Pipes and Fittings contract suggested that a clause for “mutual termination” to be included. SBDRC discussed the issue and written to FIDIC for asking their views. Another letter also has been sent to FIDIC in order to get a reply. |
|  | AGM (Doc) to arrange a discussion with FIDIC expert at WWDP-RM&JE Catchments Project. 15-02-2011; Action: AGM (Doc). |
| 7.4 | Civil SBDs |
|  | Average annual volume of construction work requirement should be reduced as maximum as possible considering JICA, ADB and World Bank SBDs.. 10-02-2011; Action: AGM (Doc). |
| 7.5 | Problems Relating to Delays in Supplying of Imported Material by Manufactures The letter No. RSC-C/Gr.Kandy/PC/18/0126 dated 10th Jan 2011 on the above by PD(GKWSP) was discussed by SBDRC. |
|  | A format titled as “Conformation of production capacity and supply according to program” to be included in all civil SBDs. Manufacturer should sign in above forms confirming that he has sufficient capacity to produce and to supply as indicated in the contract document. 10-02-2011; Action: AGM (Doc). |

| 8. | Water Meter (1/2 Fluid Oscillation meters) |
| --- | --- |
|  | NRW Section has purchased 200 Nos Fluid Oscillation meters with digital reading. |
|  | AGM (NRW) was requested to install those meters in critical areas such as areas with partial flow and air trapped after getting approval from JICA. Kandy may be one such place as there is a JICA project in progress. After collecting all details of Ground situation, prepare a report and forward to GM for further action.. Next SBDRC meeting; Action: AGM (NRW); Follow: AGM(Doc). |

| 9. | Bulk Meters |
| --- | --- |
|  | DGM (P&D) has circulated a TOR for Bulk Meter Committee to prepare guidelines for selection, installation and maintenance of Bulk Meters. The SBDRC comments to be included and send to the Bulk Meter committee. A new member, Mr. Gration Wickramatunga (ME- P&D) also to be included to the existing Bulk Meter Committee.. 15-02-2011; Action: DGM (P&D)/AGM (Doc). |
| 10. | Issues in SBDs |
| 10.1 | SBDs for Janitorial Services |
|  | SBDs for Janitorial Services will be prepared by Documentation Unit.. 10-02-2011; Action: AGM (Doc). |

| 10.2 | Insurance Guarantees |
| --- | --- |
|  | Insurance Guarantees can be used only for Bid Security of works contracts. This is the Existing Practice. A letter has been sent to Sri Lanka Insurance Corporation asking whether they can encash the Insurance Bonds, upon receipt of first demand in writing.. Follow up: AGM (Doc). |

| 10.3 | Water Meter |
| --- | --- |
|  | Water Meter SBD to be prepared in accordance with the recent amendments of the other SBDs.. 15-03-2011; Action: AGM (Doc). |
| 11 | Other Issues |
| 11.1 | Selection of Appropriate contractors |
|  | The letter No. RSC-c/Gr.Kandy/PD/18/4050 dated 12th Nov 2010 on Selection of Appropriate contractors to be discussed on 09 Feb 2011. 09-02-2011; Action: AGM (Doc). |
| 11.2 | Ferrules that cannot be used with a tapping machine |
|  | SBDRC went through the letter No. M (O&M)/KS/NRW dated 11th Jan, 2011 on the above by DGM (RSC-Central). According to SBDRC, Tapping Machine could be modified to suit the inner plug of the Tapping Machine. |
|  | A letter to be sent to DGM (RSC-Central) accordingly. AGM(M&E-Services) to send the draft letter.. 15-02-2011; Action: AGM (M&E-Services)/AGM (Doc). |

Annex1

PROGRESS OF SPECIFICATIONS PREPARATION COMMITTEES

As at 10-01-2011

| Sr No. | Key | Title/Chairman | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 01 | S7. | PE Pipes and Fittings for Sewerage/Water Committee Chairman – AGM (Dev-WC) Mr. K.W. Premasiri | Specification for PE pipes and fittings for water has been uploaded to Web. Specification for PE pipes and fittings for Sewerage was discussed at the SBDRC on 26-05-2010. Relevant Standards to be purchased in order to review the Specification. Funds were obtained from Kirindi Oya Project. Standards will be purchased by 18th January 2010. | AGM(Doc) 15-02-2010 | Uploaded |
| 02 | S8. | Specification for Hydraulic and Electrical Surge Arresters Committee Chairman AGM (P&D-M&E) Mr. B.L. Gunarathne | Circulated among SBDRC members for comments. | SBDRC 09-02-2011 |  |

PROGRESS OF  SBD PREPARATION COMMITTEES

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 03 | D2. | NWSDB/SBD/RFP/Ver 1 Request for proposals (Selection of consultants) Committee Chairman - DGM (P&D) Mr. D.S.D. Jayasiriwardene | The SBDs were discussed on 13-10-2010. The difference between the prepared SBDs and existing JICA/ADB RFP SBDs (i.e list of issues if JICA/APB SBDs are used without any amendment) to be documented in order to discuss with the Secretary/Treasury. | DGM (P&D) 15-02-2011 | Submitted |
| 04 | D3. | NWSDB/SBD/S&I/ Chemical & Chlori/Ver 1 Chlorinators and chemicals equipment Committee Chairman – AGM (P&D – M&E) Mr. B.L. Gunaratne | Circulated among SBDRC members for comments. Date to be arranged for discussion. | SBDRC 09-02-2011 | Submitted |
| 05 | D8 | NWSDB/SBD/Service Connection/Ver 1 SBD for Service Connection Committee Chairman – AGM (Western – C) Mr. Nalin Wickramatunga | SBD was circulated among SBDRC members for comments. A date to be arranged for discussion. | AGM(Doc) 09-02-2011 | Submitted |

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 06 | D10 | NWSDB/SBD/Civil – FIDIC/Ver 1 SBD for Foreign Funded Project – Work Contracts designed by the Employer. Committee Chairman DGM(Western-S) Mr. K.R. Devasurendra | Draft SBD to be prepared based on the FIDIC Harmonized Edition. Works are in progress. | AGM(Doc)/ DGM (Western-S) 15-02-2011 | Work in progress |
| 07 | D12 | NWSDB/SBD/Service- Hiring Vehicles/Ver 1 Hiring of vehicles. Committee Chairman – C.E ( E&M ) Mr. A.R.D. Attanayake | English version of SBD uploaded to Web. |  | Uploaded |
|  |  |  | Sinhala version of SBD to be circulated among SBDRC members | CE (Doc) 28-01-2011 |  |
|  |  |  | Tamil Translation completed and uploaded to web. A hard copy to be sent to DGM(CP) for comments. | DGM (CP) 28-02-2011 | Uploaded |
| 08 | D18 | SBD for Labour Contracts Committee Chairman – CE (P&D-WC) Ms. M.D.T. Abeywardene | Work in progress | CE (P&D-WC) 28-02-2011 |  |

Outstanding SBDs/Specifications

| S.No. | Key | Title | % Completion | Remarks |
| --- | --- | --- | --- | --- |
| SBDs |  |  |  |  |
| 1 | D3 | Chlorinators and Chemical Equipment | 98% | * 1 |
| 2 | D8 | SBD for Service Connection | 100% | * 1 |
| 3 | D10 | SBD for Foreign Funded Project – Work Contracts designed by the Employer (FIDIC) | 80% | * 1 |
| 4 | D12 | Hiring of Vehicles (Sinhala) | 98% | * 1 |
| 5 | D13 | Bulk Meters | - | - |
| 6 | D18 | Supply of Labour | - | - |
| 7 | - | Janitorial Services | 98% | * 1 |
| Specifications |  |  |  |  |
| 7 | S7 | PE Pipes & Fittings for Sewerage | 100% | *2 |
| 8 | S8 | Hydraulic and Electrical Surge Arresters | 100% | * 1 |

Note :

* 1 – Documents to be discussed by the SBDRC members.

* 2 – Documents discussed at the SBDRC meeting, the comments to be included and uploaded to web.