MINUTES OF THE STANDARD BIDDING DOCUMENT

# REVIEW COMMITTEE MEETING NO.03/2011

Date	: 25.04.2011

Time	: 1.00 p.m.

Venue: Addl. G.M (Sewerage)’s Office

Present:

- Eng.  G.A. Kumararathna		-	Addl. G.M (S)			-  Chairman

- Eng.  (Ms) G.S. Munasinghe		-	Addl. G.M (CS)		-  Member

- Eng.  D.S.D. Jayasiriwardene	-	DGM (P&D)		 	-  Member

- Eng.  K.R. Dewasurendra		-	DGM (Western -S)	      	-  Member

- Eng. (Ms) K.T.P. Fernando		-	DGM (PC)			- Member

6.	Mrs.  A.P.S. de Silva			-	AGM (F)		      	-  Member

7.  Eng.  M. Abeysekara			-	AGM (M&E-Services)     	-  Member

8.	Eng.  U.C. Pathiranage		-	AGM (P&D – Doc)	      	-  Member

9.  Eng. R.A.A. Ranawaka                       -		AGM(T&C)			- Member

10.	Eng.  K. H.  Nandisena           	- 	CE (P&D-Doc)	      	      	-  Secretary

11.  Eng. (Ms)  M.L. Wijesinghe	  	- 	Eng. (P&D-Doc)

Also circulated to:

Chairman,  Vice Chairman, Working Director

General Manager

Addl. GMM (WSP, P&P, Western, N/C,  S/E)

DGM (Dev)/(F), DGMM (RSC) – [Western –C, Western N, Southern,

Uva &  Sab, Central, NW, NC, N, East]

AGMM (P&D), Specialists

Project Directors, AGM (Supplies), AGM (R&D)

| 1. | Previous minutes were confirmed |
| --- | --- |
| 2. | Evaluation |
| 2.1 | Evaluation Guidelines |
|  | A sample Technical Evaluation Report has been prepared by the Committee comprising DGM (P&D), AGM (M&E-Services), AGM (Doc) and AGM (T&C). The report was distributed among SBDRC members, |
|  | SBDRC members to give their comments within a week. Include these comments and upload to web.. 27-05-2011; Action: AGM (Doc). |

| 3. | Specifications |
| --- | --- |
| 3.1 | Ferrules There are leaks at intermediate positions. Therefore SBD committee has studied letter of PD (GKWSP) regarding ferrules and his suggestions to overcome this situation. DGM(M&E) , AGM (P&D-M&E) , and representative from GKWSP representation discussed the issue in length, at the SBDRC meeting. The SBDRC decided as follows after hearing the above discussion and the short presentation. |
|  | - A drawing to be prepared giving dimensions of Inner plug, including ‘Key cut’ dimensions of ferule and include ferule drawing to the specification. - High pressure tapping machine specifications also to be changed to match with the above ‘Key cut’ of the Inner plug. - Circulate above among all DGM RSCs under GM’s signature for their comments. - After obtaining DGM (RSC)’s views, do any changes to specifications. - Issue a circular instructing O&M personnel to use tapping machine for giving service connections. - Specifications to be sent to Ferrule suppliers in advance in order to modify their moulds. (if necessary) g) Training Programme to be conducted to train pipe fitters.. 24-05-2011; Action: a, b, c, d, g [AGM (M&E- Services)]. |

|  | 31-05-2011; Action: e - AGM (Doc). 31-05-2011; Action: f - AGM (T&C). |
| --- | --- |

| 3.2 | Hydrated Lime Specifications AGM (R&D) and CLS have forwarded a report on Heavy Metals comparing SLS and Indian standards. Their recommendation was not to change the SLS but continue testing for at least another one year. 3.4 H |
| --- | --- |
|  | Inform AGM (R&D) to discuss with Addl.GM (Sew) on their report.. 16-05-2011; Action: AGM (Doc). |
| 3.3 | Brass Unions at Water Meters |
|  | According to letter No m%d fia uo/04/04/úú/2010/07 dated 2010-12-29 on c, udml i¦yd iúlrkq ,nk ms;a;, hqkshka mrSlaId lsrsu Brass Unions of Water Meters have been replaced with faucet sockets in order to avoid illegal water connections. |
|  | International Standards is to install domestic Water Meters with Brass Unions with safety locks. This should not be modified to replace the Unions with solvent cement faucet socket. Stainless steal wire seal to be used in order to avoid illegal water connections. |
|  | A circular for GM’s signature has been drafted and sent to GM. This was referred to Addl.GM (N,C) Addl.GM (S,E) for their comments. To be followed up.. 16-05-2011; Action: AGM (Doc). |

| 4. 4.1 | Prequalification (PQ) PQ of Valves Document have been prepared. PQ committee to discuss and continue with the PQ process.. 31-05-2011; Action: AGM (Doc). |
| --- | --- |
| 4.2 | PQ of Couplings |
|  | Document for Couplings is nearing completion.. 30-06-2011; Action: AGM (Doc). |

| 4.3 | PQ of Other Appliances on Water Service Connection |
| --- | --- |
|  | PQ document will be prepared after preparation of PQ -couplings document.. 31-07-2011; Action: AGM (Doc). |

| 5. | Legal - Attorney Generals Comments on SBDs |
| --- | --- |
|  | Attorney General’s (AG) comments were discussed by SBDRC members. Attorney General’s comments to be circulated among Addl. GMs and DGMs. 20-05-2011; Action: AGM (Doc). |

| 6. | Issues in SBDs |
| --- | --- |
| 6.1 | SBDs for Janitorial Services |
|  | Minimum salaries (Wages in amount) for sanitary workers to be specified. To be circulated among SBDRC members.. 31-05-2011; Action: AGM (Doc). |

| 6.2 | Water Meters |
| --- | --- |
|  | SBD for Water Meters to be prepared in accordance with the recent amendments of the other SBDs.. 31-07-2011; Action: AGM (Doc). |
| 6.3 | Civil SBDs – Average Annual Construction Volume |
|  | Requirement of Average annual volume of construction work performed during last 5 years shall be, For Donor funded project, Donor guide lines prevails. - For contracts less than one year and the Engineers estimate is less than 100 million, the value of the Engineers estimate, - If value of Engineers estimate is more than 100 million and the contract period is more than one year, 1.5 times the Engineers estimate.. After next SBDRC meetings; Action: AGM (Doc). |
| 6.4 | Civil SBDs - Minimum Qualification Criteria for Water Towers DGM(P&D) ‘s request to reduce the minimum qualification criteria for Water Towers is discussed in detail. It was decided that capacity up to 300m3 any type of Water Tower with any capacity can be considered and for more than 300m3 to be strict to similar type of Water Tower with lower capacity.. After next SBDRC Meeting; Action: AGM (Doc). |
| 7. | Other Issues |
| 7.1 | SBD for sale of obsolete Items |
|  | A committee to be appointed for preparation of above SBD in consultation with AGM (Supplies). 24-05-2011; Action: AGM (Doc). |

| 7.2 | Registration of PVC Suppliers – EMPPVC A request letter from EMPPVC dated 28 Feb 2011 was discussed. It was decided to write a letter to chairman NWSDB indicating the position.. 25-05-2011; Action: AGM (Doc). |
| --- | --- |
| 7.3 | Chemicals Contract Payments when L/C open by NWSDB |
|  | DPC decision NO 113/2011 to pay “100% payment on L/C subject to 25% Advance Guarantee “ is considered and decided to change payment clauses accordingly for SBDs for chemical purchasing. |

| A special notice to be included at relevant Web Items indicating that document preparation Engineer should correct the relevant clauses of Bidding Data, Until SBD is revised. |  |
| --- | --- |
| 23-05-2011 | Action: AGM (Doc) |

| 7.4 | PE Pipes and Fittings |
| --- | --- |
|  | PE Pipes have been introduced in several schemes such as (i) Ranna Water Supply Scheme, (ii) Kiridi oya Water Supply Schemes etc. |

| NRW details of those schemes to be collected and compare with PVC pipelines. |  |
| --- | --- |
| 30-06-2011 | Action: AGM (Doc) |

Annex1

PROGRESS OF SPECIFICATIONS PREPARATION COMMITTEES

As at 13-05-2011

| Sr No. | Key | Title/Chairman | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 01 | S7. | PE Pipes and Fittings for Sewerage/Water Committee Chairman – AGM (Dev-WC) Mr. K.W. Premasiri | Specification for PE pipes and fittings for water has been uploaded to Web. PE pipes for sewerage discussed at SBDRC meeting on 11-05-2011. To be corrected and uploaded to web. | AGM(Doc) 15-06-2011 | Uploaded |
| 02 | S8. | Specification for Hydraulic and Electrical Surge Arresters Committee Chairman AGM (P&D-M&E) Mr. B.L. Gunarathne | SBDRC discussed Specifications on 09-02-2011. Revised specifications of Electrical Surge Arresters was uploaded to web. |  | Uploaded |
|  |  |  | Revised specification of Hydraulic Surge Arrester to be forwarded AGM (Doc). | AGM (P&D-M&E) 31-05-2011 |  |

PROGRESS OF  SBD PREPARATION COMMITTEES

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 03 | D2. | NWSDB/SBD/RFP/Ver 1 Request for proposals (Selection of consultants) Committee Chairman - DGM (P&D) Mr. D.S.D. Jayasiriwardene | SBD for RFP (NWSDB) to be prepared. | DGM (P&D) 30-06-2011 | Submitted |
| 04 | D3. | NWSDB/SBD/S&I/ Chemical & Chlori/Ver 1 Chlorinators and chemicals equipment Committee Chairman – AGM (P&D – M&E) Mr. B.L. Gunaratne | SBDRC discussed Specifications on 09-02-2011. The comments to be included into specification. | AGM (P&D – M&E) 31-05-2011 | Submitted |
| 05 | D10 | NWSDB/SBD/Civil – FIDIC/Ver 1 SBD for Foreign Funded Project – Work Contracts designed by the Employer. Committee Chairman DGM(Western-S) Mr. K.R. Devasurendra | Started to discuss on 11-05-2011 and to be continued. | AGM(Doc) 30-06-2011 | SBDRC to discuss |

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 06 | D12 | NWSDB/SBD/Service- Hiring Vehicles/Ver 1 Hiring of vehicles. Committee Chairman – C.E ( E&M ) Mr. A.R.D. Attanayake | Sinhala version of SBD to be circulated among SBDRC members | CE (Doc) 27-05-2011 |  |
|  |  |  | (English and Tamil Versions are already uploaded to web) |  |  |
| 07 | D13 | Report and Specification for Bulk Meter Committee Chairman – AGM (M&E-Services) Mr. Mangala Abeysekara | Work in progress | AGM (M&E-Services) 23-07-2011 |  |
| 08 | D18 | SBD for Labour Contracts Committee Chairman – CE (P&D-WC) Ms. M.D.T. Abeywardene | Minimum salaries in amount for sanitary workers to be specified. | CE (P&D-WC) 27-05-2011 |  |

Outstanding SBDs/Specifications

| S.No. | Key | Title | % Completion | Remarks |
| --- | --- | --- | --- | --- |
| SBDs |  |  |  |  |
| 1 | D3 | Chlorinators and Chemical Equipment | 100% | * 2 |
| 2 | D10 | SBD for Foreign Funded Project – Work Contracts designed by the Employer (FIDIC) | 100% | * 1 |
| 3 | D12 | Hiring of Vehicles (Sinhala) | 98% | * 1 |
| 4 | D13 | Bulk Meters | 0% | - |
| 5 | D18 | Supply of Labour | 90% | - |
| 6 | - | Janitorial Services | 98% | * 1 |
| 7 |  | Coupling PQ document | 98% | * 1 |
| 8 |  | SBD for Water Meters | - | - |
| 9 | D19 | Obsolete Items | - | - |
| Specifications |  |  |  |  |
| 10 | S7 | PE Pipes & Fittings for Sewerage | 100% | * 2 |
| 11 | S8 | Hydraulic and Electrical Surge Arresters | 100% | * 2 |

Note :

* 1 – Documents to be discussed by the SBDRC members.

* 2 – Documents discussed at the SBDRC meeting, the comments to be included and uploaded to web.