MINUTES OF THE STANDARD BIDDING DOCUMENT

# REVIEW COMMITTEE MEETING NO.05/2011

Date	: 28.06.2011

Time	: 1.30 p.m.

Venue: Addl. G.M (Sewerage)’s Office

Present:

- Eng.  G.A. Kumararathna		-	Addl. G.M (S)			-  Chairman

- Eng.  (Ms) G.S. Munasinghe		-	Addl. G.M (CS)		-  Member

- Eng.  K.R. Dewasurendra		-	DGM (Western –S)	      	-  Member

- Eng. (Ms) K.T.P. Fernando		-	DGM (PC)			-  Member

5.	Mrs.  A.P.S. de Silva			-	AGM (F)		      	-  Member

6.  Eng.  M. Abeysekara			-	AGM (M&E-Services)     	-  Member

7.	Eng.  U.C. Pathiranage		-	AGM (P&D – Doc)	      	-  Member

8.  Eng. R.A.A. Ranawaka                       -		AGM(T&C)			- Member

9.  Eng.  K. H.  Nandisena           		- 	CE (P&D-Doc)	      	      	-  Secretary

10.  Eng. (Ms)  M.L. Wijesinghe	  	- 	Eng. (P&D-Doc)

Excused  : Eng.  D.S.D. Jayasiriwardene	-	DGM (P&D)		 	-  Member

Also circulated to:

Chairman,  Vice Chairman, Working Director

General Manager

Addl. GMM (WSP, P&P, Western, N/C,  S/E)

DGM (Dev)/(F), DGMM (RSC) – [Western –C, Western N, Southern,

Uva &  Sab, Central, NW, NC, N, East]

AGMM (P&D), Specialists

Project Directors, AGM (Supplies), AGM (R&D)

| 1. 1.1 1.2 1.3 | Confirmation of Decision Previous minutes were confirmed Civil SBDs – Average Annual Construction Volume Requirement of Average annual volume of construction work performed during last 5 years shall be, - For contracts less than one year, the value of the Engineers estimate, - If contract period is more than one year, 1.5 times annual value of the proposed work *1 *1 Annual Value of proposed work, = 12 x Engineer’s estimate Contract duration in months (iii) For Donor funded project, Donor guide lines prevails.. Included to Documentation Web Page in the NWSDB Web Site as Special notice. Civil SBDs - Minimum Qualification Criteria for Water Towers Decision taken at the P&D progress meeting to reduce the minimum qualification criteria for Water Towers, due to lesser number of contractors for the construction of water towers was discussed in detail. It was decided that (i) capacity up to 300m3 experience in any type of Water Tower construction with any capacity can be considered. (ii) for capacity more than 300m3 and less than 1000m3 experience in construction of similar type of Water Tower with minimum capacity of 300m3. (iii) For capacity more than 1000m3 experience in similar type water tower capacity with minimum of 1000m3 capacity.. Included to Documentation Web Page in the NWSDB Web Site as special Notice. |
| --- | --- |

| 1.4 | Qualification criteria for Financial capability |
| --- | --- |
|  | Relevant clause in the SBD for works /supplies to be replaced with the following. Financial capability shall be Working capital + credit facilities exclusively for this contract -0.1 x current work commitments*1 > Rs…………… *2 *1 Current work commitment = work remaining uncompleted *2 The amount is considered (i) For Major Contracts – General Financial requirement for 4 months and pipe supplies. (ii) For other Contracts – General Financial requirement for 3 months and pipe supplies. Working capital = Current Assets – Current liabilities.. Included to Documentation Web Page in the NWSDB Web Site as Special Notice. |

| 2. | Specifications |
| --- | --- |
| 2.1 | Ferrules There are leaks at intermediate positions. Therefore SBD committee has studied letter of PD (GKWSP) regarding ferrules and his suggestions to overcome this situation. DGM(M&E) , AGM (P&D-M&E) , and representative from GKWSP representation discussed the issue in length, at the SBDRC meeting held on 25-04-2011. AGM (M&E-Services) reported that a drawing has been prepared using dimensions of Talbot ferule and being drawn at University of Moratuwa. This ferule drawing to be included into the specification and High pressure tapping machine specifications also has been changed to match with the above dimensions of the Inner plug. The SBDRC decided as follows after hearing progress made from AGM (M&E-Services). |

|  | - Circulate above drawings with specifications among all DGM RSCs under GM’s signature for their comments. - After obtaining DGM (RSC)’s views, do any further changes to specifications. - Issue a circular instructing O&M personnel to use tapping machine for giving service connections, after obtaining details from AGM (M&E-Services) - Specifications to be sent to Ferrule suppliers in advance in order to modify their moulds. (if necessary) e) Training Programme to be conducted to train pipe fitters.. 25-07-2011; Action: a, b - AGM (M&E- Services). 30-07-2011; Action: c - AGM (Doc). 30-07-2011; Action: d – AGM (T&C). 31-11-2011; e - AGM (M&E-Services). |
| --- | --- |

| 2.2 | Hydrated Lime Specifications AGM (R&D) and CLS have forwarded a report on heavy metals comparing SLS and Indian standards. It was decided to collect the data for about one year and review the results in order to include heavy metals into the standard if identified necessary. 3. |
| --- | --- |
|  | A letter to be sent to CLS instructing to do those tests when general chemical analysis is done.. 30-06-2011; Action: AGM (Doc). |
| 2.3 | Brass Unions at Water Meters |
|  | According to letter No m%d fia uo/04/04/úú/2010/07 dated 2010-12-29 on c, udml i¦yd iúlrkq ,nk ms;a;, hqkshka mrSlaId lsrsu Brass Unions of Water Meters have been replaced with faucet sockets in order to avoid illegal water connections. |
|  | International Standards is to install domestic Water Meters with Brass Unions with safety locks. This should not be modified to replace the Unions with solvent cement faucet socket. Stainless steel wire seal to be used in order to avoid illegal water connections. |

|  | A circular was issued under GM’s signature and, uploaded to web page of documentation unit. Tamil translation being done and to be sent to E-Branch in all 03 languages.. 20-07-2011; Action: AGM (Doc). |
| --- | --- |

| 3. 3.1 | Prequalification (PQ) PQ of Valves Study the Technical literatures of latest produced valves and compare them with the available specification to do modifications to specifications if required.. 29-07-2011; Action: AGM (Doc). The document to be sent to T&C Branch to appoint Document Evaluation Committee. Specification also to be finalized in parallel with the above.. 30-06-2011; Action: AGM (Doc). |
| --- | --- |
| 3.2 | PQ of Couplings & Flanged Adopter |
|  | Document for Couplings and Flanged Adopter is nearing completion. Circulate the specification among following engineers for their comments. - DGMM (RSC)s - Mr. N.M.S. Kalinga - DGM (M&E) - Mr. D.S.D. Jayasiriwardena - DGM (P&D) - Mr. R.H. Ruvinis - DGM (RSC-South) - Mr. Sarath Gamini - PD (GKWSP) - Ms. Wasantha Ilangasinghe - P.D (TSKWSP). ---. 20-07-2011; Action: AGM (Doc). |

| 3.3 | PQ of Other Appliances on Water Service Connection |
| --- | --- |
|  | Items to be identified and forwarded to next SBDRC meeting.. Next SBDRC meeting; Action: AGM (Doc). |

| 4. | Legal - Attorney Generals Comments on SBDs |
| --- | --- |
|  | Attorney General’s (AG) comments were discussed by SBDRC members and circulated among Addl. GMs and DGMs for their information. Items included to SBDs to be listed and forward to the SBDRC members.. 30-07-2011; Action: AGM (Doc). |

| 5. | Issues in SBDs |
| --- | --- |
| 5.1 | SBDs for Janitorial Services |
|  | Minimum salaries (Wages in amount) other facilities for sanitary workers to be specified. To be circulated among SBDRC members.. 31-07-2011; Action: AGM (Doc). |

| 5.2 | SBD for Water Meters |
| --- | --- |
|  | SBD for Water Meters to be prepared in accordance with the recent amendments of the other SBDs.. 15-08-2011; Action: AGM (Doc). |
| 5.3 | Chemicals Contract Payments when L/C open by NWSDB DPC decision NO 113/2011 to pay “100% payment on L/C subject to 25% Advance Guarantee“ is considered and decided to change payment clauses accordingly for SBDs only for chemical purchasing. |
|  | SBDs to be corrected accordingly. 29-07-2011; Action: AGM (Doc). |
|  | View of SBDRC regarding cancellation of Pre-shipment inspection in contracts more than Rs. 25 million to be sent to DPC.. 20-07-2011; Action: AGM (T&C). |
| 5.4 | MPC Decision- relaxing minimum qualification MPC decision on relaxing minimum qualification criteria of pipe laying length is discussed. |
|  | It was decided to write to secretary under GM’s signature, indicating all such criteria. - Average Annual Contraction Volume - Minimum Qualification Criteria - Financial Capacity. 20-07-2011; Action: AGM (Doc). |
| 6. | Other Issues |
| 6.1 | PE Pipes and Fittings |
|  | PE Pipes have been introduced in several schemes such as, (i) Ranna Water Supply Scheme (ii) Kirindi oya Water Supply Schemes etc. |

DGM (RSC-Southern) has sent a report on NRW details at

- Ranna Water Supply Scheme

- Kirindi oya Water  Supply Scheme

The following statements were indicated in that report.

- Ranna		: No any leaks occurred in PE pipeline from 2005 to 2011 (06 years)

- Kiridi oya	: It is recommended to replace 280 mm & 225 mm PVC pipes along 		  Matara-Wellawaya Road by PE

| A Report to be prepared based on DGM (RSC/S) report on NRW of PE pipe lines and Report by Inspection team of NWSDB to Germany, on NRW reduction. |  |
| --- | --- |
| 30-07-2011 | Action: AGM (Doc) |

6.2       Registration of New PVC Suppliers

| EMP PVC factory visit to be arranged |  |
| --- | --- |
| 30-07-2011 | Action: AGM (Doc) |

| Registration of PVC suppliers to be discouraged and report indicated in item 6.1 above to be expedited. |  |
| --- | --- |
| 30-07-2011 | Action: AGM (Doc) |

6.3    Tapping of Service Connection in Parallel with Pipe laying

It was discussed at the SBDRC meeting that Tapping for service connections to be done in parallel with laying of Distribution pipe lines to avoid damages to roads again and to minimize public inconvenience, and to avoid possible leaks occurring in the future.

| A note to be prepared to take up at the staff meeting |  |
| --- | --- |
| 20-07-2011 | Action: AGM (Doc) |

Annex1

PROGRESS OF SPECIFICATIONS PREPARATION COMMITTEES

As at 28-06-2011

| Sr No. | Key | Title/Chairman | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 01 | S7. | PE Pipes and Fittings for Sewerage/Water Committee Chairman – AGM (Dev-WC) Mr. K.W. Premasiri | Specification for PE pipes and fittings for water has been uploaded to Web. PE pipes for sewerage discussed at SBDRC meeting on 11-05-2011. To be corrected and uploaded to web. | AGM(Doc) 20-07-2011 | Uploaded |
| 02 | S8. | Specification for Hydraulic and Electrical Surge Arresters Committee Chairman AGM (P&D-M&E) Mr. B.L. Gunarathne | SBDRC discussed Specifications on 09-02-2011. Revised specifications of Electrical Surge Arresters was uploaded to web. |  | Uploaded |
|  |  |  | AGM (P&D-M&E) to submit the corrected specification of Hydraulic Surge Arrester. |  | Submitted |

PROGRESS OF  SBD PREPARATION COMMITTEES

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 03 | D3. | NWSDB/SBD/S&I/ Chemical & Chlori/Ver 1 Chlorinators and chemicals equipment Committee Chairman – AGM (P&D – M&E) Mr. B.L. Gunaratne | SBDRC discussed Specifications on 09-02-2011. The comments to be included into specification. | AGM (P&D – M&E) 30-07-2011 |  |
| 04 | D10 | NWSDB/SBD/Civil – FIDIC/Ver 1 SBD for Foreign Funded Project – Work Contracts designed by the Employer. Committee Chairman DGM(Western-S) Mr. K.R. Devasurendra | Started to discuss on 11-05-2011 and to be continued. | AGM(Doc) 30-07-2011 | SBDRC to discuss |

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 05 | D12 | NWSDB/SBD/Service- Hiring Vehicles/Ver 1 Hiring of vehicles. Committee Chairman – C.E ( E&M ) Mr. A.R.D. Attanayake | Sinhala version of SBD to be circulated among SBDRC members To be discussed at SBDRC meeting | AGM (Doc) 30-07-2011 | SBDRC to discuss |
|  |  |  | (English and Tamil Versions are already uploaded to web) |  |  |
| 06 | D13 | Report and Specification for Bulk Meter Committee Chairman – AGM (M&E-Services) Mr. Mangala Abeysekara | Specification to be prepared keeping in mind that good quality Bulk Meters to be purchased | AGM (M&E-Services) 23-07-2011 |  |
| 07 | D18 | SBD for Labour Contracts Committee Chairman – CE (P&D-WC) Ms. M.D.T. Abeywardene | Minimum salaries in amount and other facilities and requirements as per labour regulations for sanitary workers to be specified. | Action : CE (P&D-WC) 30-07-2011 Follow up : AGM (Doc) |  |

Outstanding SBDs/Specifications

| S.No. | Key | Title | % Completion | Remarks |
| --- | --- | --- | --- | --- |
| SBDs |  |  |  |  |
| 1 | D3 | Chlorinators and Chemical Equipment | 100% | * 2 |
| 2 | D10 | SBD for Foreign Funded Project – Work Contracts designed by the Employer (FIDIC) | 100% | * 1 |
| 3 | D12 | Hiring of Vehicles (Sinhala) | 100% | * 1 |
| 4 | D13 | Bulk Meters | 50% | - |
| 5 | D18 | Supply of Labour | 90% | - |
| 6 | - | Janitorial Services | 98% | * 1 |
| 7 |  | PQ document for Couplings and flanged adopters | 98% | * 1 |
| 8 |  | SBD for Water Meters (1/2” & 3/4" ) | 20% | - |
| 9 | D19 | Obsolete Items | 50% | - |
| Specifications |  |  |  |  |
| 10 | S7 | PE Pipes & Fittings for Sewerage | 100% | * 2 |
| 11 | S8 | Hydraulic and Electrical Surge Arresters | 100% | * 2 |

Note :

* 1 – Documents to be discussed by the SBDRC members.

* 2 – Documents discussed at the SBDRC meeting, the comments to be included and uploaded to web.