MINUTES OF THE STANDARD BIDDING DOCUMENT

# REVIEW COMMITTEE MEETING NO.08/2011

Date	: 25.10.2011

Time	: 1.30 p.m.

Venue: Addl. G.M (Sewerage)’s Office

Present:

- Eng.  G.A. Kumararathna		-	Addl. G.M (S)			-  Chairman

- Eng.  (Ms) G.S. Munasinghe		-	Addl. G.M (CS)		-  Member

- Eng. (Ms) K.T.P. Fernando		-	DGM (PC)			-  Member

4.	Mrs.  A.P.S. de Silva			-	AGM (F)		      	-  Member

5.   Eng.  M. Abeysekara			-	AGM (M&E-Services)     	-  Member

6. 	Eng.  U.C. Pathiranage		-	AGM (P&D – Doc)	      	-  Member

7.   Eng. R.A.A. Ranawaka                      -		AGM(T&C)			- Member

8.   Eng.  K. H.  Nandisena           	- 	CE (P&D-Doc)	      	      	-  Secretary

9.   Eng. (Ms)  M.L. Wijesinghe 	 	- 	Eng. (P&D-Doc)

Excused : Eng. D.S.D. Jayasiriwardene	- Addl. GM(SE) / DGM (P&D)     -  Member

Eng. K.R. Dewasurendra	      - DGM (Western –S)	           -  Member

Also circulated to:

Chairman, Vice Chairman, Working Director

General Manager

Addl. GMM (WSP, P&P, Western, N/C,  S/E)

DGM (Dev)/ (M&E)/ (F), DGMM (RSC) – [Western –C, Western N, Southern,

Uva, Sab, Central, NW, NC, North, East, Production]

AGMM (P&D), Specialists

Project Directors, AGM (Supplies)/ (MPD&T)/ (Western-Production)-Mr. P. Ramawickrama/

Senior Engineer (NRW – RSC, Central), CE (P&C-WC),  CE (M&E Services)

| 1. 1.1 | Confirmation of Decision Previous minutes were confirmed |
| --- | --- |
| 1.2 | Separate SDB For Valves. It is advantages for NWSDB to award BOQs for pipes and fittings and BOQs for valves, manhole covers, etc. separately. Hence, a separate SBD to be introduced as SBD for supply of Valves and Accessories.. 30-11-2011; Action: AGM (Doc). Decision Confirmed. |

| 1.3 | Revision of ICTAD Guidelines for Registration & Grading of Construction Contractors. A letter has been sent to ICTAD by GM’s signature stating that NWSDB don’t have any inconvenience implementing earlier guideline and hence NWSDB is of the opinion that the current guidelines need not be changed for the Water Supply and Drainage Sector.. Decision Confirmed. |
| --- | --- |

| 1.4 | Quotations for Valves, Coupling, etc. It seems that quotations for valves, couplings, etc. called from DI-PQ list. This practice will limit the Valve suppliers, as valve manufacturers are different from DI pipes manufacturers. Hence quotations should be called from DI pipes suppliers, NWSDB Registered Valve Suppliers and Reputed Valve Manufacturers/Suppliers to purchase valves, manhole covers, etc.. Decision Confirmed. |
| --- | --- |
| 2. | Specifications |
| 2.1 | Ferrules There are leaks at intermediate positions. Therefore SBD committee has studied letter of PD (GKWSP) regarding ferrules and his suggestions to overcome this situation. DGM (M&E), AGM (P&D-M&E), and representative from GKWSP discussed the issue in length, at the SBDRC meeting held on 25-04-2011. AGM (M&E-Services) submitted a drawing which has been prepared using dimensions of Talbot ferrule. This ferrule drawing to be included into the specification. Above drawings with specifications were Circulated among all DGM (RSCs) under Addl. G.M.(Sew)’s signature for their comments. There were no major comments. However, Ms. R.A.D. Sriyani Mangalika, CE(CP) sent a comment, stating that to consider Functional aspects than the Technical aspects. SBDRC decided that while meeting functional aspects, Technical details will be stressed by introducing a Drawing, required testing, inspection etc. In order to guarantee the durability and lifetime aspects, NWSDB has to give consideration for Technical requirements as well as Functional requirements. |
|  | - The drawing with specification to be circulated among all Suppliers and Manufacturers, who Supply Ferrules to the NWSDB in order to obtain their comments. - Issue a circular instructing O&M personnel to use tapping machine for giving service connections, after finalizing the specifications. c) Training Programme to be conducted to train pipe fitters by AGM(MPD&T). AGM (M&E-Services) to give any Assistance required: AGM (M&E-Services) to draft a letter for Addl. G.M.(Sew)’s signature.. 15-11-2011; Action: a - AGM (M&E- Services). 30-11-2011; Action: b - AGM (M&E-Services). 30-06-2012; Action: c - AGM (MPD&T); Follow up: AGM (M&E-Services). |

| 2.2 |  | Updating of Inspection Agencies for DI Pipes and Fittings |  |
| --- | --- | --- | --- |
|  |  | Megatech (Pvt) Limited has requested to update the Third party Inspection Agencies in NWSDB Bidding Documents. A reply has been sent to the Megatech stating that at present NWSDB is in the process of studying the list of Inspection Agencies, and would be informed to him in due course.. 20-11-2011; Action: AGM(Doc). |
|  | 2.3 |  | Failure of PVC Clamp Saddles |
|  |  |  | Senior Engineer (NRW, RSC, central) has sent a letter with 02 failed samples. A.G.M.(M&E – Services) to investigate and report to the SBDRC. 15-11-2011; Action: AGM(M&E - Services). |

2.4	Hardness of Rubber Rings

| Hardness of Rubber Rings in Specifications to be changed within the specified limits, so that Manufacturers can optimize its performance considering overall performance of the system. A clause to be introduced in the document stating that the hardness range is not a factor for rejection, after further discussion at next SBDRC meeting. |  |
| --- | --- |
| 30-11-2011 | Action: AGM(Doc) |

| 3. 3.1 | Prequalification (PQ) PQ of Valves Corrected Bidding Document will be sent to T&C section for calling of tender.. 15-11-2011; Action: AGM(Doc). |
| --- | --- |

| 3.2 | PQ of Couplings & Flanged Adaptor |
| --- | --- |
|  | Document for Couplings and Flanged Adaptor is nearing completion. The specifications were circulated among following Engineers for their comments. - DGMM (RSC)s/PDD (GKWSP, TSKWSP, TNWSP, KRB, Ruhunupura) / AGM(Production) - Mr. N.M.S. Kalinga - DGM (M&E) - Mr. D.S.D. Jayasiriwardene - DGM (P&D) - Mr. R.H. Ruvinis - DGM (RSC-South) - Mr. P. Ramawickrama - AGM(Production) A reminder has been sent.. ---. |
|  | Only 2 comments were received. AGM(Production), Mr P. Ramawickrama informed that he and his staff discussed the specification in detail and conveyed that the specifications are in order. PD(Kalu Ganga) stated that most manufacturers produced Rubber Rings slightly lower than the specified Hardness Range, 76-84 IRHD at the heal of the ring and 46-55 IRHD at the bulb of the ring. Corrected Document will be submitted to SBDRC for Comments. 30-11-2011; Action: AGM(Doc). |
| 3.3 | Prequalifying Manufacturers – A Letter by PD(GKWSP) GKWSP has initiated a workshop with the objective of improving “procurement” of acceptable quality water fittings and devices among manufacturers, agents & importers, and other stake holders (ie MWS&D, NWSDB, SLSI, SLAB (Sri Lanka Accreditation Board), Sri Lanka Customs, Consumer Affairs Authority etc.) |
|  | SBDRC appointed the following committee to liaise with GKWSP in order to ensure that the NWSDB overall goal of efficient and effective procurement of those water related fittings and devices are achieved. Mr. D.S.D. Jayasiriwardene - D.G.M.(P&D) - Chairman Mr. Mangala Abeysekara - A.G.M.(M&E-services) - Member Mr. U.C.Pathiranage - A.G.M.(Documentation) - Member Progress of the work ongoing to be reported.. 20-11-2011; Action: AGM (Doc). |

  - DI-PQ

Yuan Gang Industries Co. Ltd, Taiwan is in the pre qualified list of DI Pipes and Fittings Manufacturers. When Technical Evaluation is done they forward product Conformity from an Accredited Laboratory, KTS Product Services which is not in the IAF (International Accreditation Forum) list.

| It was decided to refer this to DI-PQ Committee to take an appropriate action. |  |
| --- | --- |
| 30-11-2011 | Action: AGM (Doc) |

| 4. | Issues in SBDs |
| --- | --- |
| 4.1 | SBD for Supply and Installation of Pumps Format for particular application to be prepared. Data mentioned in Data sheet also to be transferred to Particular Application.. 20-11-2011; Action: AGM (M&E Services). Bidding Data, Contract Data, for different Procurement Committees should be given same page number so that only pages relevant to the particular Procurement Committee shall be used. Others can be removed, when preparing the Bidding Document and Content Page must not be changed due to this.. 30-11-2011; Action: AGM (M&E Services). |

| 4.2 | Bidding Documents Prepared by Consultants. |
| --- | --- |
|  | A letter to be sent to PDs under signature of Addl. GM(Sew), Chairman-SBDRC in order to include important Clauses such as following, in order to streamline with NWSDB SBDs - Average Annual Construction Volume (Civil Work) - Minimum Qualification Criteria (Civil Work) a) Water Treatment Plants b) Pipelines c) Water Towers d) Reservoirs e) Pipes & Fittings - Financial Capacity of Civil Bidders. - Financial Capacity of Supply Bidders.. 20-11-2011; Action: AGM (Doc). |
| 4.3 | Performance Guarantees It is reported to the SBDRC that NSB and State Mortgage Bank do not issue Bank Guarantees for the full period mentioned in the Contract Documents, and instead they issue Guarantee initially for one year and thereafter extending for the balance period. AGM (F), Ms. Srima De Silva to check with NSB, and Mortgage Bank whether they can cover the full contract period, without restricting the guarantee initially for an year and extending thereafter.. 20-11-2011; AGM (F). |

| 5. | Other Issues |
| --- | --- |
| 5.1 | PE Pipes and Fittings |
|  | PE Pipes have been introduced in several schemes such as, (i) Ranna Water Supply Scheme (ii) Kirindi oya Water Supply Schemes etc. |
|  | DGM (RSC-Southern) has sent a report on NRW details at - Ranna Water Supply Scheme - Kirindi oya Water Supply Scheme |
|  | The following statements were indicated in that report. - Ranna : No any leaks occurred in PE pipeline from 2005 to 2011 (06 years) - Kiridi oya : It is recommended to replace 280 mm & 225 mm PVC pipes along Matara-Wellawaya Road by PE |

|  | a); A Report to be prepared based on DGM (RSC/S) report on NRW of PE pipe lines and Report by Inspection team of NWSDB to Germany, on NRW reduction.. 20-11-2011; Action: AGM (Doc). |
| --- | --- |
|  | b); A meeting with PVC suppliers to be arranged regarding conversion of PVC manufacturing machines to PE manufacturing process. Report mentioned in item (a) will be useful for this meeting. The meeting is scheduled on 18th November 2011 at 9.30 a.m in Conference Room. All SBDRC members to participate.. 30-11-2011; Action: AGM (T&C). |
|  | c); Rate comparison of supply & laying of pipes for different pipe materials to be done. Actual rates to be considered.. 20-11-2011; Action: AGM (Doc). |

| 5.2 | Tapping of Service Connection in Parallel with Pipe laying |
| --- | --- |
|  | It was discussed at the SBDRC meeting that Tapping for service connections to be done in parallel with laying of Distribution pipelines to avoid damages to roads again and to minimize public inconvenience, and to avoid possible leaks occurring in the future. |
|  | A note has been prepared and sent to G.M to take up at the staff meeting. To discuss with AGM (GM office) in order to include into Agenda of the staff meeting.. 30-11-2011; Action: AGM (Doc). |

| 5.3 | Preliminary Bill |
| --- | --- |
|  | A Board circular on Preliminary Bill to be issued, to include following items; - Provisional Sum for Bond and Guarantee - Provisional Sum for Insurance - Provisional Sum for Day works - How overheads to be included in above items - Calculating amount for Provisional Sum of Day works calculate data based on past 10-15 contracts. - Construction Management Services (vii) Price Escalation. 20-11-2011; Action: AGM (Doc). |

| 5.4 | Performance as Evaluation Criteria |
| --- | --- |
|  | NWSDB do not have Monitoring System and a Data Base to determine functional aspects of materials and M&E equipment purchased. As an initial step it was decided to collect details of performance of Pipes, Fittings, Specials, Pumps, Chlorinators & other M&E equipments from PDs, DGMs etc. AGM (T&C) can collect such details and give TECs when necessary.. |
|  | - A letter with a format to be circulated, in order to collect details.. 20-11-2011; Action: AGM (Doc). - In Technical Evaluation Past performance must be a criterion. In order to do so A.G.M (T&C) have to prepare a Data Base for past performance and relevant information should be given to TECs.. 30-10-2011; Action: AGM (T&C). |
| 5.5 | Engineers Participation for SBDRC Decision making Process The letter by PD (GKWSP), on above subject dated 30-09-2011 was discussed. Most items already included in respective SBDs and/or in common practice and some items are just ongoing. However an Affidavit from General Manager / CEO of Manufacturer will be included, in SBDs.. 15-11-2011; Action: AGM (Doc). |

Annex1

PROGRESS OF SPECIFICATIONS PREPARATION COMMITTEES

As at 11-11-2011

| Sr No. | Key | Title/Chairman | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 01 | S7. | PE Pipes and Fittings for Sewerage/Water Committee Chairman – AGM (Dev-WC) Mr. K.W. Premasiri | Specification for PE pipes and fittings for water has been uploaded to Web. Specification for PE pipes for sewerage discussed at SBDRC meeting on 15-11-2011. To be corrected and uploaded to web. | AGM(Doc) 15-11-2011 | Uploaded AGM(Doc) to Go through. |
| 02 | S8. | Specification for Hydraulic and Electrical Surge Arresters Committee Chairman AGM (P&D-M&E) Mr. B.L. Gunarathne | Specification for Power Surge Protection Devices, and Hydraulic Surge Vessel uploaded to NWSDB Web Site. |  | Uploaded |
|  |  |  | Following standards to be purchased; BSEN 13445-Part 1 BSEN 13445-Part 2 BSEN 13445-Part 3 BSEN 13445-Part 4 BSEN 13445-Part 5 BSEN 13445-Part 6 BSEN 13445-Part 7 Sent to DGM (PC) for funding arrangement. (Rs 108, 000/-) | DGM(PC) 15-11-2011 | To be purchased |

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 03 | S9. | Specification for DI Pipes, Fittings etc. Committee Chairman – AGM (Doc) Mr. U.C. Pathiranage | Work is in progress. | AGM(Doc) 30-11-2011 | Work in Progress |
| 04 | S10 | Specifications for Sewerage Valves. Chairman – Addl.GM(Sew) Mr. G.A. Kumararathna | Work is in progress. | Addl.GM(Sew) 30-11-2011 | Work in Progress |

PROGRESS OF SBD PREPARATION COMMITTEES

| Sr No. | Key | Title |  | Progress |  | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | D10 | NWSDB/SBD/Civil – FIDIC/Ver 1 SBD for Foreign Funded Project – Work Contracts designed by the Employer. Committee Chairman DGM(Western-S) Mr. K.R. Dewasurendra |  | To be discussed by the SBDRC members. |  | AGM(Doc) 30-11-2011 | SBDRC to discuss |
| 02 | D12 | NWSDB/SBD/Service- Hiring Vehicles/Ver 1 Hiring of vehicles. Committee Chairman – C.E ( E&M ) Mr. A.R.D. Attanayake | Sinhala version of SBD was circulated among SBDRC members Include AGM (T&C)’s comments and uploaded to web. |  | AGM (Doc) |  | AGM(T&C)’s Comments to be included. |
|  |  |  | (English and Tamil Versions are already uploaded to web) |  | 20-11-2011 |  |  |

| Sr No. | Key | Title | Progress | Action by / Date | Present Status |
| --- | --- | --- | --- | --- | --- |
| 03 | D13 | Report and Specification for Bulk Meters Committee Chairman – AGM (M&E-Services) Mr. Mangala Abeysekara | A guide for selection and installation of Bulk Water Meters was discussed. “Guide for Bulk Meters Selection & Installation prepared by following Committee, - Mr. Mangala Abeysekara AGM(M&E-Services) - Chairman - Mr. S.S. Devaraja Manager(NRW) - Member - Mr. M.B. Dinesh ME-Services - Member Was discussed. AGM (M&E-Services) to provide several Drawings from Catalogues for Installation of Bulk Meters. AGM (Doc) to circulate above Guide and the Drawings among RSCs, PDs for comments under Addl.GM (Sewerage)’s signature. | SBDRC Members 20-09-2011 AGM (M&E-Services) 18-11-2011 AGM (Doc) 25-11-2011 | Guide to be circulated among DGM(RSCs) and PDs |
| 04 | D18 | SBD for Provision of Unskilled Workmen Services Committee Chairman – CE (P&C-WC) Ms. M.D.T. Abeywardene | Discussed on 09-11-2011. Comments to be included and uploaded to web. | Action: CE(P&C-WC) Follow up: AGM(Doc) 24-11-2011 | Comments to be included and uploaded to web |
| 05 | D19 | SBD for Obsolete Items Committee Chairman – CE (M&E-services) Ms. Asoka. Gunawardene | Committee has prepared 02 Documents separately for Sales of Redundant Vehicles and Equipment and Sale of Redundant Obsolete Items. These Documents have been discussed on 09-11-2011. Comments to be included and uploaded to web. | Action: CE(M&E-Services) Follow up: AGM(Doc) 30-11-2011 | Comments to be included and uploaded to web |
| 06 | D20 | SBD for Water Meters Committee Chairman – Addl. G.M.(Sewerage) Mr. G.A. Kumararathna | Committee has been appointed. A meeting is scheduled on 18th November 2011 at 2.00 p.m in Addl. GM (Sew) Office. | AGM(Doc) 25-11-2011 | SBD Committee to Meet. |

Outstanding SBDs/Specifications

| S.No. | Key | Title | % Completion | Remarks |
| --- | --- | --- | --- | --- |
| SBDs |  |  |  |  |
| 1 | D10 | SBD for Foreign Funded Project – Work Contracts designed by the Employer (FIDIC) | 95% | * 2 |
| 2 | D12 | SBD for Hiring of Vehicles (Sinhala) | 95% | * 7 |
| 3 | D13 | Bulk Meters(Specification & Report) | 60% | * 5 |
| 4 | D18 | SBD for Provision of Unskilled Workmen Services | 97% | * 3 |
| 5 | D19 | SBD for Sale of Redundant Obsolete Items | 97% | * 3 |
| 6 | D19 | SBD for Sale of Redundant Vehicle and Equipment | 97% | * 3 |
| 7 | D20 | SBD for Water Meters (1/2” & 3/4" ) | 80% | *1 |
| 8 | - | SBD for Janitorial Services | 97% | * 3 |
| 9 |  | PQ document for Valves | 85% | *6 |
| 10 |  | PQ document for Couplings and Flanged Adapters | 80% | *1 |
| 11 |  | SBD for Valves | 95% | *2 |
| 12 | - | SBD for Supply & Delivery of Goods (Foreign currency-for contracts above 25 million) | 98% | * 3 |
| Specifications |  |  |  |  |
| 13 | S7 | PE Pipes & Fittings for Sewerage | 97% | * 3 |
| 14 | S9 | Updating of Specification for DI Pipes & Fittings | 40% | *1 |
| 15 | S10 | Specification for Sewerage Valves | 20% | *1 |

Note :

*1 - Documents to be submitted to the SBDRC

*2 – Documents circulated & to be discussed by the SBDRC members.

*3 – Documents discussed at the SBDRC meeting, the comments to be included and uploaded to web.

*4 – Documents submitted by the relevant SBD committees after correction and pending Documentation Section perusal.

*5 – Revised Specifications not received

*6 – Document to be sent to T&C for calling for Bids.

*7 - AGM (T&C)’s comments to be included and to be uploaded to NWSDB Web Site.