Follow up Items

| F1 | Polypropylene Nuts & Bolts |
| --- | --- |
|  | a); Necessary laboratory tests to be carried out.. 31-03-2011; Action: CE (WS); Follow up: AGM (M&E-Services). |
|  | b); Twenty (20) nos. sets of nuts and bolts to be sent to DGM (Southern) for fixing in Dickwella area.. c); Sixty (60) nos. sets of nuts and bolts to be sent to DGM (Western-South) to install in corrosive area.. |

| F2 | Endurance Test for Stopvalves Reading of Endurance Test Machine can be challenged by Suppliers/Manufacturers. Therefore, accreditation for the machine should be obtained from SLSI. A discussion has been conducted with SLSI on 28th October 2010. Sectoral Committee of Materials and Mechanical System of SLSI has decided to constitute a Working Group to assist the Sectoral Committee for Formulation of National Standard in the area of Pipe Fitting and the Accessories (Metallic). The main responsibility of the Working Group is to support the work of the Sectoral Committee on technical aspects of standard formulation for expedite the decision making process of Sectoral Committee. Normally meetings are held once a month. SLSI requested to make arrangements to nominate one expert who has knowledge in the subject of Pipe Fittings and Accessories (Metallic) to serve as a member of the above Working Group. SLSI has sent the TOR of the working committee. Eng. K.W. Premasiri, AGM (Dev-WC) and Eng. B.L. Gunarathna AGM (P&D-M&E) were appointed as members of the working Group. |
| --- | --- |

| F3 | Originals of Unsolicited Proposals It is noticed that original proposal of unsolicited projects is not kept securely, for future use. Prepare a procedure for keeping originals of unsolicited proposals of Water Supply to be kept at Addl. GM (P&P) and Sewerage proposals to be kept at Addl. GM (Sew). After next meeting; Action: AGM (T&C). |
| --- | --- |

| F4 | SBD for DI Supply, Clause for Mutual Termination DGM (Audit) in his report for Kalutara Water Supply (Augmentation), Supply of DI Pipes and Fittings contract suggested that a clause for “mutual termination” to be included. SBDRC discussed the issue and written to FIDIC for asking their views. Another letter also has been sent to FIDIC in order to get a reply. |
| --- | --- |
|  | AGM (Doc) to arrange a discussion with FIDIC expert at WWDP-RM&JE Catchments Project.. When he is in Sri Lanka; Action: AGM (Doc). |

| F5 | Water Meter (1/2 Fluid Oscillation meters) |
| --- | --- |
|  | NRW Section has purchased 200 Nos Fluid Oscillation meters with digital reading. |
|  | AGM (NRW) was requested to install those meters in critical areas such as areas with partial flow and air trapped after getting approval from JICA. Kandy may be one such place as there is a JICA project in progress. After collecting all details of Ground situation, prepare a report and forward to GM for further action.. Next SBDRC meeting; Action: AGM (NRW); Follow: AGM(Doc). |
| F6 | Hiring of Vehicles (Tamil Version) |
|  | Tamil Translation completed and uploaded to web. A hard copy has been sent to DGM(CP) for comments. |

F7	Evaluation

Evaluation Guidelines

A sample Technical Evaluation Report has been prepared by the Committee comprising DGM (P&D), AGM (M&E-Services), AGM (Doc) and AGM (T&C). The report was distributed among SBDRC members,

SBDRC members to give their comments within a week. Include these comments and upload to web.. 27-05-2011; Action: AGM (Doc).