## revised supply bill 02
SAMPLE BOQ - SUPPLY OF DI PIPES, FITTINGS & SPECIALS (Foreign)
Bill No. 06
Note:
(1) All spigot and socket pipes shall be of class C40
(2) All flange pipe shall be of class C40 ( or C40 in case of screwed or factory welded flanges )
(3) All fittings except tees and crosses shall be of class C40
(4) All tees and crosses shall be of class C40
(5) All flanges shall be PN 16 unless otherwise stated.
(6) Supply and delivery of DI pipes and fittings including rubber rings, lubricant, gaskets, bolts and nuts and all other associated material required for complete installation.
Item No. | Description | Unit | Qty. | Rate |  | Amount
|  |  |  | Foreign (FOB) US $ | Local SL RS. | Foreign (FOB) US $ | Local SL RS.
CLASS C40: SOCKET & SPIGOT PIPES
DI Socket and Spigot Straight Pipes (excluding joint rings & lubricant).
2.01 | 400mm dia. | m
2.02 | 500mm dia. | m
2.03 | 600mm dia. | m
2.04 | 800mm dia. | m
| EPDM Joint Rings for above Socket and Spigot pipes ( including 10% extra ) | [10 empty] | Lubricant
2.05 | 400mm dia. | nr | [5 empty] | 0 |  | 18.655 | 18.655 | 0
2.06 | 500mm dia. | nr | [5 empty] | 0 |  | 0 | 0 | 0
2.07 | 600mm dia. | nr | [5 empty] | 0 |  | 0 | 0 | 0
Total of page No: / carried to summary in page No: /
2.08 | 800mm dia. | nr | [5 empty] | 0 |  | 0 | 0 | 0
[12 empty] | 0 | grm
Lubricants
2.09 | Lubricants for above Socket and Spigot pipes (approximately 105 .2 kg ) | sum
CLASS C40: FLANGED PIPES & FITTINGS
DI Double Flanged straight pipes (excluding gaskets, nuts and bolts )
2.1 | 80 mm dia. 500mm long | nr
2.11 | 100mm dia. 300mm long | nr
2.12 | 150mm dia. 100mm long | nr
2.13 | 400mm dia. 700mm long approx | nr
2.14 | 400mm dia. 3000mm long | nr
2.15 | 400mm dia. 5000mm long | nr
2.16 | 500mm dia. 700mm long approx | nr
2.17 | 500mm dia. 5000mm long | nr
2.18 | 800mm dia. 5000mm long | nr
Total of page No: / carried to summary in page No: /
Sets of Nuts and Bolts including two washers for each nut for flanged pipes of ;
2.19 | 80mm dia. | sets
2.2 | 100mm dia. | sets
2.21 | 150mm dia. | sets
2.22 | 400mm dia. | sets
2.23 | 500mm dia. | sets
2.24 | 800mm dia. | sets
EPDM gaskets for above double flanged pipes of ;
2.25 | 80mm dia. | nr
2.26 | 100mm dia. | nr
2.27 | 150mm dia. | nr
2.28 | 400mm dia. | nr
2.29 | 500mm dia. | nr
2.3 | 800mm dia. | nr
Total of page No: / carried to summary in page No: /
DI flanged and plain ended straight pipes excluding gaskets, nuts and bolts
2.31 | 80mm dia.2000 mm appr. | nr
2.32 | 100mm dia.2000 mm long approx. | nr
2.33 | 100mm dia. 4000mm long approx | nr
2.34 | 300mm dia.1000 mm long | nr
2.35 | 300mm dia. 1500mm long | nr
2.36 | 400mm dia. 1000mm long approx. | nr
2.37 | 400mm dia. 1500mm long | nr
2.38 | 400mm dia. 1750mm long | nr
2.39 | 400mm dia. 5000mm long | nr
2.4 | 500mm dia. 1000mm long approx. | nr
2.41 | 500mm dia. 1500mm long | nr
2.42 | 500mm dia. 2000mm long | nr
2.43 | 500mm dia. 5000mm long | nr
2.44 | 600mm dia. 1000mm long approx | nr
2.45 | 600mm dia. 1500mm long | nr
2.46 | 800mm dia. 1000mm long | nr
2.47 | 800mm dia. 1500mm long | nr
Total of page No: / carried to summary in page No: /
Sets of Nuts and Bolts including two washers for each nut for above flanged and plain ended pipes of ;
2.48 | 80mm dia. | sets
2.49 | 100mm dia. | sets
2.5 | 300mm dia. | sets
2.51 | 400mm dia. | sets
2.52 | 500mm dia. | sets
2.53 | 600mm dia. | sets
2.54 | 800mm dia. | sets
EPDM gaskets for above flanged and plain ended pipes of ;
2.55 | 80mm dia. | nr
2.56 | 100mm dia. | nr
2.57 | 300mm dia. | nr
2.58 | 400mm dia. | nr
2.59 | 500mm dia. | nr
2.6 | 600mm dia. | nr
2.61 | 800mm dia. | nr
Total of page No: / carried to summary in page No: /
DI Double socketed restrained bends (excluding joint rings & lubricant )
400mm dia.
2.62 | 11¼ deg | nr
2.63 | 22 ½ deg | nr
2.644 | 45 deg | nr | [6 empty] | 55
500mm dia.
2.654 | 11¼ deg | nr
2.664 | 22 ½ deg | nr
600mm dia.
2.674 | 11¼ deg | nr
800mm dia.
2.684 | 11¼ deg | nr
2.694 | 22 ½ deg | nr
EPDM Joint Rings for above restrained bends ( including 10% extra )
2.704 | 400mm dia. | nr | [5 empty] | 26 |  | 3 |  | 0
2.714 | 500mm dia. | nr | [5 empty] | 22 |  | 2 |  | 0
2.724 | 600mm dia. | nr | [5 empty] | 8 |  | 1 |  | 0
2.734 | 800mm dia. | nr | [5 empty] | 8 |  | 1 |  | 0
Total of page No: / carried to summary in page No: /
| Lubricants | [11 empty] | 0 | grm
2.744 | Lubricants for above restrained bends (approximately 9.0 kg ) | sum
DI double flanged bends ( excluding gaskets nuts &bolts) joint rings & lubricant).
2.754 | 400 mm dia.22 ½ deg | nr
2.764 | 500 mm dia.22 ½ deg | nr
DI restrained Taper complete with EPDM joint rings & excluding lubricant).
2.774 | 600 - 500mm dia. | nr | [5 empty] | 257
2.784 | 800 - 400mm dia. | nr | [5 empty] | 336
2.794 | 1000 - 600mm dia. | nr | [5 empty] | 450
2.804 | 1000 - 800 mm dia. | nr | [5 empty] | 545
Lubricants
2.814 | Lubricants for above restrained Taper (approximately 1.6 kg ) | sum | [5 empty] | 1588
Total of page No: / carried to summary in page No: /
DI all socketed duck foot bends complete with EPDM joint rings excluding lubricant
2.824 | 80mm dia. | nr | [5 empty] | 192
2.834 | Lubricants for above duck foot bends (approximately 0.2 kg ) | sum
DI Flange Adaptor complete with fasteners and sealing rings to suit
2.844 | to suit 80mm dia. DI pipe | nr
2.854 | to suit 100mm dia. DI pipe | nr
2.864 | to suit 300mm dia. DI pipe | nr
2.874 | to suit 400mm dia. DI pipe | nr
2.884 | to suit 500mm dia. DI pipe | nr
2.894 | to suit 600mm dia. DI pipe | nr
2.904 | to suit 800mm dia. DI pipe | nr
Total of page No: / carried to summary in page No: /
DI Couplings complete with fasteners and sealing rings to suit
2.914 | To suit 300mm DI pipe | nr
2.924 | To suit 400mm DI pipe | nr
2.934 | To suit 500mm DI pipe | nr
2.944 | To suit 600mm DI pipe | nr
2.954 | To suit 800mm DI pipe | nr
DI Blank Flange complete with EPDM Gaskets nuts and bolts.
2.964 | 300mm dia. | nr
2.974 | 500mm dia. | nr
2.984 | 600mm dia. | nr
2.994 | 800mm dia. | nr
2.1 | 1000mm dia. | nr
Total of page No: / carried to summary in page No: /
DI Plain ended straight pipes
2.101 | 80mm dia. 1500 mm long | nr
2.102 | 300mm dia. 1500 mm long | nr
2.103 | 300mm dia. 1000 mm long | nr
2.104 | 400mm dia. 1000 mm long | nr
2.105 | 400mm dia. 1500mm long | nr
2.106 | 500mm dia. 1000 mm long | nr
2.107 | 500mm dia. 1500 mm long | nr
2.108 | 600mm dia. 1000 mm long | nr
2.109 | 600mm dia. 1500 mm long | nr
2.11 | 800mm dia. 1000 mm long | nr
2.111 | 800mm dia. 1500 mm long | nr
Total of page No: / carried to summary in page No: /
DI restrained pipes with restrained joints (including necessory accessories , lubricant etc. for restrained joints)
2.112 | 300mm dia. 2000 mm long | nr
2.113 | 300mm dia. 4000 mm long | nr
2.114 | 400mm dia. 1000 mm long | nr
2.115 | 400mm dia. 2000 mm long | nr
2.116 | 400mm dia. 4000 mm long | nr
2.117 | 400mm dia. 6000 mm long | nr
2.118 | 500mm dia. 1500 mm long | nr
2.119 | 500mm dia. 2500 mm long | nr
2.12 | 500mm dia. 4000 mm long | nr
2.121 | 500mm dia. 6000 mm long | nr
2.122 | 600mm dia. 1500 mm long | nr
2.123 | 600mm dia. 2000 mm long | nr
2.124 | 600mm dia. 5000 mm long | nr
2.125 | 600mm dia. 6000 mm long | nr
Total of page No: / carried to summary in page No: /
2.126 | 800mm dia. 500 mm long | nr
2.127 | 800mm dia. 1000 mm long | nr
2.128 | 800mm dia. 2000 mm long | nr
2.129 | 800mm dia. 4000 mm long | nr
2.13 | 800mm dia. 5000 mm long | nr
2.131 | 800mm dia. 6000 mm long | nr
2.132 | 1000mm dia. 1000 mm long | nr
2.133 | 1000mm dia. 4000 mm long | nr
2.134 | 1000mm dia. 6000 mm long | nr
CLASS C40; TEES
DI restrained socketed tee complete with EPDM/ joint rings excluding lubricant.
2.135 | 400x300mm dia. | nr | [5 empty] | 256
2.136 | 500x300mm dia. | nr | [5 empty] | 272
2.137 | 500x400mm dia. | nr | [5 empty] | 304
2.138 | 500x500mm dia. | nr | [5 empty] | 336
2.139 | 600x600mm dia. | nr | [5 empty] | 435
Total of page No: / carried to summary in page No: /
2.14 | 800x800mm dia. | nr | [5 empty] | 1440
2.141 | 1000x1000mm dia. | nr | [5 empty] | 915
2.142 | Lubricant for above restrained socketed tee ( approximately 4.0 kg ) | sum | [5 empty] | 3958
DI all flanged tee complete with EPDM Gaskets nuts and bolts
2.143 | 400 x 80mm dia | nr
2.144 | 500 x 80mm dia | nr
2.145 | 600 x 80mm dia | nr
2.146 | 400x100mm dia. | nr
2.147 | 500 x100mm dia | nr
DI socketed tee with flange branch complete with sets of EPDM Gaskets , joint rings, nuts and bolts excluding lubricant..
2.148 | 400x 100mm | nr | [5 empty] | 224
2.149 | 500x 100mm | nr | [5 empty] | 768
Total of page No: / carried to summary in page No: /
2.15 | 600x 100mm | nr | [5 empty] | 644
2.151 | 800x 150mm | nr | [5 empty] | 528
2.152 | Lubricant for above socketed tee with flange branch ( approximately 2.2 kg ) | [6 empty] | 2164
A sufficient quantity of profiling mastic material, tape and primer compound for protecting all flanged joints and couplings. (Catalogue or printed literature to be furnished with the offer to justify the quality and quantity of the product. A sample should be provided with the offer. Tape overlap shall be 55%.)
2.153 | 80 mm dia.( 30 joints ) | sum
2.154 | 100 mm dia.( 12 joints ) | sum
2.155 | 150 mm dia.( 01 joints ) | sum
2.156 | 300 mm dia.( 12 joints ) | sum
2.157 | 400mm dia.( 36 joints ) | sum
2.158 | 500mm dia.( 38 joints ) | sum
2.159 | 600mm dia.( 11 joints ) | sum
2.16 | 800mm dia.(10 joints ) | sum
Total of page No: / carried to summary in page No: /

## revised bill 03
BILL NO 06 - SUPPLY AND DELIVERY OF DI PIPES, FITTINGS & SPECIALS FOR COLOMBO CITY DISTRIBUTION SYSTEM ( ( IMPLEMENT UNDER KALUGANGA PROJECT)
Note:
(1) All Valves shall be suitable for operation with a Valve Key unless otherwise stated.
(2) All flanges shall be of PN 16.
Item No. | Description | Unit | Qty | Rate |  | Amount
|  |  |  | Foreign (FOB) US $ | Local SR. RS. | Foreign (FOB) US $ | Local SR. RS.
DI flanged Sluice Valves
3.01 | 80mm dia. | nr | 06
3.02 | 100mm dia. | nr | 03
3.03 | 300mm dia. | nr | 02
3.04 | 400mm dia. | nr | 02
3.05 | 500mm dia.with by pass type | nr | 02
3.06 | 600mm dia.with by pass type | nr | 01
DI double orifice Air Valve
3.07 | 100mm dia. | nr | 04
3.08 | 100mm dia.with protective cover | nr | 02
3.09 | 150mm dia. | nr | 01
Total of page No: 3/1 carried to summary in page No:3/3
Double Flange butterfly valves
3.1 | 100mm dia. | nr | 06
3.11 | 150mm dia. | nr | 01
3.12 | 800 mm dia. | nr | 02
Fire Hydrant
3.13 | 80mm dia. | nr | 06
DI Heavy Duty Type Manhole Cover
3.14 | 600 x 600mm dia. | nr | 03 |  |  |  |  | washout - 3
3.15 | 750x750mm dia. | nr | 14 |  |  |  |  | sluice - 9 | Air -5
DI surface box
3.16 | 100 mm x 100 mm x 80 mm |  | 06
3.17 | 150 mm x 150 mm x 150 mm |  | 03
Total of page No:3/2 carried to summary in page No:3/3

## revised summary 3
SUPPLY AND DELIVERY OF DI PIPES, FITTINGS & SPECIALS FOR COLOMBO CITY DISTRIBUTION SYSTEM ( IMPLEMENT UNDER KALUGANGA PROJECT)
SUMMARY OF BILL NO. 06
| Page Number | Amount
|  | Foreign (FOB) US $ | Local SLRs.
Page No. 1
Page No. 2
| Total of page No. Carried to Summary in Page No. | 0 | 0

## Grand Summary
SUPPLY OF DI PIPES, FITTINGS & SPECIALS (Foreign)
SUMMARY OF BILLS
Bill No. | Description | Amount
|  | Foreign (FOB) US $ | Local SLRs.
2 | Supply & delivery of DI pipes ,fittings and specials |  |  |  | CIF AMOUNT
3 | Supply & delivery of DI valves and micellaneous items |  |  | Bill 2 | #REF!
| Sub Total (1) |  |  | Bill 3 | #REF!
| Less Discount (if any) |  |  |  | #REF!
Sub Total (2)
Cost of inspection by the Employer
Cost of inspection and testing by independent agency
Total of Bid carried to Form of Bid (excluding VAT) in Page No.