## Rated BOQ
SRI JAYAWARDENAPURA UNIVERSITY
CONSTRUCTION OF WASTEWATER TREATMENT PLANT
BILL NO : 16 - CONSTRUCTION OF OFFICE AND CONTROL ROOM
CONTRACT N0. SJU/SEW/2008/01
Item No | CESSM3 Code No | Description | Unit | Qty | Rate Rs. Cts. | Amount Rs. Cts.
SECTION D
EXCAVATION & EARTH WORK
Excavating
16.01 | D.2.5.1 | Excavating trenches for 225 mm thick wall foundation in any material other than rock with width exceeding 300 mm and depth not exceeding 1.00 m from ground level. | m3 | 45 | 581 | 26145
16.02 | D.2.6.1 | Excavating trenches for 115 mm thick wall foundation in any material other than rock with width 300 mm and depth 500 mm from ground level. | m | 15 | 265 | 3975
16.03 | D.2.5.1 | Excavating trenches for cable duct in any material other than rock with width exceeding 300 mm and depth not exceeding 1.00 m from ground level. | m3 | 0.1 | 581 | 58.1
16.04 | D.2.5.1 | Excavating trenches for pavement in any material other than rock with width exceeding 300 mm and depth not exceeding 1.00 m from ground level. | m3 | 6.4 | 581 | 3718.4
16.05 | D.4.0.1 | Extra over item No. 01 - 04 for excavation in rock blasting prohibited (provision). | m3 | 2.7 | 5840 | 15768
Disposal
16.06 | D.8.3.1 | Disposal of excavated material away from site as directed by the Engineer. | m3 | 45 | 340 | 15300
Filling
16.07 | D.9.1.1 | Back filling to foundation with selected excavated material in layers of 150 mm thick. | m3 | 13 | 267 | 3471
16.08 | D.9.3.1.2 | Filling under floors with selected excavated material up to a maximum thickness of 225 mm, watered and well rammed in layers of 150 mm thick. | m3 | 34 | 267 | 9078
|  | Total of page nr. 16/1 |  |  |  | 77513.5
Carried to summary in page nr. 16/18
SECTION F
CONCRETE WORK
SECTION F1
INSITU CONCRETE
Rate to be included for necessary Reinforcement and formwork.
Mass Concrete Grade 10
16.09 | F1.2.1.1 | In 75 mm thick screed for rubble foundation. | m2 | 65 | 889 | 57785
16.1 | F1.3.1.1.2 | In floor slab with thickness not exceeding 150 mm. | m3 | 12 | 11853 | 142236
16.11 | F1.17.1 | In 300x300 mm cable duct with 75 mm thick walls and base. | m | 2.5 | 1205 | 3012.5
16.12 | F1.19.1 | In 900 mm wide and 200 mm thick approx. pavement around the building and including 150 x 100 mm drain. | m | 70 | 2600 | 182000
16.13 | F1.15 | In mass concrete steps. | m3 | 0.3 | 12500 | 3750
Reinforced Concrete Grade 20
16.14 | F1.3.1.2.2 | In 100 mm thick base under rubble foundation, reinforced with 10 mm dia. tor steel bars. | m3 | 6.5 | 28200 | 183300
16.15 | F1.14 | In 225 x 150 mm lintels (24 nr), reinforced with 2 nr. 10 mm dia. tor steel bars and 6 mm dia. mild steel stirrups at 200 mm centers. | m3 | 1.5 | 53765 | 80647.5
16.16 | F1.14 | In 115 x 150mm lintels (05 nr), reinforced with 2 nr. 10 mm dia. tor steel bars and 6 mm dia. mild steel stirrups at 200 mm centers. | m3 | 0.2 | 53765 | 10753
|  | Total of page nr. 16/2 |  |  |  | 663484
Carried to summary in page nr. 16/18
SECTION G
MASONRY WORK
SECTION G1
BRICK WORK
16.17 | G1.1.1.1.1 | 225 mm thick brick masonry walls in cement mortar 1:6. | m2 | 307 | 2362 | 725134
16.18 | G1.1.1.1.1 | 115 mm thick brick masonry walls in cement mortar 1:6. | m2 | 40 | 1189 | 47560
SECTION G2
STONE WORK
16.19 | G2.1.1.1.1 | 400 mm wide random rubble masonry in cement mortar 1:5 in foundation. | m2 | 87 | 3365 | 292755
16.2 | G2.1.1.1.1 | 300 mm wide random rubble masonry in cement mortar 1:5 in foundation. | m2 | 12 | 2524 | 30288
SECTION H
WATER PROOFING
16.21 | H.2.1.1 | 20 mm thick Damp proof course in cement and sand mortar 1:3 on 300 mm wide rubble masonry foundation. Rate to include for treating with two coats of hot tar blinded with sand. | m | 15 | 260 | 3900
16.22 | H.2.2.1 | 20 mm thick Damp proof course in cement and sand mortar 1:3 on 400 mm wide rubble masonry foundation. Rate to include for treating with two coats of hot tar blinded with sand. | m2 | 44 | 865 | 38060
|  | Total of page nr. 16/3 |  |  |  | 1137697
Carried to summary in page nr. 16/18
SECTION K
METAL WORK
All material supplied, fabricated and fixed in position complete as shown in detail on drawing and as specified. Provision shall be made for breaking walls / concrete floors whenever necessary and making good as directed. All doors and windows shall be fabricated out of heavy quality Aluminium sections as specified. 6 mm thick tinted glass shall be fixed to sashes by rubber beading of approved type and quality.
Doors & Windows
All doors and windows shall be fixed with heavy quality Aluminium hinges, catches and other furniture of approved quality and all doors shall be fixed with mortise type door lock with keys in triplicate and a door closure of approved type and quality.
Doors
16.23 | K.6.1 | Glazed Aluminium door (type ‘D’) as shown on drawing, having overall dimension 1500x2900 mm of double sashed with hinged adjustable fanlight and aluminium louvers on top. | nr | 2 | 50743 | 101486
16.24 | K.6.1 | Glazed Aluminium door (type ‘D1’) as shown on drawing, having overall dimension 900x2900 mm of single sashed with hinged adjustable fanlight and aluminium louvers on top. | nr | 2 | 32279 | 64558
16.25 | K.6.1 | Glazed Aluminium door (type ‘D2’) as shown on drawing, having overall dimension 900x2100 mm of single sashed. | nr | 8 | 23374 | 186992
16.26 | K.9.1 | Marin Plywood door for toilets & bath of size 750 x 2100 mm (type 'D3') hinged on Aluminium frame as shown on drawing with approved locking arrangement. Rate to include for painting door with one coat of wood primer and two coats of approved quality enamel paint | nr | 4 | 10200 | 40800
|  | Total of page nr. 16/4 |  |  |  | 393836
Carried to summary in page nr. 16/18
Windows
16.27 | K.1.1.1 | Glazed Aluminium window (type 'W1') as shown on drawing 3000 x 2000mm with hinged adjustable fanlights and aluminium louvers on top. | nr | 3 | 62652 | 187956
16.28 | K.1.1.1 | Glazed Aluminium window (type 'W2') as shown on drawing 1800 x 2000mm with hinged adjustable fanlights and aluminium louvers on top. | nr | 5 | 37591 | 187955
16.29 | K.1.1.1 | Glazed Aluminium window (type 'W3') as shown on drawing 1200 x 2000mm with hinged adjustable fanlights and aluminium louvers on top. | nr | 1 | 23278 | 23278
16.3 | K.1.1.1 | Glazed Aluminium fanlight (type 'F') as shown on drawing 400 x 1300 mm with aluminium louvers on top. | nr | 4 | 6200 | 24800
SECTION L
WOOD WORK
Supply and fix category 'B' timber for following items, complete as shown in drawing and as directed. Rate to include for applying approved quality wood preservative on all timber surfaces.
SECTION L1
CARPENTRY
Ceiling framing
16.31 | L1.3.2.1 | 50 x 100 mm beams | m | 189 | 363 | 68607
16.32 | L1.3.1.1 | 50 x 50 mm joists | m | 310 | 94 | 29140
16.33 | L1.3.3.1 | 50 x 25 mm hangers | m | 44 | 34 | 1496
16.34 | L1.3.4.1 | 50 x 25 mm trimmers | m | 89 | 34 | 3026
|  | Total of page nr. 16/5 |  |  |  | 526258
Carried to summary in page nr. 16/18
Roof framing
16.35 | L1.4.2.1 | 100 x 50 mm rafters at 600 mm centers. | m | 518 | 363 | 188034
16.36 | L1.4.5.1 | 200 x 50 mm hip rafters. | m | 11 | 1150 | 12650
16.37 | L1.4.7.1 | 200 x 50 mm valley rafters. | m | 11 | 1150 | 12650
16.38 | L1.4.7.1 | 100 x 75 mm wall plate | m | 58 | 513 | 29754
16.39 | L1.4.4.1 | 200 x 50 mm ridge plate | m | 25 | 1150 | 28750
16.4 | L1.4.1.1 | 100 x 100 mm struts | m | 4.4 | 769 | 3383.6
16.41 | L1.4.7.1 | 50 x 50 mm runners | m | 326 | 94 | 30644
16.42 | L1.4.7.1 | 100 x 50 mm beam | m | 14 | 363 | 5082
SECTION L2
JOINERY
16.43 | L2.11.2.1 | 225 x 25 mm Valance Boarding fixed to edge of rafters with brass screws | m | 49 | 751 | 36799
16.44 | L2.11.2.1 | 250 x 25 mm Barge Boarding fixed to sides of rafters with brass screws | m | 27 | 824 | 22248
SECTION N
SUSPENDED CEILINGS
16.45 | N 7.1.1 | Flat asbestos suspended ceiling on category ‘B’ timber frame. | m2 | 163 | 856 | 139528
16.46 | N 7.1.1 | Flat asbestos eave ceiling on category ‘B’ timber frame. | m2 | 74 | 865 | 64010
|  | Total of page nr. 16/6 |  |  |  | 573532.6
Carried to summary in page nr. 16/18
SECTION P
ROOF COVERING / ROOF PLUMBING
Supplying and fixing in position complete as shown in detail on drawing and as directed.
16.47 | P 30.2.1 | Corrugated asbestos sheet roof covering on timber framework, pitch 15 deg. | m2 | 266 | 829 | 220514
16.48 | P.22.0.0 | Ridging with ridge tiles bedded with 1:1:4 cement, lime and sand mortar coloured to match tiles. | m | 25 | 497 | 12425
16.49 | P.22.0.0 | Hip tiles bedded with 1:1:4 cement, lime and sand mortar coloured to match tiles. | m | 11 | 497 | 5467
16.5 | P.14. | 16 BWG galvanized iron sheet valley gutter 900 mm girth overall once bent with end caps not less than 225 mm with including 38 mm tongued and grooved planks laid to slope on timber members | m | 11 | 1956 | 21516
Roof Plumbing
Supplying and fixing in position following items as directed.
16.51 | P.43.1.1 | 115 mm PVC square gutter with all accessories fixed to the valance board with PVC brackets at 375 mm centers with brass screws. | m | 49 | 483 | 23667
16.52 | P.44.2.1 | Extra over for 115 mm PVC square gutter, PVC running head. | nr | 04 | 314 | 1256
16.53 | P.44.2.1 | Extra over for 115 mm PVC square gutter, PVC end caps. | nr | 04 | 131 | 524
16.54 | P.44.2.1 | Extra over for 115 mm PVC square gutter, PVC gutter box. | nr | 02 | 970 | 1940
|  | Total of page nr. 16/7 |  |  |  | 287309
Carried to summary in page nr. 16/18
16.55 | P.44.2.1 | Extra over for 115 mm PVC square gutter, PVC mitre joiner. | nr | 02 | 410 | 820
16.56 | P.44.2.1 | Extra over for 115 mm PVC square gutter, PVC gutter joiner. | nr | 08 | 147 | 1176
16.57 | P.45.1.1 | 91 mm dia. PVC down pipe with the necessary accessories fixed complete to the walls with PVC brackets at suitable intervals. | m | 34 | 305 | 10370
16.58 | P.46.1.1 | Extra over for 91 mm dia. PVC down pipe, PVC elbow. | nr | 32 | 217 | 6944
SECTION Q
PLUMBING / SANITARY INSTALLATION
All fixtures shall be supplied and fixed complete including effecting connection to water main and disposal connection as required .
All sanitary fittings shall be of approved make and colour unless other wise stated.
PVC pipe (type 600) specials, fittings and other materials supplied, laid and jointed or fixed complete to walls with plated MS hooks / PVC brackets or buried in walls as required or laid underground as directed. Pipes measured upto 10.0 m beyond outer walls and all PVC pipes shall conform to Sri Lanka standards.
(Note :- The following quantities are provisional)
Cold Water Service
16.59 | Q.1.1 | 32 mm dia. PVC straight pipes. | m | 10 | 279 | 2790
16.6 | Q.1.1 | 25 mm dia. PVC straight pipes. | m | 20 | 245 | 4900
16.61 | Q.1.1 | 20 mm dia. PVC straight pipe. | m | 25 | 95 | 2375
16.62 | Q.2.1.1 | Extra over for item 60, 25 mm dia. PVC elbows | nr | 03 | 42 | 126
|  | Total of page nr. 16/8 |  |  |  | 29501
Carried to summary in page nr. 16/18
16.63 | Q.2.1.3 | Extra over for item 60, 25 x 25 mm dia. PVC tee. | nr | 01 | 28 | 28
16.64 | Q.2.1.3 | Extra over for item 60, 25 x 20 mm dia. PVC tee. | nr | 07 | 42 | 294
16.65 | Q.2.1.1 | Extra over for item 61, 20 mm dia. PVC elbows | nr | 20 | 27 | 540
16.66 | Q.2.1.3 | Extra over for item 61, 20 x 20 mm dia. PVC tee. | nr | 06 | 20 | 120
16.67 | Q.2.1.1 | Extra over for item 61, 20 mm dia. PVC faucet elbows. | nr | 02 | 38 | 76
16.68 | Q.2.1.7 | Extra over for item 61, 20 mm dia. PVC faucet sockets. | nr | 06 | 38 | 228
16.69 | Q.2.1.7 | Extra over for item 61, 20 mm dia. PVC valve sockets. | nr | 04 | 27 | 108
16.7 | Q.2.1.6 | Extra over for item 59, 32-25 mm dia.PVC reducing socket | nr | 01 | 52 | 52
Waste Water Service
16.71 | Q.1.1 | 40 mm dia. PVC straight pipes. | m | 20 | 144 | 2880
16.72 | Q.2.1.1 | Extra over items for 40 mm dia. PVC elbows | nr | 02 | 62 | 124
16.73 | Q.2.1.3 | Extra over items for 40 x 40 mm dia. PVC tee. | nr | 03 | 62 | 186
16.74 | Q.3.6.1 | 200 x 200 mm PVC catch pit fixed to concrete floor with necessary pipe connections. | nr | 04 | 1500 | 6000
Miscellaneous
16.75 | Q.1.1 | 63 mm dia. PVC straight pipes for cable duct. | m | 2.75 | 210 | 577.5
16.76 | Q.1.1 | 90 mm dia. PVC straight pipes for cable duct. | m | 2.50 | 380 | 950
|  | Total of page nr. 16/9 |  |  |  | 12163.5
Carried to summary in page nr. 16/18
Soil Pipes
PVC pipe (type 600) specials, fittings and other materials supplied laid and jointed or fixed complete to walls with plated M.S. hooks/ PVC brackets.
16.77 | Q.1.1 | 110 mm dia. PVC sewerage pipe. | m | 10.00 | 890 | 8900
16.78 | Q.2.1.2 | 110 mm dia. 88 deg. PVC bend with cleaning eye. | nr | 01 | 650 | 650
16.79 | Q.2.1.4 | 110 mm dia. PVC 'T' junction with cleaning door. | nr | 02 | 633 | 1266
16.8 | Q.2.1.2 | 110 mm dia. 88 deg. PVC bend. | nr | 01 | 510 | 510
Fixtures and Appliances
All fixtures shall be supplied and fixed complete including effecting connection to water main and disposal connection as required .
All sanitary fittings shall be of approved colour unless other wise stated.
16.81 | Q.5.1.1 | Approved quality close couple type water closet complete with 'S' trap, 9 litres capacity cistern, overflow connection and other necessary fittings complete. | nr | 01 | 13335 | 13335
16.82 | Q.5.1.1 | Approved quality ceramic squatting pan complete with 'P' trap, 9 litres capacity high level cistern fixed to wall with CI brackets, complete with overflow connection, PVC flush pipe, foot rest and other necessary fittings complete. | nr | 01 | 12700 | 12700
16.83 | Q.5.1.1 | Approved quality pedestal type ceramic wash basin complete with bottle trap, chained plug, chromium plated waste top and pillar tap. | nr | 02 | 10033 | 20066
16.84 | Q.5.1.1 | Approved quality ceramic sink fixed on brackets including overflow connection, waste plug with chain and tap. | nr | 01 | 5500 | 5500
|  | Total of page nr. 16/10 |  |  |  | 62927
Carried to summary in page nr. 16/18
16.85 | Q.5.1.1 | Approved quality stainless steel sink with single drain board fixed on brackets including overflow connection and waste plug with chain. | nr | 01 | 8760 | 8760
16.86 | Q.5.1.1 | Chromium plated soap tray. | nr | 04 | 826 | 3304
16.87 | Q.5.1.1 | Chromium plated robe hook. | nr | 02 | 700 | 1400
16.88 | Q.5.1.1 | 610 mm long Chromium plated towel rail complete with wall brackets. | nr | 02 | 1905 | 3810
16.89 | Q.5.1.1 | 400 x 500 mm bathroom mirror with plastic frame complete with fittings. | nr | 02 | 2540 | 5080
16.9 | Q.5.1.1 | Chromium plated shower rose. | nr | 02 | 2985 | 5970
16.91 | Q.17.1.1 | 12 mm dia. chromium plated Brass bib tap. | nr | 04 | 953 | 3812
16.92 | Q.5.1.1 | Approved quality hand bidet spray with holder. | nr | 02 | 1905 | 3810
16.93 | Q.16.1.1 | 12 mm dia. approved quality flexible hose 450 mm long. | nr | 04 | 400 | 1600
16.94 | Q.17.1.1 | 12 mm dia. chromium plated Brass high neck sink tap. | nr | 01 | 2013 | 2013
|  | Total of page nr. 16/11 |  |  |  | 39559
Carried to summary in page nr. 16/18
SECTION S
ELECTRICAL INSTALLATION
Note: All conduit pipes/ cables are to be concealed in walls and ceiling. Wiring to be completed upto M.C board. Contractor to carry necessary testing.
All materials supplied, installed or fixed complete as directed. Rate to include for all PVC wiring involved as specified and switching including switches of approved make complete to working order. All fixtures shall be of approved quality and makes to the satisfaction of the engineer and as specified in the specification.
16.95 | S.11.1.2 | Main electric cable (7/044) from electricity meter point or main control panel to main circuit breaker point. | m | 10 | 457 | 4570
16.96 | S.34.1 | Single-phase 30 amp main circuit breaker and 30 amp RCCB with 6 way miniature circuit breakers incorporated in one plastic box having transparent front lid. Rate to include for suitable buss bar. | nr | 01 | 5350 | 5350
16.97 | S.22.2.3 | Final circuits for lighting switches. | nr | 28 | 475 | 13300
16.98 | S.22.2.1 | Final circuits for 5 amp. Socket outlets. | nr | 13 | 515 | 6695
16.99 | S.22.2.1 | Final circuits for 13 amp. Socket outlets. | nr | 05 | 720 | 3600
16.1 | S.22.2.1 | Final circuits for 15 amp. Socket outlets. | nr | 02 | 720 | 1440
16.101 | S.22.2.5 | Final circuits for two-way switches. | nr | 01 | 475 | 475
16.102 | S.22.2.2 | Final circuits for ceiling fans. | nr | 06 | 610 | 3660
16.103 | S.24.1 | One way four gang switch. | nr | 01 | 420 | 420
16.104 | S.24.1 | One way two gang switch. | nr | 06 | 210 | 1260
16.105 | S.24.1 | One way one gang switch. | nr | 12 | 95 | 1140
|  | Total of page nr. 16/12 |  |  |  | 41910
Carried to summary in page nr. 16/18
16.106 | S.24.1 | Two way one gang switch. | nr | 01 | 175 | 175
16.107 | S.23.1 | 5 amp switched socket outlet flushed type. | nr | 13 | 2460 | 31980
16.108 | S.23.1 | 13 amp switched socket outlet flushed type | nr | 05 | 3115 | 15575
16.109 | S.23.1 | 15 amp switched socket outlet flushed type | nr | 02 | 3179 | 6358
16.11 | S.25.1 | 40 W single fluorescent lamp fitting (4'-0"). | nr | 17 | 2587 | 43979
16.111 | S.25.1 | 20 W single fluorescent lamp fitting (2'-0"). | nr | 05 | 2079 | 10395
16.112 | S 25.1 | Ceiling mounted lamp (40W). | nr | 06 | 2200 | 13200
16.113 | S 25.1 | Wall brackets (40W). | nr | 01 | 2180 | 2180
16.114 | S. 20.1 | Earth electrode complete with 50 mm dia. 2.00 m long GI pipe driven in to ground for connecting frame work continuity conductor in order to obtain satisfactory earth resistance reading as required by the CEB. | nr | 01 | 3848 | 3848
16.115 | S. 41.1.1 | Approved quality ceiling fan 1400 mm sweep with 5 speed regulator and all necessary accessories. | nr | 06 | 7790 | 46740
SECTION S1
16.116 | S | Telephone socket outlet, complete with necessary cabling. | nr | 05 | 2092 | 10460
SECTION T
FLOOR / WALL / CEILING FINISHES
SECTION T1
Floor finishes
16.117 | T1.1.1.1. | 12 mm thick cement rendering on concrete floor in cement mortar 1:3 finished smooth with neat colour cement floating. | m2 | 70 | 390 | 27300
|  | Total of page nr. 16/13 |  |  |  | 212190
Carried to summary in page nr. 16/18
16.118 | T1.1.1.1. | 12 mm thick cement rendering on concrete pavement including edges of drain in cement mortar 1:3 finished smooth with neat colour cement floating. | m2 | 84 | 390 | 32760
16.119 | T1.4.10.1 | 20 mm thick and 100 mm high skirting in cement and sand mortar 1:3 finished smooth with coloured cement float, including forming forking groove. | m | 66 | 241 | 15906
16.12 | T1.9.1.1. | 300 x 300 mm homogeneous ceramic floor tiles of approved quality and colour laid on concrete including bedding in cement mortar 1:2 with cement grout and joints filled with cement grout of matching colour and complete as shown in detail. | m2 | 85 | 3228 | 274380
16.121 | T1.9.1.1. | 300 x 300 mm homogeneous non skid pattern ceramic floor tiles of approved quality and colour laid on concrete in toilets and bath including bedding in cement mortar 1:2 with cement grout and joints filled with cement grout of matching colour and complete as shown in detail. | m2 | 7.2 | 3093 | 22269.6
16.122 | T1.9.9.1 | 100 mm high tile skirting to match floor tile including bedding in cement mortar 1:2 with cement grout and joints filled with cement grout of matching colour. | m | 75 | 310 | 23250
SECTION T2
Wall finishes
16.123 | T2.1.2.1.1 | 16 mm thick plinth plastering in cement mortar 1:3 finished smooth with neat colour cement floating | m2 | 14 | 549 | 7686
16.124 | T2.1.2.1 | 12 mm thick internal plastering on brick walls in cement, lime and sand 1:1:5 finished smooth with lime float. | m2 | 451 | 410 | 184910
16.125 | T2.1.1.1 | 63 mm wide 12 mm thick door & window reveals in cement, lime and sand 1:1:5 finished smooth with lime float. | m | 183 | 40 | 7320
16.126 | T2.1.1.1 | 8 mm wide 12 mm thick door & window reveals in cement, lime and sand 1:1:5 finished smooth with lime float. | m | 50 | 30 | 1500
|  | Total of page nr. 16/14 |  |  |  | 569981.6
Carried to summary in page nr. 16/18
16.127 | T2.1.2.1 | 16 mm thick plastering on external faces of brick walls in cement, lime and sand 1:1:5 finished semi rough. | m2 | 156 | 378 | 58968
16.128 | T2.1.1.1 | 63 mm wide 16 mm thick door and window reveals in cement, lime and sand 1:1:5 finished semi rough. | m | 122 | 42 | 5124
16.129 | T2.13.2 | 200 x 200 mm homogeneous glazed ceramic wall tiles of approved quality and colour fixed to wall in toilets & bath including bedding in cement mortar 1:2 with cement grout and joints filled with cement grout of matching colour. | m2 | 29 | 3223 | 93467
16.13 | T2.13.2 | 200 x 200 mm homogeneous glazed ceramic wall tiles of approved quality and colour fixed to wall in rest room ( above counter top ) including bedding in cement mortar 1:2 with cement grout and joints filled with cement grout of matching colour. | m2 | 1.8 | 3223 | 5801.4
16.131 | T2.13.2 | 200 x 200 mm homogeneous glazed ceramic wall tiles of approved quality and colour fixed to wall in lab (above counter top ) including bedding in cement mortar 1:2 with cement grout and joints filled with cement grout of matching colour. | m2 | 2.4 | 3223 | 7735.2
SECTION V
PAINTING
16.132 | V.1.1.1 | Apply one coat of wall primer and two coats of approved quality emulsion paint on faces of internal walls including door and window reveals. | m2 | 463 | 341 | 157883
16.133 | V.1.1.1 | Apply one coat of wall primer and two coats of approved quality weather proof emulsion paint on faces of external walls including door and window reveals. | m2 | 164 | 370 | 60680
16.134 | V.4.2.1 | Apply one coat of wood primer and two coats of approved quality enamel paint on valance and barge board. | m2 | 37 | 649 | 24013
|  | Total of page nr. 16/15 |  |  |  | 413671.6
Carried to summary in page nr. 16/18
SECTION W
DRAINAGE SYSTEMS BELOW GROUND
16.135 | W.4.2 | Excavation trenches for 110 mm dia.soil pipe with average depth not exceeding 750 mm. Rate to include for backfilling and disposal of excavated material. | m | 10 | 354 | 3540
16.136 | W.4.1 | Excavation trenches for 75 mm dia. waste pipe with average depth not exceeding 750 mm. Rate to include for backfilling and disposal of excavated material. | m | 10 | 176 | 1760
16.137 | W.5.1.1 | Extra over items 135 - 136 for excavation in rock. | m3 | 7.9 | 5840 | 46136
16.138 | W.7.1 | 600 mm wide 100 mm thick sand bedding for 110 mm dia. PVC sewerage pipe. | m | 10 | 180 | 1800
16.139 | W.10.1.1 | Supply and lay 110 mm dia. PVC sewerage pipe in trenches from edge of building to septic tank. | m | 10.00 | 489 | 4890
16.14 | W.10.1.1 | Supply and lay 75 mm dia. PVC waste pipe in trenches from catch pit to soakage pit. | m | 10.00 | 282 | 2820
16.141 | W.13.1.1 | Construction of 600 x 600 x 600 mm internal size, concrete grade 25 Manhole with hunching complete as directed. | nr | 01 | 6500 | 6500
16.142 | W.13.1.1 | 300 x 300 x 600 mm concrete catch pit complete as directed. | nr | 01 | 5450 | 5450
16.143 | W.17 | Allow for construction of brick masonry septic tank and soakage pit Type A as shown on type drawing No WT 222/01. Rate to include for necessary excavation and earth work. | nr | 01 | 68000 | 68000
|  | Total of page nr. 16/16 |  |  |  | 140896
Carried to summary in page nr. 16/18
Counter Tops
16.144 |  | Concrete Grade 20, 450 mm wide counter top at Rest Room. Rate to include for concrete, reinforcement, formwork and 200 x 200 mm ceramic tiles (approved quality and colour laid on concrete), complete as directed. | m | 2.40 | 1830 | 4392
16.145 |  | Concrete Grade 20, 450 mm wide counter top at Lab. Rate to include for concrete, reinforcement, formwork and 200 x 200 mm ceramic tiles (approved quality and colour laid on concrete), complete as directed. | m | 6.40 | 1830 | 11712
|  | Total of page nr. 16/17 |  |  |  | 16104
Carried to summary in page nr. 16/18

## Summary
Summary of Bill No. 16
Page Number | Amount Rs. Cts.
Page No. 16/1 | 77513.5
Page No. 16/2 | 663484
Page No. 16/3 | 1137697
Page No. 16/4 | 393836
Page No. 16/5 | 526258
Page No. 16/6 | 573532.6
Page No. 16/7 | 287309
Page No. 16/8 | 29501
Page No. 16/9 | 12163.5
Page No. 16/10 | 62927
Page No. 16/11 | 39559
Page No. 16/12 | 41910
Page No. 16/13 | 212190
Page No. 16/14 | 569981.6
Page No. 16/15 | 413671.6
Page No. 16/16 | 140896
Page No. 16/17 | 16104
Total of Page No. 16/18 | 5198533.8
Carried to Summary

## BOQ
SAMPLE BOQ
Bill No. 09 - CARETAKER QUARTERS
Item No | SLS 573 Code No | Description | Qty | Unit | Rate Rs. Cts. | Amount Rs. Cts.
SECTION D - EXCAVATION & EARTH WORK
Clearing
1.01 | D.1.1.1 | Clear site of all vegetation to an extent of 3.0 m beyond outer walls of structure and cart away debris as directed. |  | m2
Excavating
1.02 | D.2.5.1 | Excavating trenches for wall foundation, including verandah areas in any material other than rock with width exceeding 300 mm and depth not exceeding 1.00 m from ground level. |  | m3
1.03 | D.2.5.1 | Excavating trench for drain, including pavement in any material other than rock with width exceeding 300 mm and depth not exceeding 1.00 m from ground level. |  | m3
1.04 | D.4.0.1 | Extra over item No. 02 & 03 for excavation in rock blasting prohibited (provisional). |  | m3
1.05 | D.7.1.1 | Earthwork support total depth not exceeding 1.00 m and distance between opposing faces not exceeding 2.00 m. |  | m2
Disposal
1.06 | D.8.3.1 | Disposal of excavated material away from site as directed by the Engineer. |  | m3
1.07 | D.8.3.1 | Disposal of rock away from site as directed by the Engineer. |  | m3
Filling
1.08 | D.9.1.1 | Back filling to trenches with selected excavated material up to a maximum thickness of 150 mm, in layers of 150 mm thick. |  | m3
1.09 | D.9.3.1 | Filling under floors with selected excavated material up to a maximum thickness of 225 mm, watered, compacted and well rammed in layers of 150 mm thick. |  | m3
Total of page nr. / Carried to summary in page nr. /
SECTION F - CONCRETE WORK
SECTION F1-INSITU CONCRETE
Reinforcement and formwork measured separately unless otherwise stated
Mass Concrete Grade 10
1.1 | F1.2.1.1 | In 75mm thick screed for rubble foundation. |  | m2
Mass Concrete Grade 20
1.11 | F1.3.1.1 | In 75mm thick concrete floor. |  | m3
1.12 | F1.3.1.1 | In 75mm thick pavement. |  | m3
1.13 | F1.19.0.1 | Forming 200x75mm drain. |  | m
Reinforced Concrete Grade 20
1.14 | F1.4.1.2 | In 75mm thick concrete slab for pantry top. |  | m3
1.15 | F1.14.0 | In 225x150mm lintels (15 nr). |  | m3
SECTION F2 - FORM WORK
Form work in approved timber. Rate to include for splayed edges, battens, strutting, bolting, wedging, easing, striking and removal
Rough
1.16 | F2.1.1.1 | 75 mm high sides of screed. |  | m
Wrought
1.17 | F2.14.1.1 | For sides and soffit of 225x150mm lintels. |  | m2
1.18 | F2.2.1.1 | For soffit of pantry top slab. |  | m2
1.19 | F2.7.1.0 | 75mm high sides of pantry top slab. |  | m
Total of page nr. / Carried to summary in page nr. /
SECTION F3 - REINFORCEMENT IN INSITU CONCRETE
Tor/Mild steel rod reinforcement cut to lengths, bent to shape, placed in position and tied with GI wire
Tor Steel
1.2 | F3.2.1.7 | Bar diameter 10 mm in pantry top slab. |  | t
1.21 | F3.2.1.7 | Bar diameter 10mm in lintels. |  | t
SECTION F4 - PRE -CAST AND PRE- STRESSED CONCRETE
1.22 | F4.2.1.1 | 225x225mm, 2600mm high (approx) pre-cast concrete columns. |  | nr
SECTION G - MASONRY WORK
SECTION G1 - BRICK WORK
1.23 | G1.1.1.1.1 | 225mm thick brick masonry walls in cement mortar 1:5. |  | m2
1.24 | G1.3.1.1 | 225x225mm brick column. |  | m
SECTION G2 - STONE WORK
1.25 | G2.1.1.1.1 | 600mm wide random rubble masonry in cement sand mortar 1:5 in foundation. |  | m2
1.26 | G2.1.1.1.1 | 350mm wide random rubble masonry in cement sand mortar 1:5 in foundation. |  | m2
SECTION H - WATER PROOFING
1.27 | H.2.2.1 | 20mm thick Damp proof course in cement and sand mortar 1:3 on 350 mm wide rubble foundation. Rate to include for treating with two coats of hot tar blinded with sand. |  | m2
Approved quality water proofing treatment to toilet floor and walls, strictly in accordance with manufacturer's specification and as directed by the Engineer.
1.28 | H.2.2.1 | Floor of toilet. |  | m2
1.29 | H.2.2.2 | Walls of toilet, upto 1.5m. |  | m2
Total of page nr. / Carried to summary in page nr. /
SECTION L - WOOD WORK
Supply and fix category 'B' timber for following items, complete as shown in drawing and as directed. Rate to include for applying approved quality wood preservative on all timber surfaces.
SECTION L1 - CARPENTRY
Roof framing
1.3 | L1.4.2.1 | 50x100mm rafters at 600mm centers |  | m
1.31 | L1.4.7.1 | 100x75mm wall plate |  | m
1.32 | L1.4.4.1 | 150x50mm ridge plate |  | m
1.33 | L1.4.7.1 | 50x50mm runners at 750mm centers. |  | m
1.34 | L1.3.3.1 | 75x125mm Purlin |  | m
SECTION L2 - JOINERY
1.35 | L2.11.2.1 | 225x25mm Valance Boarding fixed to edge of rafters with brass screws. |  | m
1.36 | L2.11.2.1 | 250X25mm barge board fixed to edges of wall plate, purlin & ridge plate. |  | m
1.37 | L2.18.2.1 | Timber panelled Door (type 'D1')as shown on drawing of size 1200X2400mm, single sashed with latice work on top consisting of 100x75mm category 'B' rebated timber frame and 32mm thick sash, fix complete. Rate to include for painting one coat of wood primer and two coats of enamel paint. |  | nr
1.38 | L2.18.1.1 | Plywood door (type 'D2') as shown on drawing of size 900x2100mm, single sashed consisting of 100x75mm category 'B' rebated timber frame.Rate to include for painting one coat of wood primer and two coats of enamel paint. |  | nr
1.39 | L2.18.1.1 | Timber panelled door (type 'D3') as shown on drawing of size 820x2100mm, single sashed consisting of 100x75mm category 'B' rebated timber frame. Rate to include for painting one coat of wood primer and two coats of enamel paint. |  | nr
Total of page nr. / Carried to summary in page nr. /
1.4 | L2.19.1.1 | Glazed window (type 'W1') as shown on drawing of size 1800X1800mm with latice work on top, consisting of 100x75mm category 'B' rebated timber frame and 28mm thickness glazed window sashes. Rate to include for 3mm thick glass panes and painting one coat of wood primer and two coats of enamel paint and fixing of security grill. |  | nr
1.41 | L2.19.1.1 | Glazed window (type 'W2') as shown on drawing of size 2400X1350mm with latice work on top, consisting of 100x75mm category 'B' rebated timber frame and 28mm thickness glazed window sashes. Rate to include for 3mm thick glass panes and painting one coat of wood primer and two coats of enamel paint and fixing of security grill. | 02 | nr
1.42 | L2.19.1.1 | Glazed window (type 'W3') as shown on drawing of size 1800X1350mm with latice work on top, consisting of 100x75mm category 'B' rebated timber frame and 28mm thickness glazed window sashes. Rate to include for 3mm thick glass panes and painting one coat of wood primer and two coats of enamel paint and fixing of security grill. |  | nr
1.43 | L2.20.1.1 | Glazed fanlight (type 'F1') as shown on drawing of size 600x600mm with latice work on top, consisting of 100x75mm category 'B' rebated timber frame and 28mm thick sashes. Rate to include for 3mm thick glass panes and painting one coat of wood primer and two coats of enamel paint and fixing of security grill. |  | nr
SECTION L3 - IRONMONGERY
Supply and fix heavy quality brass ironmongery including fixing with brass screws to match and preparing timber to receive ironmongery.
Door Furniture
1.44 | L3.1.1.1 | 125 x 100 mm brass butt hinges. |  | nr
1.45 | L3.1.1.1 | 100 x 100 mm brass butt hinges. |  | nr
1.46 | L3.1.2.1 | 150 mm Brass barrel bolts |  | nr
1.47 | L3.1.2.1 | 100 mm Brass barrel bolt. |  | nr
1.48 | L3.1.3.1 | Chromium plated mortise type lock. |  | nr
Total of page nr. / Carried to summary in page nr. /
1.49 | L3.1.3.1 | Rim lock. |  | nr
1.5 | L3.1.10.1 | Pull rings 25 mm diameter. |  | nr
1.51 | L3.1.11.1 | Door handle 150 mm long fix to timber |  | nr
Window Furniture
1.52 | L3.2.1.1 | 100 x 63 mm brass butt hinges. |  | nr
1.53 | L3.2.3.1 | Brass casement fasteners. |  | nr
1.54 | L3.2.6.1 | Pull rings 25 mm diameter. |  | nr
1.55 | L3.2.5.1 | Brass casement stays. |  | nr
SECTION N - CEILINGS
1.56 | N .7.1.1.2 | Flat Asbestos cement sheet ceiling fixed to the under side of the roof timber frame . ( Inside & Outside ) |  | m2
SECTION P - ROOF COVERING / ROOF PLUMBING
Supplying and fixing in position complete as shown in detail on Drawing and as directed
1.57 | P31.2.1 | Corrugated asbestos sheet roof covering on timber frame work, pitch 24 deg. |  | m2
1.58 | P22.0.0 | Ridging with ridge tiles bedded with 1:1:4 cement, lime and sand mortar coloured to match tiles. |  | m
Roof Plumbing
Supplying and fixing in position following items as directed.
1.59 | P.43.1.1 | 115mm squre P.V.C. rainwater gutter fixed to the valance board with PVC brackets at 300mm centers, complete as directed. |  | m
1.6 | P.44.2.1 | Extra over for 115mm PVC square gutter, PVC end caps. |  | nr
1.61 | P.44.2.1 | Extra over for 115mm PVC square gutter, PVC running head. |  | nr
1.62 | P.44.2.1 | Extra over for 115mm PVC square gutter, PVC gutter joiners. |  | nr
Total of page nr. / Carried to summary in page nr. /
1.63 | P45.1.1 | 87.5 mm dia P.V.C rainwater down pipe with the necessary accessories fixed complete to the walls with PVC brackets at suitable intervals. |  | m
1.64 | P.46.1.1 | Extra over for 87.5mm PVC down pipe, PVC bends. |  | nr
SECTION Q - PLUMBING / SANITARY INSTALLATION
All fixtures shall be supplied and fixed complete including effecting connection to water main and disposal connection as required .
All sanitary fittings shall be of approved make and colour unless other wise stated.
PVC pipe (type 1000) specials, fittings and other materials supplied, laid and jointed or fixed complete to walls with plated MS hooks / PVC brackets or buried in walls as required or laid underground as directed. Pipes measured upto 10.0 m beyond outer walls and all PVC pipes shall conform to Sri Lanka standards. ( Pipe diameter < 50 mm shall be including all specials )
(Note :- The following quantities are provisional)
Cold Water Service
1.65 | Q.1.1.2 | 32 mm dia. PVC straight pipes lay in trenches. |  | m
1.66 | Q1.1.5 | 20 mm dia. PVC straight pipes lay in concrete floor. |  | m
1.67 | Q.1.1.6 | 20 mm dia PVC straight lay in brick masonry walls. |  | m
1.68 | Q14.1.1 | 20 mm dia. chromium plated Brass angle valve. |  | nr
Waste water Services
1.69 | Q.1.1.2 | 90 mm dia. PVC pipes lay in trenches. |  | m
1.7 | Q.1.1.2 | 63 mm dia. PVC pipes lay in trenches. |  | m
1.71 | Q.1.1.2 | 50 mm dia. PVC pipes lay in trenches. |  | m
1.72 | Q.1.1.6 | 63 mm dia. PVC pipes. |  | m
Total of page nr. / Carried to summary in page nr. /
1.73 | Q.1.1.6 | 50 mm dia. PVC pipes. |  | m
1.74 | Q.2.1.2 | Extra over for 63 mm dia. PVC 90 degree bends. |  | nr
1.75 | Q.2.1.2 | Extra over for 50 mm dia. PVC 90 degree bends. |  | nr
1.76 | Q.2.1.2 | Extra over for 50 mm dia. PVC 45 degree bends. |  | nr
1.77 | Q.3.1.1 | 150 x 150 mm pvc gully fixed to concrete floor with necessary pipe connections |  | nr
Fixtures and Appliances
All fixtures shall be supplied and fixed complete including effecting connection to water main and disposal connection as required .
All sanitary fittings shall be of approved colour unless other wise stated.
1.78 | Q.5.1.1 | Approved quality close couple type water closet complete with 'S' trap, 9 litres capacity cistern, overflow connection and other necessary fittings complete. |  | nr
1.79 | Q.5.1.1 | Approved quality pedestal type ceramic wash basin complete with bottle trap, chained plug, chromium plated waste top and pillar tap. |  | nr
1.8 | Q.5.1.1 | Approved quality stainless steel sink with single drain board fixed on brackets including overflow connection and waste plug with chain. |  | nr
1.81 | Q.5.1.1 | Chromium plated soap holder. |  | nr
1.82 | Q.5.1.1 | Chromium plated robe hook (pair). |  | nr
1.83 | Q.5.1.1 | Chromium plated toilet paper roll holder. |  | nr
1.84 | Q.5.1.1 | 610 mm long Chromium plated towel rail complete with wall brackets. |  | nr
1.85 | Q.5.1.1 | Chromium plated towel ring 150 mm diameter. |  | nr
1.86 | Q.5.1.1 | 600 x 500 mm bathroom mirror with plastic frame complete with fittings. |  | nr
1.87 | Q.5.1.1 | Chromium plated shower rose. |  | nr
1.88 | Q.5.1.1 | Shower curtain. |  | nr
Total of page nr. / Carried to summary in page nr. /
1.89 | Q.17.1.1 | 12 mm dia. chromium plated Brass bib tap. |  | nr
1.9 | Q17.1.1 | 15 mm dia. chromium plated Brass bib tap for garden water supply & car wash . |  | nr
1.91 | Q.5.1.1 | Approved quality hand bidet spray with holder. |  | nr
1.92 | Q16.1.1 | 12 mm dia. approved quality flexible hose 450 mm long. |  | nr
1.93 | Q17.1.1 | 12 mm dia. chromium plated Brass high neck sink tap. |  | nr
SECTION S - ELECTRICAL INSTALLATION
Note: All conduit pipes/ cables are to be concealed in walls and ceiling. Wiring to be completed upto M.C board. Contractor to carry necessary testing.
All materials supplied, installed or fixed complete as indicated on drawing and as directed. Rate to include for all PVC wiring involved as specified and switching including switches of approved make complete to working order. All fixtures shall be of approved quality and makes to the satisfaction of the engineer and as specified in the specification.
1.94 | S.11.1.1 | Main electric cable (2 x 10 mm2 PVC/ Cu) from electricity meter point or main control panel to main circuit barker point |  | m
1.95 | S.34.1.0 | Single-phase 32 DP main circuit breaker and 40A DP ELCB (30mA) with 32amp Ring circuit & 5nr 6A Lamp & Fan circuit breakers incorporated in one plastic box with hinged door. Rate to include for suitable buss bar. |  | nr
1.96 | S.22.2.3 | Final circuits for lighting switches. |  | nr
1.97 | S.22.2.1 | Final circuits for 15amp. Socket outlets. |  | nr
1.98 | S.22.2.1 | Final circuits for 5amp. Socket outlets. |  | nr
1.99 | S.22.2.2 | Final circuits for ceiling fans. |  | nr
1.1 | S.24.1.0 | One way four gang switch. |  | nr
Total of page nr. / Carried to summary in page nr. /
1.101 | S24.1.0 | One way two gang switch. |  | nr
1.102 | S24.1.0 | One way one gang switch. |  | nr
1.103 | S.24.1.0 | Bell push switch. |  | nr
1.104 | S.23.1.0 | 15amp switched socket outlet flushed type |  | nr
1.105 | S23.1.0 | 5amp switched socket outlet flushed type |  | nr
1.106 | S26.1.0 | Pendant lamp with glass shade. |  | nr
1.107 | S26.1.0 | Wall bracket lamp with glass shades. |  | nr
1.108 | S28.1.1 | Electric Bell. |  | nr
1.109 | S20.1.0 | Earth electrode complete with 75mm dia. 1800mm long heavy gauge GI pipe with a brick gully, driven in to ground for connecting frame work continuity conductor in order to obtain satisfactory earth resistance reading as required by the CEB. |  | nr
1.11 | S41.1.1 | Approved quality ceiling fan 1400mm sweep with 5 speed regulator and all necessary accessories. |  | nr
1.111 | S. | Television Antenna soket outlet, complete with necessary cabling. |  | nr
SECTION T - FLOOR / WALL / CEILING FINISHES
SECTION T1 - FLOOR FINISHES
1.112 | T1.9.1.1. | 200x200mm non slip pattern ceramic floor tiles of approved quality and colour laid on concrete in toilets including bedding in cement sand mortar 1:2 with cement grout and joints filled with cement grout of matching colour and complete as shown in detail. |  | m2
1.113 | T1.1.1.1 | 12mm thick cement renderring on concrete floor in 1:3 cement sand mortar finished smooth with neat cement floating of approved colour. |  | m2
1.114 | T1.1.1.1 | 12mm thick cement renderring on concrete pavement, including drain in 1:3 cement sand mortar finished smooth with neat cement floating of approved colour. |  | m2
Total of page nr. / Carried to summary in page nr. /
Skirting
100 mm high tile skirting to match floor tile including bedding in cement mortar 1:2 with cement grout and joints filled with cement grout of matching colour.
1.115 | T1.1.10.1 | 12mm thick 100mm high 1:3 cement sand mortar skirting to matching colour to the floor |  | m
SECTION T2 - WALL FINISHES
1.116 | T2.1.2.1.1 | 16 mm thick plinth plastering in cement sand mortar 1:3 finished smooth with neat colour cement floating |  | m2
1.117 | T2.1.2.1.1 | 16mm thick internal plastering on brick walls in cement, lime and sand 1:1:5 finished smooth with lime float. |  | m2
1.118 | T2.4.1.1 | 225mm wide 16mm thick internal plastering on brick column in cement, lime and sand 1:1:5 finished smooth with lime float. |  | m
1.119 | T2.1.1.1 | 63mm wide 16mm thick internal door & window reveals in cement, lime and sand 1:1:5 finished smooth with lime float. |  | m
1.12 | T2.1.1.1 | 225mm wide 16mm thick internal reveals for arches in cement, lime and sand 1:1:5 finished smooth with lime float. |  | m
1.121 | T2.1.2.1 | 16mm thick plastering on external faces of brick walls in cement, lime and sand mortar 1:1:5 finished semi rough. |  | m2
1.122 | T2.1.1.1 | 63mm wide 16mm thick external door and window reveals in cement, lime and sand 1:1:5 finished semi rough. |  | m
1.123 | T1.9.1.1. | 200x200mm glazed ceramic wall tiles of approved quality and colour fixed to wall in toilets & bath including bedding in cement mortar 1:2 with cement grout and joints filled with cement grout of matching colour. |  | m2
1.124 | V.1.1.1.1 | Apply one coat of wall primer and two coats of approved quality emulsion paint on faces of internal walls. |  | m2
Total of page nr. / Carried to summary in page nr. /
SECTION V - PAINTING
|  | PAINTING |  | m
1.125 | V.1.1.2.1 | Apply one coat of wall primer and two coats of approved quality emulsion paint on faces of 225mm wide brick column. |  | m
1.126 | V.1.1.2.1 | Apply one coat of wall primer and two coats of approved quality emulsion paint on faces of 63mm wide internal reaveals. |  | m
1.127 | V.1.1.2.1 | Apply one coat of wall primer and two coats of approved quality emulsion paint on faces of 225mm wide internal reaveals for arches. |  | m
| V.1.1.1 | Apply one coat of wall primer and two coats of approved quality weather proof emulsion paint on faces of external walls, columns etc….. | 162 | m2
1.128 | V.1.1.1.1 | Apply one coat of wall primer and two coats of approved quality weather proof emulsion paint on faces of external walls. |  | m2
1.129 | V.1.1.2.1 | Apply one coat of wall primer and two coats of approved quality weather proof emulsion paint on faces of 63mm wide external reaveals. |  | m
1.13 | V.4.2.1 | Apply one coat of wood primer and two coats of approved quality enamel paint on valance board and barge board (both sides and edges). |  | m2
1.131 | V.2.1.1 | Apply one coat of wall primer and two coats of approved quality emulsion paint on underside of internal and external ceiling. |  | m2
SECTION W - DRAINAGE SYSTEMS BELOW GROUND
Storm water pipes
1.132 | W.4.2.2 | Excavating trenches for 90mm dia. PVC with average depth not exceeding 750mm. Rate to include for earth work support, compacting bottom of trenches, backfilling and disposal of surplus excavated material. |  | m
1.133 | W.10.1.1 | 90mm dia. PVC pipes lay in trenches. |  | m
1.134 | W.13.1.1 | Construction of 200x200x300mm brick masonry catch pit, all complete as directed by the Engineer. |  | nr
1.135 | W.13.1.1 | Construction of 600x500x450mm brick masonry manhole, all complete as directed by the Engineer. |  | nr
Total of page nr. / Carried to summary in page nr. /
Waste water pipes
1.136 | W.4.1.2 | Excavating trenches for 90mm dia. PVC with average depth not exceeding 750mm. Rate to include for earth work support, compacting bottom of trenches, backfilling and disposal of surplus excavated material. |  | m
1.137 | W.10.1.1 | 90mm dia. PVC pipes lay in trenches. |  | m
1.138 | W.13.1.1 | Construction of 400x400x500mm brick masonry manhole, all complete as directed by the Engineer. |  | nr
Sewer pipes
1.139 | W.4.2.2 | Excavating trenches for 110 mm dia. PVC with average depth not exceeding 750 mm. Rate to include for earth work support, compacting bottom of trenches, backfilling and disposal of surplus excavated material. |  | m
1.14 | W.10.1.1 | 110 mm dia. PVC pipes lay in trenches. |  | m
1.141 | W.11.1.1 | 110 mm dia. PVC 900 Bend. |  | nr
Total of page nr. / Carried to summary in page nr. /