APPENDIX 4 - CONFIRMATION OF  CAPABILITY OF  PRODUCTION

AND SUPPLY ACCORDING TODELIVERY SCHEDULE.

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

Chairman, Procurement committee,

National Water Supply and Drainage Board,

Galle Road, Ratmalana, Sri Lanka.

Contract for Supply & Delivery of  Poly Aluminium Chloride for ………………………. ………………………………………Water Supply Scheme.

Contract No. …………………………………….

We, ……………………………………………………………….[name of manufacturer] of….. ………………………………………………………………………… ……………

………………………………………………………………………………..…………….[address of  manufacturer]confirm that we have sufficient production capacity to produce the quantity of  Poly Aluminium Chloride submitted in our bid and shall deliver them according to the delivery schedule indicated in the bid.

…………………………………………			……………………………..

Authorised Officer of the Manufacturer.			   Seal of the Company.

Name:-

Certified by

…………………………………………			……………………………..

Authorised Officer of the Bidder.		              	   Seal of the Company.

Name:-

Revised on 14-08-2023

APPENDIX 5 - BIDDER’S AUTHORIZATION TO SIGN THE BID/ CONTRACT

[The Bidder shall require to fill in this Form in accordance with the instructions indicated. This   letter of authorization should be on the letter head of the Bidder and should be signed by a person with the proper authority to  sign documents that are binding on the Bidder. The bidder shall include it in its bid].

Date : [insert date (as day, month and year) of Bid Submission]

No. : [insert contract number]

To :	Chairman, Procurement committee,

National Water Supply and Drainage Board,

Galle Road, Ratmalana, Sri Lanka.

Contract for Supply & Delivery of  Poly Aluminium Chloride for ………………………. ………………………………………Water Supply Scheme.

Contract No. …………………………………….

We …………………………………………[insert complete name of the Bidder], who ……………………………………….…………[insert full address of Bidder], do hereby authorize …………….………………………….. [insert complete  name of the Bidder’s   authorized officer who signs the contract ] to submit a bid on behalf of our company and to subsequently negotiate and sign the Contract.

Specimen Signature  ………………………………………………………………………………

Signed :  …………………………………[insert signature(s) of authorized representative(s) of the Bidder]

Name : ………………………………………………………..[insert complete name(s) of authorized representative(s)(s)  of the Bidder]

Title :  …………………………………….. [insert title]

Duly authorized to sign this Authorization on behalf of :

………………………………………… [insert complete name of Bidder]

This is to certify that the seal and signatures of legal representative and authorized person affixed to power of attorney attached hereto are found to be authentic.

………………………………

Signature of Attorney at Law

……………………………..

Seal of Attorney at Law

Revised on 10-02-2022

APPENDIX  6 - TOR FOR INDEPENDENT INSPECTION AGENCY

- Form of Material	: ( Powder/ Granular)

- Colour			:

- Testing of  Poly Aluminium Chloride for the conformity to the specification as given below

- Water Soluble Poly Aluminium Chloride, as Al2O3, percent by mass (min) =  28

- Water insoluble matter, percent by mass (max)   			           =  1.5

- Ammonical nitrogen, percent by mass (max)               		           = 0.01

- pH of 5 percent solution , w/v					           = 2.5-4.5

- Chloride (as Cl-  ) percent by mass (max)			          		= 33.0

- Sulphate as (SO 4 2- ) percent by mass (max)			          = 10.0

- Basicity, percent by mass   (min)					          = 35

- Arsenic  (as As) ppm (max)					          = 15

- Cadmium (as Cd) ppm (max)					          = 18

- Chromium (as Cr) ppm (max)				                      = 45

- Mercury (as Hg) ppm (max)				                      = 0.6

- Nickel (as Ni) ppm (max)						          =700

- Lead (as Pb) ppm (max) 						          = 90

- Antimony (as Sb) ppm (max)				                      = 40

- Selenium (as Se) ppm (max)				                      = 40

- Iron (as Fe) and Manganese (as Mn) ppm (max)	                                 = 300

- Particle size – passing through 04 mm (ASTM No.5) sieve 	          =100%

- Packing

- Material for packing	:

- Weight of a bag		:

- Marking

- Name of product	:

- Name & Address of the manufacturer	:

- Trade Mark	:

- Net Mass	:

- Type & Grade	:

- Standard to which product conforms	:

- Date of Manufacturer			:

- Batch Number	:

- Sampling for testing

- Method of sampling for testing	:

- Sampling instrument	:

- Scale of Sampling	:

- Number of tests carried out	:

- Recommendation:

Specify whether Poly Aluminium Chloride (PAC) confirms to the specifications given in the bidding document in every respect  	:……………………………….

APPENDIX 7 - MANUFACTURER’S AWARENESS OF THE TOR FOR    INDEPENDENT INSPECTION AGENCY

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

Chairman, Procurement Committee,

National Water Supply and Drainage Board,

Galle Road, Ratmalana, Sri Lanka.

Contract for Supply & Delivery of  Poly Aluminium Chloride for ………………………. ………………………………………Water Supply Scheme.

Contract No. …………………………………….

We, ……………………………………………………………….[name of manufacturer] of ………………………………………………………………………………………………………………….………………………………………………………………..…….[address of  manufacturer]confirm that we have noticed that

a)   	Appendix   6 – TOR for Independent Inspection Agency

## b)	Clause 6.1 of   Instructions to Bidders

……………………………...................			………………………….

Authorised Officer of the Manufacturer.			   Seal of the Company.

Name :……………………………………

Certified by

…………………………………………			……………………………..

Authorised Officer of the Bidder.		              	   Seal of the Company.

Name:-

Revised on 14-08-2023

APPENDIX 8-TESTING OF THE WEIGHT OF THE GOODS SHIPPED

[Address of the Manufacturer]

…………………………………………..

………………………………………….

Chairman, Procurement Committee,

National Water Supply and Drainage Board,

Galle Road, Ratmalana, Sri Lanka.

Contract for Supply & Delivery of  Poly Aluminium Chloride for ………………………. ………………………………………Water Supply Scheme.

Contract No. …………………………………….

Testing of the weight of the Poly Aluminium Chloride shipped

Number of packages / drums ……………………………..

Total weight of the goods shipped ……………………..  tonne.

Testing Witnessed by,

Name 1 : …………………………………	Name 2 : ……………………………….

Signature 1 : ……………………….		Signature 2 : ………………………

Date : ……………………………

Revised on  10-02-2022

Appendix 9 - Manufacturing of POLY ALUMINIUM CHLORIDE by

same/ single manufacturer

[Address of the Manufacturer]

………………………………….

………………………………….

………………………………….

Chairman, Procurement Committee,

National Water Supply and Drainage Board,

Galle Road, Ratmalana, Sri Lanka.

Contract for Supply & Delivery of  Poly Aluminium Chloride for ………………………. ………………………………………Water Supply Scheme.

Contract No. …………………………………….

We,………………………………………….[Name of Manufacturer]………………………

…………………………………………………………………………………….[Address of the manufacturer] confirm that the Poly Aluminium Chloride offered in this bid are manufactured by the  same /single manufacturer at a Factory location specified in the             ISO     9001: 2008 Quality Management System certificate.

………………………………….				……………………………

Authorised officer of the Manufacturer				Seal of the company

Name:…………………………

Certified by

………………………………….				……………………………

Authorised officer of the Bidder      				    Seal of the company

Name:…………………………

Revised on 14-08-2023

Appendix 10- Manufacturer’s warranty for the goods supplied under the contract

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

Chairman,

National Water Supply and Drainage Board,

Galle Road, Ratmalana, Sri Lanka.

Contract for Supply & Delivery of  Poly Aluminium Chloride for ………………………. ………………………………………Water Supply Scheme.

Contract No. …………………………………….

We, ……………………………………………………………….[name of manufacturer] of….. ………………………………………………………………………… ………………...

………………………………………………………………………………...…………………[address of  manufacturer] certify that the samples submitted by us represent the quality of Poly Aluminium Chloride which shall be  supplied under this Bid.

…………………………………………			……………………………..

Authorised Officer of the Manufacturer.			   Seal of the Company.

Certified by

…………………………………………			……………………………..

Authorised Officer of the Bidder.			               Seal of the Company.

Name :-

Revised on 14-08-2023

- APPENDIX 11 - Manufacturer’s GUARANTEE for the

- REPLACEMENT OF UNACCEPTABLE goods

- supplied under the contract

[Address of the Manufacturer]

…………………………………………..

………………………………………….

Chairman,

National Water Supply and Drainage Board,

Galle Road, Ratmalana, Sri Lanka.

Supply & Delivery of  ………. tonne of Poly Aluminium Chloride

Contract No…………………………………….

We, ……………………………………………………………….[name of manufacturer] of ………………………………………………………………………………………………………………….…………………………………..…….[address of  manufacturer] guarantee  that we shall unconditionally undertake to replace any unacceptable goods  supplied under this contract with no additional cost to the employer ensuring timely completion of the supply.

In any case we fail to replace the unacceptable goods, we agree that the NWSDB shall not make balance 25% payment of foreign component and balance local component and encash the Performance Security. We further aware that  NWSDB will immediately suspend issuing bidding documents to us and thereafter action shall be taken to blacklist us.

…………………………………………			    ..…………….………

Authorised Officer of the Manufacturer			   Seal of the Company

Name :……………………………………

Certified by

…………………………………………			……………………………..

Authorised Officer of the Bidder.			               Seal of the Company.

Name :-

Revised on 10-02-2022