##

**Revised on 08-06-2021**

**THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST**

**REPUBLIC OF SRI LANKA**

**MINISTRY OF WATER SUPPLY**

**NATIONAL WATER SUPPLY AND DRAINAGE BOARD**

**SUPPLY AND DELIVERY OF HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES FOR ……………………………………………………………..., NWSDB**

**CONTRACT NO.:**

**NWSDB/………/CP/** **………** **/HDPE/GOSL/2021/……**

**NATIONAL WATER SUPPLY AND DRAINAGE BOARD**

**GALLE ROAD**

**RATMALANA**

**SRI LANKA**

**…………….. 2021**

**1. TABLE OF CONTENTS**

**TABLE OF CONTENTS**

|  |  |
| --- | --- |
| **SECTION**  | **PAGE NUMBER****From To** |
| 1. | Table of Contents |  1-1 1-2  |
| 2. | Letter of Award | 2-1 2-2 |
| 3. | Form of Bid | 3 -1 3 -2 |
| 4. | Contract Agreement  | 4- 1 4 – 4 |
| 5. | Instructions to Contractor  |  5 - 1  |
| 6. | General Conditions of Contract  | 6 - 1 6 – 21  |
| 7. | Contract Data | 7 -1 7 – 4 |
|  | * General
 |  |
|  | * Delivery Schedule
 |  |
|  | * Payment Schedule
 |  |
| 8 | Specification |  8 – 1 8 - 32 |
| 9. | Schedule of Particulars  |  9 -1 9– 3 |
| 10. | Deviation from Specifications |  10 – 1  |
| 11.  | Key Features of Specification | 11 - 1  |
| 12. | Bills of Quantities | 12 -1 12 - …… |
|  |  |  Preamble Notes on Pricing |  |
|   |  | Bills of Quantities |  |
|  |  | Summary of Bills (Grand Summary) |  |
| 13. | Specimen Forms | 13 – 1 13 – 2 |
|  |  | Performance Guarantee | 13 – 1 |
|  |  | Advance Payment Security | 13 -2 |

|  |  |  |
| --- | --- | --- |
| 14 | Appendices |  |
|  |  |  |
|  | * Appendix 1 - Checklist of Submissions
 |  14 - 1 |
|  | * Appendix 2 - Financial statement
 | 14 - 2 |
|  | * Appendix 2A - Authorization for Bank References
 | 14 – 3 |
|  |  |  |
|  | * Appendix 3 - Guarantee to confirm that pipes

 fittings and rubber rings match and fit  properly and adequately to ensure leak proof pipe line.  | 14 - 4 |
|  | * Appendix 4 - Confirmation of capability of production and supply according to delivery schedule
 | 14-5 |
|  |  |  |
|  | * Appendix 4A – Monthly Production Capacity
 | 14-6 |
|  | * Appendix 5 - Manufacture’s Authorizations to

 Sign the Contract  | 14-7 |
|  | * Appendix 6 - Authorizations to the officer who sign the contract on behalf of the Bidder.
 | 14- 8 |
|  | * + Appendix 7 - TOR for Independent Inspection Agency
 | 14 – 9 14 - 12 |
|  | * + Appendix 8 - Manufacturer’s awareness of the TOR
 | 14- 13 |
|  | * + Appendix 9 - Manufacturer’s warranty for goods

 Supplied | 14 - 14 |
|  | * + Appendix 10 – Confirmation of supplying goods manufactured of the factory quoted
 | 14 – 15 |
|  |  |  |
|  | * + Appendix 11 – Affidavit by the Bidder
 | 14 – 16  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |

**2. LETTER OF AWARD**

**Regd. Post**

Ms. ……………………………………….

……………………………………………

……………………………………………

Dear Sirs,

**SUPPLY AND DELIVERY OF HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES FOR …………………………………………………………………, NWSDB**

**CONTRACT NO.:**

**NWSDB/…………../CP/** **………..** **/HDPE/GOSL/2021/…..**

**Letter of award**

We are pleased to notify you that the Contract for Supply and Delivery Of HDPE Pipes, Fittings, Specials and Accessories to NWSDB is hereby awarded to you at a Contract Price of Sri Lanka Rupees …………………………………………………………………………….. …………………………………………. (LKR …………………) plus applicable VAT.

* Applicable VAT will be payable on production of Tax Invoices. The Registered No. for NWSDB for VAT is 4090318207000.
* Since the Rates are based on Central Bank of Sri Lanka selling exchange rates on 23rd November 2020 (1 USD= 187.53 LKR), the Contract Price will be paid in LKR, by applying the Central Bank of Sri Lanka selling exchange rate on the date of Tax invoice.
* **Base on the raw material price fluctuation Contract Price shall be adjusted according to the formular given under clause 18.1 of Contract Data.**

Duly signed Form of Bid together with the Performance Security in the form of demand guarantee in the prescribed format (a copy annexed) from a recognized bank operating in Sri Lanka approved by the Central Bank of Sri Lanka for an amount of 10% of the total Contract Price valid for a period of 28 days beyond the Contract Period from the date hereof shall be submitted within 7 days from the date hereof.

The Liquidated Damages for any delay beyond the above period shall be paid in accordance with Clause 24.1 of Contract Data. An advance payment of 20 % of the contract price could be obtained after signing the agreement and on production of Advance Payment Guarantee in the prescribed format from a recognized bank.

You are also requested to complete the Delivery Schedule (Page No. 7-3), Schedule of Particulars (Page Nos. 9-1 to 9-9) and Annexes.

Please acknowledge the receipt of this letter by a return fax and make arrangements to sign the Contract Agreement by prior appointment with the Asst. General Manager (Tenders & Contracts) within 14 days.

Engineer’s Representative of this contract is Deputy General Manager (…………….).

Please contact Deputy General Manager (…………………) on Tele No. ……………….. for further action on this contract.

Yours faithfully,

**National Water Supply & Drainage Board**

**General Manager**

Cc: 1. Secretary, Ministry of Water Supply

1. Auditor General – Duplicate offer and a copy of the Procurement Committee

 decision attached.

1. Addl. General Manager (WSP/P&P/………)
2. Deputy General Manager (………………..)
3. Deputy General Manager (Finance)
4. Deputy General Manager (IA)
5. Asst. General Manager (Tenders & Contracts)
6. Asst. General Manager (Procurement Planning & Monitoring Unit)

9. Stores Copy

**3. FORM OF BID**

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

**MINISTRY OF WATER SUPPLY**

**NATIONAL WATER SUPPLY AND DRAINAGE BOARD**

**SUPPLY AND DELIVERY OF HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES …………………………………………………………………………………….., NWSDB**

**CONTRACT NO.: NWSDB/……………../CP/** **……………** **/HDPE/GOSL/2021/…..**

**FORM OF BID**

The Chairman,

Ministry Procurement Committee,

Ministry of Water Supply,

No. 35, ”Lakdiya Medura”

New Parliament Road,

Pelawatta,

Battaramulla, Sri Lanka.

I/We, the undersigned, having authority to sign this Bid and having read and fully acquainted myself/ourselves with the contents of the Information and Terms and Conditions of Bid and Delivery Schedule pertaining to the above Bid, along with Bills thereto, do hereby undertake to Supply & Delivery of Goods and Services referred to therein, in accordance with the aforesaid Instructions, Terms and Conditions for a total Bid price of Sri Lanka Rupees **………………………………………. excluding VAT (LKR ………………………./=)***.* The make-up of the aforesaid total Bid Price is given in the accompanying Bills of Quantities. Since the Rates are based on Central Bank of Sri Lanka selling exchange rates on 23rd November 2020 (1 USD= 187.53 LKR), the Contract Price will be paid in LKR, by applying the Central Bank of Sri Lanka selling exchange rate on the date of Tax invoice.

I/We attach hereto the following documents as part of my/our Bid.

1. Duly completed sections 1 to 14 of Bid Documents.

2. Documentary evidence to establish eligibility of Bidder.

3. Documentary evidence to Establish qualification to consider for the responsiveness to the contract.

4. Documentary evidence to establish that goods are offered from an eligible source and origin.

5. Documentary evidence to establish eligibility of goods offered.

6. Performance Security

7. Documentary evidence to establish qualifications for the performance of the Contract.

8. Duly filled Appendices.

9. Any other document.

I/We declare that the Photostat copies of documents and certificates submitted as part of my/our Bid are true copies of such documents and certificates. Also in case of ISO 9001: 2015 certificate, and Product conformity certificate (s) as listed in the specifications I/we confirm that I/we have verified

that the certificate issuing authority has accreditation to issue same and materials offered conform to the ISO 9001: 2015 certificate and the specified product standard certificates.

I/We further agree to the right of the Board to debar me/us from participating in its future Bids in the event that my/our submitted copies or documents are found to be forged or tampered with.

I/We undertake to adhere to the Delivery Schedule given in the Contract Data.

My/Our Bank Reference is as follows: ...........................................................…………..........................

...………..........................................................................................................…………...........................

Signature of Bidder : ....................................................................................……………….......…...

Name of Bidder : ................................................................................………….................

Address : ..............................................................................................………

Capacity : ……………………………………………………………………

Telephone Number : ...............................................................................................………

Facsimile Number : .....................................................................…………........................

Date : ....................................................................................………………

**Witnesses**

1. Signature : ....................................................................................………………

Name :- ................................................................................................………

Address : .................................................................................................………

Capacity : …………………………………………..

2. Signature :.....................................................................................………………

 Name :- ................................................................................................………

 Address :…………..............................................................................................

 Capacity ………………………………………………………

**4. CONTRACT AGREEMENT**

## THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

## MINISTRY OF WATER SUPPLY

**SUPPLY AND DELIVERY OF** **HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES FOR …………………………………………………………………………, NWSDB**

## CONTRACT NO.: NWSDB/………………../CP/ ………………. /HDPE/GOSL/2021/…..

**CONTRACT AGREEMENT**

Contract Agreement made and entered into between the National Water Supply and Drainage Board, a corporate body duly established under the provisions of the National Water Supply and Drainage Board Law No. 2 of 1974 and having its Head Office at Ratmalana in Sri Lanka (hereinafter sometimes referred to as "the Board") of the one part and Messrs …………… .........................…………………………………………………………………..….which duly incorporated under the laws of Democratic Socialist Republic of Sri Lanka and having registered its office at………....................................................................................................... ..............................................................................…………................................. (hereinafter called "the Supplier" which term of expression shall where the context so requires or admits mean and include its successors and permitted assigns) of the other part.

WHEREAS the Board is desirous of entering into a contract with the Supplier for the supply and delivery of **HDPE Pipes, Fittings, Specials and Accessories to …………………………………………………………, NWSDB**  at locations as specified in the Delivery Schedule and has accepted a Bid by the Supplier for the execution and completion of such works.

AND WHEREAS the Bills of Quantities, Specifications and General Conditions of Contract describing the Works to be done have been prepared by the Board and the same have been signed by the parties hereto.

NOW it is hereby agreed as follows:

1. For the consideration hereinafter mentioned the Supplier shall, upon and subject to the conditions hereto annexed, complete the Works referred to in the said Bills of Quantities and in the said specifications and Conditions of Contract to the entire satisfaction of the Board on or before…...…….................... ..……. ……………………………….………………… subject to extras, omissions and variations to be determined by the Engineer as hereinafter provided.

2. The said General Conditions of Contract, the said Specifications, the said Bills of Quantities, Instructions to Contractors, Contract Data and Schedule of Particulars and Form of Bid, all duly signed by the Board and the Contractor shall for all purposes where so ever be read, regarded and construed as part and parcel of the Agreement

3. The Supplier will be paid for the said execution of the Works the sum of equivalent Sri Lankan Rupees **………………………………………………………. (LKR ……………………../=)** hereinafter sometimes referred to as the "Contract Price" or such other sum as shall become payable hereunder according to the terms of the Contract.

4. As security for the due and proper performance and fulfillment of this contract and for the due payment of all claims to which the Board may be entitled hereunder, the Contractor hereby undertakes to maintain to the Board with a Guarantee in favour of the Board from a Bank approved by the Engineer as surety in the sum of **Rupees …………………………………………………………………………………………..** which said Performance Guarantee shall remain in force and shall not be discharged until the Engineer shall have granted a Final Certificate to the effect that the Contractor has duly discharged and completed all his obligations under this contract and that there is no sum whatever due to the Board at the date of such Final Acceptance Certificate under this Contract.

5. The following terms used in this Agreement and or in the Specifications shall be understood as having the meanings hereby ascribed to them, namely;

1. "The Procurement Committee" shall mean the Procurement Committee appointed for the purpose of determining the Bid.
2. "The Contractor" or "The Supplier" shall mean the person or persons, firm or firms, company or companies who have contracted for the supply and delivery of the materials and equipment herein specified and includes its successors and permitted assigns.
3. "The Chairman" shall mean the officer for the time being holding the office of or acting as the Chairman, National Water Supply and Drainage Board.
4. "The Engineer" shall mean the Officer for the time being holding the Office of or acting as the General Manager, National Water Supply and Drainage Board.
5. "The Engineer's Representative" shall mean the authorised Representative of the Engineer immediately responsible for the supervision of the Works or any other person appointed from time to time by the Engineer to act as Engineer Representative and notified in writing to the Contractor.
6. "The Government" shall mean the Government of the Democratic Socialist Republic of Sri Lanka.
7. "The Purchaser" or "The Board" or “the Employer” shall mean the National Water Supply and Drainage Board.
8. "Months" shall mean calendar months.
9. "The Contract Documents" shall mean the Contract Data, Schedule of Particulars, the General Conditions of Contract, the Form of Bid, the Specifications, Bills of Quantities, Addenda, Articles of Agreement and their annexures, Securities and Guarantees, Appendices.
10. "The Contract Price" shall mean the sum stated in the Letter of Acceptance payable to the Contractor for the supply of Goods and Services in accordance with the provisions of the Contract.
11. "The Works" shall mean the supply and delivery of Goods and the Services.
12. "Variation" shall mean any alteration of the description of any item in the Bills of Quantities or of the Specifications which in the opinion of the Engineer, is required for the perfect completion of the works outlined in the Agreement.
13. "Rs. or SL Rs.or LKR" shall mean Sri Lanka Rupees.
14. "The Rates" shall mean the rates fixed by the NWSDB through the rate contracts valid upto 31st of December 2021 to supply and delivery of HDPE pipes, fittings, specials and accessories to NWSDB.

IN WITNESS WHEREOF the parties hereto have set their hands and seal to these presents at the places and dates hereinafter mentioned.

Signed by the said Nishantha Ranathunga, Chairman, National Water Supply and Drainage Board and Nimal R. Ranawaka, Vice Chairman of the National Water Supply and Drainage Board at Rathmalana on the…………………….. .........................day of ………………..………........................ Two Thousand Twenty One and ……………………………………….…………..

………………………………………… ………………………………………

Nishantha Ranathunga Nimal R. Ranawaka

Chairman Vice Chairman

**NATIONAL WATER SUPPLY AND DRAINAGE BOARD**

WITNESSES

Signature 1: .......................………. Signature 2 : …….....................…….….

Name :………………………… Name :…………………………….…

Address .................................. Address ...........................…………

 ...............................… ..............................……….

Capacity …………………………. Capacity …………………………….

Signed by the said .............................................................................. in the Capacity of ................................................................................................................................................, of ……………………………………………………………… (name of the company) at ......…......................……………………......…………………………………..…..… on the ……............................................................... day of ................................ Two Thousand and.………………....................................

 ..................................

 Signature of Supplier

WITNESSES

Signature1 :....................……….. Signature 2 : …….......................

Name :……………………….. Name :………………………

Address ................................. Address ............................…

 ................................. ...........................…

Capacity ………………………. Capacity …………………

**5. INSTRUCTIONS TO CONTRACTOR**

**INSTRUCTION TO CONTRACTOR**

(1) **Scope of Contract**

Supply and Delivery of HDPE Pipes, Fittings, Specials and Accessories for ………………………………………………………… according to the rates and prices given in the Bill of Quantities, at the established rates as per NWSDB requirement based on production capacities, financial capabilities and etc.

(2) Qualification

 You are requested to submit following information in the given format;

(i) Working Capital \*1 + present available credit facilities for the company\*2 + credit facilities exclusively for this contract - 0.1 x current work commitments\*3 > Rs Mn …………….. (Refer **Appendix 2)**

\*1 Working Capital = Current Assets – Current Liabilities

\*2 A letter to prove the credit facilities by a Bank shall be issued within a month prior to date of closing of Bids.

 \*3 current work commitment = work remaining uncompleted

 (Documentary evidence to justify shall be submitted)

(ii) Contractor shall submit the details of **Monthly Production Capacity** in the given format using **Appendix 4A.**

(3) Funds required for this contract is available under **Consolidated Fund (“Water for All”).**

**6. GENERAL CONDITIONS OF CONTRACT**

**GENERAL CONDITIONS OF CONTRACT**

**TABLE OF CLAUSES**

**Clause No. Topic Page Number**

1. Definitions 6 - 2

2 Application 6 - 4

3. Engineer and Engineer's Representative 6 - 4

4. Standards 6 - 4

5. Use of Contract Documents and Information 6 - 4

6. Patent Rights 6 - 4

7. Performance Security 6 - 5

8. Inspection & Tests 6 - 5

9. Packing 6 - 7

10. Delivery and Documents 6 - 8

11. Insurance 6 - 8

12. Transportation 6 - 8

13. Incidental Services 6 - 8

14. Spare Parts 6 - 9

15. Warranty 6 - 9

16. Advance Payment 6 - 10

17 Payment 6 - 11

18 Bid Prices 6 - 13

19. Change Orders 6 - 14

20. Contract Amendments 6 - 14

21. Assignment 6 - 14

22. Subcontracts 6 - 14

23. Delays in Supplier's Performance 6 - 15

24 Liquidated Damages 6 - 15

25. Termination for Default 6 - 16

26. Force Majeure 6 - 16

27. Termination for Insolvency 6 - 16

28. Termination for Convenience 6 - 17

29. Resolution of Disputes 6 - 17

30. Governing Language 6 - 20

31. Applicable Law 6 - 20

32. Notices 6 - 20

33 Taxes and Duties 6 - 21

34. Final Acceptance 6 - 21

**GENERAL CONDITIONS OF CONTRACT**

**1** **Definitions**

 1.1 In this Contract, the following terms shall be interpreted as indicated:

(a) "Award of Contract" means the formal acceptance of bid by the Purchaser incorporating any adjustments or variations to the Bid agreed between the Purchaser and the Supplier.

(b) "Bills of Quantities" means the completed and priced Schedule of Prices with corrections as per **Clause 25** of Instructions to Bidders, in any or any part or individual schedule thereof, submitted by the Supplier with his bid and forming a part of the Contract documents.

(c) "Contract" means the agreement entered into between the Purchaser and the Supplier, as recorded in the Contract Agreement Form signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein;

(d) "Contract Price" means the price acceptable by the Purchaser under the Contract for the full and proper performance of his contractual obligations;

(e) “Contract sum” means the price payable to the Supplier under the contract for the full and proper performance of his contractual obligations.

 (f) “Contract Period” means as specified in the **Contract Data.**

(g) "Contract Agreement" means the obligations agreed between the

 Purchaser and the Supplier.

(h) "Contractor” or “Supplier" means the person or persons, firm or firms, company or companies who have contracted for supply of the Goods and provision of the services under this Contract.

1. "Drawing" means all the drawings and information provided by the Purchaser or the Engineer to the Contractor under the Contract.
2. “Employer’s authorized representative” is the Chairman of National Water Supply and Drainage Board, Galle Road, Ratmalana.
3. "Engineer" means the officer for the time being holding the office of or acting as the General Manager of the National Water Supply and Drainage Board, or any other person appointed by the Purchaser from time to time by notice in writing to the Supplier to act in replacement of.
4. “Final Acceptance Certificate” means the certificate that shall be issued by the Engineer to the Contractor upon the satisfactory completion of the contract by the Contractor.

(m) "Goods" means all materials which the Supplier is required to supply to the Purchaser for the due performance of his contractual obligations under the Contract.

(n) "Performance Security" means the “performance guarantee” to be provided by the Supplier in accordance with **Sub-Clause 7.3** for the due performance of the Contract.

(o) "Purchaser" or the “Employer” or the “Board” means the National Water Supply and Drainage Board.

(p) "Services" means services ancillary to the supply of the Goods, such as transportation, insurance, and any other incidental services, such as storing, stacking provision of technical assistance, training and other such obligations of the Supplier covered under the Contract;

(q) "Site" means the place or places to which goods are to be delivered.

(r) “Works" means the supply of Goods and provision of the Services.

(s) Accredited Agency shall be a member of International Accredited Forum (IAF) and shall have the authority for the accreditation of mentioned goods in their scope of accreditation.

1.2 **Interpretation**

 Words importing persons or parties shall include firms and corporations and any organisation having legal capacity.

 Words importing the singular only also include the plural and vise versa where the context so requires.

 Words importing masculine gender shall also include the feminine gender and vise versa where the context so requires.

1.3 **Written Communications**

 Wherever in the Contract provision is made for a communication to be "written" or "in writing, this means any hand-written, type written or printed communication, including facsimile transmission.

1.4 **Periods**

 In these Conditions "day" means calendar day “month” means calendar month and "year" means calendar year.

**2** **Application**

2.1 These General Conditions shall apply to the extent that they are not superseded by provisions in other parts of the Contract.

**3.** **Engineer and Engineers' Representative**

3.1 The Engineer is the General Manager of National Water Supply & Drainage Board who is the person authorised by the Purchaser to administrate the Contract on behalf of the Purchaser.

3.2 The Engineer may delegate to such person or persons such of the powers, directions and authorities vested in him as he may think fit. Such person (referred to as "the Engineer's Representative") will be named in the **Contract Data**.

**4**. **Standards**

4.1 The Goods supplied under this Contract shall conform to the standards mentioned in the Technical Specifications, BOQ notes and BOQ. When no applicable standard is mentioned, the Goods shall conform to the authoritative standard appropriate to the country of origin of goods and such standards shall be the latest issued by the concerned Institution.

**5.** **Use of Contract Documents and Information**

5.1 The Supplier shall not, without the Purchaser's prior written consent, disclose the Contract, or any provision thereof, or any specification, plan, drawing, pattern, sample or information furnished by or on behalf of the Purchaser in connection therewith, to any person other than a person employed by the Supplier in the performance of the Contract. Disclosure to any such employed person shall be made in confidence and shall extend only so far as may be necessary for purposes of such performance.

5.2 The Supplier shall not, without the Purchaser's prior written consent, make use of any document or information enumerated in para 5.1 except for purposes of performing the Contract.

5.3 Any document, other than the Contract itself, enumerated in para 5.1 hereof shall remain the property of the Purchaser and shall be returned (in all copies) to the Purchaser on completion of the Supplier's performance under the Contract if so required by the Purchaser.

**6.** **Patent Rights**

6.1 The Supplier shall indemnify the Purchaser against all third party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods or any part thereof in the Purchaser's country.

**7.** **Performance Security**

7.1 Within 14 days after the Supplier's receipt of notification of acceptance of the Contract by the Board, the Supplier shall furnish Performance Guarantee (unconditional) encashable on demand to the Purchaser in the amount of 10% of the Contract Price in the format of performance guarantee included in the Bidding Document and shall be issued from any one of the following forms as stated below.

1. A Bank Guarantee issued by a Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka.
2. A Sri Lanka Rupee cash deposit to the National Water Supply and Drainage Board, Sri Lanka.
3. A certified cheque or a bank draft issued by a Bank operating in Sri Lanka approved by the Central Bank of Sri Lanka in favour of the National Water Supply and Drainage Board, Sri Lanka.
4. A Bank guarantee issued by a Bank based in another country but the security or guarantee “confirmed” by a Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka

 **The term “confirmed” in relation to bank guarantee issued by a bank based in another country means that the “confirmed” bank held liable for paying the respective guaranteed amount at the request of first demand by the beneficiary.**

7.2 The proceeds of the Performance Security shall be payable to the Purchaser as compensation for any loss resulting from the Supplier's failure to complete his obligations under the Contract.

7.3 The Performance Security shall be denominated in the currency of the Contract and shall be submitted in the format provided in the Bid document.

7.4 The Performance Security will be discharged by the Purchaser and returned to the Supplier not later than 28 days following the date of completion of the Supplier's performance obligations, including any testing and acceptance by the Engineer, under the Contract.

**8. Inspections and Tests for Goods**

8.1 The Purchaser or his representative shall have the right to inspect and/or to test the Goods for their conformity to the Contract. The **Contract Data** of Contract and/or the Technical Specifications shall specify what inspections and tests the Purchaser requires and where they are to be conducted. The Purchaser shall notify the Supplier in writing of the identity of any representatives retained for these purposes. Equipment for testing to be provided by factory.

8.2 The inspections and tests may be conducted on the premises of the Supplier or his subcontractor(s), at point of delivery and/or at the Good's final destination. Where conducted on the premises of the Supplier or its subcontractor(s), presence of 3rd party inspection agency (from one of the Independent Inspection Agencies listed in the **Clause 8.5** hereof) jointly, all reasonable facilities and assistance including access to drawings and production data, originals of product conformity, Quality Management system and other certificates shall be furnished to the inspectors at no charge to the Purchaser.

8.3 Should any inspected or tested Goods fail to conform to the specifications, the Purchaser may reject them and the Supplier shall either replace the rejected Goods or make all alterations necessary to meet specification requirements free of charge to the Purchaser.

 8.4 The Purchaser's right to inspect, test and, where necessary, reject the Goods after the Goods' arrival in the Purchaser's stores shall in no way be limited or waived by reason of the Goods having previously been inspected, tested and passed by the Purchaser or its representative prior to the delivery of Goods or Goods' shipment from the country of origin, in case of importing.

8.5 The Purchaser requires the goods to be supplied under this contract shall conform to the requirements of the bidding document. The Supplier shall obtain the Certificates of Inspection for the specific requirement of this contract document carried out by one of the following inspection agencies acceptable to the Purchaser.

1. M/s Lloyds Register,

 Lloyds Register Industrial Division,

 Register House, 29 Wallesley Road,

 Croydon DRO-2AJ, U.K.

2. M/s Crown Agents,

 Quality assurance & Inspection Service

 Townend House, Walsall WSI INT

 U.K.

 3. M/s Societe Generale de Surveillance S.A.,

1, Place des Alpes,

Case Postale 898, CH-1211 Geneva 1,

Switzerland.

4. Bureau of Veritas,

Cedex 44,

92077 Paris Le Defense,

France.

The selected inspection authority’s name and cost to same has to be given in summary of price schedule. On the acceptance of the bid, the Purchaser shall inform directly to the inspection authority with a copy to Supplier, the specific requirements including deviations accepted by the purchaser, if any, to be tested. However, the payment to the Inspection Authority has to be made directly by the Supplier on production of test reports.

8.6 Nothing in **Clause 8.0** shall in any way release the Supplier from any warranty or other obligations under this Contract.

8.7 The Supplier shall obtain the consent of the Engineer to ship the goods to be imported for the Works or to deliver such materials and plant to the site. Applications for such consent to ship shall be accompanied by manufacturer’s test certificates and certificates of inspection prescribed in the Contract or agreed with the Engineer. Application shall be made so as to give the Engineer a reasonable time to deal with such applications.

8.8 Nominated Inspection Agency shall carryout inspection and testing during Manufacturing process, after Manufacturing and at any time prior to shipping and shall confirm that goods are in conformity with specifications included in the contract document. He shall submit his inspection report to the Employer including all items given in the Terms of Reference (TOR) for the Nominated Inspection Agency which is included in the contract document as Appendix – 7.

 8.9 Any inspections carried out by Inspection Agencies shall not relieve the Contractor of his obligations under the Contract.

**9.** **Packing**

9.1 The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination as indicated in the Contract. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the Goods' final destination and the absence of heavy handling facilities at all points in transit.

9.2 The packing, marking and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract and, subject to **Clause 18** hereof in any subsequent instructions ordered by the Purchaser.

9.3 The Supplier will be required to make separate packages for each consignee. Each package will be marked on three sides with proper indelible paint as follows:

1. National Water Supply & Drainage Board, Sri Lanka.
2. Contract No.
3. Description of Goods.
4. Country of Manufacture of Goods.
5. Suppliers' Name.
6. Packing List Reference No.

**10.** **Delivery and Documents**

10.1 Delivery of the Goods shall be made by the Supplier in accordance with the terms specified by the Purchaser in the **Contract Data**.

**11.** **Insurance**

* 1. The goods supplied under the contract shall be fully insured against loss or damage incidental to manufacture or acquisition, transportation from the manufacturing plant to the site, storage and delivery.
	2. The Supplier shall effect such insurance jointly in his own and in the name of the Purchaser.
	3. All insurance under this Contract shall be executed by a reputed insurance Company/Corporation registered under Insurance Board of Sri Lanka.

**12.** **Transportation**

12.1 The Contractor shall be required to meet all transport and storage expenses until delivery to the destination as specified in the **Contract Data.**

12.2 Contractor shall be held responsible for their crews use for unloading, stacking at purchaser’s stores and he shall obtain prior permission from the Engineer for the crews used for unloading at strategic unloading locations in high security zones.

**13.** **Incidental Services**

13.1 The Supplier shall provide any or all of the following services, without any extra cost to the Purchaser.

(a) Furnishing of tools required for assembly and/or maintenance of the supplied Goods.

(b) Furnishing of a detailed installation, operations and maintenance manual for each appropriate unit of the supplied Goods.

(c) Conduct training of the Purchaser's personnel, at the Supplier's plant and/or on-site, in assembly, operation, maintenance and/or repair of the supplied Goods.

13.2 Prices charged by the Supplier for the preceding incidental services, shall be included in the Contract Price for the Goods.

**14.** **Spare Parts**

14.1 The Supplier shall be required to provide the following materials and notifications pertaining to spare parts manufactured or distributed by the Supplier:

(a) Such spare parts as the Purchaser may elect to purchase from the Supplier, provided that this election shall not relieve the Supplier of any warranty obligations under the Contract;

(b) The Supplier shall carry sufficient inventories to assure ex-stock supply of consumable spares such as Gaskets, Plugs, Bolts, Nuts and Washers etc.

(c) In the event of termination of production of the spare parts:

(i) Advance notification to the Purchaser of the pending termination, in sufficient time to permit the Purchaser to procure needed requirements; and

(ii) Following such termination, furnishing at no cost to the Purchaser, the blue-prints, drawings and specifications of the spare parts, if and when requested.

**15. Warranty**

 15.1 The Supplier warrants that the Goods supplied under the Contract are new, unused, of the most recent or current models and incorporate all recent improvements in design and materials unless otherwise provided in the Contract. The Supplier further warrants that the Goods supplied under this Contract shall have no defect arising from design, materials or workmanship (except in so far as the design or material is required by the Purchaser's Specifications) or from any act or omission of the Supplier, that may develop under normal use of the supplied Goods in the conditions prevailing in the country of final destination.

 15.2 This warranty shall remain valid for 36 months after the Goods, or any portion thereof as the case may be, have been delivered (and commissioned) to the final destination indicated in the Contract unless specified otherwise in the **Contract Data**.

15.3 The Purchaser shall promptly notify the Supplier in writing of any claims arising under this warranty.

15.4 Upon receipt of such notice, the Supplier shall, with all reasonable speed, repair or replace the defective Goods or parts thereof, without costs to the Purchaser other than, where applicable, the cost of inland delivery of the repaired or replaced Goods or parts from the port of entry to the final destination.

15.5 If the Supplier, having been notified, fails to remedy the defect(s) within a reasonable period, the Purchaser may proceed to take such remedial action as may be necessary, at the Supplier's risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.

15.6 The Manufacturer shall submit the warranty for all materials/goods supplied by him for 36 months in the form given in Appendix 9.

**16. Advance payment**

16.1 The Board will pay advance payment on the Contract Price subject to a maximum amount, as stated in the **Contract**  **Data.** The Advance Payment Guarantee shall be a bank guarantee in the format of advance payment Guarantee included in the bidding document and shall be issued from any one of the following forms

1. A Bank Guarantee issued by a Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka.
2. A Sri Lanka Rupee cash deposit to the National Water Supply and Drainage Board, Sri Lanka.
3. A certified cheque or a Bank draft issued by a bank operating in Sri Lanka approved by the Central Bank of Sri Lanka in favour of the National Water Supply and Drainage Board, Sri Lanka.
4. A Bank guarantee issued by a Bank based in another country but the security or guarantee “confirmed” by a Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka

**The term “confirmed” in relation to bank guarantee issued by a bank based in another country means that the “confirmed” bank held liable for paying the respective guaranteed amount at the request of first demand by the beneficiary.**

**17.** **Payment**

* 1. **Documents to be submitted**

The following documents shall be submitted by the Supplier to the Purchaser when making request(s) for payment at different stages of payment as follows.

 Engineer’s representative should carefully go through these documents and inspect all delivered goods at site prior to approving payments and he should be fully satisfied with the quantity, quality, unloading stacking and etc. of goods at site prior to approve the payments.

 ( i). On requesting Advance Payment

1. Written request for payment of mobilization advance in the form of a tax invoice.

(b) A Bank Guarantee for Mobilization advance payment to the equivalent amount in the form prescribed in the bidding document.

(c) A Performance Guarantee.

 (ii). On Delivery to Site

 (a) Supplier’s tax invoice based on the BOQ and showing description of

 Goods delivered, quantity, units, amount and total amount.

(b) Manufacturer’s test certificate. (Original)

(c) Manufacturer’s Warranty. (Original)

(d) Inspection and test certificates, issued by one of the Independent Inspection Agencies listed in the Contract Document.

(e) Certificate of Standard for pipes and fittings issued by the relevant institution of Standards specified in the specifications.

(f) Inspection certificate issued by the Engineers’ Representative or his Authorized Officer.

1. Copy of Freight pre paid Bill of Lading.

1. Copy of Invoice.

(iii) On final Acceptance by the Engineer

a) Supplier’s request for balance payment in the form of a tax invoice.

b) Copy of Final Acceptance Certificate issued by the Engineer.

17.2 Method of Payment

The payment for Goods and Services under the different stages in Clause 16.1 hereof, shall be made as follows;

(i) Advance Payment

In the case of Supplier’s written request for advance payment, a maximum of percentage on the Contract Price as stipulated in the Clause 16.1 hereof shall be made within 28 days of signing the Contract, upon submission of performance bond and document set out in Clause 17.1 (i) hereof.

(ii) Subsequent Payment(s)

 Subsequent payment(s) shall not be made unless and until the Contract value of Goods delivered is more than or equal to 30% of the Contract Price.

 (a) On partial delivery to Site.

* + - When no advance payment is received,

50% of the BOQ value of Goods supplied less previous payment(s) if any shall be paid upon submission of the documents set out in Clause 17.1 (ii) hereof.

* + - When advance payment is received,

50% of the BOQ value of Goods supplied less previous payment(s) including the advance payment made shall be paid upon submission of documents set out in Clause 17.1 (ii) hereof.

(b) On full delivery to Site

* + - When no advance payment is received,

 90% of the Contract Price less previous payment(s) shall be paid on receipt of total quantity of Goods as per the Contract and upon submission of the documents set out in Clause 17.1 (ii) hereof.

* + - * When advance payment is received,

 90% of the Contract Price less previous payment(s) including the advance payment shall be paid on receipt of quantity of Goods as per the Contract and upon submission of the documents set out in Clause 17.1 (ii) hereof.

 (iii) Final Payment upon Final Acceptance by the Engineer

The total Contract sum shall become payable within 28 days after the date of the Engineer’s Final acceptance Certificate for the receipt of total quantity of the goods as per the Contract and upon submission of the documents set out in Clause 17.1 (iii) hereof. The Engineer shall certify the amount due to the Supplier after deducting previous payments made including any advance payment.

17.3 Mode of Payment

The amounts due to the Supplier in terms of the contract shall be paid to the Supplier by the Purchaser directly by a cheque.

**18**. **Bid** **Prices**

18.1 Prices quoted by the Bidder shall be firm and not subject to variation on any account.

18.2 The Bidder shall fill in rates and prices for all items of the bill/ section described in a Bill/s in the Bill of Quantities (BOQ). The Bidder is required to supply all items in the relevant Bill/s in the BOQ. If a bidder does not quote for a item of a bill the particular bill shall be considered as incomplete and that bill shall not be taken for evaluation.

18.3In pricing the items of the Bills of Quantities, the bidder shall cover himself and will be deemed to have covered himself for:

a) All services and goods which according to the true intent and meaning of the contract may be reasonably inferred as necessary for completion of delivery of the goods in sound condition to the Stores which is specified in Contract Data.

b) All the duties, obligations, liabilities and responsibilities which the Contract documents place upon the bidders in connection with or in relation to the Contract.

c) All costs arising out of inspection except inspection as per **Clause 8.5** of General Condition of Contract testing, packing, transportation, clearing, loading, unloading, stacking, shipping line charges, warehouse rent, port chargers, Customs duties, any demurrages, Import duties, import license fees cost of insurance from the manufacturer’s plant to the purchaser’s stores, Agents Commission if any and other minor expenses and charges to complete the supply of pipes, fittings, accessories and other materials in conformity to bidding document.

d) Cost of accessories not specifically listed, but necessary for proper completion.

(e) Prices charged by the Supplier for the preceding incidental services shall be included in the contract price for the Goods.

1. Any taxes as stated in the Clause 33 hereof.
2. All costs including all taxes and duties and other charges imposed outside Sri Lanka on raw materials, production, manufacturing, sales, transport and any other cost that may be incurred of all goods.

18.4 **If Bidders are registered for the purpose of VAT**, they should indicate the amount of VAT claimed separately in the Bidding Documents, in addition to the value of the Bidding, along with the VAT registration number. Declaration of VAT registration number is a mandatory requirement to pay the VAT amount.

If any Bidder is not registered for VAT, he should indicate the value of the Bid in Bidding Documents. Under this category Bidder should obtain a letter from the Commissioner of Inland Revenue Department certifying that his Company has not been registered for VAT and that letter should be attached to the Bidding Document.

**19.** **Change Orders**

19.1 The Purchaser may at any time, by a written order given to the Supplier pursuant to **Clause 31** hereof, make changes within the general scope of the Contract in any one or more of the following:

(a) Drawings, designs or specifications, where Goods to be furnished under the Contract which are to be specifically manufactured for the Purchaser.

(b) The method of shipment or packing.

(c) The place of delivery; or

(d) The Services to be provided by the Supplier.

19.2 If any such change causes an increase or decrease in the cost of, or the time required for, the Supplier's performance of any part of the Works under the Contract, whether changed or not changed by the order, an equitable adjustment shall be made in the Contract Price or Delivery Schedule, or both, and the Contract shall accordingly be amended. Any claims by the Supplier for adjustment under this clause must be asserted within twenty eight (28) days from the date of the Supplier's receipt of the Purchaser's change order.

**20**. **Contract Amendments**

20.1 Subject to **Clause 19** hereof; no variation or modification of the terms of the Contract shall be made except by written amendment signed by the parties.

**21**. **Assignment**

* 1. The Supplier shall not assign, in whole or in part, his obligations to perform under the Contract, except with the Purchaser's prior written consent.

**22.** **Subcontracts**

22.1 The Supplier shall not Subcontract whole of the Works. Except where otherwise provided by the contract, the Supplier shall not subcontract any part of the Works without the prior consent of the Engineer. The Supplier however, not require such consent for purchase of materials or to place Contracts for minor details or for any part of the Works of which the manufacturer is named in the Contract.

 The Supplier shall be responsible for the acts, defaults and neglects of any subcontractor, his agents or employed as fully as if they were the acts, defaults or neglects of the Supplier, his agents or employees.

* 1. The Supplier shall guarantee that, any and all subcontractors of the Supplier, appointed for the performance of any part of the Works under the Contract, will comply fully with the Terms and Condition of the Contract applicable to such part of the work under the Contract.

**23.** **Delays in Supplier's Performance**

23.1 Delivery of the Goods and performance of Services shall be made by the Supplier in accordance with the time schedule specified by the Purchaser in **Clause 10** hereof.

23.2 If at any time during the performance of the Contract, the Supplier or his subcontractor(s) should encounter conditions impeding timely delivery of the Goods and performance of Services, the Supplier shall promptly notify the Purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the Supplier's notice, the Purchaser shall evaluate the situation and may at his discretion extend the Supplier's time for performance, with or without liquidated damages, in which case the extension shall be ratified by the parties by amendment of the Contract.

23.3 Except as provided under **Clause 26** hereof , a delay by the Supplier in the performance of his delivery obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to **Clause 24** hereof, unless the extension of time is agreed upon pursuant to **Clause 23.2** without the application of liquidated damages.

 **24**. **Liquidated Damages**

24.1 Subject to **Clause 25** hereof, if the Supplier fails to deliver any or all of the Goods or perform the Services within the time period(s) specified in the Contract, the Purchaser shall, without prejudice to his other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to that stated in the **Contract Data**, for each day of delay until actual delivery or performance, up to a maximum deduction of (10%) of the Contract Price.

24.2 If a portion of goods to be delivered is delayed, the liquidated damages shall be deducted only for the delayed portion of goods, until actual delivery or performance up to a maximum of 10% of the contract Price.

* 1. Once the maximum is reached, the Purchaser may consider termination of the Contract with encashing the Performance Security and recovering any other damages incurred by him.

**25**. **Termination for Default**

25.1 The Purchaser may, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, terminate the Contract in whole or in part:

(a) if the Supplier fails to deliver any or all of the Goods within the time period(s) specified in the Contract, or any extension thereof granted by the Purchaser pursuant to **Clause 23** hereof; or

(b) if the Supplier fails to perform any other obligation(s) under the Contract.

(c). The Contractor/Supplier has engaged in corrupt or fraudulent practices, in competing for or in executing the contract.

25.2 In the event the Purchaser terminates the Contract in whole or in part, pursuant to **Clause 25.1**, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods similar to those undelivered, and the Supplier shall be liable to the Purchaser for any excess costs for such similar Goods. However, the Supplier shall continue performance of the Contract to the extent not terminated.

**26.** **Force Majeure**

26.1 Notwithstanding the provisions of **Clauses 23, 24 and 25** hereof, the Supplier shall not be liable for forfeiture of his Performance Guarantee, liquidated damages or termination for default, if and to the extent that, his delay in performance or other failure to perform his obligations under the Contract is the result of an event of Force Majeure.

26.2 For purposes of this clause "Force Majeure" means an event beyond the control of the Supplier and not involving the Supplier's fault or negligence and not foreseeable. Such events may include, but not restricted to, acts of the Purchaser either in its sovereign or contractual capacity, wars or revolutions, fires, unseasonal floods, epidemics, quarantine restrictions and freight embargoes.

26.3 If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform his obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

**27.** **Termination for Insolvency**

27.1 The Purchaser may at any time terminate the Contract by giving written notice to the Supplier, without compensation to the Supplier, if the Supplier becomes bankrupt or otherwise insolvent, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the Purchaser.

**28.** **Termination for Convenience**

28.1 The Purchaser, may by written notice sent to the Supplier, terminate the Contract, in whole or in part, at any time for his convenience.

 The notice of termination shall specify that termination is for the Purchaser's convenience, the extent to which performance of the Works under the Contract is terminated, and the date upon which such termination becomes effective.

28.2 The Goods that are complete and ready for shipment within 30 days after the Supplier's receipt of notice of termination shall be purchased by the Purchaser at the Contract terms and prices. For the remaining Goods, the Purchaser may elect:

(a) to have any portion completed and delivered at the Contract terms and prices; and/or

(b) to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and for materials and parts previously procured by the Supplier.

**29. Resolution of Disputes**

29.1 **Amicable settlement**

29.1.1 Any dispute of whatever nature arising out of or in relation to this agreement shall in the first instance be attempted to be resolved by way of amicable settlement by the purchaser and the supplier.

* + 1. The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract.
		2. If after thirty (30) days from the commencement of such informal negotiation the Purchaser and the Supplier have been unable to resolve amicably a contractual dispute, either party may require that the dispute be referred for resolution to the formal mechanism stated in **Clause 29.2** herein. These mechanisms may include, but not restricted to, condition mediated by a third party, adjudication in an agreed national forum and/or arbitration.

29.2 **Dispute Adjudication Board ( DAB)**

29.2.1 Appointment of the Dispute Adjudication Board. (DAB)

Any dispute of whatever nature arising out of or in relation to this agreement shall be referred to a "Dispute Adjudication Board (DAB) for decision The Parties shall appoint a DAB.

The DAB shall comprise, three suitably qualified persons (“the members”), who shall be professionals experienced in the type of Works and with the interpretation of contractual documents, one of whom shall serve as chairman.

Each of the Parties shall appoint one member to serve on the Dispute Adjudication board (DAB). The Parties shall consult both these members and shall agree upon the third member, who shall be appointed to act as the chairman.

The agreement between the Parties and each of the three members shall incorporate by reference the General Conditions of Dispute Adjudication Agreement contained in the Appendix to these Contract Data, with such amendments as are agreed between them.

The terms of the remuneration of the three members, including the remuneration of any expert whom the DAB consults, shall be mutually agreed upon by the Parties when agreeing the terms of appointment of the member or such expert (as the case may be). Each Party shall be responsible for paying one-half of this remuneration.

If a member declines to act or is unable to act as a result of death, disability, resignation or termination of appointment, a replacement shall be appointed in the same manner as the replaced person was required to have been nominated or agreed upon, as described in this Sub-Clause.

The appointment of any member may be terminated by mutual agreement of both Parties, but not by the employer or the Contractor acting alone. Unless otherwise agreed by both Parties, the appointment of the DAB (including each member) shall expire when the Issuing Final Acceptance Certificate.

29.2.2 Failure to Agree on the Composition of the Dispute Adjudication

Board.

If any of the following conditions apply, namely:

1. Either Party fails to nominate a member of a DAB by such date,
2. The Parties fail to agree upon the appointment of the third member (to act as chairman) of the DAB by such date, or
3. The Parties fail to agree upon the appointment of a replacement person within 42 days after the date on which the one of the three members declines to act or is unable to act as a result of death, disability, resignation or termination of appointment.

Then Institute for Construction Training and Development (ICTAD) shall, upon the request of either or both of the Parties and after due consultation with both Parties, appoint this member of the DAB. This appointment shall be final and conclusive. Each Party shall be responsible for paying one-half of the expenses / disbursements incurred by (ICTAD).

29.2.3 Obtaining Dispute Adjudication Board’s Decision.

If a dispute (of any kind whatsoever) arises between the Parties in connection with, or arising out of, the Contract or the execution of the Works, including any dispute as to any certificate, determination, instruction, opinion or valuation of the Engineer, either Party may refer the dispute in writing to the DAB for its decision, with copies to the other Party and the Engineer. Such reference shall state that it is given under this Sub-Clause.

The DAB shall be deemed to have received such reference on the date when it is received by the chairman of the DAB.

Both Parties shall promptly make available to the DAB all such additional information, further access to the Site, and appropriate facilities, as the DAB may require for the purposes of making a decision on such dispute. The DAB shall be deemed to be not acting as arbitrators(s).

Within 84 days after receiving such reference, or within such other period as may be proposed by the DAB and approved by both Parties, the DAB shall give its decision, which shall be reasoned and shall state that it is given under this Sub-Clause. The decision shall be binding on both Parties, who shall promptly give effect to it unless and until it shall be revised in an amicable settlement or an arbitral award as described below. Unless the Contract has already been abandoned, repudiated or terminated, the Contractor shall continue to proceed with the Works in accordance with the Contract.

If either Party is dissatisfied with the DAB’s decision, then either Party may, within 28 days after receiving the decision, give notice to the other Party of its dissatisfaction and intention to commence arbitration. If the DAB fails to give its decision within the period of 84 days (or as otherwise approved) after receiving such reference, then either Party may, within 28 Days after this period has expired, give notice to the other Party of its dissatisfaction and intention to commence arbitration.

In either event, this notice of dissatisfaction shall state that it is given under this Sup-Clause, and shall set out the matter in dispute and the reasons(s) for dissatisfaction. Except as stated in **Sub-Clause 29.2.4** [Failure to Comply with Dispute Adjudication Board’s Decision] and **Sub-Clause 29.2.5** [Expiry of Dispute Adjudication Board’s Appointment], neither Party shall be entitled to commence arbitration of a dispute unless a notice of dissatisfaction has been given in accordance with this Sub-Clause.

If the DAB has given its decision as to a matter in dispute to both Parties, and no notice of dissatisfaction has been given by either Party within 28 days after it received the DAB’s decision, then the decision shall become final and binding upon both Parties.

29.2.4 Failure to Comply with Dispute Adjudication Board’s Decision.

In the event that a Party fails to comply with a DAB decision which has become final and binding, then the other Party may, without prejudice to any other rights it may have, refer the failure itself to arbitration under Sub-**Clause 29.3** [Arbitration]. **Sub-Clause 29.2.3** [Obtaining Dispute Adjudication Board’s Decision] shall not apply to this reference.

* + 1. Expiry of Dispute Adjudication Board’s Appointment.

If a dispute arises between the Parties in connection with, or arising out of, the Contract or the execution of the Works and there is no DAB in place, whether by reason of the expiry of the DAB’s appointment or otherwise:

1. **Sub-Clause 29.2.3** [Obtaining Dispute Adjudication Board’s Decision] shall not apply, and
2. the dispute may be referred directly to arbitration under **Sub-Clause 29.3** [Arbitration].

29.3 **Arbitration**

Any dispute of whatever nature arising from, out of or in connection with this agreement, on the interpretation thereof, or the rights, duties, obligations or liabilities of any Party, or the operation, breach, termination, abandonment, foreclosure or invalidity thereof, shall be referred to by either Party to arbitration for final settlement, in accordance with the Arbitration Act No. 11 of 1995, or any amendment thereof. Venue of the arbitration shall be Colombo, Sri Lanka.

**30.** **Governing Language**

30.1 The governing language for the Contract is English Language. Subject to **Clause 30** hereof, that language version of the Contract shall govern its interpretation. All correspondence and other documents pertaining to the Contract which are exchanged by the parties shall be written in English and the language for day to day communication is English.

**31. Applicable Law**

* 1. The Contract shall be interpreted in accordance with the laws of the Democratic Socialist Republic of Sri Lanka.

**32. Notices**

32.1 Any notice given by one party to the other pursuant to the Contract shall be sent to the other party in writing or by facsimile and confirmed in writing to the other party’s address given in the **Contract Data**, or any other address notified by either party for the purpose of this clause.

32.2 A notice shall be effective from the date of delivery or on the notice's effective date, whichever is later.

**33**. **Taxes and Duties**

33.1 The Supplier shall be entirely responsible for all taxes, stamp duties, license fees, etc. including all costs stipulated in Preamble Notes on Pricing incurred until delivery of the contracted Goods to the Purchaser.

33.2 The Supplier shall comply with the regulations of the Department of Inland Revenue of Sri Lanka for payment of Value Added Tax, Profit Tax and any other taxes arising out of the Contract. Contractor shall pay customs duties and other duties and expenses imposed by the Department of Customs.

* 1. National Water Supply & Drainage Board is a VAT registered institution according to Value Added Tax Act No. 14 of 2002. The VAT registration number of NWSDB is 4090 31820 7000. The contractors who are VAT liable shall issue VAT invoices specifically stated as ‘TAX INVOICES’ to NWSDB including their VAT registration numbers and showing bill amounts and applicable VAT separately along with the requests for payments. The date of TAX INVOICE shall be within 28 days of work done.
1. **Final Acceptance**

Upon successfully completion of the supply & delivery as per **Clause 1** of ITB the contractor shall request the Engineer to issue a Final Acceptance Certificate for the satisfactory completion of the Supply & Delivery of Goods as per the contract and the Engineer shall issue the Final Acceptance Certificate upon being satisfied that the Contractor has fulfilled all obligations as per the contract.

**7. CONTRACT DATA**

* **GENERAL**
* **DELIVERY SCHEDULE**
* **PAYMENT SCHEDULE**

The Contract Data is a part of General Conditions of Contract and should be read in conjunction with the General Conditions of Contract.

If there is a discrepancy found in the General Conditions of Contract and the Contract Data, the Content in the Contract Data shall supersede the Content in the General Conditions of Contract.

Contract Data

Contract Data is a part of Condition of Contract and shall be read together. If any discrepancy is founds content of the Contract Data shall supersede the Conditions of Contract

*(Please note that the Clause nos. given hereunder are that of Conditions of Contract)*

# General

**Clause Reference Number**

### General Conditions of Contract

|  |  |
| --- | --- |
| 1.1 (g) | The Employer is Name: National Water Supply and Drainage Board,Address: Galle Road, Ratmalana Authorized Representative of the Employer is :  The Chairman, National Water Supply& Drainage Board Galle Road, Ratmalana. |
| 1.1 (i) | The Engineer is General Manager, National Water Supply and Drainage Board, Galle Road, Ratmalana. |

3.2 The Engineer's Representatives shall be the DGM (…………..) of the National Water Supply and Drainage Board.

7.1 Replace the first sentence with the following.

Within 7 days after the Supplier's receipt of notification of award of the Contract by the Board, the Supplier shall furnish Performance Guarantee (unconditional) encashable on demand to the Purchaser in the amount of 10% of the Contract Price in the format of performance guarantee included in the Bidding Document with the Form of Bid.

10.1 The Goods shall be delivered at such places, in such quantities and within such periods as prescribed in the attached Delivery Schedule.

15.2 The validity of warranty shall be in accordance with General Conditions of Contract.

16.1 Advance Payment shall be 20% of the Contract Price.

17.2 **Method of Payment**

 **Add at the beginning of the clause;**

The amounts due to the Supplier in terms of the Contract shall be paid to the Supplier by the Purchaser only in Sri Lankan Rupees. The Rates are based on Central Bank of Sri Lanka selling exchange rates on 23rd November 2020. (USD- 187.53 LKR). The contract price shall be paid in LKR, by applying the Central Bank of Sri Lanka selling exchange rate on the date of Tax invoice.

17.2 (ii) (a) Not applicable.

18.1 Deleted and replace with following;

 Rates and prices given in the Bill of Quantities by the Employer shall be adjusted in lieu of rise or fall in the raw material cost of HDPE pipes as per the following formular;

 F = CIF current – CIF base  x 17

 CIF base  25

 F - Price adjustment factor for the contract package concern.

 CIF current  - Average of raw material price of Thailand, Thaiwan, UAE, Saudi Arabia and South Korea obtain from Sri Lanka Custom for the month relevant for the Contract Award.

CIF base  - Average of raw material price of Thailand, Thaiwan, UAE, Saudi Arabia and South Korea obtain from Sri Lanka Custom for the month of November 2020 (1010.17 USD).

 17 - Raw material input of production cost

 25

18.2 Deleted.

24.1 The amount of Liquidated Damages shall be as follows. Limit of Liquidated Damages shall not exceed 10% of Contract Price.

|  |  |
| --- | --- |
| Lot Number | LD per lot per day of delay (Rs) |
| Lot 01: Bill No …………….. | ……………. |
| Lot 02: Bill No …………….. | …………….. |
| Lot 03:Bill No ……………….. | ………………. |
| Lot 04:Bill No ………………… | ……………… |

29.2 Not Applicable

32.1 Purchaser’s address for notice purposes shall be as follows:

 (a) Deputy General Manager (………..),

 National Water Supply and Drainage Board,

 …………………………

 …………………………

 Facsimile Number : ……………..

 E Mail : ……………………………

 Supplier’s address for notice purposes shall be as follows:

 …………………………………………………………….

 …………………………………………………………………………

 …………………………………………………………………………

33.3 Delete following sentence.

 “The date of TAX INVOICE shall be within 28 days of work done.”

DELIVERY SCHEDULE

The exception of the column “Bidder’s offered Delivery date” to be filled by the Bidder.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ItemNo. | Description of Goods | Quantity | Unit | Final Destination as specified in Bidding Data *[insert place of Delivery]* | Delivery Date |
| **Purchaser’s delivery date as per the contract** | **Bidder’s offered Delivery date *[to be*** ***provided by the bidder]*** |
| 01 | Lot 01: Bill No  | Total Quantity as specified in BOQ | As specified in BOQ | ……………………. | ………………. |  |
| 02 | Lot 02: Bill No  | ……………………. | ……………….. |  |
| 03 | Lot 03:Bill No  | ……………………. | ………………….. |  |
| 04 | Lot 04:Bill No  | …………………… | ………………… |  |

**PAYMENT SCHEDULE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **STAGE OF PAYMENT** | **STAGE OF CONTRACT** | **DOCUMENT TO BE SUBMITTED** | **AMOUNT OF PAYMENT** | **REMARKS** |
|  |
| 1 | Advance Payment | On request after signing the agreement | 1. Written request for payment of mobilization advance in the form of a tax invoice.

(b) A Bank Guarantee for Mobilization advance payment to the equivalent amount in the form prescribed in the bidding document.(c) A Performance Guarantee.  | 20% of the Contract Price as specified in letter of acceptance. | Sri Lanka Rupees |
| 1 | Subsequent Payment | On delivery and stacking of the Goods at site for each bill. | 1. Supplier’s invoice based on the BOQ and showing description of goods delivered quantity, units, amount and total amount.
2. Inspection & testing certificate by independent Inspection & testing agency specified in clause 8.1.5. of General Conditions of Contract.
3. Engineer’s representative’s approval for the payment.
 | 90% of the Contract Price relevant to each bill. Less previous advance.  | Sri Lanka Rupees  |
| 2 | Final Payment | Final acceptance by the Engineer for the delivery and other obligations | A written request for balance payment in the form of an invoice based on the BOQ and Engineer’s approval for the payment | Balance 10% of the Contract Price relevant to each bill. | The total Contract Sum shall become payable within 60 days from the date of the Engineer’s Final Acceptance Certificate. |

 Letter of Credit shall be opened by the Contractor.

**8. SPECIFICATION**

**9. SCHEDULES OF PARTICULARS**

* Specification for Polyethylene (PE) 8j-1 8j-31

pipes & fittings for Water Supply Applications.

SCHEDULE OF PARTICULARS

**Note : It is compulsory to fill the schedule of particulars according to the approved scope given in Annex A. Reference catalogues or any where else shall not be considers.**

**1.0 PE PIPES AND FITTINGS**

1. Country of Manufacture:

Pipes: ……………………….

Fittings: ………………………

1. Manufacturer’s Address and the intended Date of Manufacture:

**Address** **Intended Date of Manufacture**

Pipes: ………………….. ………………………………

Fittings: …………………. ………………………………

* 1. Colour of the product :

Pipes: ……………………….

Fittings: ………………………

* 1. Port of Shipment :
	2. Standards to which pipes and fittings conform:

Pipes: ……………………….

Fittings: ………………………

* 1. Is Certificate of product conformity from a relevant standards Institution provided :

Pipes ………………….. (attach a copy)

Fittings ………………. (attach a copy)

* 1. Nominal sizes and pressure ratings of Pipes & Fittings:

 **Nominal Dia** **Pressure Rating SDR**

 Pipes: ……………. ………………. ………

 Fittings: …………… ……………….. ………

* 1. Make of compression fittings, Gaskets/ rubber rings, inserts, clamps

 **Make/material** **Intended** **Date of Manufacture**

Body of Compression fittings …………………. ……………………..

Inserts ………………….. ……………………..

Rubber ring/Gasket ………………….. ……………………..

* 1. Characteristics of PE compound as granules
1. Compound Density : …………………
2. Carbon black content

(black compound % by mass) …………

1. Carbon black dispersion

(black compound specify the grade range) ……………

* 1. Mechanical characteristics
1. Hydrostatic strength at 200C
2. For pipes …………………
3. For fittings ……………….
4. Hydrostatic strength at 800C
5. For pipes …………………
6. For fittings ……………….
	1. Packing and protection in transit :

 Pipes ……………. (specify in detail)

 Fittings ……………… (specify in detail)

* 1. Time of delivery:

|  |  |  |
| --- | --- | --- |
|  | **FOB** | **At Site** |
| Pipes |  |  |
| Fittings |  |  |

* 1. Reference of the catalogues, technical literature, drawing provided with the tender:

 Pipes : ……………………….

 Fittings : ……………………

* 1. Name and address of the Supplier’s agent in Sri Lanka: ……… …………… ……… …………………………………………………………………………………………………….………………………………………………………………………………………
	2. Whether ISO 9001: 2015 certificate Quality Management System Certificate is available for manufacturing factory:

(i) (a) For Pipes ……………………………(i) (b) If yes, attach a copy ………………

(ii) (a) For Fittings …………………………………(ii) (b) If yes, attach a copy

 **Annex A**

**Recommended PE 100 Pipes & Fittings Suitable for Butt Fusion**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **No** | **Item/Item Nos.** | **Type** | **Colour** | **Remarks** |
|  | **Pipes** | PE 100 SDR 17 PN10 | Blue colour | - |
| **Pipes** | PE 100 SDR 11 PN16 |
|  | **Bends** | PE 100 SDR 17 PN10 | Blue colour | Up to 32mm diameter only molded fittings are accepted. For Other diameters molded/fabricated can be accepted. Fabricated fittings shall comply with ISO 4427: Part 3. |
| PE 100 SDR 11 PN16 |
|  | **Tees** | PE 100 SDR 17 PN10 | Blue colour |
| PE 100 SDR 11 PN16 |
|  | **Equal Tees** | PE 100 SDR 17 PN10 | Blue colour |
| PE 100 SDR 11 PN16 |
|  | **End Caps** | PE 100 SDR 17 PN10 | Blue colour | - |
| PE 100 SDR 11 PN16 |
|  | **Stub Flange Assembly** | PE 100 SDR 17 PN10 | Blue colour | - |
| PE 100 SDR 11 PN16 |
|  | **Reducers** | PE 100 SDR 17 PN10 | Blue colour | - |
| PE 100 SDR 11 PN16 |
|  | **Elbow 90 deg.** | PE 100 SDR 17 PN10 | Blue colour | - |
| PE 100 SDR 11 PN16 |
|  | **Elbow 45 deg.** | PE 100 SDR 17 PN10 | Blue colour | - |
| PE 100 SDR 11 PN16 |
|  | **Valve Socket** | PE 100 SDR 17 PN10 | Blue colour | - |
| PE 100 SDR 11 PN16 |
|  | **Faucet Socket** | PE 100 SDR 17 PN10 | Blue colour | - |
| PE 100 SDR 11 PN16 |
|  | **Stub Flange Assembly** | PE 100 SDR 17 PN10 | Black colour | - |
| PE 100 SDR 11 PN16 |
|  | **Reducers** | PE 100 SDR 17 PN10 | Black colour | - |
| PE 100 SDR 11 PN16 |

 **Recommended PE 100 Fittings for Electro Fusion**

|  |  |  |  |
| --- | --- | --- | --- |
| **No** | **Item/Item Nos.** | **Type** | **Colour** |
|  | **Bends** | PE 100 SDR 11 PN16 | Blue colour |
|  | **Tees** | PE 100 SDR 11 PN16 | Blue colour |
|  | **Equal Tees** | PE 100 SDR 11 PN16 | Blue colour |
|  | **End Caps** | PE 100 SDR 11 PN16 | Blue colour |
|  | **Stub Flange Assembly** | PE 100 SDR 11 PN16 | Blue colour |
|  | **Reducers** | PE 100 SDR 11 PN16 | Blue colour |
|  | **Elbow 90 deg.** | PE 100 SDR 11 PN16 | Blue colour |
|  | **Elbow 45 deg.** | PE 100 SDR 11 PN16 | Blue colour |
|  | **PE Couplers** | PE 100 SDR 11 PN16 | Blue colour |
|  | **PE Tapping Tee** | PE 100 SDR 11 PN16 | Blue colour |
|  | **PE Clamp Saddle** | PE 100 SDR 11 PN16 | Blue colour |
|  | **Stub Flange Assembly** | PE 100 SDR 11 PN16 | Black colour |
|  | **Reducers** | PE 100 SDR 11 PN16 | Black colour |

 **Recommended Accessories for PE Pipes & Fittings**

|  |  |  |
| --- | --- | --- |
| **No** | **Item/Item Nos.** | **Remarks** |
|  | **Clamp Saddles** | Mechanical Type |
|
|  | **Marker Tapes** | - |
|
|

Black colour Stub flangers and Reducers are acceptable for following manufacturers.

* + 1. M/s Wuhan Kingbull Economic Development Co. Ltd., Production Base, 8, Jinfu Rd; Huangjinkou Industrial Park, Hanyang, Wuhan, Hubei, China.

Local Agent:M/s. M&E Turnkey Engineers (Pvt.) Ltd.

* + 1. Kimplas Piping Systems Ltd., B-20, MIDC, Ambad, Nashik, Maharashtra, India. Local Agent: M/s Sierra Engineering & Construction (Pvt) Ltd.
		2. M/s Jilin Song Jiang Smart Joint Co. Ltd., No.1-Building-01, 1-1 qiu, Tiangang Economic Developing Zone, Jiaohe City, Jilin ProviWe, P.R.Chinna.

Local Agent: M/s Earth Core International (Pvt.) Ltd.

* + 1. M/s Guangdong Liansu Technology Industrial Co. Ltd., Liansu Industrial Estate, Longjing Tower, Shunde District, Foshan City, Guangdong China. Local Agent: M/s San Trading Enterprises (Pvt) Ltd./ M/s. Central Industries PLC.
		2. M/s Dura – Line India Pvt. Ltd., A/10, Sanskrit Bhawan, Qutab Institutional Area, New Delhi -110 067, India.

 Local Agent: M/s Savinda Enterprises (Pvt) Ltd.

**Compliance with Specifications -Pipes**

| ***Requirement as Per Bidding Document***  | ***M/s. M&E Turnkey Engineers (Pvt.) Ltd***  | ***M/s. S-Lon Lanka (Pvt.) Ltd*** | ***M/s Sierra Engineering & Construction (Pvt.) Ltd.*** | ***M/s Earth Core International (Pvt.) Ltd.*** | ***M/s San Trading Enterprises (Pvt) Ltd.,*** | ***M/s. Savinda Enterprises (Pvt.) Ltd*** | ***M/s. Central Industries PLC***  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Name & address of Manufacturer for offered pipes | M/s Wuhan Kingbull Economic Development Co. Ltd., Production Base, 8, Jinfu Rd; Huangjinkou Industrial Park, Hanyang, Wuhan, Hubei, China | M/s S-Lon Lanka (Pvt.) Ltd., No 515/7, T.B. Jayah Mawatha, Colombo 10  | M/s Jain Irrigation Systems Ltd., - India, Jain plastic park, P.O.Box,72,N.H.No.6,Jalgaon,42500, India | M/s Jilin Song Jiang Smart Joint Co. Ltd., No.1-Building-01, 1-1 qiu, Tiangang Economic Developing Zone, Jiaohe City, Jilin ProviWe, P.R.China | M/s Guangdong Liansu Technology Industrial Co. Ltd., Liansu Industrial Estate, Longjing Tower, Shunde District, Foshan City, Guangdong China. | M/s Dura – Line India Pvt. Ltd., A/10, Sanskrit Bhawan, Qutab Institutional Area, New Delhi -110 067, India  | M/s Central Industries PLC, No 312, Nawala Road, Nawala, Rajagiriya |
| Product conformity Standard ISO 4427 -2 :2007 or BSEN 12201-2:2011 | ISO 4427 -2 :2007 | SLS1498:2015 | ISO 4427 -2 :2007 | ISO 4427 -2 :2007 INS/NE-19/186-01 | ISO 4427 – 2- 20070070018Q52729R6L | ISO 4427 – 2- 2007IND 18.7209U/Q | SLS 1498:2015 |
| Validity of Certificate provided | Exp. 14/07/2022FA-INS/HN-18/140-01 | Exp.01/06/20211535 | Exp. 31/12/20205019007 | Exp. 15/01/2023 | Exp. 19/09/2022 | Exp. 14/04/2021 | Exp. 20/11/2020 |
| Quality Assurance ISO 9001:2015 | 00618Q32101R1N | QCS00664 | 44100000472/1 | CN-00218Q20642R0M | 0070018Q52729R6L | IND18.7209U/Q | QCS00224 |
| Validity of Certificate provided | Exp. 27/12/2021 | Exp. 30/05/2021 | Exp. 18/10/2023 | Exp. 29/01/2021 | Exp. 06/08/2021 | Exp. 14/04/2021 | Exp. 12/07/2021 |
|  |  |  |  |  |  |  |
| WRAS “Blue” Colour | Exp. 05/20221705545 | Exp. 06/20252006509 | Exp. 11/20221711553 | Exp. 05/20231805508 | Exp. 09/2021 1609518 | Exp. 07/202527504 | Exp. 11/20221711517  |
| Yes fittings only | Yes | Yes | Black with blue strip | Yes  | Yes  | Yes |

**Compliance with Specifications – Fittings**

| ***Requirement as Per Bidding Document*** | ***M/s. M&E Turnkey Engineers (Pvt.) Ltd***  | ***M/s. S-Lon Lanka (Pvt.) Ltd*** | ***M/s Sierra Engineering & Construction (Pvt.) Ltd.*** |
| --- | --- | --- | --- |
| Name & address of Manufacturer for offeredFittings | M/s Wuhan Kingbull Economic Development Co. Ltd., Production Base, 8, Jinfu Rd; Huangjinkou Industrial Park, Hanyang, Wuhan, Hubei, China | M/s S-Lon Lanka (Pvt.) Ltd., No 515/7, T.B. Jayah Mawatha, Colombo 10  | Guangdong Liansu Technology Industrial Co. Ltd., Liansu Industrial Estate, Longjiang Section, Longzhou Road, Shunde District, Foshan City, Guangdong Province | M/s Jain Irrigation Systems Ltd., - India, Jain plastic park, P.O.Box,72,N.H.No.6, Jalgaon,42500, India | Kimplas Piping Systems Ltd.,B-20, MIDC, Ambad, Nashik, Maharashtra, India. |
| Standard SLS 1499 – 2015ISO 4427 -3 :2007 or BSEN 12201-3:2011 | ISO 4424:2007 | SLS1499:2015 | ISO 4427-3:2007 | ISO 4427 – 3 : 2007 | DIN EN 1555-3, DEN 12201-3 |
| Validity of Certificate provided | Exp. 14/06/2022FA-INS/HN-19/140-01 | 26/06/2021 | 14/06/2019 | Exp. 21/12/20205019007 | Exp. 23/06/2023DV-8601VT0297 |
| Quality Assurance ISO 9001:2015 | 00618Q32101R1N |  | 0070015Q12319R5L | 44100000472/1 | FN664215 |
| Validity of Certificate provided | Exp. 27/12/2021 | Exp. 30/05/2021 | Exp. 10/08/2018 | Exp. 18/10/2022 | Exp. 04/12/2022 |
|  |  |  |  |  |
| WRAS | “Blue” Colour | Exp. 05/20221705545 | Exp. 06/20252006509 | Exp. 09/20211609523 | Exp. 11/20221711553 | - |
| Injection moulded fittings | Fabricated fittings | Injection moulded fittings | Either by injection moulding or extruded and then butt welded together | - |
| “Black” Colour | Exp. 05/20221705545 | - | - | - | Exp. 06/20231806509 |
| Injection molded Fittings | - | - | - | Injection moulded fittings |

| ***Requirement as Per Bidding Document*** | ***M/s Earth Core International (Pvt.) Ltd.*** | ***M/s San Trading Enterprises (Pvt) Ltd.*** | ***M/s. Savinda Enterprises (Pvt.) Ltd*** | ***M/s. Central Industries PLC***  |
| --- | --- | --- | --- | --- |
| Name & address of Manufacturer for offeredFittings | M/s Jilin Song Jiang Smart Joint Co. Ltd., No.1-Building-01, 1-1 qiu, Tiangang Economic Developing Zone, Jiaohe City, Jilin ProviWe, P.R.China | M/s Guangdong Liansu Technology Industrial Co. Ltd., Liansu Industrial Estate, Longjing Tower, Shunde District, Foshan City, Guangdong China. | M/s Dura – Line India Pvt. Ltd., A/10, Sanskrit Bhawan, Qutab Institutional Area, New Delhi -110 067, India  | M/s Central Industries PLC, No. 312, Nawala Road, Nawala, Rajagiriya | M/s. Shandong Donghong Pipe Industry Co. Ltd.,No. 1, Donghong Road, Qufu City, JiNing City, Shandong Province, P.R. China. | M/s Guangdong Liansu Technology Industrial Co. Ltd., Liansu Industrial Estate, Longjing Tower, Shunde District, Foshan City, Guangdong China. |
| Standard SLS 1499 – 2015ISO 4427 -3 :2007 or BSEN 12201-3:2011 | ISO 4427 -2 :2007INS/NE-19/186-01 | ISO 4427-3:2004FA-INS/HN-19/159-04 | YesISO4477:2007-3IND.N.4.16.1348 | SLS 1499:2015 | ISO 4427-3:2007 FA-INS/SD&HN-18/182-1 | ISO 4427-3:2004FA-INS/HN-19/159-04 |
| Validity of Certificate provided | Exp. 15/01/2023 | 19/09/2022 | Exp. 21/02/2020 | Exp. 03/04/20212117 | Exp. 22/05/2021 | 19/09/2022 |
| Quality Assurance ISO 9001:2015 | CN-00218Q20642R0M | Exp. 10/2021 0070018Q52729R6L | Exp. 09/20201705545 | QCS00224 | 00219Q24087R2M | Exp. 10/2021 0070018Q52729R6L |
| Validity of Certificate provided | Exp. 29/01/2021 | Exp. 06/08/2021 | Exp. 17/09/2021TR836528A | Exp. 12/07/2021 | Exp. 15/08/2022 | Exp. 06/08/2021 |
|  |  |  |  |  |  |  |
| WRAS | “Blue” Colour | Exp. 05/20231805511 | Exp. 09/20211609523 | Exp. 07/20252007504 | Exp. 11/20221711517  | Exp. 06/20221706522  | Exp. 09/20211609523 |
| Blue colour injection moulded | Blue colour injection moulded fittings | By extrusion and butt fusion welding joint | Blue colour fabricated fittings | Blue colour Injection moulded | Blue colour injection moulded fittings |
| “Black” Colour | Exp. 05/20231805509 | Exp. 10/20211610544/ 1610546 | 09-20211609501 | Not submitted | Not submitted | Exp. 10/20211610544/ 1610546 |
| Black colour injection moulded | Black colour injection moulded fittings | Black colour fabricated fittings | - | - | Black colour injection moulded fittings |

**10. DEVIATIONS FROM SPECIFICATION**

**DEVIATIONS FROM SPECIFICATIONS**

**Deviations**

Reducers and Stub Flange assembly are accepted in both blue and black colours.

**11. KEY FEATURES OF SPECIFICATIONS**

##### KEY FEATURES OF SPECIFICATIONS

##### Some of the salient features of the specifications are summarized below to furnish a quick reference. The bidders are under obligations to refer the whole of the specifications in their entirety prior to perfecting their tender documents, and will be deemed to have done so during the tendering stage.

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Feature** | **Description** | **Standard** |
|  | Pipes  | PE 100 Straight length of 12m or coiled pipes.   | ISO 4427:2019EN 12201- 1&2:2011BS ISO 11922-1:1997WIS4-32-03:1987EN ISO 1167-1&2:2006DIN 8074 Aug 1999ISO 161-1, BS 6572:1985 |
|  | Marking  | As specified.  | ISO 4427:2019 As specified in Table 1 of Specification  |
|  | Joint rings  | Physical properties and chemical properties as specified.  | EN 681-1:1996ISO 4633:2015BS 7874-1:1998 |
|  | DI Flanges  | PN 16 nominal pressure.  | EN 1092:1 to 4EN 1515:2000-1 to 2BS 4504:1989EN 545ISO 2531 |
|  | Steel flange converter  | Size range or 90-1000 mm and made out of PE.  | EN 12201-3:2011EN 12201-5:2011 |
|  | Gaskets for flanged joints  | Inside bolt circle type. Shall be of EPDM and average hardness of 65-75 and suit for PN 16 flanges.  | EN 1514-2;2005BS 7874:1998EN 681-1:1996ISO 4633:2015 |
|  | Nuts, bolts & washers  | High tensile steel.  | BS 4395-1 & 2:1969BS 4504: Section 3.1 : 1989BS 4190:2001WIS 4-52-03 -1994 |
|  | Electro-fusion fittings  | Upto and including 630 mm dia. and shall be injection moulded.  | WIS 4-32-14:1995 |
|  | Spigot fittings, draw bends  | Upto and including 1000 mm dia.  | WIS 4-32-15:1995 |
|  | Mechanical joint fittings | Approved type designed specifically for PE pipe system.  | EN 12201-5 -2011ISO 4427:2019 |
|  | Testing  | As specified.  | ISO 4427:2019DIN 8075:1999 |

**12. BILLS OF QUANTITIES**

* **PREAMBLE NOTES ON PRICING**
* **BILLS OF QUANTITES**
* **GRAND SUMMARY OF BILLS**

**PREAMBLE NOTES ON PRICING**

1. **General**

1.1 The bidder's attention is specifically directed to the Form of Bid, Instructions to Contractor, Bidding data, Conditions of Contract, Contract Data, Delivery locations, Schedule of Particulars and Specifications which are to be read in conjunction with the Bid. The following Notes are given to assist the Bidders to understand how the pricing has been done by the Employer.

2. **Description of Items**

2.1 Descriptions attached to the items in the BOQ are only in sufficient detail to ensure identification of the item described in the specification.

3. **Rates and prices**

3.1 The rates given in the BOQ are pre-established rates by NWSDB, after calling Rates Contracts on competitive basis.

3.2 In pricing the items of the BOQ, by the Employer, followings have been covered.

a) All services and goods which according to the true intent and meaning of the contract may be reasonably inferred as necessary for completion of delivery of the goods in sound condition to the Stores which is specified under delivery Schedule.

b) All the duties, obligations, liabilities and responsibilities which the Contract documents place upon the bidders in connection with or in relation to the Contract.

c) All costs arising out of inspection testing, packing, transportation, clearing, loading, unloading, stacking, shipping line charges, warehouse rent, port chargers, any demurrages, import duties, business taxes, income and all other taxes, custom levies, import license fees, cost of insurance from the manufacturers plant to the purchases stores, and transportation to the designated locations, loading and unloading, Agents Commission if any and other minor expenses and relevant risk factor for one year period.

d) All Costs including all taxes and duties and other charges imposed outside Sri Lanka on raw materials, production, manufacture, sales, transport and any other cost that may be incurred of all goods**.**

e) Cost of accessories not specially listed, but necessary for proper completion

f) Price charged by the supplier for the preceding incidental services.

3.2 Insurance shall be done by the Contractor

4. The Employer has included in the unit price for PE pipes, fittings, specials and accessories and the cost of all materials required for jointing of pipes, (bolts and nuts and gaskets for flanged fittings etc.) **unless separate items are provided.**

5. The rates and/or prices entered against items in the BOQ shall be excluding the VAT as the VAT is considered separately.

6. The rates and/or price entered against sub flanges and reducers and the rates for blue colour fittings. If black colour fittings are supplied, the relevant rate shall be considered for payment.

**13. SPECIMEN FORMS**

* **Specimen Form for Performance Bank Guarantee**
* **Specimen Form for ADVANCE PAYMENT SECURITY**

**FORM OF PERFORMANCE GUARANTEE (Unconditional)**

…………………………..[ *Issuing Agency’s Name and Address of issuing Branch or Office*]

…………………………..

Beneficiary : Chairman,

National Water Supply & Drainage Board

Galle Road

Rathmalana

Sri Lanka

Date ……………..

**PERFORMANCE SECURITY No**.: …………………………………………………..

We have been informed that …………………………………………………………….. [*name of Contractor/Supplier*] (*hereinafter called “the Contractor”)* has entered into Contract No. …………………….. dated ………………. with you, for the ……………….. [*“Supply*”] of ………………………………………………………………………………….. [*name of contract and brief description of Works*] (*hereinafter called “the Contract*”).

Furthermore, we understand that according to the conditions of the Contract, a performance security is required.

At the request of the Contractor, we ……………………………………………………….. [*name of Agency*] hereby irrevocably under take to pay you any sum or sums not exceeding in total and amount of ………………………………………………………… [*in figures*] ……………………………………………………… ………………… [*in words*], such sum being payable in the types and proportions of currencies in which the Contract Price is payable, upon receipt by us of your first demand in writing accompanied by a written statement stating that the Contractor is in breach of its obligation (s) under the Contract, without your needing to prove or to show grounds for your demand or the sums specified therein.

This shall expire, no later than the ………………… day of ………………… , 20 …………… [*28 days* *beyond the scheduled contract completion date*] and any demand for payments under it must be received by us at this office on or before that date.

………………………………………………….

[*Signature (s*)]

Signature and seal of the guarantor

**FORM OF ADVANCE PAYMENT SECURITY**

…………………………..[ *Issuing Agency’s Name and Address of issuing Branch or Office*]

…………………………….

Beneficiary : Chairman,

National Water Supply & Drainage Board

Galle Road

Rathmalana

Sri Lanka

Date ……………..

**ADVANCE PAYMENT SECURITY No**. ………………………………………

We have been informed that …………………………………………………………….. [*name of Contractor/Supplier*] (hereinafter called “the Contractor”) has entered in to Contract No. ………………. dated with you, for the Supply of …………………………………… [*name of Contract and brief description*] (hereinafter called “the Contract”).

Furthermore, we understand that according to the Conditions of Contract an advance payment in the sum ……………………………………………………. *[amount in figures]* (………………………………………………. ……………………….) *[amount in words]* is to be made against an advance payment security.

At the request of the Contractor, we ………………………………………………………. [*issuing agency*] hereby irrevocably undertake to pay you any sum or sums not exceeding in total and amount of …………………….……….………….. [*amount in figures*] (…………………………………………… …………………………………….)[*amount in words*] upon receipt by us of your first demand in writing accompanied by a written statement stating that the Contractor is in breach of its obligation under the Contract.

The maximum amount of this security shall be progressively reduced by the amount of the advance payment repaid by the Contractor.

This security shall expire on …………… [28 days beyond the Completion Date]

Consequently, any demand for payment under this security must be received by us at this office on or before that date.

……………………

[*Signature (s*) ]

Signature and seal of the guarantor …………………………………………

Witness :

Name : ……………………………………………………………….

………………………………

………………………………

………………………………

**14. APPENDICES**

# APPENDIX 1: CHECKLIST OF SUBMISSIONS

**\* Note: Please mark ’Y’ in the cages under the “remarks” column if submissions are made.**

 ‘N’ or ‘N/A’ should be marked for cases of ‘No submissions’ and ‘not applicable’ respectively.

|  |  |  |  |
| --- | --- | --- | --- |
|  |  | Reference | Remarks \* |
| (a) | Certified copy of business registration | Page No. 1 - 3 | Clause No. 2.1(d) |  |
| (b) | The agreement of the manufacturer or producer to confirm that the supply will be made in accordance with the Delivery Schedule. | Page No. 1 - 5 | Clause No. 2.2 (b) (iii) |  |
| (c) | Proof of Authorisation | Page No. 1 - 8 | Clause No.10.1(f) |  |
| (d) | Certified copy of the VAT registration certificate. | Page No. 1 - 10 | Clause No. 11.4 |  |
| (e) | Performance Security  | Page No. 1 - 11 | Clause No. 13 |  |
| (f) |  Duly filled Appendices  | Page Nos. 14-3,14-4,14-5,14-6, 14-7,14-8,14-15,14-16 | Appendix Nos.2, 3, 4, 4A, 5, 6, 10, 11 |  |

# APPENDIX 2 – FINANCIAL STATEMENT

Summary of assets and liabilities based on the audited financial statements for the last three financial years (Current statement may be unaudited) together with the Financial Performance as indicated in the following schedule shall be submitted.

If the business has not been in operation for the last three years, following schedule shall be submitted for the period that the business has been in operation together with the aforesaid financial statements.

Bidders whose financial capability is marginally less to undertake this tender may show credit facilities available to them from banks.

# Financial performance for the last 3 years

|  |  |  |  |
| --- | --- | --- | --- |
| Year | 2017/2018 | 2018/2019 | 2019/2020 |
| Turnover from Contracting |  |  |  |
| Fixed Assets (FA) |  |  |  |
| Current Assets (CA) |  |  |  |
| Current Liabilities (CL) |  |  |  |
| Long Term Liabilities (LL) |  |  |  |
| Net Worth = Total Assets – Total Liabilities |  |  |  |
| Current Ratio = Current Assets Current Liability |  |  |  |
| Liquidity Ratio = Current Assets(except stock) Current Liability |  |  |  |
| Gearing Ratio = Debt Capital x 100 Total Capital Employed |  |  |  |
| Turnover x 100Total Operating Assets |  |  |  |
| Net Profit x 100Total Assets |  |  |  |

# APPENDIX 2A – AUTHORIZATION TO OBTAIN REFERENCES FROM BANKERS

**BIDDER SHALL FILL THIS FORM AND PROVIDE WITH THE BID**

…….………… *[Bidder’s Name]*

 ………………….........*[Address]*

………………………………….

..……………………………….

Manager …………………….. *[Name of Bank]*

………………..……………….*[Address]*

…………………………………………

…………………………………………

We hereby Authorize the National Water Supply & Drainage Board, on behalf of the Procurement Committee, to seek references of Bank details in order to evaluate the financial statues of our company M/s ………………………………………………………………………………………..

*……………………………………………………………………….[Contract Name]* in connections with the ……………………………………………………….…… *[Contract Number]* bid, submitted by us.

Yours faithfully,

………………………………..

………………………………..

Authorized officer of the Bidder.

Note : If there are more than one bank given in the Appendix 4A, separate letters should be

 submitted for each Bank.

#

# APPENDIX 3 - Guarantee for PE Pipes, Fittings and Rubber Rings

[Address of the Manufacturer]

 …………………………………

 …………………………………

 …………………………………

 …………………………………

Chairman,

National Water Supply and Drainage Board,

Galle Road, Ratmalana, Sri Lanka.

**SUPPLY AND DELIVERY OF HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES FOR ……………………………………………………………………………………, NWSDB**

## CONTRACT NO.: NWSDB/……………/CP/ ………………. /HDPE/GOSL/2021/…..

We, ………………………………………………………………………………………………

……………………………………………………………………………………………………….…………………………………( Name & Address of the Pipe Manufacturer ) Manufacturer of PE pipes, hereby guarantee that,

1. PE pipes, fittings and rubber rings supplied under the contract shall fit properly and adequately to ensure leak proof pipeline installations under all working conditions.
2. We will unconditionally undertake to replace any material rejected by the Engineer within the time period as agreed with the Engineer during implementation stage at no additional cost to NWSDB ensuring the timely implementation of the project.
3. We will unconditionally undertake that the Nominated Inspection Agency issues a certificate ensuring that PE pipes, fittings and rubber rings inspected shall fit properly and adequately to ensure leak proof pipeline installations under all working conditions upon shipment.

…………………………….

Signature of the Authorised

Officer on behalf of the

Pipe manufacturer

Name : ……………………………………………………….

Capacity: ……………………………………………………….

Witness :

1 Signature : ……………………………………………………………

 Name : ……………………………………………………………

 Capacity : ……………………………………………………………

 Address : ……………………………………………………………

2 Signature : ……………………………………………………………

 Name : ……………………………………………………………

 Capacity : ……………………………………………………………

 Address : ……………………………………………………………

APPENDIX 4 - Confirmation OF CAPABILITY OF PRODUCTION and

 Supply according to Delivery Schedule

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

Chairman,

Procurement Committee,

…………………………..

…………………………..

**SUPPLY AND DELIVERY OF HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES FOR …………………………………………………………………………………….., NWSDB**

## CONTRACT NO.: NWSDB/……………./CP/ ………………. /HDPE/GOSL/2021/…….

 We, ……………………………………………………………….[*name of manufacturer*] of ………………………………………………………………………...………………………………………….……………………………………………………………………..…….*[address of manufacturer]*confirm that we have sufficient production capacity to produce the quantity of PE Pipes, Fittings and Specials submitted in our bid and shall deliver them according to the delivery schedule indicated in Contract Data in the bid.

…………………………….. ……………………………..

Authorised Officer of the Manufacturer. Seal of the Company.

Name :……………………………………

APPENDIX 4A: MONTHLY PRODUCTION CAPACITY

|  |
| --- |
| **Bidders Name : ….................................................................................** |
| **Manufacturers Name : ….......................................................................** |
| **Bill No.** | **Description** | **Monthly Production Capacity** | **Available Capacity** |
| Bill Nos……… | HDPE Pipes |   |   |
|   |   |
|   |   |
|   |   |
| Bill Nos……… | PE Fittings Suitable for Butt Fusion Connections |   |   |
|   |   |
|   |   |
|   |   |
| Bill No.……… | PE Fittings Suitable for Electro Fusion Connections |   |   |
|   |   |
|   |   |
|   |   |
| Bill Nos…………  | Other items |   |   |
|   |   |
|   |   |
|   |   |

APPENDIX 5 - Manufacturer’s Authorization to sign the

 BID / Contract

[The Bidder shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letter head of the Manufacturer and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer. The bidder shall include it in its bid].

Date : [insert date (as day, month and year) of Bid Submission]

No. : [insert contract number]

Chairman,

Procurement Committee,

………………………….

………………………….

**SUPPLY AND DELIVERY OF HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES FOR ……………………………………………………………………………………………., NWSDB**

## CONTRACT NO.: NWSDB/…………/CP/ ……………. /HDPE/GOSL/2021/…..

We …………………………………………*[insert complete name of Manufacturer],* who are official manufacturers of PE Pipes, Fittings, Specials, Accessories having factories at ………………………………*[insert full address of Manufacturer’s factories],* do hereby authorize …………….…………………. *[insert complete name of Bidder]* to submit a bid the purpose of which is to provide PE Pipes, Fittings, Specials and Accessories manufactured by us and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with Clause 15 of the General Conditions of Contract, with respect to the Goods offered by the above firm.

Signed : …………………………………*[insert signature(s) of authorized representative(s) of the Manufacturer]*

Name : ………………………………………………………..*[insert complete name(s) of authorized representative(s) of the Manufacturer]*

Title : …………………………………….. *[insert title]*

Duly authorized to sign this Contract on behalf of : ……………………………*[insert complete name of Manufacturer]*

Dated on …………………….. day of …………………………….*[insert date of signing].*

This is to certify that the seal and signatures of legal representative and authorized person affixed to power of attorney attached hereto are found to be authentic.

………………………………

Signature of Attorney at Law

……………………………

Seal of Attorney at Law

Appendix 6 - Contractor’s Authorization to sign the Contract

[The Bidder shall require to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letter head of the Bidder and should be signed by a person with the proper authority to sign documents that are binding on the Bidder. The bidder shall include it in its bid].

 Date : [insert date (as day, month and year) of Bid Submission]

 No. : [insert contract number]

Chairman,

Procurement Committee,

…………………………….

…………………………….

**SUPPLY AND DELIVERY OF HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES FOR …………………………………………………………………………………………., NWSDB**

## CONTRACT NO.: NWSDB/………../CP/ ……………… /HDPE/GOSL/2021/……

We …………………………………………*[insert complete name of the Bidder]*, who ……………………………………….…………*[insert full address of Bidder]*, do hereby authorize …………….………………………….. *[insert complete name of Bidders authorize officer who signs the contract]* to submit a bid on behalf of our company and to subsequently negotiate and sign the Contract.

Specimen Signature …………………………………………………………

Signed : …………………………………*[insert signature(s) of authorized representative(s) of the Bidder]*

Name : ………………………………………………………..*[insert complete name(s) of authorized representative(s) of the Bidder]*

Title : …………………………………….. *[insert title]*

Duly authorized to sign this Authorization on behalf of : ……………………………*[insert complete name of Bidder]*

This is to certify that the seal and signatures of legal representative and authorized person affixed to power of attorney attached hereto are found to be authentic.

………………………………

Signature of Attorney at Law

……………………………..

Seal of Attorney at Law

**APPENDIX 7 - TOR FOR INDEPENDENT INSPECTION AGENCY**

**PE pipes & Fittings**

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity** | **Test Performed** | **Results** | **Acceptability as per specification** |
| 1. | **Physical Proportion/properties** |  |  |  |
| 1.1 | **Socket & Spigot Pipes** |  |  |  |
|  | Pipe wall thicknessExternal DiameterLength of PipeSDR category PE designationElongation at Break for e < 5 m 5m < e < 12 mm e > 12 mMelt Mass flow rate (MFR) Oxidation Induction timeOvalty DensityEffect on water quality  |  |  |  |
| 1.2 | **Flanges** |  |  |  |
|  | Flange thicknessFlange diametersNo. of bolt holesCleanliness of FlangeRaised Face or Flat FaceSmoothness of Raised Face/Flat FaceIntegrally casted or Factory WeldedCondition of weld if weldedElongation at Break for e < 5 m 5m < e < 12 mm e > 12 mOvalty Melt Mass flow rate (MFR) Oxidation Induction timeDensityEffect on water quality  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity** | **Test Performed** | **Results** | **Acceptability as per specification** |
| 1.3 | **Bends**  |  |  |  |
|  | DiameterLength of BendSDRPE designationWall thickness of bendMelt mass flow rate (MFR)Oxidation induction timeCohesive resistanceTensile strengthOvalty DensityEffect on water quality  |  |  |  |
| 1.4 | **Tees** |  |  |  |
|  | Length of teesLength of BranchDiameter of tee (all faces)Wall thickness of TeesWall thickness of BranchSDRPE DesignationMelt mass flow rate (MFR)Oxidation induction timeDensityOvalty Tensile strengthEffect on water quality Cohesive resistance |  |  |  |
| 2. | **Strength & Mechanical Properties** |  |  |  |
| 2.1 | **PE Pipes & Fittings** |  |  |  |
|  | Hydrostatic strength at 20 0CHydrostatic strength at 80 0CManufacturing Standards of Pipes & Fittings. |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity** | **Test Performed** | **Results** | **Acceptability as per specification** |
| 3. | **Accessories** |  |  |  |
| 3.1 | **Steel flange converter** |  |  |  |
|  | DimensionPhysical appearance Ovality  |  |  |  |
| 3.2 | **Slim flange assembly** |  |  |  |
|  | DimensionPhysical appearance Ovality  |  |  |  |
| 3.3 | **Nuts & Bolts** |  |  |  |
|  | Dimensions**Tensile strength** * 1. yield stress or stress at permanent set limit of 0.2%
	2. percentage elongation after fracture
	3. stress under proof load
	4. strength under wedge loading
	5. hardness

thickness of galvanized coating Ovality  |  |  |  |
| 4. | **Joint rings & Gaskets**  |  |  |  |
|  | Appearance & finish Tensile strength Elongation of break Compression hardness Micro biological deterioration  |  |  |  |
| 4. | **Material Characteristics** |  |  |  |
|  | Compound DensityCarbon black content (black compound) % by massCarbon Black dispersion (black compound) grade range |  |  |  |
| 5. | **Quality Assurance** |  |  |  |
| 5.1 | **Raw Materials (R/M)**R/M received and kept separately in quarantine area on R/M test report received (Report Ref. No.) on |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity** | **Test Performed** | **Results** | **Acceptability as per specification** |
| 5.2 | **Manufacture**Date and Time of commencement of batchDate and Time of completion of batchDate batch sent to quarantine area |  |  |  |
| 5.3 | **Physical/Mechanical Checkings (by In-House Q/A Department and Laboratory)**1. Dimension and appearance checking
2. Heat reversion test
3. General test
4. Batch test
5. Tensile test
 |  |  |  |
| 5.4 | Pipe sample sent for chemical test |  |  |  |
| 5.5 | Pipes passed by inspector for release to general storage area |  |  |  |
| 5.6 | General storage area for packingWrapping/packing completed and labelled and separately stored, awaiting chemical test results for pipe. |  |  |  |
| 5.7 | **Verification of Quality**Chemical tests results of pipe received. |  |  |  |
| 5.8 | Separation of coils pipes not complying With BS |  |  |  |
| 5.9 | Test certificate submitted for inspection agent/NWSDB’s approval |  |  |  |
| 5.10 | Purchaser’s approval received for shipment |  |  |  |
| 5.11 | **Containerisation & Final Approval**Pipe stocks loading in to container & passed by Q/A Department & Inspection Agent |  |  |  |
| 5.12 | Final approval for transport & shipment |  |  |  |

APPENDIX 8 - Manufacturer’s awareness of the TOR for

 Independent Inspection Agency

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

Chairman,

Procurement Committee,

……………………………….

……………………………….

**SUPPLY AND DELIVERY OF HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES FOR ………………………………………………………………………………………………, NWSDB**

## CONTRACT NO.: NWSDB/…………/CP/ ……………….. /HDPE/GOSL/2021/……

We, ……………………………………………………………….[*name of manufacturer*] of ………………………………………………………………………………………………………………….………………………………………………………………..…….*[address of manufacturer]*confirm that we have noticed that

 a) Appendix 7 – TOR for Independent Inspection Agency

 b) Clause 8 of Conditions of Contract in Volume 1

………………………………………… ..…………….………

Authorised Officer of the Manufacturer. Seal of the Company.

Name :……………………………………

APPENDIX 9 - Manufacturer’s Warranty for the goods supplied

 under the contract

[Address of the Manufacturer]

…………………………………………..

………………………………………….

Chairman,

National Water Supply and Drainage Board,

Galle Road, Ratmalana, Sri Lanka.

**SUPPLY AND DELIVERY OF HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES FOR ………………………………………………………………………………………………….., NWSDB**

## CONTRACT NO.: NWSDB/…………………../ ……………….. /HDPE/GOSL/2021/…….

 We, ……………………………………………………………….[*name of manufacturer*] of ………………………………………………………………………………………………………………….…………………………………..…….*[address of manufacturer]*warrant that the goods supplied under this contract are new, unused, of the most recent or current models and have incorporated all recent improvements, and no defects arising out of the design, material or workmanship from any act that may be develop under normal use of the supplied goods.

If there is any defects during the warranty period specified in the Clause 15 of the General Conditions of Contract, we shall attend to repair or replace the defective goods with all reasonable speed without any cost to the Purchaser.

………………………………………… ..…………….………

Authorised Officer of the Manufacturer. Seal of the Company.

Name :……………………………………

**Appendix 10 - Confirmation of Supplying Goods Manufactured**

 **at the Factory quoted**

*[This form shall be filled on the letter head of the pipe manufacturer’s company]*

Date :............................

Chairman,

Procurement Committee,

………………………….

………………………….

**SUPPLY AND DELIVERY OF HDPE PIPES, FITTINGS, SPECIALS AND ACCESSORIES FOR ……………………………………………………………………, NWSDB**

## CONTRACT NO.: NWSDB/………………../ ………………… /HDPE/GOSL/2021/……

We ………………………………………………………………………………………*(Name & Address of the PE pipe manufacturer)* hereby guarantee that,

1. The Supply of Pipes for the above contract shall be manufactured at the manufacturing factory at ……………………………………………………………... ………………………………………………*(Address of the manufacturing factory)*.

2. The Supply of Pipe Fittings for the above contract shall be manufactured at the manufacturing factory at …………………………………………………………... …………………………………………..…… *(Address of the manufacturing factory)*.

………………………. ……………………………………

Signature of the Seal of the Company

Chief Executive Officer/

General Manager of the manufacturer

Name : …………………………………

Address : ………………………………

 ………………………………

The above signed declare that the statement made above is true and correct in every detail.

……………………………. ……………………………..

Signature of the Attorney at Law Seal of the Attorney

Name :…………………………………..

Address : ………………………………

**APPENDIX 11 – AFFIDAVIT BY THE BIDDER**

I ………………………………………… of ………………………………………… being a ……………………… (Buddhist or any other religionist), do hereby solemnly sincerely and truly declare and affirm as follows.

01. I am the Affirmant above named.

02. I hereby declare that I have applied for the contract of National Water Supply and Drainage Board bearing No: …………………………………….. and my spouse or dependent does not work in National Water Supply and Drainage Board on permanent, casual or contract basis.

The foregoing affidavit having been read over and explained to the affirmant above named who having understood its nature content and context affirmed hereto and set his usual signature hereto in ……………... on this ………….……………… day of …………….…….. 20…….

Before me ……………………

 Declarant

…………………………………

Justice of the Peace /

Commissioner for oaths