Ref. No.: NWSDB/SBD/SUP/BLEACH /LC/Ver 3

REVISED ON 30-08-2024

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST

REPUBLIC OF SRI LANKA

MINISTRY OF ………………………………….

##### NATIONAL WATER SUPPLY AND DRAINAGE BOARD

SUPPLY AND DELIVERY OF …………… tonne OF

BLEACHING POWDER

CONTRACT No.: …………………………………….

REVISED ON 30-08-2024

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

GALLE ROAD

RATMALANA

SRI LANKA

…………………………..

( Month & Year)

DOCUMENT ISSUANCE CERTIFICATE

(To be filled at the time of issue by the authorised issuing officer)

1.STANDARD BIDDING  DOCUMENT NUMBER :  NWSDB/SBD/SUP/BLEACH/LC/Ver 3

2. CONTRACT NUMBER :

3.a) ISSUED TO : ....…....…..............…..................................................................................

........................….….....................….............................................................................

- b) ADDRESS: ...........…......................…............................................................................….

............................….......................................................................................................

- c) TELEPHONE NUMBER:.................................................................................................…

d) FACSIMILE NUMBER :…………………………………………………………………

4. a) TENDER FEE : Rs. .......…...…...................…. RECEIVED IN CASH/ BANK DRAFT

b) RECEIPT /BANK DRAFT NUMBER: …........................….........................................…..

5. NUMBER OF COPIES ISSUED: .......................…….................…………………………

6. NUMBER OF CANCELLED COPIES ISSUED : .…...…...................…........................…

7. CANCELLED COPY FEE : Rs. ................................…… RECEIVED/ NOT RECEIVED

(IN CASH/ BANK DRAFT)

8. SUPPLIER’S BUSINESS REGISTRATION NUMBER :…...……...................................…

9. a) ISSUING OFFICER :  ...............................................................…..............................……

b) DESIGNATION :  ........................................................................….........................…….

- c) SIGNATURE :  .................................................................................…........................…

10. PLACE OF ISSUE :  .................................................................................……............……

11. SEAL : ............................................................................................................…...............…

12. DATE : ..............................................…….... TIME : ...…....................................…....

### Table of Content

SECTION							           PAGE  NUMBER

|  | Document Issuance Certificate Table of contents | (i) (ii) (iii) |  |
| --- | --- | --- | --- |
|  | Checklist of Submissions Invitation for Bids | (iv) (v) |  |
| 1 2 | Instructions to Bidders Conditions of contract | - 1 - 20 2-1 2 - 21 |  |
| 3. | Form of Bid | 3 - 1 3 - 2 |  |
| 4. | Bidding Data | 4 - 1 4 - 3 |  |
| 5. | Contract Data |  |  |
|  | * General | 5 - 1 |  |
|  | * Delivery Schedule | 5 - 2 |  |
|  | * Payment Schedule | 5 - 3 |  |
| 6. | Specifications for Bleaching Powder | 6 - 1 6 – 8 |  |
| 7. 8. | Key features of Specifications Deviation from Specifications | 7 - 1 7– 2 8 – 1 |  |
| 9. | Schedule of Particulars | 9 - 1 9 – 3 |  |

| 10. | Bills of Quantities |  |
| --- | --- | --- |
|  | * Preamble Notes on Pricing | 10 - 1 10 - 2 |
|  | * Bills of Quantities | 10 - 3 |
|  | * Summary of Bills | 10 -4 |
|  | * Grand Summary | 10 -5 |

Revised on 16-07-2024

| 11 Specimen Forms |  |  |  |
| --- | --- | --- | --- |
| * Bid Security |  | 11 - 1 |  |
| * Contract Agreement |  | 11 - 2 11 - 4 |  |
| * Performance Guarantee |  | 11 - 5 |  |
| * Advance Payment Guarantee * Letter of Acceptance |  | 11 – 6 11 - 7 11- 8 |  |
| 12 | Appendices |  |  |
|  | - Appendix 1- A Details of similar Suppliers Completed within the last five years and ongoing. |  | 12 - 1 |
|  | - Appendix 1- B Manufacturer’s Production Capacity within the last 12 months. (Compile with Appendix 1A) |  | 12 - 2 |
|  | - Appendix 1- C Ongoing and committed similar contracts in hand with their delivery schedule. |  | 12 - 3 |
|  | - Appendix 1- D Performance of similar contracts completed within the last five years with the National Water Supply & Drainage Board. |  | 12 - 4 |
|  | - Appendix 1- E Performance of similar contracts completed within the last five years outside the National Water Supply & Drainage Board. |  | 12- 5 |
|  | - Appendix 2 - Financial statement - Appendix 2A - Authorization to obtain references from bankers. |  | 12 - 6 12 - 7 |
|  | - Appendix 3 – Conformation of Goods are from same / single manufacturer |  | 12 - 8 |
|  | - Appendix 4 – Manufacture’s Authorization to sign the Bid/Contract. |  | 12 - 9 |
|  | - Appendix 5 – Letter for Confirmation of Capability of production and Supply according to Delivery Schedule. |  | 12 - 10 |
|  | - Appendix 6 - Bidder’s Authorization to sign the Bid/Contract. |  | 12 - 11 |
|  | - Appendix 7 - TOR for Independent Inspection Agency. - Appendix 8 - Manufacturer’s awareness of the TOR for the Independent Inspection Agency. |  | 12 – 12 12 - 13 12 - 14 |
|  | - Appendix 9 - Manufacturer’s warranty for the goods supplied under the Contract. |  | 12 - 15 |
|  | - Appendix10- Testing of the weight of the goods shipped |  | 12 - 16 |
|  | - Appendix11 - Manufacturer’s guarantee for the replacement of - unacceptable replacement of unacceptable goods supplied - under the contract. |  | 12 - 17 |
|  | - Appendix 12 – Affidavit by the bidder |  | 12 - 18 |

Revised on 22-06-2023

- CHECKLIST OF SUBMISSIONS

# CHECKLIST OF SUBMISSIONS

*	Note: Please mark ’Y’ in the cages under the ‘Remarks’ column if submissions are made.

‘N’ or ‘N/A’ should be marked for cases of ‘No submissions’ and ‘Not applicable’ respectively.

Revised on 30-08-2024

|  |  | ## Reference Instructions to Bidders |  | ## Remarks * |
| --- | --- | --- | --- | --- |
| (a) | Documentary evidence to establish eligibility of bidder. | Page No 1 - 3,1 - 5 | Clause No. 2.1 and 3.2 |  |
| (b) | Certified copy of business registration. | Page No. 1 - 3 | Clause No. 2.1 (d) |  |
| (c) | Documentary evidence to establish qualifications for the performance of the Contract. | Page No. 1 - 4 | Clause No. 2.2 |  |
| (d) | Documentary evidence to establish that goods offered are from an eligible source and origin. | Page No. 1 - 3 | Clause No. 2.1 (b) |  |
| (e) | The Bidder’s technical and production capability necessary to perform the Contract. | Page No. 1 - 4 | Clause No 2.2(b) (iv) |  |
| (f) | Three Test Samples of 500g Bleaching Powder. | Page No. 1 - 5 | Clause 3.5 |  |
| (g | Duly completed all sections of Bidding Documents. (Bidder shall fill the Schedule of Particulars, BOQ etc., indicating any deviations to specifications under the corresponding schedule of particulars) | Page No. 1 - 6 , 1 - 7&8 | Clause No. 6.1, 10.1 |  |
| (h) | Subsequent Addendum/Addenda. (if any) | Page No. 1 - 7 | Clause No. 8 |  |
| (i) | Bid Security. | Page No. 1 - 10 & 11 | Clause No. 13 |  |
| (j) | Product Conformity Certificates and Quality Assurance Certificates for items offered. | Page No. 1 - 5, 1 -7 & 8 | Clause No. 3.3,10.1 |  |
| (k) | In the case of a bidder offering to supply Goods under the Contract which the bidder does not manufacture or otherwise produce, authorisation by the manufacturer or producer of Goods as his accredited agent. | Page No. 1 - 4 | Clause No. 2.2 (b) |  |
| (l) | The agreement of the manufacturer or producer to confirm that the supply will be made in accordance with the List of Delivery Schedule. | Page No. 1 - 4 | Clause No. 2.2(b) (iii) |  |
| (m) | Proof of Authorization. | Page No. 1 - 7 | Clause No. 10.1 (f) |  |
| (n) | Certified Copy of the VAT Registration Certificate. | Page No. 1 - 9&10 | Clause No. 11.4 |  |
| (o) | Documentary evidence for life time of Bleaching Powder. | Page No. 7 - 1 | Key features of Specification |  |
| (p) | Certificates of registration of the contract with the registrar of public contracts as per the Act No. 3 of 1987. (If required) | Page No. 1-20 | Clause No. 36 |  |
|  | Any other document as given below: |  |  |  |

- INVITATION FOR BIDS

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF …………………………………………………..

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

- INVITATION FOR BIDS

SUPPLY AND DELIVERY OF  ……………. tonne OF

BLEACHING POWDER

- CONTRACT No.: ………………………………………………

- --------------------------------------------------------------------------------------------------------------------

1.	The Chairman, Department Procurement Committee, National Water Supply and Drainage Board (NWSDB), Galle Road, Ratmalana, Sri Lanka, on behalf of the National Water Supply & Drainage Board now invites  sealed bids for the Supply of …………….. tonne of Bleaching Powder for ……………… Water Supply Scheme up to closing of bids at ……………. hours on …………. .

2.	Bidding documents are available at the office of the Assistant General Manager (Tenders and Contracts), National Water Supply & Drainage Board (NWSDB), Galle Road, Ratmalana, Sri Lanka between 09:00 hours to 15:00 hours on normal working days up to  ...................................., upon payment of a non refundable fee of Rs. ………………plus applicable VAT.

3.	Bidding Documents may be inspected free of charge at the office of the Assistant General Manager (Tenders and Contracts), NWSDB, Galle Road, Ratmalana, Sri Lanka.

4.	Bidding Documents will be issued only to those who submit a written application on the bidder’s official letterhead to the address indicated in the bid notice and a proof of payment of the non-refundable document fee as specified in the Bid notice.

5. 	The bidder shall submit a valid certificate of registration of the Contract as per the Act No. 3 of 1987 with Register of Public Contract and subsequent paper advertisement published on              16th October 2018 in Daily News.

6.		To be eligible for contract award, the successful bidder shall not have been blacklisted.

7.	Alternative bids shall not be accepted.

8.	Sealed bids may be either dispatched by registered post or hand delivered to the office of Assistant General Manager (Tenders and Contracts), NWSDB, Galle Road, Ratmalana, Sri Lanka to receive on or before the closing time.  Late bids will be rejected.

9.	All Bids shall be accompanied by a bid security of Rupees…………………and the bid security shall  be valid upto………………( Specify the Date).

10.	Bids will be opened immediately after the closing of Bids, at the office of the Assistant General Manager (Tenders and Contracts), NWSDB, Galle Road, Ratmalana, Sri Lanka. Bidders or their authorized representatives may be present at the opening of bids.

11.	For further details, please contact the Assistant General Manager (Tenders and Contracts),

NWSDB, Galle Road,  Ratmalana, Sri Lanka  on telephone number 94 -11-2605328  or

94-11-2638999 Ext. 1750 or facsimile number 94 -11-2635885

- Chairman,

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

Revised on 28-09-2011

Revised on 30-08-2024

1.  INSTRUCTIONS TO BIDDERS

2. GENERAL CONDITIONS OF CONTRACT

- 3.  FORM  OF  BID

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF ……………………………………………………

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

SUPPLY AND DELIVERY OF …………. tonne OF

BLEACHING POWDER

CONTRACT No.: ………………………………………

FORM OF BID

The Chairman,

National Water Supply and Drainage Board,

Galle Road,

Ratmalana.

Sri Lanka

I/We, the undersigned, having authority to sign this Bid and having read and fully acquainted myself/ourselves with the contents of the Information and Instructions to Bidders and Terms and Conditions of Bid pertaining to the above Bid, along with Bills of Quantities thereto, do hereby undertake to supply the Goods and Services referred to therein, in accordance with the aforesaid Instructions, Terms and Conditions, Specifications, Bidding Data & Contract Data, for a total Price of Rupees................................... …….............................….....................…..

…………………………………………………………………………….…………(in word) LKR…….……...…………………… (in Figure) (excluding VAT). The make up of the aforesaid total Bid Price is given in the accompanying Bills of Quantities.

I/We confirm that this offer shall be open for acceptance until as given in the Bidding Data and that it will not be withdrawn or revoked prior to that date.

I/We attach hereto the following documents as part of my/our Bid.

- Duly completed sections 1 to 12 of Bidding Documents.

- Documentary evidence to establish eligibility and qualification of bid.

- Documentary evidence to establish that goods are offered from an eligible source and origin.

- Documentary evidence for Manufacturer’s Authorization to sign the contract on behalf of the manufacturer.

- Confirmation of capability of Production and supply according to delivery schedule.

- Documentary evidence to establish eligibility of goods offered.

- Bid Security.

- Documentary evidence to establish qualifications for the performance of the Contract.

- Bidding Data.

- Any other document.

Revised on 30-08-2024

- I/We declare that the Photostat copies of documents and certificates submitted as part of my/our Bid are true copies of such documents and certificates. Also in case of ISO          9001: 2015 BSEN ISO 9001:2015 certificate(s),  and product conformity certificates as given in the specifications, I/we confirm that I/we have verified that the certificate issuing authority has accreditation to issue same and materials offered conform to the ISO 9001: 2015 BSEN ISO 9001:2015certificates and the specified product standard certificates.

I/We further agree to the right of the Board to debar me/us from participating in its future bids in the event that my/our submitted copies or documents are found to be forged or tampered with.

I/We understand that you are not bound to accept the lowest bid and that you reserve the right to reject any or all bids or to accept any part of a bid without assigning any reasons thereto.

I/We undertake to adhere to the  Delivery Schedule given in Contract Data.

My/Our Bank Reference is as follows: ................................................................................

...............................................................................................................................................

Signature of Bidder		: .............................................................................................

Name of Bidder		: .............................................................................................

Capacity			: …………………………………………………………….

Address			: .............................................................................................

Telephone Number		: .............................................................................................

E-mail Number		: ……………………………………………………………

Facsimile Number		: .............................................................................................

Date				: ............................................................................................

Seal				: ……………………………………………….

## Witnesses

1. Name			:- ...........................................................................................

Capacity			:  ……………………………………………………………

Address			: .............................................................................................

Signature			:- …………………………………………………………...

2. Name			:- ...........................................................................................

Capacity 			: -  …………………………………………………………

Address			: ............................................................................................

Signature			:- ………………………………………………

Revised on 03-07-2018

- 4.   BIDDING  DATA

The Bidding Data is a part of Instructions to Bidders and should be read in conjunction with the Instructions to Bidders.

If there is a discrepancy found in the Instructions to Bidders and the Bidding Data, the Content in the Bidding Data shall supersede the Content in the Instructions to Bidders.

(Note: What is typed in italic letters are guide lines to prepare the Bidding Data and they shall be removed after preparation of the Bidding Data.)

Revised on 03-07-2018

- BIDDING DATA

(Please note that the Clause numbers given here under are that of Instructions to Bidders)

- Clause Reference Number

- Instructions to Bidders

(1)	The Supplier is expected to supply ……………. .tonne of Bleaching Powder to the specification. The quantity may vary + 5%. Payments will be made on actual quantities.

Chlorinated Lime (Bleaching Powder) to be supplied shall be new and age from the date of Manufacturing shall be not more than 02 months when shipping.

(2.1 c)	Add to the Clause

In case of Product Conformity Certificate for the Standards given in Section 6 of the Bidding Document are not available, bidder shall provide a Test Certificate of Bleaching Powder for the conformity to the Standards given in Section 6 of the Bidding Document from an Inspection Agency which is a member of the International Accreditation Forum (IAF) or any accredited Testing Agency which is a member of the International Laboratory Accreditation Corporation and issued within 3 months prior to the closing of the bid.

2.0 Qualification

(2.2a)	Add to the Clause

- That the manufacturer shall have produced and supplied at least …… *  tonne of Bleaching Powder for drinking water during the last five years. Documentary evidence from clients shall be provided with the bid. (Appendix 1 A)

(* Three times of the quantity of goods to be purchase under this contract.)

- The manufacturer shall have the production capacity equal or more than three months requirement as per the delivery schedule of the contract in excess of his current supply commitment as per the Appendix 1 B and Appendix 1C.

(2.2b)  Working Capital *1 + present available credit facilities for the company*2  + credit

facilities exclusively for this contract - 0.1 x current work commitments*3  >

Rs……………*4

*1   Working Capital = Current Assets – Current Liabilities.

*2   A letter to prove the availability of  credit facilities issued by a

Bank  within a month prior to date of closing of Bids.

*3   current work commitment = work remaining uncompleted

(Documentary evidence to justify shall be submitted)

*4    80% of estimated cost of the Bid.

Revised on 07-03-2024

(3.5)	Bidder shall submit three test samples packed in a suitable plastic box, sealed properly of 500 grams each with the bid. Each test sample shall be placed in an envelope. Then this sample shall be enclosed in another envelope bearing the Name of the Contract and the Contract Number and the bidder’s name.

If three samples are not submitted, the bid will be rejected.

- Funds required for this contract is available under …………….

(6.2)	The address for the purchasing for the Bidding Document.

Assistant General Manager (Tenders & Contracts)

National Water Supply and Drainage Board

Galle Road,

Ratmalana.

Telephone:  011-2605328

Fax	      : 011-2635885

(13.2)	The amount of Bid Security shall be ……………………  Sri Lankan Rupees.

(13.3)	The validity of Bid Security shall be up to ……………….. (specify the date).

(14.1)	The period of Bid validity shall be 91 days from the date of closing of Bid

(17.2)	(a)	The inner and outer envelops shall be addressed as follows:

The Chairman, Department Procurement Committee

C/o, Assistant General Manager (Tenders and Contracts)

National Water Supply and Drainage Board

Galle Road,

Ratmalana.

(b)	“Not to be opened before …………..……. (Time) on 	………………(Date)”

  - The Procurement Committee’s address for the purpose of bid submission (and on behalf  of the Board) is:

The Chairman, Department Procurement Committee,

C/o, Assistant General Manager (Tenders and Contracts),

National Water Supply and Drainage Board,

Galle Road,

Ratmalana,

The deadline for submission of bid

Date: …………………….	Time :…………………………..

  - The place for opening of Bids,

Tenders and Contracts Section,

National Water Supply and Drainage Board,

Galle Road,

Ratmalana,

Revised on 30-08-2024

(26.1)	Add to the Clause

Samples submitted with the bid shall be tested for the conformity to the specifications.  If the test results do not conform to the specifications, the bid shall not be considered for further evaluation and rejected by the procurement committee.

(26.4)	Cost of Pre-shipment Inspection by the Employer and Inspection, by the Independent Inspection Agency shall be considered in the evaluation and shall be taken for the Total Cost of the Bid.  If any bidder has not declared these details in their bids, their bid may be rejected by the Procurement Committee.

Please refer Clause 8 of the General Condition of Contract for the details of inspections.

(32.2)  The prevailing rate of stamp duty on contracts for supply of goods is NIL

(33.1)	The amount of Performance Guarantee shall be 10% of the Contract Price and the validity of the Performance Guarantee shall be on accordance with      Clause 7 of General Condition of Contract.

(34.1)	Advance payment shall be limited to 20% of the contract price. The advance  payment guarantee shall be in the form given in Section 11 and shall be valid 28 days beyond the contract period.

Revised on 03-09-2019

Revised on 07-03-2024

5.  CONTRACT  DATA

- GENERAL

- DELIVERY  SCHEDULE

- PAYMENT SCHEDULE

The Contract Data is a part of General Conditions of Contract and should be read in conjunction with the General Conditions of Contract.

If there is a discrepancy found in the General Conditions of Contract and the Contract Data, the Content in the Contract Data shall supersede the Content in the General Conditions of Contract.

(Note: What is typed in italic letters are guide lines to prepare the Bidding Data and they shall be removed after preparation of the Bidding Data.)

Revised on 03-07-2018

Contract Data

Contract Data is a part of Condition of Contact and shall be read together. If any discrepancy is founds content of the Contract Data shall supersede the Conditions of Contract.

(Please note that the Clause numbers given hereunder are that of Conditions of Contract)

General Conditions of Contract Clause Reference Number

1.1 (d)	Contract period is ……… days from the Date of Acceptance of the bid.

1.1 (f) The Employer is

Name: National Water Supply and Drainage Board.

Address: Galle Road, Ratmalana.

1.1 (h) The Engineer is

General Manager,

National Water Supply and Drainage Board.

Galle Road, Ratmalana.

3.2	The Engineer's Representative shall be the Addl. GM (CS) of the National Water Supply and Drainage Board.

8.2	Add to the sub clause

Nominated inspection agency shall carryout inspection & testing to confirm the weight of the goods shipped.

10.1	The Goods shall be delivered at such places, in such quantities and within such periods as prescribed in the attached Delivery Schedule.

Contract period from the date of acceptance of bid is ……………..  days

15.2	The validity of warranty shall be 06 months.

16.1     The maximum amount of Advance Payment shall be twenty   percent (20%) of the    Contract Price.

Advance payment Guarantee shall be obtained at the contractor’s cost.

23.1	The amount of liquidated damages shall be Rs……………………….  per shipment

per day of delay.  Limit of Liquidated Damages shall not exceed 10% of Contract

Price.

31.1	(a) Purchaser’s address for notice purposes shall be as follows:

General Manager,

National Water Supply and Drainage Board,

Galle Road,

Ratmalana.

Facsimile Number : Colombo, 011-2635885

E Mail : gmnwsdb@ sltnet.1k

(a) Supplier’s address for notice purposes shall be as follows:

……………………………………………………

……………………………………………………

……………………………………………………

Revised on 16-07-2024

DELIVERY SCHEDULE

| Item No. | Description of Goods | Quantity | Unit | Final Destination | Delivery Date |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Purchaser’s Delivery Date |
|  |  |  |  | [insert place of Delivery & Engineer shall include expected number of shipment here] |  |
|  |  |  | tonne |  |  |

tonne – Metric Tons

Revised on 14-11-2023

PAYMENT SCHEDULE

| STAGE OF PAYMENT |  | STAGE OF CONTRACT | DOCUMENT TO BE SUBMITTED | AMOUNT OF PAYMENT | REMARKS |
| --- | --- | --- | --- | --- | --- |
| 01 | Advance Payment | After signing of Contract Agreement | - A written request for payment in the form of an invoice - A bank guarantee for the equivalent amount - A performance Guarantee | 20% of the contract price | Advance payment shall be made within 30 days of signing the Contract upon submission of required documents. |
| 02 | Final Payment | Final Acceptance by the Engineer for the delivery and other obligations | a). A written request for final (balance) payment in the form of an invoice based on the BOQ. b). Engineer’s approval for the payment | Total Contract Sum less previous payments including any advance payment made | The total Contract Sum shall become payable within 21 days from the date of the Engineers Final Acceptance Certificate. |

6.  SPECIFICATION

Revised  on  03-07-2018

### Add relevant Specifications

### from NWSDB web

### (under the “Restrict Links”)

as per the

requirement of the work.

7.  KEY FEATURES OF SPECIFICATIONS

##### Key Features of Specifications

##### Chlorinated Lime (Bleaching Powder)  shall conform to SLS 759 : 1986.

##### Manufacturers factory shall have ISO 9001: 2015, Quality  Management System Standards.

- Manufacturers shall provide test certificate from an Independent testing Agency specified in the General Conditions of Contract.

- Packing and marking shall be done as specified.

- Sampling shall be done as specified.

- Method of Testing shall be as specified in the SLS 759 : 1986.

- Delivery, Storing , Protection during delivery and Quality and workman ship shall be as specified.

8.	Chlorinated Lime (Bleaching Powder) to be supplied shall be new and age from the date of manufacture shall be not more than 02 months when shipping.

9.	Chlorinated Lime (Bleaching Powder) shall be stored in dry place with proper packing.

Revised  on  03-07-2018

Inspections and Tests

The following inspections and tests shall be performed :

- Testing for the conformity of the specifications at Manufacturer’s factory by Manufacturer.

- Testing for the conformity to the specification by the Independent testing Agencies mentioned in Clause 8 of General Conditions of contract.

- Testing for the conformity to the specifications at delivery to the Employer by the Employer at the delivery points.

- Inspection of  Manufacturer’s factory by a team of Inspectors appointed by the Engineer.

- Any other tests as specified in the specification and as requested by the Employer.

Costs for all above tests except tests to be done at delivery points by the employer shall be borne by the Manufacturer/Contactor.

Revised on 03-09-2019

8.  	DEVIATIONS FROM SPECIFICATIONS

DEVIATIONS FROM SPECIFICATIONS

Preamble

The Bidder is required to list any deviations of Materials, Equipments, Accessories and workmanship etc. from the Specifications including such information as has already been given elsewhere in the Bidding  Documents. The information shall be in sufficient detail to enable the Engineer to make a realistic assessment of the effect of such deviations on the performance and life time of the materials supplied and also such deviation if any shall be subject to Clause 25.2 (a) of Instructions to Bidders.

Deviations

Revised on 03-09-2019

9.  SCHEDULE  OF  PARTICULARS

- Notes on Schedule of Particulars

a)	The bidders are necessarily be required to complete fully the schedule of particulars given in the bidding document for Bleaching Powder.

b)	where catalogues, technical literature and drawings accompanying the bid, their references should be quoted in the Schedule of Particulars;

c)	Where the bidder's specification is not conforming to the minimum specification, the offer will be rejected.

2.	The Bills of Quantities contains for Bleaching Powder conforms to SLS 759: 1986 only.

.

SCHEDULE OF PARTICULARS

- Country of Manufacture:

- Manufacturer and Address:

- Standards to which Bleaching Powder conform:

- Is Certificate for conformity to standards of relevant standards Institution provided:

- Is ISO 9001: 2015  Quality Management System Certificate provided?

- Date of Manufacture:

  - Form of Bleaching Powder  and size (either  Lump/ Powder):

  - Colour:

  - The percent by mass of available chlorine percent in the Bleaching Powder:

  - The percent by mass of loss of  available Chlorine on heating on the basis of initial available Chlorine:

  - The percent by mass of moisture in the Bleaching Powder:

  - The percent by mass of particulars passing through 1.7mm sieve:

  - The Bulk density of the Bleaching Powder:

  - Port of shipment:

  - Packing and protection in transit:

Revised  on  03-07-2018

  - Time of delivery:

  - Reference of the catalogues, technical literature, drawing provided with the Bid:

  - Name and address of the Supplier’s agent in Sri Lanka:

  - Deviations from specifications (if any):

10.  BILLS  OF  QUANTITIES

- Preamble Notes on Pricing

- Bills of Quantities

- Summary of Bills

- GRAND Summary

PREAMBLE NOTES ON PRICING

1.	General

1.1	The Bidder's attention is specifically directed to the Form of Bid, Instructions to Bidders, Conditions of Contract, Bidding Data, Contract Data, Delivery Schedule, Schedule of Particulars, Specifications and Key Features of Specifications which are to be read in conjunction with the Bills of Quantities.  The following notes are given to assist in pricing the Bills of Quantities and enable the supplier to arrive at the total Bid Price.  The Bidder shall insert rates and prices for the supply and delivery of Bleaching Powder in strict accordance with the specifications.

2.	Description of Items

2.1	Descriptions attached to the items in the Bills of Quantities are only in sufficient detail to ensure identification of the work described in the specifications.

3.	Rates and prices

3.1	In pricing the items of the Bills of Quantities, the bidder shall cover himself and will be deemed to have covered himself for:

a)	All services and goods which according to the true intent and meaning of the contract may be reasonably inferred as necessary for completion of delivery of the materials in sound condition to the Stores which is specified in Contract data.

b)	All the duties, obligations, liabilities and responsibilities which the Contract documents place upon the bidders in connection with or in relation to the Contract.

3.2	The bidder shall include in his bid price, for;

a)	Cost of goods, all costs arising out of inspection and testing, packing, insurance shipping line charge (Terminal Handling Charges (THC) and container deposit), cleaning, delivering, and stacking etc, warehouse rent and other charges customs duties, Port dues payable to the Department of Customs, and Sri Lanka Ports Authority, Any Port Rent and demurrage etc in connection with or in relation to the contract.

b)	Cost of minor expenses items not specifically listed, but necessary for proper supply, delivery, unloading stacking, etc.

Revised  on  22-06-2023

4.	Unit rates accepted by the Employer shall be held good and effective until the supply is completed and accepted by the Employer.

5.	A rate and/or amount is to be entered against each item in the Bill of Quantities whether quantities are stated or not. The cost of any item against which a rate has not been entered shall be deemed to be covered by other contract rates.

6.	The materials covered by items in the Bills of Quantities are as detailed in the Specifications.

7.	All  materials packed in accordance with the relevant sub-section in the specification with a maximum weight of 50 kg.

8	The rates and/or prices entered against items in the Bills of Quantities shall be excluding the VAT as the VAT is considered separately

- NATIONAL WATER SUPPLY AND DRAINAGE BOARD

- SUPPLY AND DELIVERY OF ……………… tonne OF

- BLEACHING POWDER

- CONTRACT No. ………………………………..

- BILL No. 01

- Note:	(1) Bleaching Powder shall conform to SLS 759:1986.

| Item No. | Description | Qty | Unit | Rate LKR | Amount LKR |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply & Delivery of Bleaching Powder. |  | tonne |  |  |
|  | Total of page Carried to Summary of Bills. |  |  |  |  |

Revised on 16-07-2024

- SUPPLY AND DELIVERY OF …………….. tonne  OF

- BLEACHING POWDER

- CONTRACT NO. ……………………………….

#### SUMMARY OF BIILS

|  | ### Description | Unit | ##### Amount LKR |
| --- | --- | --- | --- |
| 01 | Supply & delivery of Bleaching Powder | - |  |
| 02 | Inspection and Testing by Independent Inspection Agency | Sum |  |
| A | Sub Total 1 carried forward to Grand Summary | - |  |

Revised on 16-07-2024

- SUPPLY AND DELIVERY OF …………….. tonne  OF

- BLEACHING POWDER

- CONTRACT NO. ……………………………….

- GRAND  SUMMARY

| Bill No. | ### Description | ##### Amount LKR |
| --- | --- | --- |
| A | Sub Total 1 |  |
| B | Less Discount (if any) ……. |  |
| C | Grand Total (A-B) carried to Form of Bid (Excluding VAT) |  |
| D | VAT (……. %) |  |
| E | Grand Total including VAT (C+D) |  |

- VAT Registration Number:…………………………………………………………………….

(A copy of the VAT registration certificate shall be annexed.)

Note: - The NWSDB VAT Registration No: - 4090 31820 700

Revised on 16-07-2024

11.    SPECIMEN   FORMS

- BID SECURITY

- CONTRACT AGREEMENT

#### PERFORMANCE SECURITY

#### ADVANCE PAYMENT GUARANTEE

#### LETTER  OF ACCEPTANCE

FORM OF BID SECURITY  (Unconditional)

…………………… [issuing agency’s name, and address of issuing branch or office]

………………………

………………………..

Beneficiary : Chairman

National Water Supply and Drainage Board

Galle Road, Ratmalana, Sri Lanka

Date………………			BID SECURITY No : ……………………………

We have been informed that …………………………………………………………………. [name of  the Bidder ; if joint venture, list complete legal names of partners] (hereinafter called “the Bidder”) has submitted to you its bid dated ……………….. [insert date] (hereinafter called   “ the Bid”) for the execution / supply of  ……………………………….. ……………………………………………………………………….[name of contract]  under Contract No……………………………… .

Furthermore, we understand that, according to your conditions, Bids must be supported by a Bid Security.

At the request of the Bidder, we …………………………………………………………….. [name of issuing agency] hereby irrevocably under take to pay you any sum or sums not exceeding in total an amount of ………………………………….. [amount in figures] …………………..……………………………………….[amount in words] upon receipt by us of  your first demand in writing accompanied by a written statement stating that the Bidder is in breach of its obligation (s) under the bid conditions, because of the Bidder:

(a).	has withdrawn its Bid during the period of  bid validity specified ; or

(b).	does not accept the correction of errors in accordance with the Instructions to Bidders (hereinafter “the ITB” ) or

(c ).	having been notified of the acceptance of its Bid by the Employer/ Purchaser during the period of Bid validity, (i) fails or refuses to execute the Contract Form, if required, or  (ii) fails or  refuses to furnish the Performance Security, in accordance with the ITB.

This Security shall expire: (a) if the Bidder is the successful bidder, upon our receipt of copies of the Contract signed by the Bidder and of the Performance Security issued to you by the Bidder, or (b) if the Bidder is not the successful bidder, upon the earlier of (i) our receipt of a copy of your notification to the Bidder that the Bidder was unsuccessful, otherwise it will remain in force up to ………………… [insert date].

Consequently, any demand of payment under this Security must be received by us the office on or before that date………………………………….

………………………………………………

[Signature (s) of authorized representative (s)]

Revised on 22-06-2023

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF …………………………………………………..

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

SUPPLY AND DELIVERY OF ……………. tonne OF BLEACHING POWDER

CONTRACT No.: ……………………………….

CONTRACT AGREEMENT

Contract Agreement made and entered into between the National Water Supply and Drainage Board, a corporate body duly established under the provisions of the National Water Supply and Drainage Board Law No. 2 of 1974 and having its Head Office at Ratmalana in Sri Lanka (hereinafter sometimes referred to as "the Board") of the one part and Messrs : ………………………………….…….…………................................................ .......................................................................…………….....… which duly incorporated under the laws of Democratic Socialist Republic of Sri Lanka and having registered It's office at ……….................................................... ..............................……………………........…………..………………………….………………………………………………………………. (hereinafter called "the Supplier" which term of expression shall where the context so requires or admits mean and include its successors and permitted assigns) of the other part.

WHEREAS the Board is desirous of entering into a contract with the Supplier for the supply and delivery of Bleaching Powder   to the Board at locations as specified in the Delivery Schedule and has accepted a Bid by the Supplier for the execution and completion of such works.

AND WHEREAS the Bills of Quantities or Schedule of Rates and Specifications and General Conditions of Contract describing the Works to be done have been prepared by the Board and the same have been signed by the parties hereto.

NOW it is hereby agreed as follows:

1.	For the consideration hereinafter mentioned the Supplier shall, upon and subject to the conditions hereto annexed, complete the Works referred to in the said Bills of Quantities or Schedule of Rates and in the said Specifications and Conditions of Contract to the entire satisfaction of the Board on or before the ………………………….............................................. .............................................…….........................................................….

subject to extras, omissions and variations to be determined by the Engineer as hereinafter provided.

Revised on 13-10-2021

2.	The said General Conditions of Contract, the said Specifications, the said Bills of Quantities or Schedule of Rates, (a detailed list whereof is annexed hereto,) Instructions to Bidders, Contract data, Bid Data and Schedule of Particulars and Form of Bid, all duly signed by the Board and the Supplier shall for all purposes whatsoever be read, regarded and construed as part and parcel of the Agreement.

3.	The Supplier will be paid for the said execution of the Works the sum of ...........................................…...................………………................. (Rs. ............................................) hereinafter sometimes referred to as the "Contract Price" or such as shall become payable hereunder according to the terms of the Contract.

4.	As security for the due and proper performance and fulfillment of this contract and for the due payment of all claims to which the Board may be entitled hereunder, the Supplier hereby undertakes to maintain to the Board with a Guarantee in favor of the Board from a Bank approved by the Engineer, as surety in the sum of  Sri Lankan Rupees ………………………….  ………………………………………………………………………………………...............……..........……….(in word) …………………………...(in figures) which said Performance Guarantee shall remain in force and shall not be discharged until the Engineer shall have granted a Final Certificate to the effect that the Supplier has duly discharged and completed all his obligations under this contract and that there is no sum whatever due to the Board at the date of such Final Acceptance Certificate under this Contract.

IN WITNESS WHEREOF the parties hereto have set their hands and seal to these presents at the places and dates hereinafter mentioned.

- Signed by the said ..............................................................…………. Chairman, National Water Supply and Drainage Board and…………………… .................................…….......... Board Member of the National Water Supply and Drainage Board at ………………………......................…………… on the ......................................day..................…………........………….…of

………………..………................................Two Thousand and ……………… …….……………….in the presence of the following Witnesses.

Chairman ...................…….................	Board Member ....................…

Revised on 03-07-2018

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

WITNESSES

Signature 1:	….………........................	Signature 2 : ...........................

Name	        :…………………………….	Name	      	:……………………..

Address	...........................……....	Address	:………………………

…………………………….			……………………….

Capacity	...........................……....	Capacity	...........................…

Signed by the said .......................................................................... in the capacity of .............................................at..................................on the ………………........ day of.........………………... Two Thousand and ............. in the presence of the following Witnesses.

……................................

Signature of Supplier

WITNESSES																		………………………….										Seal

Signature 1:	.....................……..	Signature 2 :.……….....................

Name	      :	………………………	Name	        : …..……………………

Address	.................................	Address	................................

.................................			...............................

Capacity	...........................…….  Capacity	...........................…

Revised on 03-07-2018

FORM OF PERFORMANCE SECURITY (Unconditional)

…………………………..[ Issuing Agency’s Name and Address of issuing Branch or Office]

…………………………..

…………………………..

Beneficiary : Chairman

National Water Supply and Drainage Board

Galle Road, Ratmalana, Sri Lanka.

Date ……………..

PERFORMANCE SECURITY No.: …………………………………………………..

We have been informed that …………………………………………………………….. [name of Contractor/Supplier] (hereinafter called “the Contractor”) has entered into Contract No. …………………….. dated ……………….  with you, for the ……………….. [“Supply”]  of ………………………………………………………………………………….. [name of contract and brief description of  Works] (hereinafter called “the Contract”).

Furthermore, we understand that according to the conditions of the Contract, a performance security is required.

At the request of the Contractor, we ……………………………………………………….. [name of Agency]  hereby irrevocably under take to pay you any sum or sums not exceeding in total and amount of (Foreign currency)  ………. …………………………………………… ………………………………[in words] and Rupees …………………………..…………… (amount in words ), (Foreign currency) …………………………..............................................

And LKR………………………. (amount in figures), such sum being payable in the types and proportions of currencies in which the Contract Price is payable ,  upon receipt by us of your first demand in writing accompanied by a written statement stating that the Contractor is in breach of its obligation (s) under the Contract, without your needing to prove or to show grounds for your demand or the sums specified therein.

This shall expire, no later  than the ………………… day of …………………, 20 …………… [28 days beyond the scheduled contract completion date]  and any demand for payments under it must be received by us at this office on or before that date.

………………………………………………….

[Signature (s)]

Signature and seal of the guarantor

Revised on 17-07-2020

FORM OF ADVANCE PAYMENT SECURITY

…………………………..[ Issuing Agency’s Name and Address of issuing Branch or Office]

…………………………….

……………………………

Beneficiary : Chairman

National Water Supply and Drainage Board

Galle Road, Ratmalana

Date ……………..

ADVANCE PAYMENT SECURITY No. ………………………………………

We have been informed that …………………………………………………………….. [name of Contractor/Supplier] (hereinafter called “the Contractor” ) has entered in to Contract No. ……………….  dated  with you, for the Supply of ……………………………………………… …………………[name of Contract and brief description] (hereinafter called “the Contract”).

Furthermore, we understand that according to the conditions of Contract an advance payment in the sum ……………… [amount in figures] (………………………………………………. ……………………….) [amount in words] is to be made against an advance payment security.

At the request of the Contractor, we ………………………………………………………. [issuing agency] hereby irrevocably undertake to pay you any sum or sums not exceeding in total  and amount of ………. [amount in figures] (…………………………………………… …………………………………….)[amount in words] upon receipt by us of your first demand in writing accompanied by a written statement stating that the Contractor is in breach of its obligation under the Contract without your needing to prove or to show grounds for your demand or the sums specified therein.

The maximum amount of this security shall be progressively reduced by the amount of the advance payment repaid by the Contractor.

This security shall expire on  …………… [28  days beyond the Completion Date]

Consequently, any demand for payment under this security must be received by us at this office on or before that date.

……………………

[Signature (s) ]

Signature and seal of the guarantor ……………………………………………………………

Witness :

Name : ……………………………………………………………….

- Address : ……………………………………………………………………………………….

Revised on 17-07-2020

# Regd. Post

………………………[File No]

……………….[date]

M/s ………………………………………….

………………………………………………

………………………………………………

Dear Sirs,

Letter of Acceptance of Contract for the SUPPLY AND DELIVERY OF ……. tonne OF BLEACHING POWDER

CONTRACT NO: ………………………….

We are pleased to inform you that your offer submitted on ……………………[date] on the above tender, amounting to Sri Lankan Rupees ………………………………………………

..…………………………………………………………………LKR………………………..) has been accepted.

- Applicable VAT will be payable on production of Tax Invoices.  The Registered No. for NWSDB for VAT is 4090318207000.

- Bleaching Powder shall be from ……………………………………………….

Each item shall be marked legibly and indelibly as specified in Clause 5 (Page 6at-3) of specifications.

Inspection and Testing of goods shall be carried as per Clause 8 of General Conditions of Contract (Page 2-6 to 2-9) with respect to quantity, quality and loading prior to shipment and certificates should be forwarded to …………………………….[Name of the Engineer’s Representative]

Bleaching Powder under this contract shall be supplied & delivered as per the delivery schedule attached herewith within ……….. months  from the date hereof.

The liquidated damages for any delay beyond the above period shall be LKR…………/= per shipment per day of delay.

Performa Invoice shall be submitted within 14 days from the date hereof, requesting the NWS&DB to open the Letter of Credit in the supplier’s name.

Performance Security in the prescribed format (a copy annexed) from a recognized commercial bank for an amount of 10% of the total Contract Price valid for a period of 28 days beyond the contract period shall be submitted within 14 days from the date hereof. Performance Security shall be denominated in the currency of contract and proportionate to the each currency.

Revised on 16-07-2024

Please acknowledge receipt of this letter by return fax and make arrangements to sign the Agreement by prior appointment with the Asst. General Manager (Tenders & Contracts) within 28 days.

Please contact …………………………… on Tele No. ………… for further action on this contract.

Yours faithfully,

# National Water Supply & Drainage Board

General Manager

# Copy to: Secretary, Ministry of ……………………………………………………………….,

Auditor General – Duplicate offer and a copy of the Tender Board Decision   attached

Commissioner of Inland Revenue

Addl. General Manager ……………

Deputy General Manager (IA)

Deputy General Manager (F)

Deputy General Manager …………..

Project Director ……………….

Chief Engineer …………….

Stores Copy

Revised on 13-10-2021

12.  APPENDICES

APPENDIX 1- DETAILS OF SIMILAR SUPPLIERS COMPLETED WITHIN THE LAST FIVE YEARS AND ONGOING

| Name and Address of Employer | Name and details of Contract | Value of Contract | Period of Contract Month : Year |  | Remarks (Completed/ ongoing etc) | Value of work remaining incomplete |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | From | To |  |  |

Revised on 22-06-2023

APPENDIX 1- B.     MANUFACTURER’S PRODUCTION CAPACITY WITHIN LAST 12 MONTHS. (COMPILE WITH APPENDIX 1A)

| Name of Manufacturer | Address of Manufacturer | Total production capacity during last 12 months (tons) | Monthly production capacity during last 12 Months (tons) |  |  |  |  |  |  |  |  |  |  |  | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |

Note:  Evidence reports / details shall be submitted with the Bid.

Revised on 10-02-2022

APPENDIX 1 - C.     ONGOING AND COMMITTED SIMILAR CONTRACTS IN HAND WITH THEIR DELIVERY SCHEDULE.

| Name of the Institutions | Contract Name & No. | Name & Address of Manufacturer | Total Quantity (tons) | Remaining Quantity (ton) | Delivery Schedule of the Remaining Quantity (tons) |  |  |  |  |  |  |  |  |  |  |  | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |

Note:  Evidence reports / details shall be submitted with the Bid.

Revised on 10-02-2022

APPENDIX 1- D.     PERFORMANCE OF SIMILAR CONTRACTS COMPLETED WITHIN THE LAST FIVE

YEARS WITH THE NATIONAL WATER SUPPLY & DRAINAGE BOARD

| Name of Contract | Contract No. | Awarded Quantity (tons) | Period of Contract |  | Remarks |
| --- | --- | --- | --- | --- | --- |
|  |  |  | From | To |  |

Note:  Completion Reports shall be submitted with the Bid.

Revised on 22-06-2023

APPENDIX 1- E.     PERFORMANCE OF SIMILAR CONTRACTS COMPLETED WITHIN THE LAST FIVE YEARS

OUTSIDE THE NATIONAL WATER SUPPLY & DRAINAGE BOARD

| Name of Institution | Name of Contract | Awarded Quantity (tons) | Period of Contract |  | Remarks |
| --- | --- | --- | --- | --- | --- |
|  |  |  | From | To |  |

Note:  Completion Reports shall be submitted with the Bid.

Revised on 22-06-2023

# APPENDIX 2 – FINANCIAL STATEMENT

Summary of assets and liabilities based on the audited financial statements for the last three financial years (Current statement may be unaudited) together with the Financial Performance as indicated in the following schedule shall be submitted.

If the business has not been in operation for three years following schedule shall be submitted for the period that the business has been in operation together with the aforesaid financial statements.

Bidders whose financial capability is marginally less to undertake this bid may show credit facilities available to them from a Banks. (see note below).

# Financial performance for the last 3 years

| Year | xxxx | xxxx | xxxx |
| --- | --- | --- | --- |
| Turnover from Contracting |  |  |  |
| Fixed Assets (FA) |  |  |  |
| Current Assets (CA) |  |  |  |
| Current Liabilities (CL) |  |  |  |
| Long Term Liabilities (LL) |  |  |  |
| Net Worth = Total Assets – Total Liabilities |  |  |  |
| Current Ratio = Current Assets Current Liability |  |  |  |
| Liquidity Ratio = Current Assets(except stock) Current Liability |  |  |  |
| Gearing Ratio = Debt Capital x 100 Total Capital Employed |  |  |  |
| Turnover x 100 Total Operating Assets |  |  |  |
| Net Profit x 100 Total Assets |  |  |  |

Revised on 31-08-2017

# APPENDIX 2A – AUTHORIZATION TO OBTAIN REFERENCES FROM

# BANKERS

BIDDER SHALL FILL THIS FORM AND PROVIDE WITH THE BID

……………………….[Bidder’s Name]

………………………………[Address]

...………………………………………

..………………………………………

Manager……………………[Name of  Bank]

…………………………….[Address]

………………………………………

………………………………………

Dear sir,

We hereby Authorize the National Water Supply & Drainage Board, on behalf of the procurement Committee, to seek reference of Bank details in order to evaluate the financial statues of our company M/s……………………………………………………………………

……………………………………………………………………………….[Bidder’s Name & Address] in Connections with the …………………….……………………........[Contract Name & Number] bid, submitted by Us.

Yours faithfully,

…………………………..

…………………………..

Authorized office of the Bidder.

# Note:- If  there are more than one bank, separate letters should be submitted for each Bank.

Revised on 13-10-2021

Appendix 3 – CONFORMATION OF GOODS ARE FROM

same/ single manufacturer

[Address of the Manufacturer]

………………………………….

………………………………….

………………………………….

- Chairman, Procurement Committee,

- National Water Supply and Drainage Board,

- Galle Road, Ratmalana, Sri Lanka.

Supply & Delivery of  ……………. tonne OF Bleaching Powder

Contract No. …………………………………

We,………………………………………….[Name of Manufacturer]………………………

…………………………………………………………………………………….[Address of the manufacturer] confirm that the Bleaching Powder offered in this bid are manufactured by the  same /single manufacturer at a Factory location specified in the ISO 9001: 2015 Quality Management System certificate.

………………………………….				……………………………

Authorised officer of the Manufacturer				Seal of the company

Name:…………………………

Revised on 03-07-2018

Appendix 4 - Manufacturer’s Authorization to sign the  BID/Contract

[The Bidder shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letter head of the Manufacturer and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer. The bidder shall include it in its bid].

Date : [insert date (as day, month and year) of Bid Submission]

No. : [insert contract number]

- To :  	Chairman, Procurement Committee,

- National Water Supply and Drainage Board,

- Galle Road, Ratmalana, Sri Lanka.

Supply & Delivery of  ……………. tonne OF Bleaching Powder

Contract No. …………………………………

We …………………………………………[insert complete name of  Manufacturer], who are official manufacturers of Bleaching Powder, having factories at ……………………………………….…………[insert full address of Manufacturer’s factories], do hereby authorize …………….……………………….[insert complete name of Manufacturer] to submit a bid the purpose of which is to provide Bleaching Powder manufactured by us and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with Clause 15 of the General Conditions of Contract, with respect to the Goods offered by the above firm.

Signed :  …………………………………[insert signature(s) of authorized representative(s) of the Manufacturer]

Name : ………………………………………………………..[insert complete name(s) of authorized representative(s) of the Manufacturer]

Title :  …………………………………….. [insert title]

Duly authorized to sign this Contract on behalf of :  ……………………………[insert complete name of  Manufacturer]

Dated on  …………………….. day of  …………………………….[insert date of signing].

Revised on 03-07-2018

Appendix 5 - Confirmation of  Capability of  Production

and Supply according to Delivery Schedule

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

- Chairman, Procurement Committee,

- National Water Supply and Drainage Board,

- Galle Road, Ratmalana, Sri Lanka.

Supply & Delivery of …………………………… tonne OF Bleaching Powder

Contract No. …………………………………

We, ……………………………...…………………………………….[name of manufacturer] of………..………………………………………………………………………… ……………

………………………………………………………………………………..…………………[address of  manufacturer]confirm that we have sufficient production capacity to produce the quantity of  Bleaching Powder submitted in our bid and shall deliver them according to the delivery schedule indicated in the bid.

…………………………………………			……………………………..

Authorised Officer of the Manufacturer.			   Seal of the Company.

Revised on 03-07-2018

Appendix 6 - Bidder’s Authorization to sign the bid/Contract

[The Bidder shall require to fill in this Form in accordance with the instructions indicated. This   letter of authorization should be on the letter head of the Bidder and should be signed by a person with the proper authority to  sign documents that are binding on the Bidder. The bidder shall include it in its bid].

Date : [insert date (as day, month and year) of Bid Submission]

No. : [insert contract number]

- To :  	Chairman, Procurement Committee,

- National Water Supply and Drainage Board,

- Galle Road, Ratmalana, Sri Lanka.

Supply & Delivery of  ……………. …………..........tonne OF Bleaching Powder

Contract No. …………………………………

We …………………………………………[insert complete name of the Bidder], who ……………………………………….…………[insert full address of Bidder], do hereby authorize …………….………………………….. [insert complete  name of the Bidder’s   authorized officer who signs the contract ] to submit a bid on behalf of our company and to subsequently negotiate and sign the Contract.

Specimen Signature  ………………………………………………………………………………

Signed :  …………………………………[insert signature(s) of authorized representative(s) of the Bidder]

Name : ………………………………………………………..[insert complete name(s) of authorized representative(s)(s)  of the Bidder]

Title :  …………………………………….. [insert title]

Duly authorized to sign this Authorization on behalf of :

………………………………………… [insert complete name of Bidder]

This is to certify that the seal and signatures of legal representative and authorized person affixed to power of attorney attached hereto are found to be authentic.

………………………………

Signature of Attorney at Law

……………………………..

Seal of Attorney at Law

Revised on 03-07-2018

Appendix 7 - TOR for Independent Inspection Agency

- Testing of Bleaching Powder for the conformity to the specification as given in   Table 1 A of the specification.

## Table 1 A

| ## Characteristics | Test 1 | Test 2 |
| --- | --- | --- |
| Available chlorine, percent by mass, min |  |  |
| Loss of available chlorine on heating, on the basis of initial available chlorine percent by mass, max |  |  |
| Moisture, percent by mass, max |  |  |
| Particle size : a) Particles passing through 1.70 mm sieve, percent by mass, min. |  |  |
| Bulk density, g/ml, min |  |  |

- Colour

- Form of  Bleaching Powder

- Packing

- Marking

- Sampling

- Method of Testing

- Recommendations  on

a).	Conformity to the specification

b).	Packing.

APPENDIX  8 - Manufacturer’s awareness of the TOR  for

Independent Inspection Agency

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

- Chairman, Procurement Committee,

- National Water Supply and Drainage Board,

- Galle Road, Ratmalana, Sri Lanka.

Supply & Delivery of  .……………………………. tonne OF Bleaching Powder

Contract No. …………………………………

We, ……………………………………………………………….[name of manufacturer] of ………………………………………………………………………………………………………………….………………………………………………………………..…….[address of  manufacturer]confirm that we have noticed that

a)   Appendix   6 – TOR for Independent Inspection Agency

b) Clause 6.1 of Instructions to Bidders

……………………………...................			………………………….

Authorised Officer of the Manufacturer.			   Seal of the Company.

Name :……………………………………

Revised on 03-07-2018

Appendix 9 - Manufacturer’s warranty for the goods supplied under the contract

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

- Chairman,

- National Water Supply and Drainage Board,

- Galle Road, Ratmalana, Sri Lanka.

Supply & Delivery of  ……………………………. tonne OF Bleaching Powder

Contract No. …………………………………

We, ……………………………………………………………….[name of manufacturer] of….. ………………………………………………………………………… ………………...

………………………………………………………………………………..…………………[address of  manufacturer] certify that the samples submitted by us represent the quality of bleaching powder which shall be  supplied under this Bid.

…………………………………………			……………………………..

Authorised Officer of the Manufacturer.			   Seal of the Company.

Revised on 01-11-2017

APPENDIX 10 – TESTING OF THE WEIGHT OF THE GOODS SHIPPED

[Address of the Manufacturer]

…………………………………………..

………………………………………….

- Chairman, Procurement Committee,

- National Water Supply and Drainage Board,

- Galle Road, Ratmalana, Sri Lanka.

Supply & Delivery of  ……………………….. tonne OF Bleaching Powder

Contract No. …………………………………

Testing of the weight of the Bleaching Powder shipped

Number of packages / drums ……………………………..

Total weight of the goods shipped ……………………..  tonne.

Testing Witnessed by,

Name 1 : …………………………………	Name 2 : ……………………………….

Signature 1 : ……………………….		Signature 2 : ………………………

Date : ……………………………

Revised on 03-07-2018

APPENDIX 11 - Manufacturer’s GUARANTEE for the

REPLACEMENT OF UNACCEPTABLE

goods supplied under the contract

[Address of the Manufacturer]

…………………………………………..

………………………………………….

- Chairman,

- National Water Supply and Drainage Board,

- Galle Road, Ratmalana, Sri Lanka.

Supply & Delivery of  ………. tonne of Bleaching Powder

Contract No…………………………………….

We, ……………………………………………………………….[name of manufacturer] of ………………………………………………………………………………………………………………….…………………………………..…….[address of  manufacturer] guarantee  that we shall unconditionally undertake to replace any unacceptable goods  supplied under this contract with no additional cost to the employer ensuring timely completion of the supply.

In any case we fail to replace the unacceptable goods, we agree that the NWSDB shall not make balance 25% payment of foreign component and balance local component paid and encash the Performance Securuty. We further aware that  NWSDB will immediately suspend issuing bidding documents to us and thereafter action shall be taken to blacklist us.

…………………………………………			    ..…………….………

Authorised Officer of the Manufacturer			   Seal of the Company

Name :……………………………………

Revised on 03-07-2018

Appendix 12 – AFFIDAVIT BY THE BIDDER

I ………………………………………… of ………………………………………… being a ……………………… (Buddhist or any other religionist), do hereby solemnly sincerely and truly declare and affirm as follows.

01.	I am the Affirmant above named.

02.	I hereby declare that I have applied for the contract of National Water Supply and Drainage Board bearing No: …………………………………….. and my spouse or dependent does not work in National Water Supply and Drainage Board on permanent, casual or contract basis.

The foregoing affidavit having been read over and explained to the affirmant above named who having understood its nature content and context affirmed hereto and set his usual signature hereto in ……………...     on this ………….……………… day of …………….…….. 20…...

Before me	           ……………………

Declarant

……..…………………

Justice of the peace /

Commissioner for Oaths

Revised on 03-07-2018