Ref. No. NWSDB/SBD/LAY/Ver 2

REVISED ON 12-11-2020

GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC

# OF SRI LANKA

## MINISTRY OF WATER SUPPLY

# NATIONAL WATER SUPPLY AND DRAINAGE BOARD

LAYING OF

……………………………………………………….

CONTRACT No.: …………………………………..

REVISED ON 12-11-2020

NATIONAL WATER SUPPLY & DRAINAGE BOARD

GALLE ROAD

RATMALANA

……………………..

MONTH & YEAR

Standard Bidding Document, Procurement of works ICTAD/SBD/01 Second Edition, - January 2007 and the addendum 01 Published by Institute for Construction Industry Development Authority is applicable in respect of this contract. Any changes to these clauses in the Instructions to Bidders and Conditions of Contracts are indicated in Bidding data and contract data in Section 5.

ICTAD/SBD/01 Second Edition – January 2007 with addendum No. 01 is not provided with this Bidding document, and it is available for purchasing at CIDA, Wijerama Mawatha, Colombo 7.

Revised on 07-09-2016

# T A B L E   O F   C O N T E N T S

##### VOLUME      1

Volume  - 1   of this document is the Volume – 1 of Standard Bidding Document, Procurement of Works, ICTAD publication No. ICTAD/SBD/01 Second  Edition – January 2007 with addendum 01 issued in October 2009,  and available for purchasing at CIDA, Wijerama Mawatha, Colombo 7.

Volume 1 includes following sections

Section  1	-	Instructions to Bidders

Section  2	-	Not used

Section  3	-	Conditions of Contract

Revised on 05-05-2016

#### VOLUME  2

#### DOCUMENT ISSUANCE CERTIFICATE

(To be filled at the time of issue by the authorized issuing officer)

1.	STANDARD DOCUMENT REFERENCE NUMBER: NWSDB/SBD/LAY/Ver 2

2.	CONTRACT NUMBER 	:          …………………………………………………...

3.	a)	ISSUED TO		:	…………..........................……............................

b)	ADDRESS		:	………….................................…….....................

c)	TELEPHONE NUMBER	:	....……...............................……...............

d)	FACSIMILE NUMBER	:	…………………………………..………

4.        a)          TENDER FEE	:	Rs. ........ RECEIVED/NOT RECEIVED

IN CASH/BANK DRAFT

b)	RECEIPT/BANK DRAFT NUMBER:	.......................……...................

5.	NUMBER OF COPIES ISSUED	:	..................……..........................….........

6.	NUMBER OF CANCELLED COPIES ISSUED	:	…….......................….......

7.	CANCELLED COPY FEE	:	Rs...............…….... RECEIVED/NOT RECEIVED      (IN CASH/BANK DRAFT)

8	SUPPLIER’S BUSINESS REGISTRATION NUMBER:  …………………………..

(IN CASH/BANK DRAFT)

9.	a)	ISSUING OFFICER		:...................................................…….........

b)	DESIGNATION		:......................................................………..

c)	SIGNATURE			:......................................................………..

10.	PLACE OF ISSUE			:..........................................................….….

11.	SEAL		:………………..…………………………………………….…….

12.	DATE		:	............................ 	TIME 	: …................................……

T A B L E   O F   C O N T E N T S

##### VOLUME      2

| # SECTION |  |  |  | PAGE NUMBER |
| --- | --- | --- | --- | --- |
|  |  |  |  | From To |
|  |  | Document Issuance Certificate |  | i |
|  |  | Table of Contents |  | ii – iv |
|  |  | Check list for Bidders |  | v |
|  |  | Invitation for Bids |  | vi |
| ## 4 |  | Form of Bid and Qualification Information |  | 4-1 - 4-2 |
| ## 5 |  | Bidding Data and Contract Data |  | 5-1 - 5-35 |
| 6 |  | Specifications |  |  |
|  |  | Specification for Civil Engineering Construction |  | 6a-1 |
|  |  | Specifications for trench excavation, backfilling & road reinstatement |  | 6d-1 6d-17 |
|  |  | Specification for trenchless pipes installation |  | 6e-1 6e-18 |
| 7 | Schedule of Particular |  |  |  |
| 8 | Deviation from specification |  | 8-1 |  |
| 9 | Schedules of Daywork |  |  |  |
|  | - Preamble Notes on Dayworks Schedules - Schedule of Daywork Rates for Labour - Schedule of Daywork Rates for Materials - Schedule of Daywork Rates for Constructional Plant |  | 8-1 8-2 8 - 3 8–4 8-5 8 -6 8-9 |  |
| ## 10 | List of Drawings |  | 9 -1 |  |
| 11 | Bills of Quantities |  |  |  |
|  | Preamble Notes on Bills of Quantities Add relevant Pricing Preambles from the web. Use sample BOQQ from web to prepare specific BOQQ. Bills of Quantities: General Bill Building Works Civil Works Supply & Installation of Pipes and Fittings Pumps/Chlorinators & Chemical Dosing Equipments Summary of Bills |  | 11-a1 - ………/ 11-b1 - ………/ 11-c1 - ………/ 11-d1 - ………/ 11 – 1 11 – ….. 11 – …. 11 - …. |  |

Revised on  29-10-2018

| SECTION |  | PAGE NUMBER |
| --- | --- | --- |
|  |  | From To |
| 12 | Specimen Forms |  |
|  | Bid Security | 12 -1 |
|  | Letter of Acceptance | 12 -2 |
|  | Agreement | 12 –3 12 – 4 |
|  | Performance Security | 12 – 5 |
|  | Advance Payments Security | 12 - 6 12 – 7 |
|  | Retention Money Guarantee | 12 – 8 |
| 13 | Appendices |  |
|  | Appendix 1A - Details of Pipe laying works completed within the Last five Years and Ongoing. | 13 - 1 |
|  | Appendix 1B - Details of other Civil works completed within the Last five Years and Ongoing. | 13 - 2 |
|  | Appendix 2 - Details of Construction Management Services Proposed for Contract. | 13 - 3 |
|  | Appendix 2A – Schedule of Personnel / Supervisory Staff Proposed for Contract. | 13 – 4 |
|  | Appendix 3 - Schedule of Major Equipment Proposed to carry out Pipe Laying. | 13 – 5 13 - 6 |
|  | Appendix 4 - Financial Statement | 13 – 7 |
|  | Appendix 4A - Revolving Credit Line Facility | 13 - 8 |
|  | Appendix 4B - Authorization to obtain References from Bankers | 13 – 9 |
|  | Appendix 5 - Work Programme proposed by the Contractor | 13 – 10 |
|  | Appendix 6 - Bidder’s Authorization to sign the contract. | 13 – 11 |
|  | Appendix 7 - Affidavit By the Bidder. | 13 – 12 |

Revised on 13-07-2020

CHECK LIST OF SUBMISSIONS

CHECKLIST OF SUBMISSIONS

* Note: Please mark ‘Y’ in the cages under the ‘Remarks’ column if submissions are

Made. ‘N’ or ‘N/A’ should be marked for cases of ‘No submissions’ and ‘Not

Applicable’ respectively.

| ITEM | Reference | REFERENCE |
| --- | --- | --- |
| Documentary evidence to establish eligibility of bidder. | 1.1 |  |
| Signatory to the BID |  |  |
| Evidence for authority for Signatory(ies) enclosed? | 18 |  |
| Form of Bid |  |  |
| Addressed to the Employer? | 18 |  |
| Completed? | 18 |  |
| Signed? | 18 |  |
| Bid Security |  |  |
| Addressed to the Employer? | 16 |  |
| Format as required? | 16 |  |
| Issuing Agency as specified? | 16 |  |
| Validity as mentioned in the bidding data | 16 |  |
| Qualification Information |  |  |
| All relevant information completed? | 4 |  |
| Signed? | 4 |  |
| Addendum |  |  |
| Contents of the addendum (if any) taken in to account? | 10 |  |
| BID package |  |  |
| All the documents given in ITB Clause 12 enclosed in the original and copy? | 12 |  |
| ITB Clause 19 followed before Sealing the Bid Package? | 19 |  |
| Copy of VAT registration certificate | 13.3 |  |
| Bio data of Key Technical persons. | Appendix 2 |  |
| Summary of Assets and liabilities for the last 3 financial years – laying | Appendix 4 |  |
| Evidence of credit facilities available | Appendix 4A |  |

Revised on 05-05-2016

Invitation for Bids

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF …………………………………………..

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

CONTRACT No.: …………………………………..

…………………………….. ……. Water Supply Scheme

Laying of ………………………………………….

INVITATION FOR BIDS (IFB)

1	The Chairman, Cabinet Appointed Procurement Committee, Ministry of ……………………. ………………….,“Lakdiya Madura”, No. 35, New Parliament Road, Palawatta, Battaramulla on behalf of the National Water Supply and Drainage Board (NWSDB) invites sealed bids from eligible and qualified bidders for……..…… ………….…………………………… of ……………………………..Water Supply Scheme.

2.	Bidding will be conducted through National Competitive Bidding Procedure. Since the Total Cost Estimate of this procurement is below Rs.50 Million, regional preference and CIDA grade preference shall apply as stipulated in Public Finance Circular No. 04/2016(ii).

3.	Alternative bids shall not be accepted.

- To be eligible for contract award, the successful bidder shall not have been blacklisted and shall have Registration with CIDA in the field of …………………………………………. in Grade …………… at time of  submission of  the bid.

- The estimated cost for  this Tender  is Rs………………………………. Million and the construction period is ……………… Days

6.	Interested bidders may obtain further information from Assistant General Manager, (Tenders and Contracts), NWSDB, Galle Road, Ratmalana over the telephone, number 011-2635885 or 011-2638999 Ext. 150 or facsimile number 011-2635885 and bidding documents may be inspected free of charge at the office of the Assistant General Manager, (Tenders and Contracts), NWSDB, Galle Road, Ratmalana.

7.	A complete set of Bidding documents in English language may be purchased by interested bidders on the submission of a written application on a business Letterhead to the Assistant General Manager (Tenders and Contracts), NWSDB, Galle Road, Ratmalana, from ……………….. until …………from 09:00 hours to 15:00 hours on normal working days  upon payment of a non refundable tender fee of  Rs………………………./= plus  applicable VAT in cash.

8.	Bids shall be delivered in duplicate to the Chairman, Cabinet Appointed Procurement Committee, Procurement Division, Ministry of ……………………………………………….. ……………………, “Lakdiya Madura”, No. 35, New Parliament Road, Palawatta, Battaramulla on or before …………………hrs on    ………………Late Bids will be rejected. Bids will be opened soon after closing in the presence of the bidders’ representatives who choose to attend.

9.	Bids shall be valid up to …………………….Days from the date of closing of bid.

10.	All Bids shall be accompanied by a bid security of Rupees…………………………………

and Bid security shall be valid upto …………………………….

Chairman

National Water Supply and Drainage Board, Galle Road, Ratmalana,

Sri Lanka.

Revised on 12-11-2020

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF ……………………………………………………

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

CONTRACT No.: …………………………………..

…………………………….. ……. Water Supply Scheme

Laying of ………………………………………….

INVITATION FOR BIDS (IFB)

1	The Chairman, Ministry Procurement Committee, Ministry of……………………………….. …………………………,“Lakdiya Madura”, No. 35, New Parliament Road, Palawatta, Battaramulla on behalf of the National Water Supply and Drainage Board (NWSDB) invites sealed bids from eligible and qualified bidders for………………………………… ………….…………………………… of ……………………………..Water Supply Scheme.

2.	Bidding will be conducted through National Competitive Bidding Procedure. Since the Total Cost Estimate of this procurement is below Rs.50 Million, regional preference and CIDA grade preference shall apply as stipulated in Public Finance Circular No. 04/2016(ii)

3.	Alternative bids shall not be accepted.

- To be eligible for contract award, the successful bidder shall not have been blacklisted and shall have Registration with CIDA  in the field of …………………………………………. in Grade …………… at time of  submission of  the bid.

- The estimated cost for  this Tender  is Rs………………………………. Million and the construction period is ……………… Days.

6.	Interested bidders may obtain further information from Assistant General Manager, (Tenders and Contracts), NWSDB, Galle Road, Ratmalana over the telephone, number 011-2635885 or 011-2638999 Ext. 150 or facsimile number 011-2635885 and bidding documents may be inspected free of charge at the office of the Assistant General Manager, (Tenders and Contracts), NWSDB, Galle Road, Ratmalana.

7.	A complete set of Bidding documents in English language may be purchased by interested bidders on the submission of a written application on a business Letterhead to the Assistant General Manager (Tenders and Contracts), NWSDB, Galle Road, Ratmalana, from ……………….. until …………from 09:00 hours to 15:00 hours on normal working days  upon payment of a non refundable tender fee of  Rs………………………./= plus  applicable VAT in cash.

8.	Bids shall be delivered in duplicate to the Director (Tenders), Ministry of …………………… ……………………………………,“Lakdiya Madura”, No. 35, New Parliament Road, Palawatta, Battaramulla on or before …………………hrs on    ………………Late Bids will be rejected. Bids will be opened soon after closing in the presence of the bidders’ representatives who choose to attend.

9.	Bids shall be valid up to …………………….Days from the date of closing of bid.

10.	All Bids shall be accompanied by a bid security of Rupees…………………………………

and Bid security shall be valid upto …………………………….

Chairman

National Water Supply and Drainage Board, Galle Road, Ratmalana,

Sri Lanka.

Revised on 12-11-2020

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF …………………………………………………………..

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

CONTRACT No.: …………………………………..

…………………………….. ……. Water Supply Scheme

Laying of ………………………………………….

INVITATION FOR BIDS (IFB)

1	The Chairman, Department Procurement Committee, National Water Supply and Drainage Board (NWSDB), Galle Road, Ratmalana  on behalf of  the National Water Supply and Drainage Board (NWSDB) invites sealed bids from eligible and qualified bidders for…….………….…………..………….……of……………………

Water Supply Scheme.

2.	Bidding will be conducted through National Competitive Bidding Procedure. Since the Total Cost Estimate of this procurement is below Rs.50 Million, regional preference and CIDA grade preference shall apply as stipulated in Public Finance Circular No. 04/2016(ii)

3.	Alternative bids shall not be accepted.

4.	To be eligible for contract award, the successful bidder shall not have been blacklisted and shall have Registration with CIDA in the field of …. …………………………in Grade …………… at the time of  the submission of  the bid.

5.  The estimated cost for  this Tender  is Rs………………………………. Million and the construction period is ……………… Days

6	Interested bidders may obtain further information from Assistant General Manager, (Tenders and Contracts), NWSDB, Galle Road, Ratmalana over the telephone, number 011-2635885 or 011-2638999 Ext. 150 or facsimile number 011-2635885 and bidding documents may be inspected free of charge at the office of the Assistant General Manager, (Tenders and Contracts), NWSDB, Galle Road, Ratmalana.

7.	A complete set of Bidding documents in English language may be purchased by interested bidders on the submission of a written application on a business Letter Head to the Assistant General Manager (Tenders and Contracts), NWSDB, Galle Road, Ratmalana, from …………… until …………….09:00 hours to 15:00 hours on normal working days  upon payment of a non refundable tender fee of Rs……………………………./= plus  applicable VAT in cash.

8.	Bids shall be delivered in duplicate to the Assistant General Manager (Tenders and Contracts), NWSDB, Galle Road, Ratmalana on or before …………………hrs on    ………………Late Bids will be rejected. Bids will be opened soon after closing in the presence of the bidders’ representatives who choose to attend.

9.	Bids shall be valid up to …………………….Days from the date of closing of bid.

10.	All Bids shall be accompanied by a bid security of Rupees……………………………and Bid security shall be valid upto …………………………….

Chairman

National Water Supply and Drainage Board,

Galle Road, Ratmalana,

Sri Lanka

Revised on 12-11-2020

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF …………………………………………………………

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

CONTRACT No.: …………………………………..

……………………………..……. Water Supply Scheme

Laying of ………………………………………….

INVITATION FOR BIDS (IFB)

- The Chairman, Project Procurement Committee, National Water Supply and Drainage Board (NWSDB),   …………………………………………………………………………………. [Insert relevant Project Office address] on behalf of  the National Water Supply and Drainage Board (NWSDB) invites sealed bids from eligible and qualified bidders for…….….……………………………of……………………Water Supply Scheme.

- Bidding will be conducted through National Competitive Bidding Procedure. Since the Total Cost Estimate of this procurement is below Rs.50 Million, regional preference and CIDA grade preference shall apply as stipulated in Public Finance Circular No. 04/2016(ii)

3.	Alternative bids shall not be accepted.

- To be eligible for contract award, the successful bidder shall not have been blacklisted and shall have Registration with CIDA  in the field of …. …………………………in Grade …………… or above at the time of the submission of the bid.

- The estimated cost for this Tender is Rs………………………………. Million and the construction period is ……………… Days

- Interested bidders may obtain further information from Project Director (……………. WSP) ………………………………………………………………..[Insert relevant Project Office address] over the telephone, number ………………….. Ext. ….. or facsimile number ………………… and bidding documents may be inspected free of charge at the office of the …………………………………………………………………………

7.	A complete set of Bidding documents in English language may be purchased by interested bidders on the submission of a written application on a business Letter Head to the Project Director (……….. WSP) ……………………………………………………………………. [Insert relevant Project Office address], from …………… until …………….09:00 hours to 15:00 hours on normal working days  upon payment of a non refundable tender fee of Rs……………………./= plus  applicable VAT in cash.

8.	Bids shall be delivered in duplicate to the Project Director (…………..…. WSP) ………………………………………………..……………………………………………… [Insert relevant Project Office address]on or before …………………hrs on    ………………Late Bids will be rejected. Bids will be opened soon after closing in the presence of the bidders’ representatives who choose to attend.

9.	Bids shall be valid up to …………………….Days from the date of closing of bid.

10.	All Bids shall be accompanied by a bid security of Rupees…………………………………

and Bid security shall be valid upto …………………………….

Project Director

National Water Supply & Drainage Board

…………………………..

………………………… (Insert Relevant Project Office Address)

Revised on 12-11-2020

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF ……………………………………………………..

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

CONTRACT No.: …………………………………..

…………………………….. ……. Water Supply Scheme

Laying of ………………………………………….

INVITATION FOR BIDS (IFB)

- The Chairman, Regional Procurement Committee, National Water Supply and Drainage Board (NWSDB),   …………………………………………………………………………………. [Insert relevant RSC address] on behalf of  the National Water Supply and Drainage Board (NWSDB) invites sealed bids from eligible and qualified bidders for…….….……………………………of……………………Water Supply Scheme.

- Bidding will be conducted through National Competitive Bidding Procedure. Since the Total Cost Estimate of this procurement is below Rs.50 Million, regional preference and CIDA grade preference shall apply as stipulated in Public Finance Circular No. 04/2016(ii)

3.	Alternative bids shall not be accepted.

- To be eligible for contract award, the successful bidder shall not have been blacklisted and shall have Registration with CIDA in the field of …. …………………………in Grade …………… or above at the time of the submission of the bid.

- The estimated cost for this Tender is Rs………………………………. Million and the construction period is ……………… Days

- Interested bidders may obtain further information from Deputy General Manger (RSC………….)      …………………………………………………………………………………..…………..[Insert relevant RSC address] over the telephone, number ………………….. Ext. ….. or facsimile number ………………… and bidding documents may be inspected free of charge at the office of the …………………………………………………………………………

7.	A complete set of Bidding documents in English language may be purchased by interested bidders on the submission of a written application on a business Letter Head to the Deputy General Manger (RSC ………….), …….……………………………………………………………………. [Insert relevant RSC address], from …………… until …………….09:00 hours to 15:00 hours on normal working days  upon payment of a non refundable tender fee of Rs……………………./= plus  applicable VAT in cash.

8.	Bids shall be delivered in duplicate to the Deputy General Manger (RSC…………..….) ………………………………………………..……………………………………………… [Insert relevant RSC address]on or before …………………hrs on    ………………Late Bids will be rejected. Bids will be opened soon after closing in the presence of the bidders’ representatives who choose to attend.

9.	Bids shall be valid up to …………………….Days from the date of closing of bid.

10.	All Bids shall be accompanied by a bid security of Rupees…………………………………

and Bid security shall be valid upto …………………………….

DGM

National Water Supply & Drainage Board

…………………………..

………………………… (Insert Relevant RSC Address)

Revised on 12-11-2020

4.  Form of Bid & Qualification Information

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF …………………………………………………………….

## NATIONAL WATER SUPPLY AND DRAINAGE BOARD

CONTRACT No.: ………………………………..

…………………………….. ……. Water Supply Scheme

Laying of ………………………………………….

## FORM OF BID

To:	The Chairman, Cabinet Appointed Procurement Committee,

Ministry of …………………………………………………..,

“Lakdiya Madura”,

No. 35, New Parliament Road,

Palawatta, Battaramulla

Sri Lanka.

Gentleman,

1.	Having examined the Bidding Document Volume I [ICTAD/SBD/01 - Second Edition, January 2007 – Procurement of Works with addendum thereafter] and Volume II including  Bidding Data, Contract Data, Condition of Contract, Specifications, Drawings and Bills of Quantities etc and Addenda for the execution of the above-named Works, we the undersigned, offer to execute and complete such Works and remedy any defect therein in conformity with the aforesaid Contract Data, Conditions of Contract, Specifications, Drawings, Bills of Quantities and addenda for the sum of Sri Lankan Rupees  ………………………………………………………………………………………………………………….(LKR………...............………) or such other sums as may be ascertained in accordance with the said Conditions.

2.	We acknowledge that the Contract Data forms part of our Bid.

3.	We undertake, if our Bid is accepted, to commence the Works as stipulated in the Contract Data, and to complete the whole of the Works comprised in the Contract within the time stated in the Contract Data.

4.	We agree to abide by this Bid for the period of two hundred and ten (210) Days from the date fixed for receiving or any extended period and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

5.	Unless and until a formal Agreement is prepared and executed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

6.	We accept that the adjudicators  shall be appointed when need arises.

7.	We understand that you are not bound to accept the lowest or any Bid you may receive.

Dated this ............. day of ............ 20... in the capacity  of ..........……………………............ duly authorized to sign tenders for and on behalf of ....................................………….....................................

(IN BLOCK CAPITALS)

Signature : ……………………………………

Name	:…………………………………..

Designation	:…………………………………….

Address   : ……………………………………

……………………………………

Witness:	Signature: ……………………………

Name	:    ……………………………….

Address:  …………………………………………………………………….

Revised on 12-11-2020

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF ………………………………………………………….

## NATIONAL WATER SUPPLY AND DRAINAGE BOARD

CONTRACT No.: ………………………………..

…………………………….. ……. Water Supply Scheme

Laying of ………………………………………….

## FORM OF BID

To:	The Chairman, Ministry Procurement Committee,

Ministry of ……………………………………………….,

“Lakdiya Madura”,

No. 35, New Parliament Road,

Palawatta, Battaramulla

Sri Lanka.

Gentleman,

1.	Having examined the Bidding Document Volume I [ICTAD/SBD/01 - Second Edition, January 2007 – Procurement of Works with addendum thereafter] and Volume II including  Bidding Data, Contract Data, Condition of Contract, Specifications, Drawings and Bills of Quantities etc and Addenda for the execution of the above-named Works, we the undersigned, offer to execute and complete such Works and remedy any defect therein in conformity with the aforesaid Contract Data, Conditions of Contract, Specifications, Drawings, Bills of Quantities and addenda for the sum of Sri Lankan Rupees  ………………………………………………………………………………………………………………….(LKR………...............………) or such other sums as may be ascertained in accordance with the said Conditions.

2.	We acknowledge that the Contract Data forms part of our Bid.

3.	We undertake, if our Bid is accepted, to commence the Works as stipulated in the Contract Data, and to complete the whole of the Works comprised in the Contract within the time stated in the Contract Data.

4.	We agree to abide by this Bid for the period of one hundred and nineteen (119) Days from the date fixed for receiving or any extended period and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

5.	Unless and until a formal Agreement is prepared and executed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

6.	We accept that the adjudicators  shall be appointed when need arises.

7.	We understand that you are not bound to accept the lowest or any Bid you may receive.

Dated this ............. day of ............ 20... in the capacity  of ..........……………………............ duly authorized to sign tenders for and on behalf of ....................................………….....................................

(IN BLOCK CAPITALS)

Signature : ……………………………………

Name	:…………………………………..

Designation	:…………………………………….

Address   : ……………………………………

……………………………………

Witness:	Signature: ……………………………

Name	:    ……………………………….

Address:  …………………………………………………………………….

Revised on 12-11-2020

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF …………………………………………………………….

## NATIONAL WATER SUPPLY AND DRAINAGE BOARD

CONTRACT No.: ………………………………..

…………………………….. ……. Water Supply Scheme

Laying of ………………………………………….

## FORM OF BID

To:	The Chairman, Department  Procurement Committee,

National Water Supply & Drainage Board,

Galle Road,

Ratmalana.

Gentleman,

1.	Having examined the Bidding Document Volume I [ICTAD/SBD/01 - Second Edition, January 2007 – Procurement of Works with addendum thereafter] and Volume II including  Bidding Data, Contract Data, Condition of Contract, Specifications, Drawings and Bills of Quantities etc and Addenda for the execution of the above-named Works, we the undersigned, offer to execute and complete such Works and remedy any defect therein in conformity with the aforesaid Contract Data, Conditions of Contract, Specifications, Drawings, Bills of Quantities and addenda for the sum of Sri Lankan Rupees ...... ……………………………. ………………………………………………………………….(LKR………...............………) or such other sums as may be ascertained in accordance with the said Conditions.

2.	We acknowledge that the Contract Data forms part of our Bid.

3.	We undertake, if our Bid is accepted, to commence the Works as stipulated in the Contract Data, and to complete the whole of the Works comprised in the Contract within the time stated in the Contract Data.

4.	We agree to abide by this Bid for the period of ninety one (91) Days from the date fixed for receiving or any extended period and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

5.	Unless and until a formal Agreement is prepared and executed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

6.	We accept that the adjudicators shall be appointed when need arises.

7.	We understand that you are not bound to accept the lowest or any Bid you may receive.

Dated this ............. day of ............ 20... in the capacity  of ..........……………………................ duly authorized to sign tenders for and on behalf of ....................................………….....................................

(IN BLOCK CAPITALS)

Name	:…………………………………..

Designation	:…………………………………….

Signature : ……………………………………

Address   : ……………………………………

……………………………………

Witness:	Signature: ……………………………

Name	:    ……………………………….

Address:  …………………………………………………………………….

Revised on 12-11-2020

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF ……………………………………………………………….

## NATIONAL WATER SUPPLY AND DRAINAGE BOARD

CONTRACT No.: ………………………………..

……………………………..……. Water Supply Scheme

Laying of ………………………………………….

## FORM OF BID

To:	The Chairman, Project Procurement Committee,

…………………………….………..,

..........................................................,

...........................................................[Insert relevant Project Office address]

Gentleman,

1.	Having examined the Bidding Document Volume I [ICTAD/SBD/01 - Second Edition, January 2007 – Procurement of Works with addendum thereafter] and Volume II including  Bidding Data, Contract Data, Condition of Contract, Specifications, Drawings and Bills of Quantities etc and Addenda for the execution of the above-named Works, we the undersigned, offer to execute and complete such Works and remedy any defect therein in conformity with the aforesaid Contract Data, Conditions of Contract, Specifications, Drawings, Bills of Quantities and addenda for the sum of Sri Lankan Rupees ...... ………………………………. ………………………………………………………………….(LKR………...............………) or such other sums as may be ascertained in accordance with the said Conditions.

2.	We acknowledge that the Contract Data forms part of our Bid.

3.	We undertake, if our Bid is accepted, to commence the Works as stipulated in the Contract Data, and to complete the whole of the Works comprised in the Contract within the time stated in the Contract Data.

4.	We agree to abide by this Bid for the period of ninety one (91) Days from the date fixed for receiving or any extended period and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

5.	Unless and until a formal Agreement is prepared and executed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

6.	We accept that the adjudicators  shall be appointed when need arises.

7.	We understand that you are not bound to accept the lowest or any Bid you may receive.

Dated this ............. day of ............ 20... in the capacity  of ..........……………………................ duly authorized to sign tenders for and on behalf of ....................................………….....................................

(IN BLOCK CAPITALS)

Signature : ……………………………………

Name	:…………………………………..

Designation	:…………………………………….

Address   : ……………………………………

……………………………………

Witness:	Signature: ……………………………

Name	:    ……………………………….

Address:  …………………………………………………………………….

Revised on 12-11-2020

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

MINISTRY OF …………………………………………………………………

## NATIONAL WATER SUPPLY AND DRAINAGE BOARD

CONTRACT No.: ………………………………..

……………………………..……. Water Supply Scheme

Laying of ………………………………………….

## FORM OF BID

To:	The Chairman, Regional Procurement Committee,

…………………………….………..,

..........................................................,

...........................................................[Insert relevant RSC address]

Gentleman,

1.	Having examined the Bidding Document Volume I [ICTAD/SBD/01 - Second Edition, January 2007 – Procurement of Works with addendum thereafter] and Volume II including  Bidding Data, Contract Data, Condition of Contract, Specifications, Drawings and Bills of Quantities etc and Addenda for the execution of the above-named Works, we the undersigned, offer to execute and complete such Works and remedy any defect therein in conformity with the aforesaid Contract Data, Conditions of Contract, Specifications, Drawings, Bills of Quantities and addenda for the sum of Sri Lankan Rupees ...... ………………………………. ………………………………………………………………….(LKR………...............………) or such other sums as may be ascertained in accordance with the said Conditions.

2.	We acknowledge that the Contract Data forms part of our Bid.

3.	We undertake, if our Bid is accepted, to commence the Works as stipulated in the Contract Data, and to complete the whole of the Works comprised in the Contract within the time stated in the Contract Data.

4.	We agree to abide by this Bid for the period of ninety one (91) Days from the date fixed for receiving or any extended period and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

5.	Unless and until a formal Agreement is prepared and executed, this Bid, together with your written acceptance thereof, shall constitute a binding contract between us.

6.	We accept that the adjudicators  shall be appointed when need arises.

7.	We understand that you are not bound to accept the lowest or any Bid you may receive.

Dated this ............. day of ............ 20... in the capacity  of ..........……………………................ duly authorized to sign tenders for and on behalf of ....................................………….....................................

(IN BLOCK CAPITALS)

Signature : ……………………………………

Name	:…………………………………..

Designation	:…………………………………….

Address   : ……………………………………

……………………………………

Witness:	Signature: ……………………………

Name	:    ……………………………….

Address:  …………………………………………………………………….

Revised on 12-11-2020

Qualification and General Information

(To be completed and submitted by the bidder, with the Bid)

| CIDA Registration |  |  |
| --- | --- | --- |
| Registration number | (attach copies of relevant pages from the registration book) |  |
| Grade |  |  |
| Speciality |  |  |
| Expiry Date |  |  |
| QUALIFICATIONS | (Details should be submitted as per ITB Clause No.4.4). |  |
| Blacklisted Contractors |  |  |
| Have you been declared as a defaulted contractor by NPA or any other Agency? (Yes/No) |  |  |
| IF yes provide details |  |  |
| VAT Registration Number |  |  |
| Construction Program | ( attach as annex) – Appendix 5 |  |
| Legal status | (attach relevant status copies, as annex) |  |
| Value of similar works completed in last 5 years | Complete Annex 1A (attach copies of Certificate of Completion etc., as annex) |  |
| Value of Construction works excluding similar works performed in last 5 years | (attach copies of Certificate of Completion etc. and other documents such as profit-loss and income expenditure statement) |  |
| Year ….. | Complete details in Appendix 1B |  |
| Year ….. |  |  |
| Year ….. |  |  |
| Year ….. |  |  |
| Year ….. |  |  |
| Major items of construction equipment proposed | Complete details in Appendix 3 Include any additional plant/equipments if required |  |
| Qualification and experience of key staff – Site & Head Office (Permanent, Contract basis & Consultants) | Complete details in Appendix 2 |  |
| Financial Capabilities | (attach copies of Audited financial statements of last 3 years) Complete details in Appendix 4, 4A and 4B |  |
| Other information requested under ITB Clause 4.3 | Any other details in support of the bid. |  |

Revised on 24-12-2016

5.  Bidding Data &

Contract Data

The Bidding Data is a part of Instructions to Bidders and should be read in conjunction with the Instructions to Bidders.

If there is a discrepancy found in the Instructions to Bidders and the Bidding Data, the Content in the Bidding Data shall supersede the Content in the Instructions to Bidders.

The Contract Data is a part of General Conditions of Contract and should be read in conjunction with the General Conditions of Contract.

If there is a discrepancy found in the General Conditions of Contract and the Contract Data, the Content in the Contract Data shall supersede the Content in the General Conditions of Contract.

Revised on 13-07-2020

BIDDING DATA

(Please note that the Clause numbers given here under are that of Instructions to Bidders)

Instructions to Bidders

Clause Reference

| (1.1) | The Employer is Name : National Water Supply and Drainage Board Address: Galle Road, Ratmalana, Sri Lanka. The Works consists of ________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ located at __________________________________________ |
| --- | --- |
| (1.2) | Intended Completion Date is Days from the Start Date. |
| (1.3) | The office for collection of bid forms is : Assistant General Manager (Tenders & Contracts) Tenders & Contract Section, NWSDB, Galle Road, Ratmalana. The non-refundable fee is Rupees ___________________ Plus VAT, payable in cash. The Bid forms will be issued until __________________ |
| (2.1) | The source of funds is ___________________ |
| (4.2) (4.3) | The registration required Specialty Water Supply & Drainage Grade ______________________________ The following Qualification information shall be provided in Section 4: a) CIDA Registration; Registration number Grade Speciality Expiry Date b) Authorization to sign the bid on behalf of the Bidder. c) VAT Registration number. Revised on 13-07-2020 d) Work Programme proposed by the Contractor (Appendix 5) e) Legal Status (Sole proprietor, Partnership, Company etc. – copy of the Article of Incorporation and other relevant documents shall be provided ) f) Details of Pipe Laying Works Completed within the Last Five Years and Ongoing; (Appendix 1A) g) Details of Other Civil Works Completed within the Last Five Years and Ongoing; (Appendix 1B) together with completion certificates. Substantial completion certificates issued by respective Employers for the substantially completed contracts having minimum of 85% completed shall be considered. Additions of pipe lines shall be taken. h) Total monetary value of construction work performed and ongoing for each contract during the last five years; (Appendix 1A & 1B). i) Major equipment proposed to carry out Laying Work; (Appendix 3) (State whether own or lease or hired. If hired/leased, lease/hiring agreements to justify shall be submitted) j) Details of Construction Management Services Qualifications and Schedule of key Construction personnel/supervisory staff proposed for the Contract; (Appendix 2 & 2A). k) Bidder’s financial statement for last 3 years and Revolving Credit Line Facility (Appendix 4 and 4A). r) Certificate of Registration of the Bidder as per the Act No. 3 of 1987 with the Registrar of Public. s) Any other |

| (4.4) | * Minimum qualification to qualify for the award of the Contract is: a] Technical Capacity (Specify the appropriate works based on the scope of the contract) i) Over the last five years “For Pipe laying- shall include diameter range of pipes to be laid. Length shall be 50% of the pipe laying length or 10 km whichever is less in a single contract, but 50% of length shall be the largest diameter of pipes to be laid. Aggregate of pipe lengths under different contract shall not be considered”. Revised on 13-07-2020 ii) Average of the annual volume of construction work performed in the last five years shall be at least Rs. ….. million (state the amount) (If period less than 1 year : Engineer’s Estimate. If more than 1 year : 1.5 times the Average annual value of the Engineer’s Estimate) Annual Work = 12 X Estimated Value of the Contract (Engineer’s Estimate) Contract Period in Months iii) Proposals for the timely acquisition (own, lease, hire, etc.) of the essential equipment listed in the Bidding Data Clause 4.3 shall be listed in Appendix 3. iv) Details of Technical Staff and Construction Management Services shall be listed in Appendix 2. b] Financial Capacity for Works Contract Working Capital*1 + present available credit facilities for the company*2 + credit facilities exclusively for this contract - 0.1 x current work commitments*3>Rs……………*4 *1 Working Capital = Current Assets – Current Liabilities *2 A letter to prove the availability of credit facilities issued by a Bank within a month prior to date of closing of Bids. *3 current work commitment = work remaining uncompleted *4 (i) For Major Contracts (more than Rs. 100 million)- Financial requirement for 4 months period. (ii) For Other Contracts (less than Rs. 100 million)- Financial requirement for 3 months period. Documentary evidence to justify shall be submitted c] Irrespective of region, to call open bids and to grant a 5% preference (regional preference) for the regional contractors whose bids have become as responsive bids when the estimated cost of the Bid is less than Rs.50 Million as stipulated in Public Finance Circular No. 04/2016(ii). |
| --- | --- |
| (4.5) | Compliance with Contract Act No.3 of 1987 Bidder shall comply with the requirements of the Public Contracts Act No.3 of 1987 and subsequent Gazette Notifications, for amount of bid more than Rs.5 million. The Bidder shall be required to submit their certificates of registration under this Act and shall register the contract with the Registrar of Public Contracts. |

Revised on  13-07-2020

| (5.0) | Add to the Clause Joint Venture shall not be accepted. |
| --- | --- |

| (9.1) | Employer’s address for the purpose of clarification is ; Assistant General Manager (Tenders and Contracts), National Water Supply and Drainage Board, Galle Road, Ratmalana. Fax . 011 – 2635885 Tel:011-2635885 |
| --- | --- |
| (11.1) (12.0) | The language of the bidding document shall be English. Authorization letter to sign the bid on behalf of the company or institution and Any other ___________________________________ |
| (13.3) | VAT component shall not be included in the rates. The amount written in the Form of Bid shall be without VAT. However VAT component shall be shown separately at the Summary of the Bills. |
| (13.4) | The Contract is subjected to price adjustment in accordance with Clause 47 of the Conditions of Contract if the Intended Completion Date from Start Date exceeds 3 months. |
| (13.5) | If a Bidder has given a discount of his bid price, the discount shall be distributed to each and every item excluding provisional sum in the Bills of Quantities by adjusting the rates in the Bills of Quantities by the percentage of discount offered. This rate is applicable for all extra works to complete the works in the Contract. |
| (14.1) | Bidders are not allowed to bid in foreign currencies. |
|  | The following site investigation reports are annexed as Appendices Appendix (No) : ……………………… Appendix (No) : ……………………… (State the title of reports) |
| (15.1) | The Bid shall be valid for 210 days from the date of closing of the bids (excluding closing date) as specified in the IFB. |
| (16.1) | Bid shall include a Bid Security in the form included in Section 12. |
| (16.2) | Bid Security shall be: - for an amount ………………….. - Valid until ………………(give a Date) And issued by an agency stipulated below using the Form for Bid Security (unconditional guarantee) included in Section 12, Standard Forms. (a) Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka. (b) Sri Lanka rupee cash deposit to the National Water Supply and Drainage Board, (The original receipt for such deposit shall be attached to the original tender document). Revised on 23-09-2019 (c) Certified cheque issued by a Bank operating in Sri Lanka in favour of National Water Supply and Drainage Board. |
|  | - A Bank guarantee issued by a Bank based in another country but the security or guarantee “confirmed” by a Bank operating in Sri Lanka approved by the Central Bank of Sri Lanka. The term “confirmed” in relation to bank guarantee issued by a Bank based in another country means that the “confirmed” bank held liable for paying the respective guaranteed amount at the request of first demand by the beneficiary. |
| (17.0) | Pre Bid meeting will /will not be held Pre Bid meeting - Venue ____________ ________ Date ___________ Time ____________ |
| (19.2) a (19.2) b | The Employer’s address for the purpose of Bid submission is The Chairman, Cabinet Appointed Procurement Committee, Procurement Division, Ministry of …………………………………………….., “Lakdiya Madura”, No. 35, New Parliament Road, Palawatta, Battaramulla, Sri Lanka. Contract name: ____________________________________ Contract no. ______________________________________ |
| (20.1) & (23.0) | The deadline for submission and opening of Bids shall be as specified in the Invitation for Bid (IFB). |
| (26.1) | Add Clause 26.1 (e) 26.1 (e). Meets the qualification criteria given in the Clause 4.4 of the Bidding Data Add to the Clause 26.1 |
|  | If a bid does not meet any one of the above requirements (a) to (c) and (e), it will be considered substantially non responsive and rejected by the Procurement Committee. |

Revised on 12-11-2020

| (31.1) | If the procurement is within the authority limit of a MPC. After evaluation of Bids in accordance with the procedures described under Clauses 25, 26, 27, 28, 29, and 30, the Employer will inform to all the bidders in writing the selection of the successful bidder and the intention of contract award to such bidder. The unsuccessful bidders if they so wish, within one week of such notice may make representation to the Secretary to the Ministry of …………………………………………………….. at the address given below. Such representation shall be self-contained to enable the Secretary to arrive at a conclusion and a cash deposit to amount given below shall be made. The Employer may request the bidder who had made representation to submit further evidence during the investigation of such representation. The cash deposit will be forfeited unless the Employer change the original contract award decision in favour of the bidder who has made such representation. Address : The Secretary Appeal Board Presidential Secretariat, Colombo 01. Cash Deposit : Rs.100,000.00 |
| --- | --- |
| (33.7) | If a Bidder has given a discount of his bid price, the discount shall be distributed to each and every item excluding provisional sum in the Bills of Quantities by adjusting the rates in the Bills of Quantities by the percentage of discount offered. Contractor shall adjust all BOQ Rates deducting the discounted amount and shall endorse with the Contractor’s Signature. This rate is applicable for all extra works to complete the works in the Contract. |

| (34.0) (34.3) | The Performance Security shall be as per Clause 52 of Contract Data. Add Following Sub-Clause 34.3 Failure of the successful bidder to comply with the requirements of Clause 33 and 34 shall constitute a breach of Contract, cause for annulment of the award, forfeiture of the bid security, and any such other remedy the employer may take under the Contract, and the Employer may resort to awarding the Contract to the next ranked bidder. |
| --- | --- |
| (36.0) | Clause 36 deleted & insert the following. Refer Clause 25 of General Conditions of Contract. |

Revised on 17-02-2015

Revised on 12-11-2020

BIDDING DATA

(Please note that the Clause numbers given here under are that of Instructions to Bidders)

Instructions to Bidders

Clause Reference

| (1.1) | The Employer is Name : National Water Supply and Drainage Board Address: Galle Road, Ratmalana, Sri Lanka. The Works consists of ________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ located at __________________________________________ |
| --- | --- |
| (1.2) | Intended Completion Date is Days from the Start Date. |
| (1.3) | The office for collection of bid forms is Assistant General Manager (Tenders & Contracts) Tenders & Contract Section, NWSDB, Galle Road, Ratmalana. The non-refundable fee is Rupees ___________________ Plus VAT, payable in cash. The Bid forms will be issued until __________________ |
| (2.1) | The source of funds is ___________________ |
| (4.2) (4.3) | The registration required Specialty Water Supply & Sewerage Grade ______________________________ The following Qualification information shall be provided in Section 4: a) CIDA Registration; Registration number Grade Speciality Expiry Date Revised on 24-12-2016 b) Authorization to sign the bid on behalf of the Bidder. c) VAT Registration number. d) Authorization to sign the bid on behalf of the Bidder. e) VAT Registration number. f) Work Programme proposed by the Contractor (Appendix 5) g) Legal Status (Sole proprietor, Partnership, Company etc. – copy of the Article of Incorporation and other relevant documents shall be provided ) h) Details of Pipe Laying Works Completed within the Last Five Years and Ongoing; (Appendix 1A) i) Details of Other Civil Works Completed within the Last Five Years and Ongoing; (Appendix 1B) together with completion certificates. Substantial completion certificates issued by respective Employers for the substantially completed contracts having minimum of 85% completed shall be considered. Additions of pipe lines shall be taken. j) Total monetary value of construction work performed and ongoing for each contract during the last five years; (Appendix 1A & 1B). k) Major equipment proposed to carry out Laying Work; (Appendix 3) (State whether own or lease or hired. If hired/leased, lease/hiring agreements to justify shall be submitted) l) Details of Construction Management Services Qualifications and Schedule of key Construction personnel/supervisory staff proposed for the Contract; (Appendix 2 & 2A). m) Bidder’s financial statement for last 3 years and Revolving Credit Line Facility (Appendix 4 and 4A). n) Certificate of Registration of the Bidder as per the Act No. 3 of 1987 with the Registrar of Public. o) Any other |

Revised on 13-07-2020

| (4.4) | * Minimum qualification to qualify for the award of the Contract is: a] Technical Capacity (Specify the appropriate works based on the scope of the contract) i) Over the last five years “For Pipe laying- shall include diameter range of pipes to be laid. Length shall be 50% of the pipe laying length or 10 km whichever is less in a single contract, but 50% of length shall be the largest diameter of pipes to be laid. Aggregate of pipe lengths under different contract shall not be considered”. ii) Average of the annual volume of construction work performed in the last five years shall be at least Rs. ….. million (state the amount) (If period less than 1 year : Engineer’s Estimate. If more than 1 year : 1.5 times the Average annual value of the Engineer’s Estimate) Annual Work = 12 X Estimated Value of the Contract (Engineer’s Estimate) Contract Period in Months iii) Proposals for the timely acquisition (own, lease, hire, etc.) of the essential equipment listed in the Bidding Data Clause 4.3 shall be listed in Appendix 3. iv) Details of Technical Staff and Construction Management Services shall be listed in Appendix 2. b] Financial Capacity for Works Contract Working Capital*1 + present available credit facilities for the company*2 + credit facilities exclusively for this contract - 0.1 x current work commitments*3>Rs……………*4 *1 Working Capital = Current Assets – Current Liabilities *2 A letter to prove the availability of credit facilities issued by a Bank within a month prior to date of closing of Bids. *3 current work commitment = work remaining uncompleted *4 (i) For Major Contracts (more than Rs. 100 million)- Financial requirement for 4 months period. (ii) For Other Contracts (less than Rs. 100 million)- Financial requirement for 3 months period. Documentary evidence to justify shall be submitted c] Irrespective of region, to call open bids and to grant a 5% preference (regional preference) for the regional contractors whose bids have become as responsive bids when the estimated cost of the Bid is less than Rs.50 Million as stipulated in Public Finance Circular No. 04/2016(ii). Revised on 13-07-2020 |
| --- | --- |
| (4.5) | Compliance with Contract Act No.3 of 1987 Bidder shall comply with the requirements of the Public Contracts Act No.3 of 1987 and subsequent Gazette Notifications, for amount of bid more than Rs.5 million. The Bidder shall be required to submit their certificates of registration under this Act and shall register the contract with the Registrar of Public Contracts. |

| (5.0) | Add to the Clause Joint Venture shall not be accepted. |  |
| --- | --- | --- |
| (9.1) | Employer’s address for the purpose of clarification is ; Assistant General Manager (Tenders and Contracts), National Water Supply and Drainage Board, Galle Road, Ratmalana. Fax . 011 – 2635885 Tel:011-2635885 |  |
| (11.1) (12.0) | The language of the bidding document shall be English. Authorization letter to sign the bid on behalf of the company or institution and Any other ___________________________________ |  |
| (13.3) | VAT component shall not be included in the rates. The amount written in the Form of Bid shall be without VAT. However VAT component shall be shown separately at the Summary of the Bills. |  |
| (13.4) | The Contract is subjected to price adjustment in accordance with Clause 47 of the Conditions of Contract if the Intended Completion Date from Start Date exceeds 3 months. |  |
| (13.5) | If a Bidder has given a discount of his bid price, the discount shall be distributed to each and every item excluding provisional sum in the Bills of Quantities by adjusting the rates in the Bills of Quantities by the percentage of discount offered. This rate is applicable for all extra works to complete the works in the Contract. |  |
| (14.1) | Bidders are not allowed to bid in foreign currencies. |  |
|  | The following site investigation reports are annexed as Appendices Appendix (No) : ……………………… Appendix (No) : ……………………… (State the title of reports) |  |
| (15.1) | The Bid shall be valid for 119 days from the date of closing of the bids (excluding closing date) as specified in the IFB. |  |
| (16.1) | Bid shall include a Bid Security in the form included in Section 12. |  |
| (16.2) | Bid Security shall be: - for an amount ………………….. - Valid until ………………(give a Date) And issued by an agency stipulated below using the Form for Bid Security (unconditional guarantee) included in Section 12, Standard Forms. Revised on 23-09-2019 - Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka. - Sri Lanka rupee cash deposit to the National Water Supply and Drainage Board, (The original receipt for such deposit shall be attached to the original tender document). - certified cheque issued by a Bank operating in Sri Lanka in favour of National Water Supply and Drainage Board. |  |
|  | - A Bank guarantee issued by a Bank based in another country but the security or guarantee “confirmed” by a Bank operating in Sri Lanka approved by the Central Bank of Sri Lanka. The term “confirmed” in relation to bank guarantee issued by a Bank based in another country means that the “confirmed” bank held liable for paying the respective guaranteed amount at the request of first demand by the beneficiary. |  |
| (17.0) | Pre Bid meeting will /will not be held Pre Bid meeting - Venue ____________ ________ Date ___________ Time ____________ |  |
| (19.2) a (19.2) b | The Employer’s address for the purpose of Bid submission is The Chairman, Ministry Procurement Committee, Procurement Division, Ministry of …………………………………………, “Lakdiya Madura”, No. 35, New Parliament Road, Palawatta, Battaramulla, Sri Lanka. Contract name: ____________________________________ Contract no. ______________________________________ |  |
| (20.1) & (23.0) | The deadline for submission and opening of Bids shall be as specified in the Invitation for Bid (IFB). |  |
| (26.1) | Add Clause 26.1 (e) 26.1 (e). Meets the qualification criteria given in the Clause 4.4 of the Bidding Data Add to the Clause 26.1 Revised on 12-11-2020 |  |
|  | If a bid does not meet any one of the above requirements (a) to (c) and (e), it will be considered substantially non responsive and rejected by the Procurement Committee. |  |

| (31.1) | If the procurement is within the authority limit of a MPC. After evaluation of Bids in accordance with the procedures described under Clauses 25, 26, 27, 28, 29, and 30, the Employer will inform to all the bidders in writing the selection of the successful bidder and the intention of contract award to such bidder. The unsuccessful bidders if they so wish, within one week of such notice may make representation to the Secretary to the Ministry of …………………………………………. at the address given below. Such representation shall be self-contained to enable the Secretary to arrive at a conclusion and a cash deposit to amount given below shall be made. The Employer may request the bidder who had made representation to submit further evidence during the investigation of such representation. The cash deposit will be forfeited unless the Employer change the original contract award decision in favour of the bidder who has made such representation. Address : The Secretary Ministry of ………………………………….., “Lakdiya Madura”, No. 35, New Parliament Road, Palawatta, Battaramulla, Sri Lanka. Cash Deposit : Rs. 25,000.00 |
| --- | --- |
| (33.7) | If a Bidder has given a discount of his bid price, the discount shall be distributed to each and every item excluding provisional sum in the Bills of Quantities by adjusting the rates in the Bills of Quantities by the percentage of discount offered. Contractor shall adjust all BOQ Rates deducting the discounted amount and shall endorse with the Contractor’s Signature. This rate is applicable for all extra works to complete the works in the Contract. |
| (34.0) (34.3) | The Performance Security shall be as per Clause 52 of Contract Data. Add Following Sub Clause 34.3 Failure of the successful bidder to comply with the requirements of Clause 33 and 34 shall constitute a breach of Contract, cause for annulment of the award, forfeiture of the bid security, and any such other remedy the employer may take under the Contract, and the Employer may resort to awarding the Contract to the next ranked bidder. |
| (36.0) | Clause 36 deleted & insert the following. Refer Clause 25 of General Conditions of Contract. |

Revised on 17-02-2015

Revised on 23-09-2019

Revised on 12-11-2020

BIDDING DATA

(Please note that the Clause numbers given here under are that of Instructions to Bidders)

Instructions to Bidders

Clause Reference

| (1.1) | The Employer is Name : National Water Supply and Drainage Board Address: Galle Road, Ratmalana, Sri Lanka. The Works consists of ________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ located at __________________________________________ |
| --- | --- |
| (1.2) | Intended Completion Date is Days from the Start Date. |
| (1.3) | The office for collection of bid forms is Assistant General Manager (Tenders & Contracts) Tenders & Contract Section, NWSDB, Galle Road, Ratmalana. The non-refundable fee is Rupees ___________________ Plus VAT, payable in cash. The Bid forms will be issued until __________________ |
| (2.1) | The source of funds is ___________________ |
| (4.2) (4.3) | The registration required Specialty Water Supply & Sewerage Grade ______________________________ The following Qualification information shall be provided in Section 4: a) CIDA Registration; Registration number Grade Speciality Expiry Date b) Authorization to sign the bid on behalf of the Bidder. c) VAT Registration number. Revised on 13-07-2020 d) Work Programme proposed by the Contractor (Appendix 5) e) Legal Status (Sole proprietor, Partnership, Company etc. – copy of the Article of Incorporation and other relevant documents shall be provided ) f) Details of Pipe Laying Works Completed within the Last Five Years and Ongoing; (Appendix 1A) g) Details of Other Civil Works Completed within the Last Five Years and Ongoing; (Appendix 1B) together with completion certificates. Substantial completion certificates issued by respective Employers for the substantially completed contracts having minimum of 85% completed shall be considered. Additions of pipe lines shall be taken. h) Total monetary value of construction work performed and ongoing for each contract during the last five years; (Appendix 1A & 1B). i) Major equipment proposed to carry out Laying Work; (Appendix 3) (State whether own or lease or hired. If hired/leased, lease/hiring agreements to justify shall be submitted) j) Details of Construction Management Services Qualifications and Schedule of key Construction personnel/supervisory staff proposed for the Contract; (Appendix 2 & 2A). k) Bidder’s financial statement for last 3 years and Revolving Credit Line Facility (Appendix 4 and 4A). r) Certificate of Registration of the Bidder as per the Act No. 3 of 1987 with the Registrar of Public. s) Any other |
| (4.4) | * Minimum qualification to qualify for the award of the Contract is: a] Technical Capacity (Specify the appropriate works based on the scope of the contract) i) Over the last five years “For Pipe laying- shall include diameter range of pipes to be laid. Length shall be 50% of the pipe laying length or 10 km whichever is less in a single contract, but 50% of length shall be the largest diameter of pipes to be laid. Aggregate of pipe lengths under different contract shall not be considered”. ii) Average of the annual volume of construction work performed in the last five years shall be at least Rs. ….. million (state the amount) (If period less than 1 year : Engineer’s Estimate. If more than 1 year : 1.5 times the Average annual value of the Engineer’s Estimate) Annual Work = 12 X Estimated Value of the Contract (Engineer’s Estimate) Contract Period in Months iii) Proposals for the timely acquisition (own, lease, hire, etc.) of the essential equipment listed in the Bidding Data Clause 4.3 shall be listed in Appendix 3. iv) Details of Technical Staff and Construction Management Services shall be listed in Appendix 2. b] Financial Capacity for Works Contract Working Capital*1 + present available credit facilities for the company*2 + credit facilities exclusively for this contract - 0.1 x current work commitments*3>Rs……………*4 *1 Working Capital = Current Assets – Current Liabilities *2 A letter to prove the availability of credit facilities issued by a Bank within a month prior to date of closing of Bids. *3 current work commitment = work remaining uncompleted *4 (i) For Major Contracts (more than Rs. 100 million)- Financial requirement for 4 months period. (ii) For Other Contracts (less than Rs. 100 million)- Financial requirement for 3 months period. Documentary evidence to justify shall be submitted c] Irrespective of region, to call open bids and to grant a 5% preference (regional preference) for the regional contractors whose bids have become as responsive bids when the estimated cost of the Bid is less than Rs.50 Million as stipulated in Public Finance Circular No. 04/2016(ii). |

| (4.5) | Compliance with Contract Act No.3 of 1987 Bidder shall comply with the requirements of the Public Contracts Act No.3 of 1987 and subsequent Gazette Notifications, for amount of bid more than Rs.5 million. The Bidder shall be required to submit their certificates of registration under this Act and shall register the contract with the Registrar of Public Contracts. |
| --- | --- |

Revised on 13-07-2020

Revised on 15-07-2020

| (5.0) |  | Add to the Clause Joint Venture shall not be accepted. |
| --- | --- | --- |
| (9.1) | Employer’s address for the purpose of clarification is ; Assistant General Manager (Tenders and Contracts), National Water Supply and Drainage Board, Galle Road, Ratmalana. Fax . 011 – 2635885 Tel:011-2635885 |  |
| (11.1) (12.0) | The language of the bidding document shall be English. Authorization letter to sign the bid on behalf of the company or institution and Any other ___________________________________ |  |
| (13.3) | VAT component shall not be included in the rates. The amount written in the Form of Bid shall be without VAT. However VAT component shall be shown separately at the Summary of the Bills. |  |
| (13.4) | The Contract is subjected to price adjustment in accordance with Clause 47 of the Conditions of Contract if the Intended Completion Date from Start Date exceeds 3 months. |  |
| (13.5) | If a Bidder has given a discount of his bid price, the discount shall be distributed to each and every item excluding provisional sum in the Bills of Quantities by adjusting the rates in the Bills of Quantities by the percentage of discount offered. This rate is applicable for all extra works to complete the works in the Contract. |  |
| (14.1) | Bidders are not allowed to bid in foreign currencies. |  |
|  | The following site investigation reports are annexed as Appendices Appendix (No) : ……………………… Appendix (No) : ……………………… (State the title of reports) |  |
| (15.1) | The Bid shall be valid for 91 days from the date of closing of the bids (excluding closing date) as specified in the IFB. |  |
| (16.1) | Bid shall include a Bid Security in the form included in Section 12. |  |
| (16.2) | Bid Security shall be: - for an amount ………………….. - Valid until ………………(give a Date) And issued by an agency stipulated below using the Form for Bid Security (unconditional guarantee) included in Section 12, Standard Forms. (a) Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka. (b) Sri Lanka rupee cash deposit to the National Water Supply and Drainage Board, (The original receipt for such deposit shall be attached to the original tender document). Revised on 23-09-2019 (c) certified cheque issued by a Bank operating in Sri Lanka in favour of National Water Supply and Drainage Board. - A Bank guarantee issued by a Bank based in another country but the security or guarantee “confirmed” by a Bank operating in Sri Lanka approved by the Central Bank of Sri Lanka. The term “confirmed” in relation to bank guarantee issued by a Bank based in another country means that the “confirmed” bank held liable for paying the respective guaranteed amount at the request of first demand by the beneficiary. |  |
| (17.0) | Pre Bid meeting will /will not be held Pre Bid meeting - Venue ____________ ________ Date ___________ Time ____________ |  |
| (19.2) a (19.2) b | The Employer’s address for the purpose of Bid submission is The Chairman, Department Procurement Committee, National Water Supply & Drainage Board, Galle Road, Ratmalana. Contract name: ____________________________________ Contract no. ______________________________________ |  |
| (20.1) & (23.0) | The deadline for submission and opening of Bids shall be as specified in the Invitation for Bid (IFB). |  |
| (26.1) | Add Clause 26.1 (e) 26.1 (e). Meets the qualification criteria given in the Clause 4.4 of the Bidding Data Add to the Clause 26.1 |  |
|  | If a bid does not meet any one of the above requirements (a) to (c) and (e), it will be considered substantially non responsive and rejected by the Procurement Committee. Revised on 23-09-2019 |  |
| (33.7) | If a Bidder has given a discount of his bid price, the discount shall be distributed to each and every item excluding provisional sum in the Bills of Quantities by adjusting the rates in the Bills of Quantities by the percentage of discount offered. Contractor shall adjust all BOQ Rates deducting the discounted amount and shall endorse with the Contractor’s Signature. This rate is applicable for all extra works to complete the works in the Contract. |  |
| (34.0) (34.3) | The Performance Security shall be as per Clause 52 of Contract Data. Add Following Sub Clause 34.3 Failure of the successful bidder to comply with the requirements of Clause 33 and 34 shall constitute a breach of Contract, cause for annulment of the award, forfeiture of the bid security, and any such other remedy the employer may take under the Contract, and the Employer may resort to awarding the Contract to the next ranked bidder. |  |
| (36.0) | Clause 36 deleted & insert the following. Refer Clause 25 of General Conditions of Contract. |  |

Revised on 17-02-2015

Revised on 23-09-2019

BIDDING DATA

(Please note that the Clause numbers given here under are that of Instructions to Bidders)

Instructions to Bidders

Clause Reference

| (1.1) | The Employer is Name : National Water Supply and Drainage Board Address: Galle Road, Ratmalana, Sri Lanka. The Works consists of ________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ located at __________________________________________ |
| --- | --- |
| (1.2) | Intended Completion Date is Days from the Start Date. |
| (1.3) | The office for collection of bid forms is Assistant General Manager (Tenders & Contracts) Tenders & Contract Section, NWSDB, Galle Road, Ratmalana. The non-refundable fee is Rupees ___________________ Plus VAT, payable in cash. The Bid forms will be issued until __________________ |
| (2.1) | The source of funds is ___________________ |
| (4.2) (4.3) | The registration required Specialty Water Supply & Sewerage Grade ______________________________ The following Qualification information shall be provided in Section 4: a) CIDA Registration; Registration number Grade Speciality Expiry Date b) Authorization to sign the bid on behalf of the Bidder. c) VAT Registration number. Revised on 13-07-2020 d) Work Programme proposed by the Contractor (Appendix 5) e) Legal Status (Sole proprietor, Partnership, Company etc. – copy of the Article of Incorporation and other relevant documents shall be provided ) f) Details of Pipe Laying Works Completed within the Last Five Years and Ongoing; (Appendix 1A) g) Details of Other Civil Works Completed within the Last Five Years and Ongoing; (Appendix 1B) together with completion certificates. Substantial completion certificates issued by respective Employers for the substantially completed contracts having minimum of 85% completed shall be considered. Additions of pipe lines shall be taken. h) Total monetary value of construction work performed and ongoing for each contract during the last five years; (Appendix 1A & 1B). i) Major equipment proposed to carry out Laying Work; (Appendix 3) (State whether own or lease or hired. If hired/leased, lease/hiring agreements to justify shall be submitted) j) Details of Construction Management Services Qualifications and Schedule of key Construction personnel/supervisory staff proposed for the Contract; (Appendix 2 & 2A). k) Bidder’s financial statement for last 3 years and Revolving Credit Line Facility (Appendix 4 and 4A). r) Certificate of Registration of the Bidder as per the Act No. 3 of 1987 with the Registrar of Public. s) Any other |

| (4.4) | a] Technical Capacity (Specify the appropriate works based on the scope of the contract) i) Over the last five years “For Pipe laying- shall include diameter range of pipes to be laid. Length shall be 50% of the pipe laying length or 10 km whichever is less in a single contract, but 50% of length shall be the largest diameter of pipes to be laid. Aggregate of pipe lengths under different contract shall not be considered”. ii) Average of the annual volume of construction work performed in the last five years shall be at least Rs. ….. million (state the amount) (If period less than 1 year : Engineer’s Estimate. If more than 1 year : 1.5 times the Average annual value of the Engineer’s Estimate) Revised on 13-07-2020 Annual Work = 12 X Estimated Value of the Contract (Engineer’s Estimate) Contract Period in Months iii) Proposals for the timely acquisition (own, lease, hire, etc.) of the essential equipment listed in the Bidding Data Clause 4.3 shall be listed in Appendix 3. iv) Details of Technical Staff and Construction Management Services shall be listed in Appendix 2. b] Financial Capacity for Works Contract Working Capital*1 + present available credit facilities for the company*2 + credit facilities exclusively for this contract - 0.1 x current work commitments*3>Rs……………*4 *1 Working Capital = Current Assets – Current Liabilities *2 A letter to prove the availability of credit facilities issued by a Bank within a month prior to date of closing of Bids. *3 current work commitment = work remaining uncompleted *4 (i) For Major Contracts (more than Rs. 100 million)- Financial requirement for 4 months period. (ii) For Other Contracts (less than Rs. 100 million)- Financial requirement for 3 months period. Documentary evidence to justify shall be submitted c] Irrespective of region, to call open bids and to grant a 5% preference (regional preference) for the regional contractors whose bids have become as responsive bids when the estimated cost of the Bid is less than Rs.50 Million as stipulated in Public Finance Circular No. 04/2016(ii). |
| --- | --- |
| (4.5) | Compliance with Contract Act No.3 of 1987 Bidder shall comply with the requirements of the Public Contracts Act No.3 of 1987 and subsequent Gazette Notifications, for amount of bid more than Rs.5 million. The Bidder shall be required to submit their certificates of registration under this Act and shall register the contract with the Registrar of Public Contracts. |

Revised on 13-07-2020

| (5.0) |  | Add to the Clause Joint Venture shall not be accepted. |
| --- | --- | --- |
| (9.1) | Employer’s address for the purpose of clarification is ; Assistant General Manager (Tenders and Contracts), National Water Supply and Drainage Board, Galle Road, Ratmalana. Fax . 011 – 2635885 Tel:011-2635885 |  |
| (11.1) (12.0) | The language of the bidding document shall be English. Authorization letter to sign the bid on behalf of the company or institution and Any other ___________________________________ |  |
| (13.3) | VAT component shall not be included in the rates. The amount written in the Form of Bid shall be without VAT. However VAT component shall be shown separately at the Summary of the Bills. |  |
| (13.4) | The Contract is subjected to price adjustment in accordance with Clause 47 of the Conditions of Contract if the Intended Completion Date from Start Date exceeds 3 months. |  |
| (13.5) | If a Bidder has given a discount of his bid price, the discount shall be distributed to each and every item excluding provisional sum in the Bills of Quantities by adjusting the rates in the Bills of Quantities by the percentage of discount offered. This rate is applicable for all extra works to complete the works in the Contract. |  |
| (14.1) | Bidders are not allowed to bid in foreign currencies. |  |
|  | The following site investigation reports are annexed as Appendices Appendix (No) : ……………………… Appendix (No) : ……………………… (State the title of reports) |  |
| (15.1) | The Bid shall be valid for 91 days from the date of closing of the bids (excluding closing date) as specified in the IFB. |  |
| (16.1) | Bid shall include a Bid Security in the form included in Section 12. |  |
| (16.2) | Bid Security shall be: - for an amount ………………….. - Valid until ………………(give a Date) And issued by an agency stipulated below using the Form for Bid Security (unconditional guarantee) included in Section 12, Standard Forms. - Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka. (b) Sri Lanka rupee cash deposit to the National Water Supply and Drainage Board, (The original receipt for such deposit shall be attached to the original tender document). Revised on 23-09-2019 (c) Certified cheque issued by a Bank operating in Sri Lanka in favour of National Water Supply and Drainage Board. (d) A Bank guarantee issued by a Bank based in another country but the security or guarantee “confirmed” by a Bank operating in Sri Lanka approved by the Central Bank of Sri Lanka. The term “confirmed” in relation to bank guarantee issued by a Bank based in another country means that the “confirmed” bank held liable for paying the respective guaranteed amount at the request of first demand by the beneficiary. |  |
| (17.0) | Pre Bid meeting will /will not be held Pre Bid meeting - Venue ____________ ________ Date ___________ Time ____________ |  |
| (19.2) a (19.2) b | The Employer’s address for the purpose of Bid submission is The Chairman, Project Procurement Committee, ………………………………… ………………………………… Contract name: ____________________________________ Contract no. ______________________________________ |  |
| (20.1) & (23.0) | The deadline for submission and opening of Bids shall be as specified in the Invitation for Bid (IFB). |  |
| (26.1) | Add Clause 26.1 (e) 26.1 (e). Meets the qualification criteria given in the Clause 4.4 of the Bidding Data Add to the Clause 26.1 |  |
|  | If a bid does not meet any one of the above requirements (a) to (c) and (e), it will be considered substantially non responsive and rejected by the Procurement Committee. Revised on 23-09-2019 |  |
| (33.7) | If a Bidder has given a discount of his bid price, the discount shall be distributed to each and every item excluding provisional sum in the Bills of Quantities by adjusting the rates in the Bills of Quantities by the percentage of discount offered. Contractor shall adjust all BOQ Rates deducting the discounted amount and shall endorse with the Contractor’s Signature. This rate is applicable for all extra works to complete the works in the Contract. |  |
| (34.0) (34.3) | The Performance Security shall be as per Clause 52 of Contract Data. Add Following Sub Clause 34.3 Failure of the successful bidder to comply with the requirements of Clause 33 and 34 shall constitute a breach of Contract, cause for annulment of the award, forfeiture of the bid security, and any such other remedy the employer may take under the Contract, and the Employer may resort to awarding the Contract to the next ranked bidder. |  |
| (36.0) | Clause 36 deleted & insert the following. Refer Clause 25 of General Conditions of Contract. |  |

Revised on 23-09-2019

BIDDING DATA

(Please note that the Clause numbers given here under are that of Instructions to Bidders)

Instructions to Bidders

Clause Reference

| (1.1) | The Employer is Name : National Water Supply and Drainage Board Address: Galle Road, Ratmalana, Sri Lanka. The Works consists of ________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ _____________________________________________________ located at __________________________________________ |
| --- | --- |
| (1.2) | Intended Completion Date is Days from the Start Date. |
| (1.3) | The office for collection of bid forms is Assistant General Manager (Tenders & Contracts) Tenders & Contract Section, NWSDB, Galle Road, Ratmalana. The non-refundable fee is Rupees ___________________ Plus VAT, payable in cash. The Bid forms will be issued until __________________ |
| (2.1) | The source of funds is ___________________ |
| (4.2) (4.3) | The registration required Specialty Water Supply & Sewerage Grade ______________________________ The following Qualification information shall be provided in Section 4: a) CIDA Registration; Registration number Grade Speciality Expiry Date b) Authorization to sign the bid on behalf of the Bidder. Revised on 13-07-2020 c) VAT Registration number. d) Work Programme proposed by the Contractor (Appendix 5) e) Legal Status (Sole proprietor, Partnership, Company etc. – copy of the Article of Incorporation and other relevant documents shall be provided ) f) Details of Pipe Laying Works Completed within the Last Five Years and Ongoing; (Appendix 1A) g) Details of Other Civil Works Completed within the Last Five Years and Ongoing; (Appendix 1B) together with completion certificates. Substantial completion certificates issued by respective Employers for the substantially completed contracts having minimum of 85% completed shall be considered. Additions of pipe lines shall be taken. h) Total monetary value of construction work performed and ongoing for each contract during the last five years; (Appendix 1A & 1B). i) Major equipment proposed to carry out Laying Work; (Appendix 3) (State whether own or lease or hired. If hired/leased, lease/hiring agreements to justify shall be submitted) j) Details of Construction Management Services Qualifications and Schedule of key Construction personnel/supervisory staff proposed for the Contract; (Appendix 2 & 2A). k) Bidder’s financial statement for last 3 years and Revolving Credit Line Facility (Appendix 4 and 4A). r) Certificate of Registration of the Bidder as per the Act No. 3 of 1987 with the Registrar of Public. s) Any other |

| (4.4) | * Minimum qualification to qualify for the award of the Contract is: a] Technical Capacity (Specify the appropriate works based on the scope of the contract) i) Over the last five years “For Pipe laying- shall include diameter range of pipes to be laid. Length shall be 50% of the pipe laying length or 10 km whichever is less in a single contract, but 50% of length shall be the largest diameter of pipes to be laid. Aggregate of pipe lengths under different contract shall not be considered”. Revised on 13-07-2020 ii) Average of the annual volume of construction work performed in the last five years shall be at least Rs. ….. million (state the amount) (If period less than 1 year : Engineer’s Estimate. If more than 1 year : 1.5 times the Average annual value of the Engineer’s Estimate) Annual Work = 12 X Estimated Value of the Contract (Engineer’s Estimate) Contract Period in Months iii) Proposals for the timely acquisition (own, lease, hire, etc.) of the essential equipment listed in the Bidding Data Clause 4.3 shall be listed in Appendix 3. iv) Details of Technical Staff and Construction Management Services shall be listed in Appendix 2. b] Financial Capacity for Works Contract Working Capital*1 + present available credit facilities for the company*2 + credit facilities exclusively for this contract - 0.1 x current work commitments*3>Rs……………*4 *1 Working Capital = Current Assets – Current Liabilities *2 A letter to prove the availability of credit facilities issued by a Bank within a month prior to date of closing of Bids. *3 current work commitment = work remaining uncompleted *4 (i) For Major Contracts (more than Rs. 100 million)- Financial requirement for 4 months period. (ii) For Other Contracts (less than Rs. 100 million)- Financial requirement for 3 months period. Documentary evidence to justify shall be submitted c] Irrespective of region, to call open bids and to grant a 5% preference (regional preference) for the regional contractors whose bids have become as responsive bids when the estimated cost of the Bid is less than Rs.50 Million as stipulated in Public Finance Circular No. 04/2016(ii). |
| --- | --- |
| (4.5) | Compliance with Contract Act No.3 of 1987 Bidder shall comply with the requirements of the Public Contracts Act No.3 of 1987 and subsequent Gazette Notifications, for amount of bid more than Rs.5 million. The Bidder shall be required to submit their certificates of registration under this Act and shall register the contract with the Registrar of Public Contracts. |

Revised on 13-07-2020

| (5.0) | Add to the Clause Joint Venture shall not be accepted. |
| --- | --- |

| (9.1) | Employer’s address for the purpose of clarification is ; Assistant General Manager (Tenders and Contracts), National Water Supply and Drainage Board, Galle Road, Ratmalana. Fax . 011 – 2635885 Tel:011-2635885 |
| --- | --- |
| (11.1) (12.0) | The language of the bidding document shall be English. Authorization letter to sign the bid on behalf of the company or institution and Any other ___________________________________ |
| (13.3) | VAT component shall not be included in the rates. The amount written in the Form of Bid shall be without VAT. However VAT component shall be shown separately at the Summary of the Bills. |
| (13.4) | The Contract is subjected to price adjustment in accordance with Clause 47 of the Conditions of Contract if the Intended Completion Date from Start Date exceeds 3 months. |
| (13.5) | If a Bidder has given a discount of his bid price, the discount shall be distributed to each and every item excluding provisional sum in the Bills of Quantities by adjusting the rates in the Bills of Quantities by the percentage of discount offered. This rate is applicable for all extra works to complete the works in the Contract. |
| (14.1) | Bidders are not allowed to bid in foreign currencies. |
|  | The following site investigation reports are annexed as Appendices Appendix (No) : ……………………… Appendix (No) : ……………………… (State the title of reports) |
| (15.1) | The Bid shall be valid for 91 days from the date of closing of the bids (excluding closing date) as specified in the IFB. |
| (16.1) | Bid shall include a Bid Security in the form included in Section 12. |
| (16.2) | Bid Security shall be: - for an amount ………………….. - Valid until ………………(give a Date) And issued by an agency stipulated below using the Form for Bid Security (unconditional guarantee) included in Section 12, Standard Forms. - Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka. (b) Sri Lanka rupee cash deposit to the National Water Supply and Drainage Board, (The original receipt for such deposit shall be attached to the original tender document). Revised on 23-09-2019 (c) Certified cheque issued by a Bank operating in Sri Lanka in favour of National Water Supply and Drainage Board. (d) A Bank guarantee issued by a Bank based in another country but the security or guarantee “confirmed” by a Bank operating in Sri Lanka approved by the Central Bank of Sri Lanka. The term “confirmed” in relation to bank guarantee issued by a Bank based in another country means that the “confirmed” bank held liable for paying the respective guaranteed amount at the request of first demand by the beneficiary. |
| (17.0) | Pre Bid meeting will /will not be held Pre Bid meeting - Venue ____________ ________ Date ___________ Time ____________ |
| (19.2) a (19.2) b | The Employer’s address for the purpose of Bid submission is The Chairman, Project Procurement Committee, ………………………………… ………………………………… Contract name: ____________________________________ Contract no. ______________________________________ |
| (20.1) & (23.0) | The deadline for submission and opening of Bids shall be as specified in the Invitation for Bid (IFB). |
| (26.1) | Add Clause 26.1 (e) 26.1 (e). Meets the qualification criteria given in the Clause 4.4 of the Bidding Data Add to the Clause 26.1 |
|  | If a bid does not meet any one of the above requirements (a) to (c) and (e), it will be considered substantially non responsive and rejected by the Procurement Committee. Revised on 23-09-2019 |
| (33.7) | If a Bidder has given a discount of his bid price, the discount shall be distributed to each and every item excluding provisional sum in the Bills of Quantities by adjusting the rates in the Bills of Quantities by the percentage of discount offered. Contractor shall adjust all BOQ Rates deducting the discounted amount and shall endorse with the Contractor’s Signature. This rate is applicable for all extra works to complete the works in the Contract. |
| (34.0) (34.3) | The Performance Security shall be as per Clause 52 of Contract Data. Add Following Sub Clause 34.3 Failure of the successful bidder to comply with the requirements of Clause 33 and 34 shall constitute a breach of Contract, cause for annulment of the award, forfeiture of the bid security, and any such other remedy the employer may take under the Contract, and the Employer may resort to awarding the Contract to the next ranked bidder. |
| (36.0) | Clause 36 deleted & insert the following. Revised on 17-02-2015 Refer Clause 25 of General Conditions of Contract. |

Revised on 23-09-2019

Contract Data

Contract Data is a part of Condition of Contact and shall be read together. If any discrepancy is founds content of the Contract Data shall supersede the conditions of contract.

(Please note that the Clause nos. given hereunder are that of Conditions of Contract)

| (1.0) | The Employer is Name: National Water Supply and Drainage Board, Address: Galle Road, Ratmalana Authorized Representative: The Chairman, National Water Supply & Drainage Board, |  |  |  |
| --- | --- | --- | --- | --- |
|  | The Engineer is General Manager, National Water Supply and Drainage Board, Galle Road, Ratmalana. Engineer's Representative : ______________ (Fill the Name of PD / DGM of relevant RSC and Designation) |  |  |  |
|  | The Works consists of ……………………………………………………………………….………………. ………………………………………………………………………………………… ………………………………………………………………………………………… ………………………………………………………………………………………… |  |  |  |
|  | The Site is located at ………………………………………………..………………………………………. ………………………………………………………………………………………… ………………………………………………………………………………………… |  |  |  |
| (2.3) |  | The Start Date shall be 14 Days from the Letter of Acceptance. Replace the content with the followings; The documents forming the Contract shall be interpreted in the following order of priority: - Agreement - Letter of Acceptance, - Memorandum of understanding (if any)/Addenda prior to signing the agreement - Contractor’s Bid, - Contract Data, - Conditions of Contract - Specifications (Specifications given in this document supersedes the ICTAD specifications). - Drawings - Bills of Quantities - Schedule of Particulars - Any other document (if any) Any other document listed in the Contract Data as forming part of the Contract. The following documents also form part of the Contract. Revised on 13-09-2017 - Appendix 1A - Appendix 1B - Appendix 2 - Appendix 2A - Appendix 3 - Appendix 4 - Appendix 4A - Appendix 4B - Appendix 5 - Appendix 6 - Appendix 7 |  |  |
| Clause 4. |  | ###### Engineer’s Decision |  |  |
|  |  | Add following Sub-Clauses |  |  |
| 4.2 |  | #### The Engineer shall carry out such duties in issuing decisions, certificates and orders as are specified in the contract. In the event of the Engineer being required in terms of his appointment by the Employer to obtain the specific approval of the Employer for the execution of any part of these duties, it shall be setout in this Conditions of Contract. |  |  |
| 4.3 |  | #### The Engineer shall, upon receipt of the Contractor’s intimation on quantity variation as per Clause 39.2, take every action to establish the validity of the Contractor’s forecast and if found true, institute all relevant measures to inform the Employer thereof and seek and obtain the necessary Procurement Committee approval for executing works under variation order |  |  |
| Clause 5 |  | Delete Sub Clause 5.2 and add following Sub-Clauses ###### Duties and Powers of Engineer’s Representative |  |  |
| 5.2 |  | The Engineer’s Representative shall be responsible to the Engineer and his duties are to watch and supervise the Works and to test and examine any materials to be used or workmanship employed in connection with the Works. He shall have no authority to relieve the Contractor of any of his duties or obligations under the Contract nor, except as expressly provided hereunder or elsewhere in the Contract, to order any work involving delay or any extra payment by the Employer, nor to make any variation of or in the Works. |  |  |
| 5.3 |  | #### The Engineer may from time to time in writing delegate with the approval of the Employer, to the Engineer’s Representative any of the powers and authorities vested in the Engineer and shall furnish to the Contractor #### and to the Employer a copy of all such written delegations of powers and authorities. Any written instructions or approval given by the Engineer’s Representative to the Contractor within the terms of such delegation, but not otherwise shall bind the Contractor and the Employer as though it had been given by the Engineer provided always as follows; |  |  |
|  |  | Failure of the Engineer’s Representative to disapprove any work or materials shall not prejudice the power of the Engineer thereafter to disapprove such work or materials and to order the pulling down, removal or breaking up thereof. Revised on 23-09-2019 - If the Contractor shall be dissatisfied by reason of any decision of the Engineer’s Representative, he shall be entitled to refer the matter to the Engineer, who shall thereupon confirm, reverse or vary such decision. |  |  |
|  |  | #### The Engineer’s Representative shall take every possible course of action to study technical and contractual details well in advance so that technical and contractual disparities in drawing, contract document and actual site conditions that may give rise to contractual variations should be identified in time. |  |  |
|  |  | #### The Engineer’s Representative shall prepare all details on variations that arise and require approval for their execution as defined in Clause 39 and submit to the Engineer in such form and in such numbers along with supporting documents as the Engineer may prescribe from time to time. |  |  |
| 5.4 |  | #### The Engineer or Engineer’s Representative may appoint any number of persons to assist the Engineer’s Representative in the carrying out of his duties under Sub-Clause 5.4. He shall notify the Contractor the names, duties and the authority of such persons. Such assistants shall have no authority to issue any instructions to the Contractor save in so far as such instruction may be necessary to enable them to carry out their duties and to secure their acceptance of materials, plant or workmanship as being in accordance with the contract and any instructions given by them for these purposes shall be deemed to have been given by the Engineer’s Representative. |  |  |
| (8.1) | Schedule of other contractors: |  |  |  |
|  | Period |  | Contract Title | Period |
|  | ______________________ ______________________ ______________________ ______________________ |  | _____________________ _____________________ _____________________ _____________________ | ____________________ ____________________ ____________________ ____________________ |
| Clause 9 | Add to the Sub-Clause 9.1 |  |  |  |
| (9.1) | Schedule of Key Personnel: Minimum persons with qualifications and experience to be defined, (a) Technical ______________________ ______________________ ( P lease refer Appendix 2) (b) Managerial ______________________ ______________________ |  |  |  |

Revised on 23-09-2019

|  | Add following Sub-Clauses |
| --- | --- |
| 9.3 | ###### Engagement of Labour |
|  | The Contractor shall make his own arrangements for the engagement of all labour local or otherwise, and, save in so far as the contract otherwise provides for the transport, housing, feeding and payment thereof. The Contractor shall where possible employ skilled and semi skilled labour possessing National Certificate of Trade Tests issued by the National Apprentices and Industrial Training Authority. The Contractor shall ensure that at least 15% of his skilled/semi skilled labour force at any time possess National Trade Test Certificates. In the alternative, the Contractor shall arrange for at least 15% of his skilled/semi skilled work force to be Trade Tested at the next National Trade Test being conducted by the National Apprentices and Industrial Training Authority. In respect of heavy earthmoving equipment operators, the percentage of those possessing the National Certificate of Competence or those required to be tested will be 100%. The failure of the Contractor to comply with the above will result in a deduction of 0.3% of each interim payment certificate until compliance with above when the amount withheld will be refunded. |
| 9.4 | #### Supply of Water |
|  | The Contractor shall, so far as is reasonably practicable, having regard to local conditions provide on the site to the satisfaction of the Engineer’s Representative, an adequate supply of drinking and other water for the use of the Contractor’s staff and work force. |
| 9.5 | #### Alcoholic Liquor or drugs |
|  | The Contractor shall not, otherwise than in accordance with the Statutes, Ordinance and Government Regulations or Orders for the time being in force, import, sell, give, barter or otherwise dispose of any Alcoholic Liquor, or drugs or permit or suffer any such importation, sale, gift, barter or disposal by his Sub Contractors, agents or Employees. |
| 9.6 | #### Arms and Ammunition |
|  | The Contractor shall not give, barter or otherwise dispose of to any person or persons, any arms or ammunition of any kind or permit or suffer the same as aforesaid. |
| 9.7 | #### Festivals and Religious Customs |
|  | The Contractor shall in all dealings with labour in his employment have due regard to all recognized festivals, days of rest and religious or other customs. |

Revised on 23-09-2019

| 9.8 | #### Epidemics |  |
| --- | --- | --- |
|  | In the event of any outbreak of illness of an epidemic nature, the Contractor shall comply with and carry out such regulations, orders and requirements as may be made by the Government, or the local medical or sanitary authorities for the purpose of dealing with and overcoming the same. |  |
| 9.9 | Disorderly Conduct etc. |  |
|  | The Contractor shall at all time take all reasonable precautions to prevent any unlawful, riotous or disorderly conduct by or amongst his employees and for the preservation of peace and protection of persons and property in the neighborhood or the Works against the same. |  |
| 9.10 | Rates of wages and conditions of labour |  |
|  | Wages, and hours and conditions of employment shall be not less favorable than those prescribed for the time being by the wages Board Ordinance of Sri Lanka and the Contractor shall be bound by the said Wages Board Ordinance concerning his employees of any kind whatsoever. |  |
| 9.11 | Observance by sub Contractors |  |
|  | The Contractor shall be responsible for observance by his Sub Contractor of the foregoing provisions. |  |
| 9.12 | Other Conditions Affecting Labour and Wages. |  |
| 9.12.1 | The Contractor shall indemnify and keep the Employer indemnified against all claims made under the Sri Lanka’s Workmen’s Compensation Ordinance No. 19 of 1934 and the Employee’s Provident Fund Act No. 15 of 1958 and any statutory amendments thereto or modification thereof. Contractor shall make arrangements to enroll all his employees to Employees Provident Fund and Employee’s Trust Fund and any other statutory requirements and pay such sums to these institutions in time. |  |
| 9.12.2 | The Contractor shall provide adequate latrines on the site for the use of his staff and workers and separate latrines for the sole use of Engineer’s staff in accordance with requirements of the local authority and shall maintain same in a clean and good sanitary state at all times. |  |
| 9.12.3 | The Contractor shall provide for the exclusive use of the Engineer’s Representative and his staff an office, as specified below . |  |
|  | Provision of office and other related facilities by the Contractor The office shall be of timber construction with boarded floor well lighted, lockable and fully weather proof. A covered parking space for one vehicle should be provided |  |
|  | The office shall have two rooms with a total floor area of at least 30 square metres. The office shall have overhanging eaves and be provided with windows with lockable shutters for security. The door should be of substantial construction and shall be fitted with a mortice lock. At least two keys shall be provided for each lock and the Contractor shall hand over all keys to the Engineer’s Representative. The office shall be provided with a wash basin with cold running water and two ceiling fans. The Contractor shall provide electricity, Air condition facility, toilet facilities, potable drinking water facilities and the following furniture to the office. |  |
|  | Item Required No 1. Table 0.9m x 1.5m with four lockable drawers …. 2. Table 0.9m x 1.5m with one lockable drawer …. 3. Chairs …. 4. Chairs with arm rest …. 5. Lockable four drawer steel filing cabinet …. 6. Set of shelving 1.2m high by 0.9m long with shelves for keeping the drawings …. 7. Domestic water filter …. 8. Binding machine …. 9. Photocopy + printer machine …. 10. Refrigerator …. And all ancillary items to permit the efficient functioning of the office. The Contractor shall maintain the building and fittings in good condition, provide all proper attendance and clear away on completion of the Contract, as directed by the Engineer. |  |
|  | Mobile Field Offices |  |
|  | The Contractor shall provide and maintain mobile type field office/s for the use of the Engineer’s staff in numbers stated in the BOQ. The mobile offices shall be established at the sites as directed by the Engineer. These shall be maintained by the Contractor until the completion of construction works. Equipment and furnishing of the mobile field office shall become the property of the Contractor thereafter. |  |
|  | The mobile offices shall be provided with sufficient ventilation, weather proofed, insulated and painted internally and externally. Floor to ceiling height shall be at least 2.7 meters with minimum floor area 15m2. The office shall have external lockable doors and windows as necessary. The office shall be well lighted and ventilated. |  |
|  | All office and the equipment and furnishings installed therein shall be provided and well maintained during the above period by the Contractor. All necessary facilities & equipment such as stationeries, consumables, office utilities, calculators and other miscellaneous office equipment shall also be provided by the contractor at his own cost. |  |
|  | The contractor shall provide janitorial services to maintain a good working environment and security at each office. Water Supply, electricity supply, Air condition facility, sanitation facility and telephone shall be provided and maintained throughout the contract period. |  |
|  | Each Mobile Office shall be supplied with the following new furniture, equipment and services: Revised on 23-09-2019 |  |
|  | Item | Quantity |
|  | Steel tables 1.2m x 0.75m with two lockable drawers | 2 |
|  | Steel four drawer lockable filing cabinet | 1 |
|  | Arm chairs | 6 |
|  | Drawing rack | 1 |
|  | Water filters | 1 |
|  | Electric Fans | 2 |
|  | File Trays | 4 |
|  | Cutlery & Crockery | as necessary |
|  | Electric kettle | 01 |
|  | Binding machine | 01 |
|  | Photocopy + printing + fax portable machine | 01 |
| 9.13 | Return of Labour The Contractor shall if required by the Engineer, deliver to the Engineer’s Representative, or at his office a return in detail in such form and at such intervals as the Engineer may prescribe showing the supervisory staff and the numbers of the several classes of labour from time to time employed by the Contractor on the site and such information respecting Constructional Plant as the Engineer’s Representative may require. |  |
| 9.14 | Construction Management Services To ensure the proper management of the pipe laying works, the Contractor shall furnish the names, qualifications and experience of such engineering and technical personnel above and including the grade of Technical Officer, who he intends employing for the purpose of providing proper construction management services for the Works. The personnel so listed should have the same qualifications and experience and numbers as indicated in the Bidding Documents. Such personnel whether listed in the Bidding Document or not should be approved by the Engineer. The cost of this service will be included in the rates and price of the items in the Bill of Quantities. Additional Payment shall not be made for these staff. |  |
| Clause 12 | ### Contractor’s Risks |  |
|  | Add following Sub-Clause. Revised on 23-09-2019 |  |
| 12.2 | ###### Patent Rights and Royalties The Contractor shall save harmless and indemnify the Employer from and against all claims and proceedings for or on account of infringement of any patent rights, design, trademark or name or other protected rights in respect of any Constructional Plant machine work or material used for or in connection with the Works or any of them and from and against all claims proceedings, damages, costs, charges and expenses whatsoever in respect thereof or in relation thereto. Except where otherwise specified, the contractor shall pay all tonnage and other royalties, rent and other payments or compensation, if any for getting stone, sand, gravel, clay or other materials required for the Works or any of them. |  |
| (13.1) | The minimum insurance covers shall be : (a) • The minimum cover for insurance of the Works and of Plant and Materials is 110% of the Initial Contract Price. ###### • The maximum deductible for insurance of the Works and of Plant and ###### Materials is 5% of the each claim. (b) • The minimum cover for loss or damage to Equipment is the replacement cost of equipment • The maximum deductible for insurance of Equipment is 5% of the replacement cost of each equipment (c) • The minimum cover for insurance of other property (other than the Site) is Rs. …………. (to cover the building and property adjacent to the site and reinstatement of those). • The maximum deductible for insurance of other property (other than the Site) is is 5% of the each claim. |  |
|  | (d) The minimum cover for personal injury or death, For third party is Rs. 1,000,000 per event, Number of events are unlimited |  |
|  | (e). Minimum cover for loss of business and loss of revenue is Rs. 1,000,000.00 No. of events unlimited. |  |
| 13.2 | (a) The minimum cover for personal injury or death, - for the Contractor's workmen is Rs 1,000,000 per event , number of events are unlimited. - Contractor's employees other than workmen is Rs 1,000,000 per event , number of events are unlimited. - Employer’s Employees and Consultant’s Employees is Rs.1,000,000/= per event, number of events are unlimited. |  |
| 13.7 | Add the following Sub Clause 13.7 All Insurance shall be issued by a reputed insurance Company/Corporation registered under Insurance Board of Sri Lanka. |  |
| 13.8 | Add the following Sub Clause 13.8 Contractor shall bear all costs in connection with the damages to the works, his labourers, employers staff and adjacent properties and pay any compensation to them. Contractor shall pay any loss of revenue to third party due to closure of roadways, and blockages of road ways or access to all business premise due to the implementation of the works of the contract. Revised on 02-06-2017 Contractor shall indemnify the Employer for any losses or damages or any compensation due to cause of the works under the contract. |  |
| 14.1 | The following site investigation reports are annexed as Appendices. Appendix ………… Appendix ………… [State the title of reports Eg: Contour Plan, Soil Investigation Report. etc.] |  |
| Clause 16 | Contractor to Construct the Works. |  |
| # 16.2 | Add following Sub-Clauses. ### Setting out Contractor shall carefully study drawings prior to setting out on the dimensions, elevations, connection to each structure and other details. If there is any discrepancy or mis-match in the dimensions or elevations or other details, those should be immediately brought to the notice of the Engineer for remedy. The Contractor shall be responsible for the true and proper setting out of the Works in relation to original points, lines and levels of reference given by the Engineer in writing and for the correctness, subject as mentioned, of the position, levels, dimensions and alignment of all parts of the Works and for the provision of all necessary instruments, appliances and labour in connection therewith. If, at any time during the progress of the Works, any error shall appear or arise in the position, levels dimension or alignment of any part of the Works, the Contractor on being required so to do by the Engineer, or the Engineer’s Representative, shall at the contractor’s own cost, rectify such error to the satisfaction of the Engineer or the Engineer’s Representative, unless, such error is based on incorrect data supplied in writing by the Engineer or the Engineer’s Representative, in which case the expense of rectifying the same shall be borne by the Employer. The checking of any setting-out or of any line or level by the Engineer or the Engineer’s Representative shall not in any way relieve the Contractor of his responsibility for the correctness thereof and the Contractor shall carefully protect and preserve all bench marks, site rails, pegs and other things used in setting out of the Works. |  |
| 16.3 | #### Boreholes and Exploratory Excavations |  |
|  | If, at any time during the execution of the Works, the Engineer shall require the Contractor to make boreholes or to carry out exploratory excavation, such requirements shall be ordered in writing and shall be deemed to be an addition ordered under the provisions of Clause 39 hereof unless an item or a provisional sum in respect of such anticipated work shall have been included in the Bill of Quantities. |  |

Revised on 23-09-2019

| 16.4 | #### Contractor to keep Site Clear During the progress of the Works, the Contractor shall keep the Site reasonably free from all unnecessary obstructions and shall store or dispose of any Constructional Plant and surplus material and clear away and remove from the Site any wreckage, rubbish or Temporary Works no longer required |
| --- | --- |
| 16.5 | #### Clearance of Site on Completion - On completion of the Works, the Contractor shall clear away and remove from the Site all Constructional Plant, surplus of material, rubbish and Temporary works of every kind and leave the whole of the Site and Works clean and in a workmanlike condition to the satisfaction of the Engineer. (b). The Contractor may retain on site with the consent of the Engineer until the end of maintenance period such materials, Contractor’s equipment and temporary works as required by him for the purpose of fulfilling his obligation during maintenance period. |
| 16.6 | ###### Contractor’s Superintendence Notwithstanding the provisions made in the above Sub-Clause the Contractor shall give or provide all necessary superintendence during the execution of the Works and as long thereafter as the Engineer may consider necessary for the proper fulfilling of the Contractor’s obligations under the Contract. The Contractor or a competent and authorized agent or representative approved of in writing by the Engineer. Which approval may at any time be withdrawn, is to be constantly on the Works and shall give his whole time to the superintendence of the same. If such approval shall be withdrawn by the Engineer, the Contractor shall, as soon as is practicable, having regard to the requirement of replacing him as hereinafter mentioned, after receiving written notice of such withdrawal, remove the agent from the Works and shall not thereafter employ him again on the Works in any capacity and shall replace him by another agent approved by the Engineer. Such authorized agent or representative shall receive, on behalf of the Contractor, directions and instructions from the Engineer or subject to the limitations of clause 5 hereof, the Engineer’s Representative |
| 16.7 | Contractor’s Employees The Contractor shall provide and employ on the Site in connection with the execution and maintenance of the works only such technical personnel as are skilled and experienced in their respective callings and such sub-agent, foremen and leading hands as are competent to give proper supervision to the work they are required to supervise; and such skilled, semi-skilled and unskilled labour as is necessary for the proper and timely execution & maintenance of the Works. Revised on 23-09-2019 |
|  | The Engineer shall be at liberty to object to and require the Contractor to remove forthwith from the Works any person employed by the Contractor in or about execution or maintenance of the Works who, in the opinion of the Engineer, misconducts himself, or is incompetent or negligent in the performance of his duties, or whose employment is otherwise considered by the Engineer to be undesirable and such person shall not be again employed upon the Works without the written permission of the Engineer. Any person so removed from the Works shall be replaced as soon as possible by a competent substitute approved by the Engineer |
| 16.8 | Remedy on Contractor’s failure to carry out work required. |
|  | If the Contractor shall fail to do any such work as aforesaid required by the Engineer, the Employer shall be entitled to employ and pay other persons to carry out the same and if such work is work which, in the opinion of the Engineer, the Contractor was liable to do at his own expense under the contract, then all expenses consequent thereon or incidental thereto shall be recoverable from the Contractor by the Employer, or may be deducted by the Employer from any monies due which may become due to the Contractor. |
| 16.9 | Plant etc. Exclusive use for the Works |
|  | All Constructional Plant, Temporary works and materials provided by the Contractor shall, when brought on to the Site, be deemed to be exclusively intended for the execution of the Works and the Contractor shall not remove the same or any part thereof, except for the purpose of moving it from one part of the Site to another, without the consent in writing of the Engineer, which shall not be unreasonably withheld. |
| 16.10 | Removal of Vehicles |
|  | Although “Constructional Plant” includes vehicles engaged in transporting personnel, plant, equipment or materials to or from the Site, such vehicles may be removed from the Site as necessary for execution of the work without the consent in writing of the Engineer. |
| 16.11 | Removal of Plant, etc. |
|  | Upon completion of the Works the Contractor shall remove from the Site all the said Constructional Plant and Temporary Works remaining thereon and any unused materials provided by the Contractor. |
| 16.12 | Employer not liable for damage to plant, etc. |
|  | The employer shall not at any time be liable for the loss of or damage to any of the said Constructional Plant, Temporary Works or materials save as mentioned in Clause 10 hereof. |

| 16.13 | Default of Contractor in Compliance |
| --- | --- |
|  | In the case of default on the part of the Contractor in carrying out such order, the Employer shall be entitled to employ and pay other persons to carry out the same and all expenses consequent thereon or incidental thereto shall be recoverable from the Contractor by the Employer, or may be deducted by the Employer, from any monies due or which may become due to the Contractor. |
| 16.14 | Standards The Goods & Works Supplied/carried out under the contract shall confirm to the Standards mentioned in the specifications, preamble notes on BOQ and BOQ. When no applicable standards is mentioned, the Goods supplied out shall conform to the authoritative standards appropriate to the Goods/Country of Origin and such standards shall be the latest issued by the concerned institution. |
| 17.1 | The Intended Completion Date for the whole of Works shall be _________________ days from start date. |
| 19 19.2 | #### Safety Add following Sub-Clauses ###### Watching and Lighting The Contractor shall throughout the progress of the Works, have full regard for the safety of all persons entitled to be upon the Site and shall keep the Site (so far as the same is under his control) and the Works (so far as the same are not completed or |
|  | occupied by the Employer) in an orderly state appropriate to the avoidance of danger to such persons and shall inter alia in connection with the Works provide and maintain at his own cost all light, guards, fencing, warning signs and watching when and where necessary or required by the Engineer or the Engineer’s Representative or by any competent Statutory or other Authority for the protection of the Works or for the safety and convenience of the public or others |
| 19.3 | Interference with Traffic and adjoining properties. All operations necessary for the execution of the Work shall so far as compliance with the requirements of the Contract permits, be carried on so as not to interfere unnecessarily or improperly with the convenience of the public or the access to use and occupation of public or private roads and footpaths to or of properties whether in the possession of the Employer or of any other person. The Contractor shall save harmless and indemnify the Employer in respect of all claims, proceedings, damages, costs, charges and expenses whatsoever arising out of, or in relation to, any such matters in so far as the Contractor is responsible therefore. Revised on 23-09-2019 |
| 19.4 | Avoidance of damage to Highway etc. The approval of the appropriate Highway Authority is to be obtained prior to the movement of any extra-ordinary loads. The Contractor shall use every possible means to prevent any of the highway or bridges communicating with or on the routes to the Site from being damaged or injured by any traffic of the Contractor or any of his Sub-Contractors and, in particular shall select routes, choose and use vehicles and restrict and distribute loads, so that, any such extra-ordinary traffic as will inevitably |
|  | arise from the moving of plant and material from and to the Site shall be limited, as far as reasonably possible, and so that no unnecessary damage or injury may be occasioned to such highway and bridges. |
| 19.5 | Transport of Constructional Plant Save in so far as the Contract otherwise provides the Contractor shall be responsible for and shall pay the cost of temporarily strengthening any bridges or altering or improving any highway communicating with the site to facilitate the movement of Constructional Plant, Equipment or Temporary Works required in the execution of the Works and the Contractor shall indemnify and keep indemnified the Employer against all claims for damage to any Highway or Bridge communicating with the Site caused by such movement including such claims as may be made by competent authority directly against the Employer pursuant to any Act of Parliament or other Statutory Institution and shall negotiate and pay all claims arising solely out of such damage. |
| 19.6 | Waterborne Traffic |
|  | Where the nature of the works is such as to require the use by the Contractor of waterborne transport the foregoing provisions of this Clause shall be construed as though “Highway” included a lock, dock, sea wall or other structure related to a waterway and “vehicle” included craft, and shall have effect accordingly. |
| 19.7 | Staff and Labour The Contractor shall: - comply with all applicable safety regulations; - take care for the safety of all persons entitled to be on the Site; Due precautions shall be taken by the Contractor, and at his own cost, to ensure the safety of his staff and labour |
| 19.8 | Temporary Works Provide any Temporary Works (including roadways, footways, guards and fences) which may be necessary, because of the execution of the Works, for the use and protection of the public and of owners and occupiers of adjacent land |
| 19.9 | Protection of the Environment Contractor shall take every measures to protect environment in accordance with the laws enacted by the Environmental Authority and relevant local government bodies |
| 20 20.2 | Discoveries Add Sub-Clause 20.2 Contractor shall protect in proper and safe manner all such discoveries and keep them in safe custody until the Engineers instructions are received. |
| 21.1 | The Site Possession Date shall be 14 Days from Letter of Acceptance |
| 24 | Dispute Resolution Delete clause 24 Delete clause 25 Delete clause 26 Add the following Sub-Clauses |
| 24.1 | Amicable settlement Any dispute of whatever nature arising out of or in relation to this agreement shall in the first instance be attempted to be resolved by way of amicable settlement by the Employer and the Contractor. The Employer and the Contractor shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract. If after thirty (30) days from the commencement of such informal negotiation the Employer and the Contractor have been unable to resolve amicably a contractual dispute, either party may require that the dispute be referred for resolution to the formal mechanism stated in Clause 24.2 herein. These mechanisms may include, but not restricted to, condition mediated by a third party, adjudication in an agreed national forum and/or arbitration |
| 24.2 24.2.1 | Dispute Adjudication Board (DAB) Appointment of the Dispute Adjudication Board (DAB) |
|  | Any dispute of whatever nature arising out of or in relation to this agreement shall be referred to a "Dispute Adjudication Board (DAB) for decision The Parties shall appoint a DAB. |
|  | The DAB shall comprise, three suitably qualified persons (“the members”), who shall be professionals experienced in the type of Works and with the interpretation of contractual documents, one of whom shall serve as chairman. |
|  | Each of the Parties shall appoint one member to serve on the Dispute Adjudication board (DAB). The Parties shall consult both these members and shall agree upon the third member, who shall be appointed to act as the chairman. The agreement between the Parties and each of the three members shall incorporate by reference the General Conditions of Dispute Adjudication Agreement contained in the Appendix to these Contract Data, with such amendments as are agreed between them. Revised on 13-12-2019 |
|  | The terms of the remuneration of the three members, including the remuneration of any expert whom the DAB consults, shall be mutually agreed upon by the Parties when agreeing the terms of appointment of the member or such expert (as the case may be). Each Party shall be responsible for paying one-half of this remuneration. If a member declines to act or is unable to act as a result of death, disability, resignation or termination of appointment, a replacement shall be appointed in the same manner as the replaced person was required to have been nominated or agreed upon, as described in this Sub-Clause. |
|  | The appointment of any member may be terminated by mutual agreement of both Parties, but not by the employer or the Contractor acting alone. Unless otherwise agreed by both Parties, the appointment of the DAB (including each member) shall expire when the Issuing Final Acceptance Certificate. |
| 24.2.2 | Failure to Agree on the Composition of the Dispute Adjudication Board |
|  | If any of the following conditions apply, namely: - either Party fails to nominate a member of a DAB by such date, - the Parties fail to agree upon the appointment of the third member (to act as chairman) of the DAB by such date, or - The Parties fail to agree upon the appointment of a replacement person within 42 Days after the date on which the one of the three members declines to act or is unable to act as a result of death, disability, resignation or termination of appointment. Then Institute for Construction Industry Training Development Authority (CIDA) shall, upon the request of either or both of the Parties and after due consultation with both Parties, appoint this member of the DAB. This appointment shall be final and conclusive. Each Party shall be responsible for paying one-half of the expenses / disbursements incurred by (CIDA). |
| 24.2.3 | Obtaining Dispute Adjudication Board’s Decision |
|  | If a dispute (of any kind whatsoever) arises between the Parties in connection with, or arising out of, the Contract or the execution of the Works, including any dispute as to any certificate, determination, instruction, opinion or valuation of the Engineer, either Party may refer the dispute in writing to the DAB for its decision, with copies to the other Party and the Engineer. Such reference shall state that it is given under this Sub-Clause. The DAB shall be deemed to have received such reference on the date when it is received by the chairman of the DAB. |

|  | Both Parties shall promptly make available to the DAB all such additional information, further access to the Site, and appropriate facilities, as the DAB may require for the purposes of making a decision on such dispute. The DAB shall be deemed to be not acting as arbitrators(s). |
| --- | --- |
|  | Within 84 Days after receiving such reference, or within such other period as may be proposed by the DAB and approved by both Parties, the DAB shall give its decision, which shall be reasoned and shall state that it is given under this Sub-Clause. The decision shall be binding on both Parties, who shall promptly give effect to it unless and until it shall be revised in an amicable settlement or an arbitral award as described below. Unless the Contract has already been abandoned, repudiated or terminated, the Contractor shall continue to proceed with the Works in accordance with the Contract. |
|  | If either Party is dissatisfied with the DAB’s decision, then either Party may, within 28 Days after receiving the decision, give notice to the other Party of its dissatisfaction and intention to commence arbitration. If the DAB fails to give its decision within the period of 84 Days (or as otherwise approved) after receiving such reference, then either Party may, within 28 Days after this period has expired, give notice to the other Party of its dissatisfaction and intention to commence arbitration. In either event, this notice of dissatisfaction shall state that it is given under this Sup-Clause, and shall set out the matter in dispute and the reasons(s) for dissatisfaction. Except as stated in Sub-Clause 24.2.4 [Failure to Comply with Dispute Adjudication Board’s Decision] and Sub-Clause 24.2.5 [Expiry of Dispute Adjudication Board’s Appointment], neither Party shall be entitled to commence arbitration of a dispute unless a notice of dissatisfaction has been given in accordance with this Sub-Clause. |
|  | If the DAB has given its decision as to a matter in dispute to both Parties, and no notice of dissatisfaction has been given by either Party within 28 Days after it received the DAB’s decision, then the decision shall become final and binding upon both Parties. |
| 24.2.4 | Failure to Comply with Dispute Adjudication Board’s Decision In the event that a Party fails to comply with a DAB decision which has become final and binding, then the other Party may, without prejudice to any other rights it may have, refer the failure itself to arbitration under Sub-Clause 24.3 [Arbitration]. Sub-Clause 24.2.3 [Obtaining Dispute Adjudication Board’s Decision] shall not apply to this reference. |
| 24.2.5 | Expiry of Dispute Adjudication Board’s Appointment |
|  | If a dispute arises between the Parties in connection with, or arising out of, the Contract or the execution of the Works and there is no DAB in place, whether by reason of the expiry of the DAB’s appointment or otherwise: - Sub-Clause 24.2.3 [Obtaining Dispute Adjudication Board’s Decision] shall not apply, and |
|  | - the dispute may be referred directly to arbitration under Sub-Clause 24.3 [Arbitration] |
| 24.3 | Arbitration (a) Any dispute of whatever nature arising from, out of or in connection with this agreement, on the interpretation thereof, or the rights, duties, obligations or liabilities of any Party, or the operation, breach, termination, abandonment, foreclosure or invalidity thereof, shall be referred to by either Party to arbitration for final settlement, in accordance with the Arbitration Act No. 11 of 1995, or any amendment thereof, Venue & Language: The venue of arbitration shall be in Sri Lanka and the proceedings shall be conducted and the award shall be rendered in English language. |
| 27 | Program |
| 27.1 | The Contractor shall submit a programme for the Works within 07 Days of delivery of the Letter of Acceptance. |
| 27.3 27.4 | The period between Programme update is within the quarter of the Contract period. The amount to be withheld for late submission of a Programme is 2% of the Initial Contract Price. Add to the Clause |
| 27.5 | Night or Sunday work |
|  | Subject to any provision to the contrary contained in the Contract, none of the Permanent Works shall, save as hereafter provided, be carried on during the night or on Sundays, full moon Poya days or other Statutory days of rest without the permission in writing of the Engineer’s Representative, except when the work is unavoidable or absolutely necessary for the saving of life or property or for safety of the Works, in which case the Contractor shall immediately advice the Engineer’s Representative. Provided always that the provision of this Clause shall not be applicable in the case of any work which it is customary to carry outside normal working hours by rotary or double shifts. Normal working hours should be 7.30 a.mto 5.00 p.m. Add to the Clause |
| 27.6 | Rate of Progress If for any reason, which does not entitle the Contractor to an extension of time, the rate of progress of the Works or any section is at any time, in the opinion of the Engineer, too slow to ensure completion by the prescribed time or extended time for completion, the Engineer shall so notify the Contractor in writing and the Contractor shall thereupon take such steps as are necessary, and the Engineer may approve to expedite progress so as to complete the Works or such Section by the prescribed time or extended time. The Contractor shall not be entitled to any additional payment for taking such steps. If, as a result of any notice given by the Engineer under this Clause, the Contractor shall seek the Engineer’s permission to do any work at night or on Sundays, or other recognized days of rest, such permission shall not be unreasonably refused |

Revised on 02-06-2017

| 31 | Management Meetings Add Sub Clauses |
| --- | --- |
| 31.3 | Progress meeting shall be held at least once a month and progress report shall be submit by the Contractor. |
| 33 33.2 | Identifying Defects Add Sub Clause The Contractor shall, if required by the Engineer in writing, search under the directions of the Engineer for the cause of any defect, imperfection or fault appearing |
|  | during the progress of the Works or in the period of Maintenance. Unless such defect imperfection or fault shall be one for which the Contractor is liable under the Contact, the cost of the work carried out by the Contractor in searching as aforesaid shall be borne by the Contractor and he shall in such case repair, rectify and make good such defect, imperfection or fault at his own expense in accordance with the provisions of Clause 54 hereof. Notice of searching for that defect and pricing the cost of searching shall be as defined in Clause 40. |
| #### 34 | #### Tests Add following Sub-Clauses. |
| 34.2 | ###### Quality of Materials, Workmanship and Tests All materials and workmanship shall be of the respective kinds described in the Contract and in accordance with the Engineer’s instructions and shall be subjected from time to time to such tests as the Engineer may direct at the place of manufacture or fabrication or on the site or at such other place or places as may be specified in the Contract, or at all or any of such places |
|  | The Contractor shall provide such assistance instruments, machines, labour and materials as are normally required for examining, measuring and testing any work and the quality, weight or quantity of any material used and shall supply samples of materials before incorporation in the Works for testing as may be selected and required by the Engineer. |
| 34.3 | #### Examination of work before covering up |
|  | No work shall be covered up or put out of view without the approval of the Engineer or the Engineer’s Representative and the Contractor shall afford full opportunity for the Engineer or the Engineer’s Representative to examine and measure and work which is about to be covered up or put out of view and to examine foundations before permanent Works is placed thereon. The Contractor shall give due notice to the Engineer’s Representative whenever any such work or foundations is or are ready or about to be ready for examination and the Engineer’s Representative shall, without unreasonable delay, unless he considers it unnecessary and advises the Contractor accordingly, attend for the purpose of examining and measuring such work or of examine such foundations |

Revised on 23-09-2019

| 34.4 | #### Uncovering and making openings The Contractor shall uncover any part or parts of the Works or make openings in or through the same as the Engineer may from time to time direct and shall reinstate and make good such part or parts to the satisfaction of the Engineer. If any such part or parts have been covered up or put out of view after compliance with the requirements of Sub-Clause 34.3 and are found to be executed in accordance with the Contract, the expenses of uncovering making openings in or through, reinstating and making good the same shall be borne by the Employer, but in any other case all costs shall be borne by the Contractor through, reinstating and making good the same shall be borne by the Employer, but in any other case all costs shall be borne by the Contractor. |
| --- | --- |
| 34.5 | #### Removal of improper work or materials The Engineer shall during the progress of the Works have power to order in writing from time to time. - the removal from the site, within such time or times as may be specified in the order, of any materials which, in the opinion of the Engineer, are not in accordance with the Contract. - the substitution of proper and suitable materials and - the removal and proper re-execution, notwithstanding any previous test thereof or interim payment therefore, of any work which in respect of materials or workmanship is not, in the opinion of the Engineer, in accordance with the Contract |
| 34.6 | Testing Agencies |
|  | The required testing of the works shall be carried out by a reputed testing laboratory, acceptable to the Engineer. |
| 35.1 | The Defects Liability Period is 365 Days from the date of certificate of Completion of the Works |
| 38 | ### Changes in the Quantities Add following Sub-Clause. |
| 38.4 | ### Quantities |
|  | ### The quantities set out in the Bill of Quantities are the estimated quantities of the work, but they are not to be taken as the actual and correct quantities of the Works to be executed by the Contractor in fulfillment of his obligations under the Contract. Quantities are taken in accordance with the Civil Engineering Standard Method of Measurements (CESMM 3). |

Revised on 23-09-2019

| 38.5 | ### Works to be measured. |
| --- | --- |
|  | ### The Engineer shall, except as otherwise stated, ascertain and determine by measurement the value in terms of the Contract of work done in accordance with the Contract. |
|  | ### He shall, when he requires any part or parts of the Works to be measured, give notice to the Contractor’s authorized agent or representative, who shall forthwith attend or send a qualified agent to assist the Engineer or the Engineer’s Representative in making such measurement, and shall furnish all particulars required by either of them. Should the Contractor not attend, or neglect or omit to send such agent, then the measurement made by the Engineer or approved by him shall be taken to be the correct measurement of the work. For the purpose of measuring such permanent work, as is to be measured by records and drawings, the Engineer’s Representative shall prepare records and drawings month by month of such work and the Contractor, as and when called upon to do so in writing shall within fourteen days, attend to examine and agree such records and drawings with the Engineer’s Representative and shall sign the same when so agreed. |
|  | If the Contractor does not so attend to examine and agree such records and drawings, they shall be taken to be correct. If after examination of such records and drawings, the Contractor does not agree the same or does not sign the same as agreed, they shall nevertheless, be taken to be correct, unless the Contractor shall, within fourteen days of such examination lodge with the Engineer’s Representative, for decision by the Engineer, notice in writing of the respects in which such records and drawings are claimed by him to be incorrect |
| 38.6 | ### Method of Measurement |
|  | ### The Works shall be measured net, except where otherwise specially described or prescribed in the Contract. |
|  | ### For the purpose of arriving at a valuation for interim payments the Contractor shall submit for the approval of the Engineer within 28 days after receipt of Letter of Acceptance a cash flow statement of all lump sum items. |
| 39 | ### Variations |
| 39.2 | Engineer may order variations up to a total cumulative value of not exceeding the amount of money allocated for contingencies in the Summary of Bills. Add the following Sub-Clause. |
| 39.7 | If at any time it should appear to the Contractor that the likely final quantity of a BOQ item/items will vary considerably from the quantity stated in the BOQ or that additional work/works or omission of work/works will have to be encountered, he shall, forthwith, inform the Engineer thereof giving, if possible, the reasons for such variation. He shall seek and ascertain the reason/reasons for such variation to the best of his ability either by himself or in collaboration with Engineer’s Representative if instructed by the Engineer to do so. Revised on 23-09-2019 |
| 42 42.2 | ### Payment certificates Add Sub Clause Engineer shall check whether contractor’s monthly statement for payment includes all required supporting documents. If not, engineer shall within 14 days, return the payment certificate to the contractor to resubmit with the required supporting documents. Engineer shall check the validity of guarantees and bonds in accordance with the contract prior to certifying any payment certificate. |
| 44 | Compensation Events |
| 44.1 | The following events shall also be Compensation Events: (If required , Engineer shall fill) 1. ____________________________ 2. ____________________________ |
| 46 | Currencies |
|  | Deleted |
|  | Add following Sub-Clauses. |

| 46.1 | Payments to Contractor All payments shall be made in Sri Lanka Rupees |
| --- | --- |
| 46.2 | Payment to the Employer |
|  | All payment to the Employer by the Contractor including payments made by way of deduction or set-off shall be made in Sri Lanka Rupees. |
| 47 | Price Adjustments |
| 47.1 | The Contract Price is / subjected to price adjustment, if the Intended Completion Date from the Start Date exceeds 3 months. Weightings of Inputs are given in Appendix A |
|  | Non adjustable element are given in Appendix A. |
| 48 | Retention The limit of Retention Money shall be 5% of Initial. |
| 48.1 48.2 48.3 | The retention from each payment shall be 10% percent of the certified work done. When Retention amount reaches 5% of Contract Price, upon the issue of the Taking Over Certificate the full amount of the Retention Money may be released on submission of unconditional, on demand guarantee issued by a commercial bank operating in Sri Lanka approved the Central Bank of Sri Lanka and acceptable to the Employer. This Guarantee shall be valid until 28 days beyond the Defects Liability Period. The form for Retention Money Guarantee is given in Section 12. Deleted the Clause- -Deleted the Clause- |

Revised on 23-09-2019

| 49 | Liquidated Damages |
| --- | --- |
| 49.1 | The liquidated damages for the whole of the Works shall be Rs ________ per Day. The maximum amount of liquidated damages for the whole of the Works shall be 10 percent of the Initial Contract Price |
| 51 | Advance Payment |
| 51.1 | Add to the Clause Bank guarantee for Advance payment (20% of the Initial Contract Price) shall be issued by a recognized Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka using the Form for Advance payment Security included in Section 12- Standard Forms – Volume II. Advance payment Guarantee shall be obtained at the contractor’s cost. |
| 52 | Securities |
| (52.1) 52.2 52.3 | Deleted the last sentence of the Clause. Add to the Clause: The Performance Security shall be 5% percent of the Initial Contract Price, and shall be provided in the following forms acceptable to the Employer. (a) Bank Guarantee issued by a reputed bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka. (b) Sri Lanka rupee cash deposit to the National Water Supply and Drainage Board, (The original receipt for such deposit shall be attached to the original tender document). (c) a certified cheque issued by a reputed Bank operating in Sri Lanka, approved by the Central Bank of Sri Lanka, in favour of National Water Supply and Drainage Board. (d) A Bank guarantee issued by a Bank based in another country but the security or guarantee “confirmed” by a Bank operating in Sri Lanka approved by the Central Bank of Sri Lanka. Note: However, the requirement of confirmation of Performance security issued by a bank based in another country, by a bank operating in Sri Lanka is not necessary, if the entity that issues the guarantee is an Export Credit Agency of any foreign government or a reputed International Financier acceptable to the Central Bank of Sri Lanka. The term “confirmed” in relation to bank guarantee issued by a bank based in another country means that the “confirmed” bank held liable for paying the respective guaranteed amount at the request of first demand by the beneficiary. Add to the Clause: The performance security shall be valid a date 28 Days beyond the Defects Liability Period as specified under Sub-Clause 55 and Sub-Clause 56. Revised on 13-07-2020 Add to the Clause: Performance Security shall be provided at the contractors cost. |
| 53 53.4 | ### Day Work Add to the Clause. ### The Contractor shall be paid for such work under the conditions set out in the Day work Schedule included in the Contract and at the rates and prices affixed thereto by him in his Bid. |
| 53.5 | ### In respect of all work executed on a Daywork basis, the Contractor shall, during the continuance of such work, deliver each day to the Engineer’s Representative an exact list in duplicate of the names, occupation and time of all workmen employed on such work and a statement, also in duplicate, showing the description and quantity of all materials and plant used thereon or therefor (other than plant which is included in the percentage addition in accordance with the Schedule herein after referred to). One copy of each list and statement will, if correct, or when agreed, be signed by the Engineer’s Representative and returned to the Contractor. |
| 53.6 | ### At the end of each month the Contractor shall deliver to the Engineer’s Representative a priced statement of the labour, material and Plant except as aforesaid, used and the Contractor shall not be entitled to any payment unless such lists and statements have been fully and punctually rendered. |
| 55 55.2 | ### Completion Add following Sub-Clause. ### Engineer shall provide in writing to the contractor specifying all the works or defects which is the engineer’s opinion, requires to be done by the contractor before issuing of such certificates as mentioned in the Sub-Clause 55.1. The contractor shall attend and complete all such works or defects to the satisfaction of the engineer and then the contractor shall be entitled to receive such certificates. |
| 58 | Operation and Maintenance Manuals |
| 58.1 | As built drawings shall be provided within 28 days of completion date. |
| 58.2 | The Engineer shall withhold 5 % of the Initial Contract Price. |
| 60 | Payment upon Termination |
| 60.1 | Add the following Sub-Clause The percentage to apply to the value of the work not completed, representing the Employer's additional cost for completing the Works, is 25% of the value of remaining works. |

Revised on 23-09-2019

Add following Clauses (Clause 65-71) given below.

| 65 | Taxation |
| --- | --- |
| 65.1 | Giving of Notice and Payment of Fees. The Contractor shall give all notices and pay all fees required to be given or paid by any National or State Statutes, Ordinance, or other Law or any regulation or bye-law of any local or other duly constituted authority in relation to the execution of the Works and by rules and regulations of all public bodies and companies whose property or rights are affected or may be affected, in any way by the Works |
| 65.2 | Compliance with statutes, Regulations etc. |
|  | - The Contractor shall conform in all respects with the provisions of any such Statute, Ordinance or Law as aforesaid and the regulations or bye-laws of any local or other duly constituted authority which may be applicable to the Works and with such rules and regulations of public bodies and companies as aforesaid and shall keep the Employer indemnified against all penalties and liability of every kind for breach of any such Statute, Ordinance or Law, regulation or bye-law. |
| 65.3 | Local Taxation, Income Tax and VAT |
|  | - The prices bid by the Contractor should show separately Value Added Tax (VAT) with the VAT Registration Number. All other taxes that may be levied according to the Laws and regulations in being as of the date 30 days prior to the submission of bids in Sri Lanka on the constructional plant, materials and supplies (both permanent, temporary and consumable) acquired for the purpose of the Contract and on the services performed under the Contract shall be included in the bid. Nothing in the Contract shall relieve the Contractor from his responsibility to pay the tax that, may be levied in Sri Lanka on profits made by him in respect of the Contract. |
|  | - If the Contractor is not registered for VAT a letter from Department of Inland Revenue should be attached stating that he is not registered for VAT. |
|  | - National Water Supply & Drainage Board is a VAT registered institution according to Value Added Tax Act No. 14 of 2002. The VAT registration number of NWSDB is 4090 31820 7000. The Contractors who are VAT liable shall issue VAT invoices specifically stated as ‘TAX INVOICES’ to NWSDB including their VAT registration numbers and showing bill amounts and applicable VAT separately along with the requests for payments. The date of TAX INVOICE shall be within 28 days of work done. |
| 65.4 | Income Taxes on Staff |
|  | The Contractor's Staff, personnel and labour will be liable to pay personal income taxes in Sri Lanka in respect of such of their salaries and wages as are chargeable under the laws and regulations for the time being in force, and the Contractor shall perform such duties in regard to such deductions thereof as may be imposed on him by such laws and regulations. Revised on 23-09-2019 |
| 66 | Completion of outstanding works and remedying defects |
| 66.1 | In order to that the works and contractor’s documents and each section, shall be in the condition required by the contract (fair wear & tear excepted) by the expiry date of the relevant Defects Notification Period or as soon as practicable thereafter, the contractor shall; - Complete any work which is outstanding on the date stated in a Taking-over Certificate, within such reasonable time as is instructed by the Engineer; and - Execute all work required to remedy defects or damage, as may be Notification Period for the works or section (as the case may be). If a defect appears or damage occurs, the contractor shall be notified accurse, the contractor shall be notified accordingly, by (or on behalf of) the Employer. - Within the Defect Notification Period as may be notified in-writing by the Engineer or within 14 days after Defects Liability Period as a result of an inspection made by the Engineer or his Representative at the completion of the Defect Notification Period in-writing. |

| 66.2 | Cost of Execution of Work of Repair etc. |
| --- | --- |
|  | All such work shall be carried out by the Contractor at his own expense and risk, if the necessity thereof shall, in the opinion of the Engineer, be due to the use of materials or workmanship not in accordance with the Contract, or to neglect of failure on the part of the Contractor to comply with any obligation, expressed or implied, on the Contractor’s part under the Contract. If, in the opinion of the Engineer, such necessity shall be due to any other cause, the value of such work shall be ascertained and paid for as if it was an additional work |

| ###### 67 | Joint Ventures Joint Venture shall not be accepted. |
| --- | --- |
| 68 | ###### Claims |
|  | The Contractor shall send to the Engineer’s Representative once in every month an account giving particulars, as full and as detailed as possible of all claims for any additional payment to which the Contractor may consider himself entitled and of all extra or additional work ordered by the Engineer which he has executed during the proceeding month. |
|  | No final or interim claim for payment for any such work or expense will be considered which has not been included in such particulars. Provided always that the Engineer shall be entitled to authorize payment to be made for any such work or expense, notwithstanding the Contractor’s failure to comply with this condition, if the Contractor has, at the earliest practicable opportunity, notified the Engineer in writing that he intends to make a claim for such work. |

| 69 69.1 | ### Add following Sub Clauses ### Cessation of Employer’s Liability |
| --- | --- |
|  | ### The Employer shall not be liable to the Contractor for any matter or thing arising out of or in connection with the Contract or the execution of the Works, unless the Contractor shall have made a claim in writing in respect thereof before the issuing of the Final Certificate under this Clause. |
| 69.2 | ### Unfulfilled Obligations |
|  | ### Notwithstanding the issue of the Final Certificate, the Contractor and subject to Sub Clause 69.1, the Employer shall remain liable for the fulfillment of any obligation incurred under the provisions of the contract prior to the issue of the Final Certificate which remains unperformed at the time such Certificate is issued, and for the purpose of determining the nature and extent of any such obligation, the Contract shall be deemed to remain in force between the parties hereto. |
| 69.3 | Urgent Repairs ### If by reason of any accident, or failure, or other event occurring to in or in connection with the works, or any part thereof, either during the execution of the works, or during the period of maintenance, any remedial or other work or repairs, shall, in the opinion of the Engineer or the Engineer’s Representative, be urgently necessary for the safety of the works and the Contractor is unable or unwilling at once to do such work or repair, the Employer may employ and pay other persons to carry out such work or repair, as the Engineer or the Engineer’s Representative may consider necessary. If the work or repair so done by the Employer is work which, in the opinion of the Engineer, the Contractor was liable to do at his own expense under the Contractor, all expenses properly incurred by the Employer in so doing shall be recoverable form the Contractor by the Employer or may be deducted by the Employer from any monies due or which may become due to the Contractor. Provided always that the Engineer or the Engineer’s Representative, as the case may be, shall, as soon after the occurrence of any such emergency as may be reasonably practicable to notify the Contractor hereof in writing. |
| 70 | #### Custom Clearance & Import of Machinery |
|  | #### The Employer will assist the Contractor, where required, in obtaining clearance through the customs of Constructional Plant, equipment, materials and other things required for the Works. However the clearance through the custom of constructional plant, equipment, materials and other things are the sole responsibility of the contractor. |
|  | The Contractor shall be fully responsible for timely opening of Letters of Credit with regard to all the imports of machinery, plant and equipment, material and any other thing which shall be required for the proper completion of construction of works. Revised on 23-09-2019 |
| 71 | Miscellaneous |
| 71.1 | Employees Trust Funds |
|  | #### The Contractor shall make contribution to the Employee’s Provident Fund (EPF), Employee’s Trust Funds (ETF), and Gratuity Etc as required by the governing Law of the Government of Sri Lanka. |
| 71.2 | Bribes |
|  | If the Contractor or any of his sub contractors, agents or servants offers to give or agrees to offer or give to any person, any bribe, gift, gratuity or commission as an inducement or regard for doing or forbearing to do any action in relation to the contract or any other contract with the Employer or for showing or forbearing to show favour or disfavour to any person in relation to the contract or any other contract with the Employer, then the Employer may enter upon the site and Works and terminate the employment of the Contractor and the provision of Clause 59 hereof shall apply as if such entry and termination had been made pursuant to that Clause. |
| 71.3 | Training Contractor shall train NWSDB personals (minimum of two) for the operations and maintenance of microtunnelling machines during the Pipe Laying contract period. This training shall be on the job training with sufficient theoretical background to enable these to operate, carryout preventive and other maintenance, trouble shooting and repairs of the machine. NWSDB shall make available these personnel full time basis. The time duration shall be minimum of six months at site. Contractor shall submit the details of attendance including the arrival, departure and leave days to the NWSDB. Contractor shall make available a copy of catalogues, and operational manual, spare parts manual and other associated technical literature to these NWSDB personal for their usage. Any cost associated with this shall be borne by the contractor. |

Revised on 11-06-2013

DISPUTE ADJUDICATION AGREEMENT

[for each member of a three  - person DAB]

Name and details of Contract

Name and address of Employer

Name and address of Contractor

Name and address of Member

Whereas the Employer and the Contractor have entered into the Contract and desire jointly to appoint the Member to act as one of the three persons who are jointly called the Dispute Adjudication Board (DAB) [and desire the Member to act as chairman of the DAB]

- The Employer, Contractor and Member jointly agree as follows:

- The conditions of this Dispute Adjudication Agreement comprise the “General Conditions of Dispute Adjudication Agreement” which is appended to the General Conditions of the “Standard Bidding Document, Procurement of Works, Major Contracts - Second Edition, January 2007” and the following provisions. In these provisions, which include amendments and additions to the General Conditions of Dispute Adjudication Agreement, words and expressions shall have the same meanings as are assigned to them in the General Conditions of Dispute Adjudication Agreement.

- [Details of amendments to the General Conditions of Dispute Adjudication Agreement, if any

For example:

In the procedural rules annexed to the General Conditions of Dispute Adjudication Agreement, Rule_____ is deleted and replaced by: “…………..”]

- In accordance with Clause 6 of the General Conditions of Dispute Adjudication Agreement the Member shall be paid as follows:

A retainer fee of ______________ per calendar month,

plus a daily fee of ______________ per day.

- In consideration of these fees and other payments to be made by the Employer and the Contractor in accordance with Clause 6 of the General Conditions of Dispute Adjudication Agreement, the Member undertakes to serve, as described in this Dispute Adjudication Agreement, as one of the three persons who are jointly to act as the DAB.

- The Employer and the Contractor jointly and severally undertake to pay the Member, in consideration of the carrying out of these services, in accordance with Clause 6 of the General Conditions of Dispute Adjudication Agreement.

- This Dispute Adjudication  Agreement shall be governed by the law of __________________

SIGNED by:_______________	SIGNED by:______________	SIGNED by:____________

for and on behalf of the employer	for and on behalf of the Contractor	the Member

in the presence of 	in the presence of 	in the presence  of

Witness:_______________	Witness: ________________	Witness : ______________

Name:	_______________	Name:	________________	Name : 	______________

Address:_______________	Address: ________________	Address : ______________

Date: 	_______________	Date: 	________________	Date: 	______________

Appendix A

for Contract Data

  - Input Percentages for Major Items

With reference to Sub – Clause 47 (b) of the conditions of Contract, the “input percentages’ for major items are

| Input Name | Input Percentage |
| --- | --- |
| Total |  |

  - Non Adjustable Elements

With reference to Sub-Clause 47 (c) of the “Conditions of Contract” the BOQ item Nos that shall be considered as ‘ Non- Adjustable elements are

Items in General Bill, Provisional Sums, DI/PVC/PE/GI/Steel/GRP Pipes, Fittings, Specials and Valves and any other items which does not belong to the categories of Inputs listed above).

………………………………………………………………………………………………

………………………………………………………………………………………………

(State if there are any others) ………………………………………………………………………………………………

………………………………………………………………………………………………

Revised on 23-09-2019

6.    SPECIFICATIONS

### Add relevant Specifications

### from NWSDB web

### (under the “Restrict Links”)

as per the

requirement of the work.

- SPECIFICATIONS FOR CIVIL ENGINEERING  CONSTRUCTION

- SPECIFICATIONS FOR TRENCH  EXCAVATION, BACKFILLING &  ROAD REINSTATEMENT

- SPECIFICATION FOR

TRENCHLESS PIPES INSTALLATION

Revised on 21-11-2013

Revised on 18-06-2018

7.    SCHEDULE OF PARTICULARS

[Not Applicable]

8.    DEVIATIONS FROM  SPECIFICATIONS

DEVIATIONS FROM SPECIFICATIONS

Preamble

The Bidder is required to list any deviations of materials workmanship etc. from the Specifications including such information as has already been given elsewhere in the Tender Documents. The information shall be in sufficient detail to enable the Engineer to make a realistic assessment of the effect of such deviations on the performance or life of the materials to be supplied and also such deviation if any shall be subject to Clause 26.2 (a) of Instructions to Bidders.

The list shall also include deviations from the Specifications relating to the mode of operation and/or control of any item of equipment, and any deviations from the specified design requirements for plant components.

Deviations

Revised on 23-09-2019

9.    SCHEDULE OF DAY WORKS

- PREAMBLE NOTES ON DAYWORKS SCHEDULES

- SCHEDULE OF DAYWORK RATES FOR LABOUR

- SCHEDULE OF DAYWORK RATES FOR MATERIALS

- SCHEDULE OF DAYWORK RATES FOR CONSTRUCTIONAL PLANT

# SCHEDULES OF DAYWORKS

PREAMBLE NOTES ON DAYWORK SCHEDULES

General

Reference should be made to Clause 53 of the Conditions of Contract. Work shall not be executed on daywork basis except by written order of the Engineer. The rates specifies shall apply to any quantities of daywork ordered by the Engineer. Daywork rates are exclusive of VAT.

The daywork rates for labour, material and Contractor’s Equipment do not include percentages to cover contractor’s overhead and profit. Contractor may add maximum percentage over and above the daywork rate to cover overhead and profit as specified in each section below.

Labour for daywork

Only the time of different classes of labour directly doing work ordered by the Engineer and for which they are competent to perform will be measured. The time of gangers (charge hands) actually doing the work with the gangs will also be measured but not the time of foreman or other supervisory personnel.

The daywork rates for labour shall cover all direct costs to the contractor, including the amounts of wages paid to such labour, transporting time, subsistence allowances and any sums paid to or in on behalf of such labour for social benefits in accordance with Sri Lankan Law.

The overhead and profit component, maximum of 15% of daywork rates to cover the contractor’s profit, overhead, superintendence, liabilities and insurance and allowances to labour, time keeping, clerical and office work, the use of consumable stores, utilities, the cost of using, repairing and maintaining the tools necessary to each class of workman.

Material for daywork

The basic rates for material is based on the invoice price, freight, insurance, handling expenses, damages, losses, wastages etc. and shall provide and delivery to site as directed by the Engineer. The contractor shall be entitled to payment in respect of materials used for daywork  at the maximum of 6% of daywork to cover the overhead and profit.

Contractor’s Equipment for daywork

The contractor shall be entitled to payment in respect of Contractor’s Equipment employed on daywork. The rates include  due and complete allowance for depreciation, interest, indemnity and insurance, repairs, maintenance, supplies, fuel, lubricants and other consumables. Contractor may add a maximum of 10%  overhead and profit component to the daywork rates to cover his profit, overhead, superintendence, administrative costs related to use such equipment, liabilities, time keeping and any other allied works.

Revised on 23-02-2018

In calculating the payment due to the Contractor for Contractor’s Equipment employed on daywork, only the actual number of working hours will be eligible for payment, except that where applicable and agreed with the Engineer, the travelling time from the part of the site where the Contractor’s Equipment was located when ordered by the Engineer to be employed on daywork and the time of return journey there to shall be considered for payment.

Revised on 09-10-2017

SCHEDULE OF DAYWORK RATES

FOR LABOUR

| ITEM NO | DESCRIPTION |  | UNIT | RATE Rs. |
| --- | --- | --- | --- | --- |
| 1 | Unskilled Labour |  | day | 1600.00 |
| 2 | Helper |  | day | 1650.00 |
| 3 | Pipe Layer |  | day | 2190.00 |
| 4 | Fitter |  | day | 2190.00 |
| 5 | Mason |  | day | 2000.00 |
| 6 | Carpenter & Joiner |  | day | 2120.00 |
| 7 | Steel work Erector |  | day | 2130.00 |
| 8 | Tool Operator |  | day | 1760.00 |
| 9 | Tiller |  | day | 2190.00 |
| 10 | Plumber |  | day | 2130.00 |
| 11 | Welder |  | day | 2070.00 |
| 12 | Painter |  | day | 2130.00 |
| 13 | Electrician |  | day | 2200.00 |
| 14 | Mechanic |  | day | 2200.00 |
| 15 | Bar Bender |  | day | 2140.00 |
| 16 | Operator (Heavy Machine) |  | day | 2260.00 |
| Note : | VAT not included |  |  |  |
|  | Contractor's O/H & P not included. |  |  |  |
| Source: | Market prices June 2020 |  |  |  |

Revised on 12-11-2020

SCHEDULE OF DAYWORK RATES

FOR MATERIALS

| Item No. | Description | Unit | Basic rate (Rs.) |
| --- | --- | --- | --- |
| 1. | Cement, ordinary Portland or equivalent in bags | kg | 21.50 |
| 2. | Tor Steel reinforcing bar | kg | 146.00 |
| 3. | Mild steel | kg | 146.00 |
| 4. | Fine aggregate as specified in Clause 1.6.1 of the ICTAD specification (SCA/4/1) for Building Works – Volume 1 |  |  |
| 4.1 | Fine Sand | cu | 18,426.00 |
| 4.2 | Coarse Sand | cu | 17,853.00 |
| 4.3 | Sea sand (wash) | cu | 11,344.00 |
| 5. | Quarry Dust | cu | 9,660.00 |
| 6. | Coarse aggregate for concrete as specified in Clause 302 of the General Specification for Civil Engineering construction of size; |  |  |
| 6.1 | ½” (Chips) | cu | 8,085.00 |
| 6.2 | ¾” | cu | 8,460.00 |
| 6.3 | 1” | cu | 8,366.00 |
| 6.4 | 1½” | cu | 8,336.00 |
| 6.5 | 2” | cu | 8,336.00 |
| 7. | Shuttering planks( ¾”) | m2 | 580.00 |
| 8. | Timber for Members |  |  |
|  | Jack |  |  |
| 8.1 | Timber 4”x3” – 6 ½ – 7 ft | m | 1,599.00 |
| 8.2 | Timber planks 1 1/8” | m2 | 5,799.00 |
|  | Kempus/ Tulang |  |  |
| 8.3 | Class I Timber 2”x1” | m | 102.00 |
| 8.4 | Class I Timber 2”x2” | m | 204.00 |
| 8.5 | Class I Timber 4”x2” | m | 568.00 |
| 8.6 | Class I Timber 4”x3” | m | 1,017.00 |
| 8.7 | Class I Timber 5”x2” | m | 930.00 |
| 8.8 | Class I Timber 3”x5” | m | 1,041.00 |
| 8.9 | Class I Timber 2”x6” | m | 1,017.00 |
| 8.10 | Class I Timber 3”x6” | m | 1,236.00 |
|  | Other |  |  |
| 8.11 | Valance Board 9”x 1” (Ginisapu) | m | 580.00 |
| 8.12 | Ceiling Planks ¾” (Lunumidella) | m2 | 1,249.00 |

Revised on 12-11-2020

| Item No. | Description | Unit | Basic rate (Rs.) |
| --- | --- | --- | --- |
| 9. | Bricks Standard size | nr. | 16.00 |
| 10. | Rubble |  |  |
| 10.1 | 6” x 9” | cu | 5,697.00 |
| 10.2 | 6” x 4” | cu | 5,697.00 |

Note :  1. Contractor’s  O/H & P not included

2. VAT not included

Source :-

- Market prices June 2020.

Revised on 12-11-2020

RATES FOR DAYWORK SCHEDULES

CONSTRUCTIONAL EQUIPMENT

| ITEM NO | DESCRIPTION | CAPACITY | UNIT | RATE (Rs.) |
| --- | --- | --- | --- | --- |
|  | Air Hanling Equipment |  |  |  |
| 1 | Air Compressor (including tools breakers etc:)* | 1000 CFM | hr | 3,240.00 |
| 2 | Air Compressor (including tools breakers etc:)* | 500 CFM | hr | 2,320.00 |
| 3 | Air Compressor (including tools breakers etc:)* | 300 CFM | hr | 1,390.00 |
| 4 | Air Compressor (including tools breakers etc:)* | 200 CFM | hr | 1,300.00 |
| 5 | Air Compressor * (baby) |  | day | 200.00 |
| 6 | Blower |  | day | 460.00 |
| 7 | Vacum Cleaner |  | day | 1,260.00 |
|  | Breaking / Cutting Equipment |  |  |  |
| 8 | Angle Grinder (06'',04") – Electrical |  | day | 210.00 |
| 9 | Angle Grinder (7") - Electrical |  | day | 510.00 |
| 10 | Asphalt cutter * |  | hr | 1,160.00 |
| 11 | Breaker Machine (70kg) - Electric |  | day | 3,020.00 |
| 12 | Breaker Machine - Air (not included compressor) |  | day | 4,530.00 |
| 13 | Grinder (large) - Electrical |  | day | 3,020.00 |
| 14 | Grinder (medium) - Electrical |  | day | 4,530.00 |
| 15 | Tile cutter (2'-0'' length) |  | day | 510.00 |
| 16 | Tile cutter (up to 2'-0'' length) |  | day | 360.00 |
|  | Compacting Equipment |  |  |  |
| 17 | Hand Rammers * | 60kg | day | 3,820.00 |
| 18 | Plate Compactor Mechanical * | 90kg | day | 3,520.00 |
| 19 | Pneumatic Roller * | 8 - 10 t | hr | 3,620.00 |
| 20 | Pneumatic Roller * | 10 - 12 t | hr | 4,280.00 |
| 21 | Soil compactor -Vibrating Roller *(Min.4hrs/day) | 01 t | hr | 1,260.00 |
| 22 | Soil compactor -Vibrating Roller *(Min.4hrs/day) | 05 t | hr | 2,120.00 |
| 23 | Soil compactor -Vibrating Roller *(Min.4hrs/day) | 07 t | hr | 2,720.00 |
| 24 | Soil compactor -Vibrating Roller *(Min.4hrs/day) | 10 t | hr | 2,940.00 |
| 25 | Soil compactor -Vibrating Roller *(Min.4hrs/day) | 20 t | hr | 3,890.00 |
| 26 | Soil compactor -Vibrating Roller *(Min.4hrs/day) | 26 t | hr | 4,350.00 |
|  | Concrete Work Related |  |  |  |
| 27 | Concrete mixer complete with scales etc. * | 0.25m3 | hr | 500.00 |
| 28 | Concrete mixer complete with scales etc. * | 0.5m3 | hr | 700.00 |
| 29 | Porker vibrator (Electric) | 25mm dia. | day | 1,360.00 |
| 30 | Porker vibrator (Electric) | 32mm dia. | day | 1,510.00 |
| 31 | Porker vibrator (with engine)* | 25mm dia. | day | 3,020.00 |

Revised on 12-11-2020

Revised on 23-09-2019

| ITEM NO | DESCRIPTION | CAPACITY | UNIT | RATE (Rs.) |
| --- | --- | --- | --- | --- |
|  | Concrete Work Related |  |  |  |
| 32 | Porker vibrator (with engine)* | 32mm dia. | day | 3,220.00 |
| 33 | Porker vibrator (with engine)* | 38mm dia. | day | 3,520.00 |
|  | For Supply of Ready Mix Concrete (Colombo Area) |  |  |  |
| 34 | Pump Cars -( Minimum 30 m3) - 21m length of pump car * |  | m3 | 780.00 |
| 35 | Pump Cars -( Minimum 40 m3) - 32 m length of pump car* |  | m3 | 870.00 |
| 36 | Pump Cars -( Minimum 50 m3) - 37 m length of pump car* |  | m3 | 970.00 |
|  | Earth Work Related Equipment |  |  |  |
| 37 | Backhoe loader * | 0.10m3 | hr | 1,740.00 |
| 38 | Backhoe loader * | 0.25m3 | hr | 2,200.00 |
| 39 | Bob Cat * (Min.4hrs/day) |  | day | 2,200.00 |
| 40 | Bulldozer (Crawler Tractor) * (Min.4hrs/day) | 85 hp | hr | 3,380.00 |
| 41 | Bulldozer (Crawler Tractor) * (Min.4hrs/day) | 120 hp | hr | 4,150.00 |
| 42 | Excavator (Long Arm)* | 0.4m3 | hr | 3,350.00 |
| 43 | Excavator (Long Arm)* | 0.5m3 | hr | 4,560.00 |
| 44 | Excavator (Long Arm)* | 0.9m3 | hr | 7,580.00 |
| 45 | Excavator * | 0.18m3 | hr | 1,720.00 |
| 46 | Excavator * | 0.35m3 | hr | 2,210.00 |
| 47 | Excavator * | 0.45m3 | hr | 2,400.00 |
| 48 | Excavator * | 0.7m3 | hr | 3,090.00 |
| 49 | Excavator * | 0.9m3 | hr | 3,470.00 |
| 50 | Excavator with backhoe * | 130hp | hr | 4,210.00 |
| 51 | Motar Grader * | 3.1 m | hr | 3,370.00 |
| 52 | Motar Grader * | 4.2 m | hr | 5,000.00 |
| 53 | Wheel Loader * | 0.1m3 | hr | 1,690.00 |
| 54 | Wheel Loader * | 1.4m3 | hr | 1,970.00 |
| 55 | Wheel Loader * | 2.0m3 | hr | 2,470.00 |
|  | Hoisting Equipment |  |  |  |
| 56 | Chain Block 5T |  | day | 510.00 |
| 57 | Hoist Machine (300/500kg)* |  | km | 7,540.00 |
| 58 | Crane Truck (80 km/day) * crane charge Rs.2500/hrs | 5t | km | 200.00 |
| 59 | Crane Truck (80 km/day) * crane charge Rs.2500/hrs | 17t | km | 250.00 |
| 60 | Crane Truck (80 km/day) * crane charge Rs.2500/hrs | 20t | km | 290.00 |
| 61 | Crawler Crane * | 35 t | hr | 4,230.00 |
| 62 | Crawler Crane * | 50 t | hr | 5,630.00 |

Revised on 12-11-2020

| ITEM NO | DESCRIPTION | CAPACITY | UNIT | RATE (Rs.) |
| --- | --- | --- | --- | --- |
|  | Hoisting Equipment |  |  |  |
| 63 | Fork lift * (Min.4hrs/day) | 3 t | hr | 1,460.00 |
| 64 | Fork lift * (Min.4hrs/day) | 5 t | hr | 1,940.00 |
| 65 | Hydraulic Crane * | 20 t | hr | 7,140.00 |
| 66 | Hydraulic Crane * | 15t | hr | 5,530.00 |
| 67 | Tower crane * (without mobilization & demobilization) | 10 t | hr | 3,350.00 |
| 68 | Tower crane *(without mobilization & demobilization) | 12 t | hr | 4,680.00 |
|  | Miscellaneous Equipment |  |  |  |
| 69 | Welding Generator | 16KVA | day | 640.00 |
| 70 | Welding Plant (3 phase) | 3-Phase 400A | day | 510.00 |
| 71 | Floor Polisher |  | day | 1,210.00 |
| 72 | Jig Saw |  | day | 360.00 |
|  | Power Generating Equipment |  |  |  |
| 73 | Generating set (with fuel ) | 25kVA | hr | 2,010.00 |
| 74 | Generating set (with fuel ) | 50kVA | hr | 2,520.00 |
| 75 | Generating set (with fuel ) | 45kVA | hr | 2,770.00 |
| 76 | Generating set (with fuel ) | 125kVA | hr | 4,630.00 |
|  | Pumping Equipment |  |  |  |
| 77 | Pressure Pump (Electric domestic type-with operator) |  | day | 1,090.00 |
| 78 | Sludge pump 4'' dia. (with fuel & without operator) |  | hr | 1,000.00 |
| 79 | Water Pump 2" dia.(Electrical - without operator) |  | day | 1,010.00 |
| 80 | Water Pump 2" dia.(with fuel & without operator) |  | hr | 420.00 |
| 81 | Water Pump 4" dia. (with fuel & without operator) |  | hr | 1,050.00 |
|  | Special Equipment |  |  |  |
| 82 | Butt fusion Machine (Semi/Auto) with all necessary equipment - Electrical * |  | month | 23,520.00 |
|  | Transportation / Moving |  |  |  |
| 83 | Baby Dumper * |  | day | 4,560.00 |
| 84 | Container-Transport Trucks - 20 ft (up to 32km from Colombo Port) Additional transport (for night park add. Rs. 5000.00/day) |  | sum km | 18,090.00 250.00 |

Revised on 12-11-2020

| ITEM NO | DESCRIPTION | CAPACITY | UNIT | RATE (Rs.) |
| --- | --- | --- | --- | --- |
| 85 | Container-Transport Trucks - 30 ft ( up to 32km from Colombo Port) Additional transport (for night park add. Rs. 5000.00/day) |  | sum | 21,110.00 280.00 |
| 86 | Container-Transport Trucks - 40 ft ( up to 32km from Colombo Port) Additional transport (for night park add. Rs. 5000.00/day) |  |  | 25,130.00 320.00 |
| 87 | Crew cab (with driver & fuel) * |  | km | 80.00 |
| 88 | Double cab (with driver & fuel) * |  | km | 70.00 |
| 89 | Lorry * (80 km/day) | 12t | km | 250.00 |
| 90 | Low loader truck * | 30 - 40 km | km | 320.00 |
| 91 | Ordinary truck (100 km/day) * | 6 t | day | 8,060.00 |
| 92 | Ordinary truck (100 km/day) * | 12 t | day | 10,640.00 |
| 93 | Tractor with Tailor | 0.75cu | day | 5,570.00 |
| 94 | Truck with Boom * | 3 t | day | 11,580.00 |
| 95 | Truck with Boom * | 3.5 t | day | 12,580.00 |
| 96 | Truck with Boom * | 4 t | day | 15,650.00 |
| 97 | Truck with tipper * | 10t/5cu | km | 210.00 |
| 98 | Van (15 Sheet) or similar utility Vehicle * |  | km | 70.00 |
| 99 | Water Bowser (80 km/day) * | 7000lts. | km | 170.00 |

| Note : | 1. VAT not included |  |
| --- | --- | --- |
|  | 2. * Cost of Operator / Driver and fuel (if applicable) are included in rates |  |
|  | 3. Contractors O/H & P not included. |  |
| Source: | Market prices May 2020 |  |

Revised on 12-11-2020

10.  LIST OF  DRAWINGS

LIST OF DRAWINGS

| Drg. No. | # Description |
| --- | --- |

11.   BILLS OF QUANTITIES

- PREAMBLE NOTES ON PRICING

- BILLS OF QUANTITIES

- SUMMARY OF BILLS

- PREAMBLE NOTES

Select and Add

relevant preamble notes from

“Preamble Notes for BOQQ”

in NWSDB web

### (under the “Restrict Links”)

according to

works

Building-SLS573/ Civil-CESSM

And

Supply & Installation of Pipes/Fittings/Electrical & Mechanical Equipments

which are applicable.

Revised on 18-06-2018

BILLS OF QUANTITIES

Revised on 18-06-2018

### Add General Bill and other Bills using

### “Sample Bill of Quantities”

### form NWSDB web

### (under the “Restrict Links”)

as per the

requirement of the work.

Revised on 13-07-2020

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

LAYING OF …………………………………………………………….  for

…………………………………… WATER SUPPLY SCHEME

CONTRACT No. ……………………………………..

SUMMARY   OF   BILLS

| Bill No. | From page No. | Description | Amount |  |
| --- | --- | --- | --- | --- |
|  |  |  | Rs. | Cts. |
| 01 |  | General | …………….. | …………….. |
| 02 |  | …………………………………………….. | …………….. | …………….. |
| 03 |  | ……………………………………………. | …………….. | …………….. |
| 04 |  | ……………………………………………. | ……………… | …………….. |
|  |  | Sub Total (1) |  |  |
|  |  | Less: Provisional Sums |  |  |
|  |  | Sub Total (2) |  |  |
|  |  | Less: Discount (if any) |  |  |
|  |  | Sub Total (3) |  |  |
|  |  | Add: Contingencies [Sub total (3) x10%] Add: Provisional Sums |  |  |
|  |  | Total of Bid carried to Form of Bid (excluding VAT) in page 4-1 |  |  |

VAT Registration Number : ………..……………….

(A copy of the VAT registration form should be annexed.)

Note :-  The NWSDB VAT Registration No :- 4090  31820  7000.

Revised on 13-12-2019

12.  SPECIMEN FORMS

- BID SECURITY

- LETTER OF ACCEPTANCE

- AGREEMENT

- PERFORMANCE SECURITY

- ADVANCE PAYMENT SECURITY

- RETENTION MONEY GUARANTEE

FORM OF BID SECURITY

-------------------------------------------------------------------------------------------------------

-------------------------------------------------------------------------------------------------------

[insert issuing agency’s name, and address of issuing branch or office]

Beneficiary:	 The Chairman, (NWSDB)/DGM (RSC………………)/PD(……………WSP)

………………………………………………………

……………………………………………………... (Insert Relevant Address)

Date:	---------------------------- [insert (by issuing agency) date]

BID SECURITY No.:	-------------------------- [insert (by issuing agency) number]

We have been informed that --------------------------------------------------------------------------------------- [name of the Bidder] (hereinafter called "the Bidder") has submitted to you its bid dated  ---------------[ date] (hereinafter called "the Bid") for the execution of ………………………………………………

………………………………………….[insert name of Contract] under Contract  No. -----------------------

Furthermore, we understand that, according to your conditions, Bids must be supported by a Bid Security.

At the request of the Bidder, we ----------------------------------------------- [insert name of issuing agency] hereby irrevocably undertake to pay you any sum or sums not exceeding in total an amount of ------------------- [insert amount in figures]  --------------------------------------------------------------  -------- -------- -------- -------- -------- -------- -------- -------- [insert amount in words] upon receipt by us of your first demand in writing accompanied by a written statement stating that the Bidder is in breach of its obligation(s) under the bid conditions, because the Bidder:

(a) 	has withdrawn its Bid during the period of bid validity specified; or

(b) 	does not accept the correction of errors in accordance with the Instructions to Bidders (hereinafter “the ITB”) ; or

(c) 	having been notified of the acceptance of its Bid by the Employer during the period of bid validity, (i) fails or refuses to execute the Contract Form, if required, or (ii) fails or refuses to furnish the Performance Security, in accordance with the ITB.

This Security shall expire:  (a) if the Bidder is the successful bidder, upon our receipt of copies of the Contract signed by the Bidder and of the Performance Security issued to you by the Bidder; or (b) if the Bidder is not the successful bidder, upon the earlier of (i) the successful bidder furnishing the performance security, otherwise it will remain in force up to ---------------- (insert date)

Consequently, any demand for payment under this Security must be received by us at the office on or before that date.

___________________________________________

[signature(s) of authorized representative(s) ]

Revised on 23-09-2019

LETTER OF ACCEPTANCE

[Letter heading  paper of the Employer]

…………… [Date]

To: 	……………………………………………………………………………………………

[Name  of the Contractor]

………………………………………………………………………………………………

[Address of the Contractor]

This is to notify you that your bid dated ………………………….[insert date] for construction and remedying defects  of the …………………………….……………………………..[name of the Contract and Contract  number]  for the Contractor price of ……………………………………… …………………………………………………….....................................…………[amount in figures and  words] as corrected in accordance with Instructions to Bidders and/or modified by a Memorandum of Understanding, is hereby accepted.

Applicable VAT will be payable on production of Tax Invoice.  The Registration No. for NWSDB for VAT is 409031820700.

The adjudicator shall be appointed when necessity arises.

You  are hereby instructed to proceed with the execution of the said Works in accordance with the Contract documents.

The Start Date shall be : ………………………………….(fill the date as per Conditions of Contract).

Contract Period is ……  days from the Start Date.

Liquidated Damages shall be Rs. ……………/day up to the limit of 10% of the contract price.

The Amount of Performance Security is : ………………………

The Performance Security shall be submitted on or before ………………………………(fill the date as per Conditions of Contract). Failing to submit the performance guarantee will be a breach of contract and actions shall be taken as per Clause 34 of the Instruction to Bidders.

Please acknowledge the receipt of this letter by return fax and make arrangements to sign the agreement by prior appointment with the Asst. General Manager (Tenders & Contracts) within ….. days.

Please contact PD/DGM (          )/AGM (              ), Engineer’s Representative of this tender, on Telephone No………………………. for further action on this contract.

…………………………….

General Manager

National Water Supply & Drainage Board

Revised on 23-09-2019

Revised on 23-09-2019

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

## MINISTRY OF ……………………………………………………………………

## NATIONAL WATER SUPPLY AND DRAINAGE BOARD

LAYING OF …………………………………………………………….  for

…………………………………… WATER SUPPLY SCHEME

CONTRACT No.: ……………………………….

- CONTRACT AGREEMENT

This AGREEMENT, is made and entered into on this …………….day of……… Two Thousand and ……………..by and between National Water Supply and Drainage Board, a corporate body duly established under the provisions of the National Water Supply and Drainage Board  Act No.2 of 1974 and having its Head Office at Ratmalana in Sri Lanka   (hereinafter called “the Employer”) or “the Board”) of the one part and Messrs .………………………………………… ……………………………………………………………………………………………………… (Hereinafter called “the Contractor”) of the other part.

WHEREAS the Employer is desires that the Contractor execute …………………………..,  ………………………………………………………………………………………………………

……………………………………………………………..[name and identification number of Contract] (hereinafter called “the Works”) and the Employer has accepted the Bid by the Contractor for the execution and completion of such Works and the remedying of any defects therein.

NOW THIS AGREEMENT WITNESSETH as follows:

1.	In this Agreement, words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract hereinafter referred to, and they shall be deemed to form and be read and construed as part of this Agreement.

2.	The documents forming the Contract shall be interpreted in the following order of priority:

(1)	Agreement,

(2)	Letter of Acceptance,

(3)	Memorandum of understanding (if any)

(4)	Contractor’s Bid,

(5)	Contract Data,

(6)	Conditions of Contract,

(7)	Specifications,

(8)	Drawings,

(9)	Bills of Quantities,

(10)	Any other document listed in the Contract Data as forming part of the Contract.

3.	In consideration of the payments to be made by the Employer to the Contractor as hereinafter mentioned, the Contractor hereby covenants with the Employer to execute and complete the Works and remedy any defects therein in conformity in all respects with the provisions of the Contract.

4.	The Employer hereby covenants to pay the Contractor in consideration of the execution and completion of the Works and the remedying of defects wherein the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

Revised on 12-11-2020

IN WITNESS whereof the parties thereto have caused this Agreement to be executed the day and year aforementioned in accordance with the laws of Sri Lanka.

Signed by the said …………………………………………. Chairman, National Water Supply and Drainage Board and ……………………………………………. Board Member of the National Water Supply and Drainage Board at …………………………………… on the …………. day of ………………………….. Two Thousand and ……………….. in the presence of the following Witnesses..

Chairman  …………………………………

Board Member ……………………………

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

Witnesses

1.	Signature …………………….     2.		Signature : ………………………

Name   :   …………………….		Name  :      ………………………

Address : …………………….		Address :  ………………………

…………………….			       ………………………

…………………….			       ………………………

For and on behalf of the Contractor : signed by the said ……………………………………in the capacity of …………………………………………………………………………. and/or duly authorized to sign this contract agreement for and on behalf of ………..

……………………………………………………………………………………………..

……………………………………………………………… (Block Letters)

Witnesses

1.	Signature …………………….     2.		Signature : ………………………

Name   :   …………………….			Name  :      ………………………

Address : …………………….			Address :  ………………………

…………………….			       ………………………

…………………….			       ………………………

PERFORMANCE SECURITY

(Unconditional)

………………………………………………………………………………………………………                  [Issuing Agency’s Name and address of Issuing Branch or Office]

Beneficiary: ……………………………………………………………………………………

[Name and Address of Employer]

Date: ………………………………………………………

PERFORMANCE SECURITY NO.: ………………………………………

We have been informed that ……………………………………………………………………..

[Name of  Contractor] (hereafter called “the Contractor”) has entered into Contract No. ………………………………[reference number of the contract] dated …………………………with you, for the ……………………………………………………………………………………[insert “Construction”] of  ……………………………………………………………………………….

[name of contract and brief description of Works] (hereinafter called “ the Contract”).

Furthermore, we understand that, according to the conditions of the Contract, a Performance Security is required.

At the request of the Contractor, we ………………………………………………………………

[name of Agency] hereby irrevocably undertake to pay you any sum or sums not exceeding in total an amount of …………………………………………………………………………[amount in figures]  (………………………………….………………………………………………………………………) [amount in words], upon receipt by us of your first demand in writing accompanied by a written statement stating that the Contractor is in breach of its obligation(s) under the Contract, without your needing to prove or to show grounds for your demand or the sum specified therein.

This Security shall expire, no later than the ………… day of …………. 20…….  [insert date, 28 days beyond the Defects Liability Period]   and any demand for payment under it must be received by us at this office on or before that date.

We further agree that no change or addition to or other modification of the terms of the Contract or of the Works to be performed there under or of any of the Contract document which may be made between you and the Contractor shall in any way release us from any liability under this guarantee, and we hereby waive notice or any such change, addition or modification.

……………........................................................	…….….

[Signature(s)] of the Guarantor 		Seal

Capacity  …………………………..

Revised on 23-09-2019

- FORM OF ADVANCE PAYMENT SECURITY

- ………………………………………………………………………………………………………………………………………….[Name and address of Agency, and Address of Issuing Branch or Office]

- Beneficiary :	…………………………………………………………………………...

- ……………………………………………[Name and Address of Employer]

- Date :……………………………………………

- ADVANCE PAYMENT SECURITY No.:………………………….

- We have been informed that …………………………………………………………….. [name of Contractor] (hereinafter called “the Contractor”) has entered into Contract No…………………………. [reference number of the contract] dated ………………….. with you, for the …………………….. construction of ………………………………. [name of contract and brief description] (hereinafter called “the Contract”).

- Furthermore, we understand that, according to the conditions of the Contract, an advance payment in the sum ………………..………………[amount in figures]…………………………………………………. ………………………..……………………..……………….[amount in words] is to be made against an advance payment security.

- At the request of the Contractor, we ………………………………………………………

- ……………..[name of issuing agency] hereby irrevocably undertake to pay you any sum or sums not exceeding in total an amount of …………………………………….[amount in figures] (……………………………………………………………………..) [amount in words] upon receipt by us of your first demand in writing accompanied by a written statement stating that the Contractor is in breach of its obligation in repayment of the Advance payment under the Contract, without your needing to prove or to show grounds for your demand or the sum specified therein.

- The maximum amount of this security shall be progressively reduced by the amount of the advance payment repaid by the Contractor.

- We further agree that no change or addition to or other modification of the terms of the Contract or of the Works to be performed thereunder or of any of the contract document which may be made between you and the Contractor shall in any way release us from any liability under this guarantee, and we hereby waive notice or any such change, addition or modification.

- This security shall be remain valid and in full effect from the date of the advance payment under the contract until National Water Supply and Drainage Board, receives full repayment of the same amount from the Contractor.

- Consequently, any demand for payment under this security must be received by us at this office on or before that date.

……………........................................................	…….….

[Signature(s)] of the Guarantor 		Seal

Capacity  …………………………..

Witness	Signature ……………………………………….

Name & Address ……………………………….

Capacity	………………………………….

Revised on 23-09-2019

FORM OF RETENTION MONEY GUARANTEE

- ………………………………………………………………………………………….

- [Issuing Agency’s Name, and Address of Issuing Branch or Office]

- Beneficiary :	………………………………………………………………………………..

- ………………………………………………………………………………

- ……………………[Name and Address of Employer :insert relevant Address]

- Date :………………..

- RETENTION MONEY GUARANTEE No.: ………………………………………

- We have been informed that …………………………………………………………….

- [name of Contractor/supplier] (Hereinafter called “the Contractor”) has entered into Contract No…………………………………………………………………….. [Reference number of the contract] dated …………………………… with you, for the execution of …………………………….

- ……………………………………………………………………….. [Name of contract and brief description of Works] (Hereinafter called “the Contract”).

- Furthermore, we understand that, according to the Government procurement Guideline and the decision taken by the Board of Directors of the National Water Supply & Drainage Board to release retention money when it reaches 5% of Contract Price, the Employer would release to the sum…………………………………………[amount in figures] (……………………………………………………………………………………………………………………………)

- [amount in words] is to be made against and unconditional on demand guarantee acceptable to the Employer

- At the request of the Contractor, we ……………………………………………………………………

- [name of agency] hereby irrevocably undertake to pay you any sum or sums not exceeding in total an amount of …………………………………………………………………..……[amount in figures]     (…………………………………………………………………………………..)[amount in words] upon receipt by us of your first demand in writing accompanied by a written statement stating that the Contractor is in breach of its obligation under the Contract .

- This guarantee shall expire, on …………………………………….[28 Days beyond the Defects Notification Period/ Defects Liability Period].

- Consequently, any demand for payment under this guarantee must be received by us at this office on or before that date.

…………….........................

[Signature(s)]

Signature and seal of the guarantor

Witness

Name	:      ………………………………

Signature………………………………….

Revised on 23-09-2019

13.   APPENDICES

APPENDIX 1A - 	DETAILS OF PIPE LAYING  WORKS COMPLETED WITHIN THE LAST FIVE YEARS AND ONGOING

PIPE LAYING  WORKS

Note		Separate sheets for each year may be used.

| Year | Name and Address of Employer | Name and details of Contract | Main or Sub Contractor | Value of Contract | Period of Contract | Remarks (Completed/ongoing etc.) | Value of work remaining incomplete | Pipe Dia | Laying length (km) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ……… |  |  |  |  |  |  |  |  |  |
| Total monetary value of construction works performed in year …… |  |  |  |  |  |  |  |  |  |
| ………. |  |  |  |  |  |  |  |  |  |
| Total monetary value of construction works performed in year …… |  |  |  |  |  |  |  |  |  |
| ………. |  |  |  |  |  |  |  |  |  |
| Total monetary value of construction works performed in year …… |  |  |  |  |  |  |  |  |  |
| ………. |  |  |  |  |  |  |  |  |  |
| Total monetary value of construction works performed in year …… |  |  |  |  |  |  |  |  |  |
| ………. |  |  |  |  |  |  |  |  |  |
| Total monetary value of construction works performed in year …… |  |  |  |  |  |  |  |  |  |

Note : Contractor’s shall submit completion certificated for completed works and awarding letters and relevant cliental certificates for on going works for the proof of above furnished details.

Revised on 23-02-2018

APPENDIX 1B - 	DETAILS OF OTHER CIVIL   WORKS COMPLETED WITHIN THE LAST FIVE YEARS AND ONGOING

WORKS

Note		Separate sheets for each year may be used.

| Year | Name and Address of Employer | Name and details of Contract | Main or Sub Contractor | Value of Contract | Period of Contract | Remarks (Completed/ongoing etc.) | Value of work remaining incomplete |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ………. |  |  |  |  |  |  |  |
| Total monetary value of construction works performed in year ……. |  |  |  |  |  |  |  |
| ………. |  |  |  |  |  |  |  |
| Total monetary value of construction works performed in year ……. |  |  |  |  |  |  |  |
| ………. |  |  |  |  |  |  |  |
| Total monetary value of construction works performed in year ……. |  |  |  |  |  |  |  |
| ………. |  |  |  |  |  |  |  |
| Total monetary value of construction works performed in year ……. |  |  |  |  |  |  |  |
| ………. |  |  |  |  |  |  |  |
| Total monetary value of construction works performed in year ……. |  |  |  |  |  |  |  |

Note : Contractor’s shall submit completion certificated for completed works and awarding letters and relevant cliental certificates for on going works for the proof of above furnished details.

Revised on 23-02-2018

APPENDIX 2 - DETAILS OF CONSTRUCTION MANAGEMENT SERVICES

PROPOSED FOR THE CONTRACT

| Serial No. | Item | Required Services | Duration |
| --- | --- | --- | --- |
| 1. | The any specialist services required for the contract (List below) (i) …………………. (ii) …………………. (iii) …………………. |  |  |

Revised on 13-07-2020

APPENDIX 2A – SCHEDULE OF KEY CONSTRUCTION PERSONNEL /

SUPERVISORY STAFF PROPOSED FOR THE CONTRACT

1.	In case of Engineers Bio-data should be submitted.

| Item | Category | Qualification | Experience in years | No. proposed |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | By NWSDB | By contractor |
|  | Engineers / Site Manager | B. Sc Eng 1 degree or equivalent | 02 |  |  |
|  | Engineering Assistants | NDT or equivalent | 02 |  |  |
|  | Supervisors | NCT or equivalent | 02 |  |  |
|  | Skilled Labourers | Vocational Trade Test Certificate | 05 | Sufficient |  |
|  | Labours | - | - | Sufficient Number |  |

Revised on 13-07-2020

APPENDIX 3 - SCHEDULE OF MAJOR EQUIPMENT PROPOSED TO

CARRYOUT THE PIPE LAYING WORK

Note:

1.	The categories indicated below are only the minimum requirement proposed by NWSDB for information.  The Bidder should declare the actual plant and equipment that he proposes to use for the execution of the works. These plant and equipment should be in usage for not more than five years after their first purchase/use.

| Item | Description | Minimum No. Proposed by NWSDB | Minimum No. Provide by the contractor | Minimum Period Proposed | Remarks (hired/own) |
| --- | --- | --- | --- | --- | --- |
| 1. | Excavator/ Loader 1-2 m3 | 01 |  |  |  |
| 2. | Hand Rammers | 01 |  |  |  |
| 3. | Soil Compactor – Mechanical ½ ton | 01 |  |  |  |
| 4. | Hand Roller 2 – 3 ton | 01 |  |  |  |
| 5 | Dumper minimum capacity 1 m3 | 01 |  |  |  |
| 6. | Concrete mixer complete with scales etc. 0.25 – 0.5 m3 | 01 |  |  |  |
| 7 | Concrete vibrator 38mm dia. | 02 |  |  |  |
| 8. | Portable Air compressor complete with hose and pneumatic tools minimum capacity 2.83 m3 (100 cu.ft) per minute and pressure 70 kg/cm2 (100 psi) | 01 |  |  |  |
| 9. 10. | Mobile crane up to 5 ton Portable welding set 500 A capacity complete with welding accessories. | 01 02 |  |  |  |
| 11. | Generating Set up to 4 kw | 01 |  |  |  |
| 12. | Bitumen sprayer up to 6 ton | 01 |  |  |  |
| 13 | Water Tanker 4 – 6 m3 | 01 |  |  |  |
| 14 | Water Pump (complete with hoses etc.) 100 ft3/min | Sufficient number |  |  |  |

| Item | Description | Minimum No. Proposed by NWSDB | Minimum No. Provide by the contractor | Minimum Period Proposed | Remarks (hired/own) |
| --- | --- | --- | --- | --- | --- |
| 15 | Rubber Roller up to 5 ton |  |  |  |  |
| 16 | Truck with Tipper 3 – 8 ton |  |  |  |  |
| 17. | Bar bending Equipment. |  |  |  |  |
| 18. | Engineer’s Level |  |  |  |  |
| 19. | Theodolite. |  |  |  |  |
| 20. | Shoring | Sufficient Quantity |  |  |  |
| 21. 22 23 | Pressure testing equipment Asphalt cutter But fusion welding machine for PE Pipes with trained operator | 02 1 |  |  |  |

Note:

  - This is a typical format and has to be amended to suit the requirement of the

contract  by the user department.

2.	The Bidder shall submit a documentary evidence for  machinery to be

hired/lease for the contract.

# APPENDIX 4 -  FINANCIAL STATEMENT

Summary of assets and liabilities based on the audited financial statements for the last three financial years (Current statement may be unaudited) together with the Financial Performance as indicated in the following schedule shall be submitted.

If the business has not been in operation for three years following schedule shall be submitted for the period that the business has been in operation together with the aforesaid financial statements.

Bidders whose financial capability is marginally less to undertake this bid may show credit facilities available to them from a Banks.

# Financial performance for the last 3 years

| Year | xxxx | xxxx | xxxx |
| --- | --- | --- | --- |
| Turnover from Contracting |  |  |  |
| Fixed Assets (FA) |  |  |  |
| Current Assets (CA) |  |  |  |
| Current Liabilities (CL) |  |  |  |
| Long Term Liabilities (LL) |  |  |  |
| Net Worth = Total Assets – Total Liabilities |  |  |  |
| Current Ratio = Current Assets Current Liability |  |  |  |
| Liquidity Ratio = Current Assets(except stock) Current Liability |  |  |  |
| Gearing Ratio = Debt Capital x 100 Total Capital Employed |  |  |  |
| Turnover x 100 Total Operating Assets |  |  |  |
| Net Profit x 100 Total Assets |  |  |  |

Revised on 13-09-2017

APPENDIX 4A – REVOLVING CREDIT LINE FACILITY

Date : ………..

Name of Bidder : …………………………………..

Details of  Commercial Banks providing revolving line of credit facilities.

| Name of the Bank | Amount of Credit Line (Rs.ML) | Address | Contact Telephone No. | Contact Name and Title |
| --- | --- | --- | --- | --- |

Note   :  Attach original letters issued from commercial banks addressed to the NWSDB,

Confirming the revolving line of credit facilities given to the Bidder.

………………………………….

Signature of  Bidder/Authorized Representative

Company Seal :

Revised on 13-09-2017

APPENDIX 4B - Authorization to obtain References from Bankers.

BIDDER SHALL FILL THIS FORM AND PROVIDE WITH THE BID

…….………… [Bidder’s Name]

………………….........[Address]

………………………………….

..……………………………….

Manager …………………….. [Name of Bank]

………………..……………….[Address]

…………………………………………

…………………………………………

Dear Sir,

We hereby Authorize the National Water Supply & Drainage Board, on behalf of the Procurement Committee, to seek references of Bank details in order to  evaluate the financial statues  of  our company M/s ……………………………………………………………………

……………………………………………………………………….[Contract Name]  in connections with the ……………………………………………………… [Contract Number] bid, submitted by us.

Yours faithfully,

………………………………..

………………………………..

Authorized officer of the Bidder.

Note: If there are more than one bank given in the Appendix 4A, separate letters should be submitted for each Bank.

Revised on 29-10-2018

APPENDIX   5   -   WORK PROGRAMME PROPOSED BY THE CONTRACTOR FOR THE ………………………….

Scheme		: ………………………………………………..(To be filled the NWSDB design Engineer)

Contract No	:              ……………………………………………….(To be filled the NWSDB design Engineer)

Contractor	:	……………………………………………………

| Item No. | Description | Programme (Months) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
|  | NWSDB Design Engineer should provide major Components of the scheme. |  |  |  |  |  |  |  |  |

Appendix 6 - BIDDER’s Authorization to sign the Contract

[The Bidder shall require to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letter head of the Bidder and should be signed by a person with the proper authority to sign documents that are binding on the Bidder. The bidder shall include it in its bid].

Date : [insert date (as day, month and year) of Bid Submission]

No. : [insert contract number]

To :  	Chairman,

…………………………………,

…………………………………,

………………………………….

We …………………………………………[insert complete name of  the Bidder], who ……………………………………….…………[insert full address of Bidder], do hereby authorize …………….………………………….. [insert complete name of  Bidders authorize officer who signs the contract] to sign  a bid on behalf of our company and to subsequently negotiate and sign the Contract.

Specimen Signature …………………………………………………………

Signed :  …………………………………[insert signature(s) of authorized representative(s) of the Bidder]

Name : ………………………………………………………..[insert complete name(s) of authorized representative(s) of the Bidder]

Title :  …………………………………….. [insert title]

Duly authorized to sign this Authorization on behalf of :  ……………………………[insert complete name of  Bidder]

This is to certify that the seal and signatures of legal representative and authorized person affixed to power of attorney attached hereto are found to be authentic.

………………………………

Signature of Attorney at Law

……………………………..

Seal of Attorney at Law

In the place of  (…………………………………………………………………….. address)

Date ……………………

Revised on 23-09-2019

APPENDIX 7 – AFFIDAVIT BY THE BIDDER

I ………………………………………… of ………………………………………… being a ……………………… (Buddhist or any other religionist), do hereby solemnly sincerely and truly declare and affirm as follows.

01.	I am the Affirmant above named.

02.	I hereby declare that I have applied for the contract of National Water Supply and Drainage Board bearing No: …………………………………….. and my spouse or dependent does not work in National Water Supply and Drainage Board on permanent, casual or contract basis.

The foregoing affidavit having been read over and explained to the affirmant above named who having understood its nature content and context affirmed hereto and set his usual signature hereto in ……………...     on this ………….……………… day of …………….…….. 20…….

Before me	           ……………………

Declarant

…………………………………

Justice of the Peace /

Commissioner for oaths

Revised on 23-02-2018