Ref. No.: NWSDB/SBD/S&I/AC/ Ver2

REVISED ON 16-08-2022

GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC

# OF SRI LANKA

## MINISTRY OF WATER SUPPLY

# NATIONAL WATER SUPPLY AND DRAINAGE BOARD

SUPPLY AND INSTALLATION OF AIR CONDITIONING UNITS

AND ACCESSORIES

CONTRACT No.: …………………………………..

VOLUME 2

REVISED ON 16-08-2022

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

GALLE ROAD,

RATMALANA.

SRI LANKA

…………………..

Month & Year

#### DOCUMENT ISSUANCE CERTIFICATE

(To be filled at the time of issue by the authorized issuing officer)

1.	STANDARD DOCUMENT REFERENCE NUMBER : NWSDB/SBD/ S&I/AC/ LC/Ver 2

2.	CONTRACT NUMBER 	:   ………………….…………..………

3.	a)	ISSUED TO		:	………..........................……....................

b)	ADDRESS		:	………….................................……............

c)	TELEPHONE NUMBER	:	....……...............................….........

d)	FACSIMILE NUMBER	:	………………………………..……

4.        a)          TENDER FEE	:	Rs. ........ RECEIVED/NOT RECEIVED

IN CASH/BANK DRAFT

b)	RECEIPT/BANK DRAFT NUMBER	:	.....................…….....

5.	NUMBER OF COPIES ISSUED	:	..................…….…....................…...

6.	NUMBER OF CANCELLED COPIES ISSUED	:	…….....................….

7.	CANCELLED COPY FEE	:	Rs...............…….... RECEIVED/NOT RECEIVED

(IN CASH/BANK DRAFT)

8	BUSINESS REGISTRATION NUMBER	: ..........................………................

9.	a)	ISSUING OFFICER		:	................................................……..

b)	DESIGNATION		:	....................................................…

c)	SIGNATURE			:	..................................................……

10.	PLACE OF ISSUE			:	........................................................…

11.	SEAL		:	………………..………………………………………

12.	DATE		:	............................ 	TIME 	: 	…............................

T A B L E   O F   C O N T E N T S

| # SECTION |  | PAGE NUMBER |
| --- | --- | --- |
|  |  | From To |
| VOLUME 1 |  |  |
|  | Document Issuance Certificate Table of Contents | a b - d |
| 1 | Instructions to Bidders | 1 - 1 1 - 25 |
| 2 | Conditions of Contract | 2-1 2- 37 |

| # VOLUME 2 |  |  |  |
| --- | --- | --- | --- |
|  | Table of Contents Checklist of Submissions Invitation for Bids | i ii iii iv |  |
| 3 | Form of Bid |  | 3 – 1 3 – 2 |
| 4 | Bidding Data |  | 4 – 1 4 – 4 |
| 5 | Contract Data |  | 5 – 1 5 - 3 |
| 6 | Specifications |  | 6a-1 6b -8 |
| 7 | Schedule of Particulars |  | 7-1 7 -2 |
| 8 | Deviation from Specifications |  | 8 – 1 |
| 9 | List of Drawings |  | 9 - 1 |
| 10 | Delivery Schedule |  | 10-1 10 -2 |
| 11 | Bills of Quantities |  | 11 – 1 11 - 5 |

| SECTION |  |  | PAGE NUMBER |
| --- | --- | --- | --- |
|  |  |  | From To |
| VOLUME 1 |  |  |  |
| 12 |  | Specimen Forms 1. Bid Security 2. Contract Agreement 3. Performance Security 4. Advance Payment Security 5. Letter of Acceptance | 12 – 1 12 – 2 12 - 5 12 – 6 12 – 7 12 – 8 12 - 9 |
| ## 13 | Appendices Appendix 1 – Details of Similar Supply and Installations Completed within The last three years and ongoing. Appendix 2 – Financial Statement Appendix 2A - Reference from Bankers Appendix 3 - Confirmation of capability of Supply and installation according to delivery schedule Appendix 4 - Manufacturer’s Authorization to sign the Contract. Appendix 5 - Contractor’s Authorization to sign the Contract Appendix 6 - TOR for the independent Inspection Agency Appendix 7 - Manufacturer’s awareness of the TOR for Independent Inspection Agency Appendix 8 - Manufacturer’s warranty for the goods supplied under the contract Appendix 9 - Confirmation of supplying Goods Manufactured at the Factory Quoted Appendix 10 - Manufacture’s guarantee for the replacement of unacceptable/rejected goods supplied under the contract Appendix 11- Affidavit by the Bidder |  | 13 - 1 13 – 2 13 - 3 13 - 4 13 - 5 13 – 6 13 – 7 13 – 8 13 – 9 13 - 10 13 - 11 13 - 12 |

# CHECKLIST OF SUBMISSIONS

# CHECKLIST OF SUBMISSIONS

*	Note: Please mark ’Y’ in the cages under the ‘Remarks’ column if submissions are made.

‘N’ or ‘N/A’ should be marked for cases of ‘No submissions’ and ‘Not applicable’        respectively.

|  |  | ## Reference Instructions to Bidders |  | ## Remarks * |
| --- | --- | --- | --- | --- |
| (a) | Documentary evidence to establish eligibility of bidder | Page No 1 -5, 1- 6 | Clause No. 4 -1 |  |
| (b) | Certified copy of business registration | Page No. 1 - 6 | Clause No. 4.1.7 |  |
| (c) | In the case of a bidder offering to supply Goods under the Contract which the bidder does not manufacture or otherwise produce, authorisation by the manufacturer or producer of Goods as his accredited agent. | Page No. 1 - 6 | Clause No. 4.2 |  |
| (d) | The agreement of the manufacturer or producer to confirm that the supply will be made in accordance with the Delivery Schedule. | Page No. 1 - 6 | Clause No. 4.2 |  |
| (e) | Documentary evidence to establish qualifications for the performance of the Contract | Page No. 1 - 6, 1 - 7 | Clause No. 4.2 |  |
| (f) | The Bidder’s technical and production capability necessary to perform the Contract | Page No. 1 - 7 | Clause No 4.2 |  |
| (g) | Documentary evidence to establish that goods and related services offered are from an eligible source and origin | Page No. 1 - 7 | Clause No. 5 |  |
| (h) | Duly completed all sections of Bidding Documents. (Bidder shall fill the Schedule of Particulars, BOQ etc., indicating any deviations to specifications under the corresponding schedule of particulars) | Page No. 1 -7, 1 – 9, 1 - 10 | Clause No. 6 – 1, 11.1 (a) |  |
| (i) | Subsequent Addendum/Addenda (if any) | Page No. 1 - 9 | Clause No. 11.1 (h) |  |
| (j) | Product Conformity Certificates and Quality Assurance Certificates for items offered. | Page No. 1-9, 1- 10 | Clause No. 11.1 |  |
| (k) | Proof of Authorization | Page No. 1 - 10 | Clause No. 11.1 (m) |  |
| (l) | Copies of relevant standards used | Page No. 1 - 10 | Clause No. 11.1 (k) |  |
| (m) | Certified Copy of the VAT Registration Certificate | Page No. 1 - 12 | Clause No. 14.4 |  |
| (n) | Bid Security | Page No. 1 - 14 | Clause No. 20 |  |
|  | Any other document as given below: | Page No. 1 – 10 | Clause No. 11.1 (o) |  |

- INVITATION FOR BIDS

###### MINISTRY OF WATER SUPPLY

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

- INVITATION FOR BIDS

SUPPLY AND INSTALLATION OF AIR CONDITIONING UNITS

AND ACCESSORIES

- CONTRACT No.: ………………………………………………

- ----------------------------------------------------------------------------------------------------------------

1.	The Chairman, Department Procurement Committee, National Water Supply &Drainage Board, Galle Road, Ratmalana will receive sealed bids for the Supply and Installation of ……………………………………………………..  up to closing of bids at ……………. hours on …………. .

2.          Bids should be submitted in the documents available at the office of the Assistant General Manager (Tenders and Contracts), National Water Supply & Drainage Board (NWSDB), Galle Road, Ratmalana between 09:00 hours to 15:00 hours on normal working days up to  ...................................., upon payment of a non refundable fee of Rs. ……………….../= plus  applicable VAT.

3.	Bids will be opened immediately after the closing of bids, at the office of the Assistant General Manager (Tenders and Contracts), National Water Supply & Drainage Board (NWSDB), Galle Road, Ratmalana.  Bidders or their authorized representatives may be present at the opening of bids.

4.	Bidding Documents will be issued only to those who are manufacturers or their local accredited agents for supply and Installation of Air Conditioning Units & Accessories upon production of a letter of request for documents on a business letterhead together with the Certificate of Registration of the Contract as per the Act No. 3 of 1987 with the Registrar of Public Contract.

5. 		To be eligible for contract award, the successful bidder shall not have been blacklisted

6.	Alternative bids shall not be accepted. Bidders may purchase bidding documents in required number and may submit one or more independent offers. The independent offers shall be in separate set of bidding documents together with separate bid securities.  Bids with alternative offers in one document will be rejected without assigning reasons.

7.	Sealed bids may be either dispatched by registered post or hand delivered to the Assistant General Manager (Tenders and Contracts), National Water Supply & Drainage Board (NWSDB), Galle Road, Ratmalana to receive on or before the closing time. Late bids will be rejected.

8.	All Bids shall be accompanied by a bid security of Rupees ………………………….. and the bid security should be valid up to ………………(Specify the Date).

9.	Bidding Documents may be inspected free of charge at the office of the Assistant General Manager (Tenders and Contracts), NWSDB, Galle Road, Ratmalana.

10.	For further details, please contact the Assistant General Manager (Tenders and Contracts), NWSDB, Galle Road,  Ratmalana  on telephone  number  94 - 11-2635885  or  94 -11-2638999, Extension 1750 or  facsimile number   94 -11-2635885.

- Chairman,

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

Revised on 16-08-2022

###### MINISTRY OF WATER SUPPLY

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

- INVITATION FOR BIDS

SUPPLY AND INSTALLATION OF AIR CONDITIONING UNITS

AND ACCESSORIES

- CONTRACT No.: ………………………………………………

- ----------------------------------------------------------------------------------------------------------------

1.  	The  Chairman, Regional Procurement Committee, ……………………………………….... ……………………………………………………………… [Insert RSC address] will receive sealed bids for the Supply and Installation of ...……………………………………………………….. up to closing of bids at ……………. hours on …………. .

2.	Bids should be submitted in the documents available at the office of the ………….[Address of RSC] between 09:00 hours to 15:00 hours on normal working days up to  ...................................., upon payment of a non refundable fee of Rs. ……….. /= plus  applicable VAT.

3.	Bids will be opened immediately after the closing of bids, at the office of the ……………….. …………………………………………………………………………………………………..Bidders or their authorised representatives may be present at the opening of bids. Late Bids will be rejected.

4.	Bidding Documents will be issued only to those who are manufacturers or their local accredited agents for supply and Installation of Air Conditioning Units & Accessories upon production of a letter of request for documents on a business letterhead letter head together with the Certificate of Registration of the Contract as per the Act No. 3 of 1987 with the Registrar of Public Contract.

5. 		To be eligible for contract award, the successful bidder shall not have been blacklisted

6.	Alternative bids shall not be accepted. Bidders may purchase bidding documents in required number and may submit one or more independent offers. The independent offers shall be in separate set of bidding documents together with separate bid securities.  Bids with alternative offers in one document will be rejected without assigning reasons.

7.    Sealed bids may be either dispatched by registered post or hand delivered to the …………......................................................................................................................................................................................... [Address of RSC] to receive on or before the closing time.

8.	All Bids shall be accompanied by a bid security of Rupees ………………………….. and the bid security should be valid up to ………………(Specify the Date).

9.	Bidding Documents may be inspected free of charge at the office of the………………………….. [Address of RSC]

10.	For further details, please contact the....................................................................... (Name & Designation of Contact Person)………………………………………………………[Address] on  telephone  number  ……………………….Extension ………  or  facsimile number ……………..

DGM(RSC……………

Revised on 16-08-2022

###### MINISTRY OF WATER SUPPLY

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

- INVITATION FOR BIDS

SUPPLY AND INSTALLATION OF AIR CONDITIONING UNITS

AND ACCESSORIES

- CONTRACT No.: ………………………………………………

- ------------------------------------------------------------------------------------------------------------

1.	The Chairman, Project Procurement Committee, ………………………………………………

……………………………………….[Name & Address of project] office on behalf of  NWSDB will receive sealed bids for the supply and  Installation of  …………………………

…………up to closing of bids at ……………. hours on …………. …

2.	Bids should be submitted in the documents available at the office of the ….……………………………………………………………………………………………….[Name & Address of project] office, Sri Lanka between 09:00 hours to 15:00 hours on normal working days up to  ............................................, upon payment of a non refundable fee of Rs. ………… /= plus  applicable VAT.

3.	Bids will be opened immediately after the closing of Bids, at the office of the,………………………………………………………………………………………………[Name & Address of project] office, Sri Lanka. Bidders or their authorized representatives may be present at the opening of bids.

4.	Bidding Documents will be issued only to those who are manufacturers or their local accredited agents for supply and Installation of Air Conditioning Units & Accessories upon production of a letter of request for documents on a business letterhead together with the Certificate of Registration of the Contract as per the Act No. 3 of 1987 with the Registrar of Public Contract.

5. 		To be eligible for contract award, the successful bidder shall not have been blacklisted

6.	Alternative bids shall not be accepted. Bidders may purchase bidding documents in required number and may submit one or more independent offers. The independent offers shall be in separate set of bidding documents together with separate bid securities.  Bids with alternative offers in one document will be rejected without assigning reasons.

7.	Sealed bids may be either dispatched by registered post or hand delivered to the……………………………………………………………………………………………….[Name & Address of project] office, Sri Lanka to receive on or before the closing time. Late bids will be rejected.

8.	All Bids shall be accompanied by a bid security of Rupees ………………………….. and the bid security should be valid up to ………………(Specify the Date).

9.	Bidding Documents may be inspected free of charge at the office of the …………………………………………………………………………………………………..[Name & Address of project] office,  Sri Lanka.

10.	For further details, please contact the …………………………………………………………………………………………………...[Name & Designation of Contact person] Sri Lanka  on  telephone  number  ………………or …………… Extension ………..  or  facsimile  number    ……………………..

- Project Director,

……………………………..WSP

Revised on  16-08-2022

3.  FORM OF BID

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

###### MINISTRY OF WATER SUPPLY

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

SUPPLY AND INSTALLATION OF AIR CONDITIONING UNITS

AND ACCESSORIES

CONTRACT No.: …………………………….

FORM OF BID

The Chairman,

Department Procurement Committee,

National Water Supply and Drainage Board,

Galle Road,

Ratmalana.

I/We, the undersigned, having authority to sign this Bid and having read and fully acquainted myself/ourselves with the contents of the Information and Instructions to Bidders and Terms and Conditions of Tender pertaining to the above bid, along with Bills ......... thereto, do hereby undertake to supply the Goods and Services referred to therein, in accordance with the aforesaid Instructions, Terms and Conditions for a total Bid price of Rupees …………… ……................................................…………………………………………………………….. …………………………… (in words) (LKR..................………………........... …………..) (excluding VAT) The make up of the aforesaid total Bid Price is given in the accompanying Bills of Quantities.

I/We confirm that this offer shall be open for acceptance until as given in the Bidding Data and that it will not be withdrawn or revoked prior to that date.

I/We attach hereto the following documents as part of my/our Bid.

- Duly completed sections 1 to 13 of Bidding Documents

- Documentary evidence to establish eligibility of bid.

- Documentary evidence to establish that goods and related services are offered from an eligible source and origin.

- Documentary evidence to establish eligibility of goods offered.

- Bid Security

- Documentary evidence to establish qualifications for the performance of the Contract.

- Contract Data

- Bidding Data

- Any other document.

I/We declare that the photostat copies of documents and certificates submitted as part of my/our Bid are true copies of such documents and certificates. Also in case of ISO 9001:2015 certificate(s), I/we confirm that I/we have verified that the certificate issuing authority has accreditation to issue same and materials offered conform to the ISO series certificates and the specified product standard certificates.

Revised on 16-08-2022

I/We further agree to the right of the Board to debar me/us from participating in its future bids in the event that my/our submitted copies or documents are found to be forged or tampered with.

I/We understand that you are not bound to accept the lowest bid and that you reserve the right to reject any or all bids or to accept any part of a bid without assigning any reasons thereto.

I/We undertake to adhere to the Delivery Schedule given in Contract Data.

My/Our Bank Reference is as follows: ................................................................................

...............................................................................................................................................

Signature of Bidder		: .............................................................................................

Name of Bidder		: .............................................................................................

Address			: .............................................................................................

Telephone Number		: .............................................................................................

Facsimile Number		: .............................................................................................

Date				: ............................................................................................

## Witnesses

1. Name			:- ...........................................................................................

Address			: .............................................................................................

Signature			:- …………………………………………………………...

2. Name			:- ...........................................................................................

Address			: ............................................................................................

Signature			:- ……………………………………………………

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

###### MINISTRY OF WATER SUPPLY

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

SUPPLY AND INSTALLATION OF AIR CONDITIONING UNITS

AND ACCESSORIES

CONTRACT No.: …………………………….

FORM OF BID

The Chairman,

Regional Procurement Committee,

……………………….

…………………..

……………….

I/We, the undersigned, having authority to sign this Bid and having read and fully acquainted myself/ourselves with the contents of the Information and Instructions to Bidders and Terms and Conditions of Tender pertaining to the above Bid, along with Bills ......... thereto, do hereby undertake to supply the Goods and Services referred to therein, in accordance with the aforesaid Instructions, Terms and Conditions for a total Bid price of Rupees ........................... .....................……………………..……….………………………………….……...(in words) (LKR.............…………......... …………..) (excluding VAT) The make up of the aforesaid total Bid Price is given in the accompanying Bills of Quantities.

I/We confirm that this offer shall be open for acceptance until as given in the Bidding Data and that it will not be withdrawn or revoked prior to that date.

I/We attach hereto the following documents as part of my/our Bid.

- Duly completed sections 1 to 13 of Bidding Documents

- Documentary evidence to establish eligibility of bid.

- Documentary evidence to establish that goods and related services are offered from an eligible source and origin.

- Documentary evidence to establish eligibility of goods offered.

- Bid Security

- Documentary evidence to establish qualifications for the performance of the Contract.

- Contract Data

- Bidding Data

- Any other document.

I/We declare that the Photostat copies of documents and certificates submitted as part of my/our Bid are true copies of such documents and certificates. Also in case of ISO 9001:2015 certificate(s), I/we confirm that I/we have verified that the certificate issuing authority has accreditation to issue same and materials offered conform to the ISO series certificates and the specified product standard certificates.

Revised on 16-08-2022

I/We further agree to the right of the Board to debar me/us from participating in its future bids in the event that my/our submitted copies or documents are found to be forged or tampered with.

I/We understand that you are not bound to accept the lowest bid and that you reserve the right to reject any or all bids or to accept any part of a bid without assigning any reasons thereto.

I/We undertake to adhere to the Delivery Schedule given in Contract Data.

My/Our Bank Reference is as follows: ................................................................................

.................................................................................................................................................

Signature of Bidder		: .............................................................................................

Name of Bidder		: .............................................................................................

Address			: .............................................................................................

Telephone Number		: .............................................................................................

Facsimile Number		: ............................................................................................

Date				: .............................................................................................

## Witnesses

1. Name			:- ...........................................................................................

Address			: .............................................................................................

Signature			:- ………………………………………………………

2. Name			:- ...........................................................................................

Address			: .............................................................................................

Signature			:- ……………………………………………………

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF SRI LANKA

###### MINISTRY OF WATER SUPPLY

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

SUPPLY AND INSTALLATION OF AIR CONDITIONING UNITS

AND ACCESSORIES

CONTRACT No.: …………………………….

FORM OF BID

The Chairman,

Project Procurement Committee,

……………………………….,

……………….,

………………….

I/We, the undersigned, having authority to sign this Bid and having read and fully acquainted myself/ourselves with the contents of the Information and Instructions to Bidders and Terms and Conditions of Tender pertaining to the above bid, along with Bills ......... thereto, do hereby undertake to supply the Goods and Services referred to therein, in accordance with the aforesaid Instructions, Terms and Conditions for a total Bid price of Rupees ……………....... ………………….....................……………….…..………………..……………..… (in words) (LKR.............……………………................. …………..) (excluding VAT). The make up of the aforesaid total Bid Price is given in the accompanying Bills of Quantities.

I/We confirm that this offer shall be open for acceptance until as given in the Bidding Data and that it will not be withdrawn or revoked prior to that date.

I/We attach hereto the following documents as part of my/our Bid.

- Duly completed sections 1 to 13 of Bidding Documents

- Documentary evidence to establish eligibility of bid.

- Documentary evidence to establish that goods and related services are offered from an eligible source and origin.

- Documentary evidence to establish eligibility of goods offered.

- Bid Security

- Documentary evidence to establish qualifications for the performance of the Contract.

- Contract Data

- Bidding Data

- Any other document.

I/We declare that the photostat copies of documents and certificates submitted as part of my/our Bid are true copies of such documents and certificates. Also in case of ISO 9001:2015 certificate(s), I/we confirm that I/we have verified that the certificate issuing authority has accreditation to issue same and materials offered conform to the ISO series certificates and the specified product standard certificates.

Revised on 16-08-2022

I/We further agree to the right of the Board to debar me/us from participating in its future bids in the event that my/our submitted copies or documents are found to be forged or tampered with.

I/We understand that you are not bound to accept the lowest bid and that you reserve the right to reject any or all bids or to accept any part of a bid without assigning any reasons thereto.

I/We undertake to adhere to the Delivery Schedule given in Contract Data.

My/Our Bank Reference is as follows……………………………………………………

……………………………………………………………………………………………….

Signature of Bidder		: .............................................................................................

Name of Bidder		: .............................................................................................

Address			: .............................................................................................

Telephone Number		: .............................................................................................

Facsimile Number		: .............................................................................................

Date				: .............................................................................................

## Witnesses

1. Signature		:- ……………………………………………………………

Name		:- ...........................................................................................

Address		: .............................................................................................

2. Signature		:- ……………………………………………………………

Name		:- ...........................................................................................

Address		: .............................................................................................

## 4.   BIDDING DATA

The Bidding Data is a part of Instructions to Bidders and should be read in conjunction with the Instructions to Bidders.

If there is a discrepancy is found in the Instructions to Bidders and the Bidding Data, the Content in the Bidding Data shall supersede the Content in the Instructions to Bidders.

(Note: What is typed in italic letters are guide lines to prepare the Bidding Data and they shall be removed after preparation of the Bidding Data.)

Revised on 11-12-2014

| Bidding Data (Please note that the clause numbers given here under are that of Instruction to Bidder) The following specific data for the goods and related services to be procured shall complement, supplement, or amend the provisions in the Instructions to Bidders (ITB). Whenever there is a conflict, the provisions herein shall prevail over those in ITB. |  |
| --- | --- |
| ITB Clause Reference | A. General |
| 1.1 | The Purchaser / Employer is Name: National Water Supply and Drainage Board Address: Galle Road - Ratmalana Sri Lanka Name of authorized Representative : The Chairman, National Water supply and Drainage Board Galle Road – Ratmalana Sri Lanka The Works consists of ………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………located at ……………….. Intended Completion Date is ………………………. Days from the Start Date. Name of the Contract …………………………………………………………………. Contract Number ……………………………………………………………………… The office for collection of bid forms is Assistant General Manager (Tenders & Contracts) NWSDB, Galle Road, Ratmalana. The non-refundable fee is Rupees ………………………… Plus VAT, payable in cash The Bid forms will be issued until ……………………………. |

Revised on 11-12-2014

| 2.1 |  |  | The source of funding is: ………………………………………… |  |
| --- | --- | --- | --- | --- |
| 4.2 (i) 4.2(ii) 4.2(iii) |  |  | Minimum qualification to qualify for the award of the Contract is : Experience in Supply and Installation works of at least one contract of a similar nature and complexity equivalent to the supply and Installation works over the last 3 years. The Value of Work performed in the last three years in financial terms shall be at least …………………. (state the amount)(1.5 times the value of Contract) Working Capital *1 + present available credit facilities for the company*2 + credit facilities exclusively for this contract - 0.1 x current work commitments*3 > Rs……………*4 *1 Working Capital = Current Assets – Current Liabilities *2 A letter to prove the credit facilities by a Bank shall be issued within a month prior to date of closing of Bids. *3 current work commitment = work remaining uncompleted (Documentary evidence to justify shall be submitted) *4 80% of Contract Price |  |
|  |  |  | B. Contents of Bidding Documents |  |
| 7.1 |  |  | For Clarification of bid purposes only, the Employer’s address is: Assistant General Manager (Tenders and Contracts), National Water Supply and Drainage Board, Galle Road, Ratmalana. Fax . 011 – 2635885 Tel:011-2635885 |  |
|  |  |  | C. Preparation of Bids |  |
| 11.1 (o) |  |  | The Bidder shall submit the following additional documents: ………………………………………….. ………………………………………….[insert list of documents, if any] |  |
| 15.1 |  |  | The bidder shall quote the Contract Price in Sri Lankan Rupees. |  |
| 17.3 |  |  | Period of time the Goods are expected to be functioning (for the purpose of spare parts): ………………………. |  |
| 19.1 |  |  | The Bid shall be valid for …………………….. days from the date closing of the bids as specified in the IFB.. |  |
| 20.1 20.2 20.3 |  |  | Bid shall include a Bid Security in the format included in Section 12 Specimen Forms The amount of the Bid Security shall be: Rs. ………………. Revised on 24-04-2017 The validity period of the bid security shall be until………….(give a Date) |  |
|  |  |  | D. Submission and Opening of Bids |  |
| ITB 22.2 (b) 22.2 (c) |  |  | The inner and outer envelopes shall be addressed to the following address. The Employer’s address for DPC Bids : Assistant General Manager (Tenders & Contracts) National Water Supply & Drainage Board, Galle road, Ratmalana Name of the Contract : ……………………………………………… Contract No : ………….………………………………………… |  |
| ITB 23.1 |  |  | The Address for the submission of bids is The Employer’s address for DPC Bids : Assistant General Manager (Tenders & Contracts) National Water Supply & Drainage Board, Galle road, Ratmalana The deadline for the submission of bids is as specified in the IFB. |  |
| ITB 26.1 |  |  | The bid opening shall take place at: The Employer’s address for DPC tenders : Assistant General Manager (Tenders & Contracts) National Water Supply & Drainage Board, Galle road, Ratmalana Date & time : As specified in IFB |  |
|  |  |  | E. Evaluation and Comparison of Bids |  |
| 42.1 |  |  | Prevailing rate of stamp duty is nil. |  |
| 43.1 |  |  | The amount of performance security shall be ………………% of the contract Price |  |
| 45.1 |  |  | The amount of Advance payment is 20% of the initial contract price, excluding provisional sums and contingencies Advance payment Guarantee shall be obtained at the contractor’s cost. Revised on 29-10-2015 |  |
|  | Bidding Data (Please note that the clause numbers given here under are that of Instruction to Bidder) The following specific data for the goods and related services to be procured shall complement, supplement, or amend the provisions in the Instructions to Bidders (ITB). Whenever there is a conflict, the provisions herein shall prevail over those in ITB. |  |  |  |
|  | ITB Clause Reference | A. General |  |  |
|  | 1.1 | The Purchaser / Employer is Name: National Water Supply and Drainage Board Address: Galle Road - Ratmalana Sri Lanka Name of authorized Representative : DGM (RSC………….), ……………………………….. ………………………………. [Insert Relevant Address of RSC] The Works consists of ………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………located at ……………….. Intended Completion Date is ………………………. Days from the Start Date. Name of the Contract …………………………………………………………………. Contract Number ……………………………………………………………………… The office for collection of bid forms is ………………………………….. ………………………………… ………………………………… The non-refundable fee is Rupees ………………………… Plus VAT, payable in cash The Bid forms will be issued until ……………………………. |  |  |

Revised on 12-11-2014

| 2.1 | The source of funding is: ………………………………………… |
| --- | --- |
| 4.2 (i) 4.2(ii) 4.2(iii) | Minimum qualification to qualify for the award of the Contract is : Experience in Supply and Installation works of at least one contract of a similar nature and complexity equivalent to the supply and Installation works over the last 3 years. The Value of Work performed in the last three years in financial terms shall be at least …………………. (state the amount)(1.5 times the value of Contract) Working Capital *1 + present available credit facilities for the company*2 + credit facilities exclusively for this contract - 0.1 x current work commitments*3 > Rs……………*4 *1 Working Capital = Current Assets – Current Liabilities *2 A letter to prove the credit facilities by a Bank shall be issued within a month prior to date of closing of Bids. *3 current work commitment = work remaining uncompleted (Documentary evidence to justify shall be submitted) *4 80% of Contract Price |
|  | B. Contents of Bidding Documents |
| 7.1 | For Clarification of bid purposes only, the Employer’s address is: ……………………………………., …………………………………………, ………………………………………… Fax . …………. Tel:……………. |
|  | C. Preparation of Bids |
| 11.1 (o) | The Bidder shall submit the following additional documents: ………………………………………….. ………………………………………….[insert list of documents, if any] |
| 15.1 | The bidder shall quote the Contract Price in Sri Lankan Rupees. |
| 17.3 | Period of time the Goods are expected to be functioning (for the purpose of spare parts): ………………………. |
| 19.1 | The Bid shall be valid for …………………….. days from the date closing of the bids as specified in the IFB.. |
| 20.1 20.2 20.3 | Bid shall include a Bid Security in the format included in Section 12 Specimen Forms Revised on 24-07-2017 The amount of the Bid Security shall be: Rs. ………………. The validity period of the bid security shall be until………….(give a Date) |
|  | D. Submission and Opening of Bids |
| ITB 22.2 (b) 22.2 (c) | The inner and outer envelopes shall be addressed to the following address. The Employer’s address for RPC Bids : …………………………………, ……………………………., …………………….., ……………………. Name of the Contract : ……………………………………………… Contract No : ………….………………………………………… |
| ITB 23.1 | The Address for the submission of bids is The Employer’s address for RPC Bids : …………………………………, ……………………………., …………………….., ……………………. The deadline for the submission of bids is as specified in the IFB. |
| ITB 26.1 | The bid opening shall take place at: The Employer’s address for RPC Bids : …………………………………, ……………………………., …………………….., ……………………. Date & time : As specified in IFB |
|  | E. Evaluation and Comparison of Bids |
| 42.1 | Prevailing rate of stamp duty is nil. |
| 43.1 | The amount of performance security shall be ………………% of the contract Price |
| 45.1 | The amount of Advance payment is 20% of the initial contract price, excluding provisional sums and contingencies Advance payment Guarantee shall be obtained at the contractor’s cost. |

Revised on 29-10-2015

| Bidding Data (Please note that the clause numbers given here under are that of Instruction to Bidder) The following specific data for the goods and related services to be procured shall complement, supplement, or amend the provisions in the Instructions to Bidders (ITB). Whenever there is a conflict, the provisions herein shall prevail over those in ITB. |  |
| --- | --- |
| ITB Clause Reference | A. General |
| 1.1 | The Purchaser / Employer is Name: National Water Supply and Drainage Board Address: Galle Road - Ratmalana Sri Lanka Name of authorized Representative : Project Director ………………………………. ……………………………….. ………………………………. [Name & Address of Project] The Works consists of ………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………located at ……………….. Intended Completion Date is ………………………. Days from the Start Date. Name of the Contract …………………………………………………………………. Contract Number ……………………………………………………………………… The office for collection of bid forms is ………………………………….. ………………………………… ………………………………… The non-refundable fee is Rupees ………………………… Plus VAT, payable in cash The Bid forms will be issued until ……………………………. Revised on 11-12-2014 |

Revised on 12-11-2014

| 2.1 | The source of funding is: ………………………………………… |
| --- | --- |
| 4.2 (i) 4.2(ii) 4.2(iii) | Minimum qualification to qualify for the award of the Contract is : Experience in Supply and Installation works of at least one contract of a similar nature and complexity equivalent to the supply and Installation works over the last 3 years. The Value of Work performed in the last three years in financial terms shall be at least …………………. (state the amount)(1.5 times the value of Contract) Working Capital *1 + present available credit facilities for the company*2 + credit facilities exclusively for this contract - 0.1 x current work commitments*3 > Rs……………*4 *1 Working Capital = Current Assets – Current Liabilities *2 A letter to prove the credit facilities by a Bank shall be issued within a month prior to date of closing of Bids. *3 current work commitment = work remaining uncompleted (Documentary evidence to justify shall be submitted) *4 80% of Contract Price |
|  | B. Contents of Bidding Documents |
| 7.1 | For Clarification of bid purposes only, the Employer’s address is: ……………………………………., …………………………………………, ………………………………………… Fax . …………. Tel:……………. |
|  | C. Preparation of Bids |
| 11.1 (o) | The Bidder shall submit the following additional documents: ………………………………………….. ………………………………………….[insert list of documents, if any] |
| 15.1 | The bidder shall quote the Contract Price in Sri Lankan Rupees. |
| 17.3 | Period of time the Goods are expected to be functioning (for the purpose of spare parts): ………………………. |
| 19.1 | The Bid shall be valid for …………………….. days from the date closing of the bids as specified in the IFB.. Revised on 24-04-2017 |
| 20.1 20.2 20.3 | Bid shall include a Bid Security in the format included in Section 12 Specimen Forms The amount of the Bid Security shall be: Rs. ………………. The validity period of the bid security shall be until………….(give a Date) |
|  | D. Submission and Opening of Bids |
| ITB 22.2 (b) 22.2 (c) | The inner and outer envelopes shall be addressed to the following address. The Employer’s address for PPC Bids : …………………………………, ……………………………., …………………….., ……………………. Name of the Contract : ……………………………………………… Contract No : ………….………………………………………… |
| ITB 23.1 | The Address for the submission of bids is The Employer’s address for PPC Bids : …………………………………, ……………………………., …………………….., ……………………. The deadline for the submission of bids is as specified in the IFB. |
| ITB 26.1 | The bid opening shall take place at: The Employer’s address for PPC Bids : …………………………………, ……………………………., …………………….., ……………………. Date & time : As specified in IFB |
|  | E. Evaluation and Comparison of Bids |
| 42.1 | Prevailing rate of stamp duty is nil. |
| 43.1 | The amount of performance security shall be ………………% of the contract Price |
| 45.1 | The amount of Advance payment is 20% of the initial contract price, excluding provisional sums and contingencies Advance payment Guarantee shall be obtained at the contractor’s cost. |

Revised on 29-10-2015

5.   CONTRACT DATA

The Contract Data is a part of General Conditions of Contract and should be read in conjunction with the General Conditions of Contract.

If there is a discrepancy is found in the General Conditions of Contract and the Contract Data, the Content in the Contract Data shall supersede the Content in the General Conditions of Contract.

(Note: What is typed in italic letters are guide lines to prepare the Bidding Data and they shall be removed after preparation of the Bidding Data.)

Revised on 11-12-2014

|  | Contract Data (Please note that the clause numbers given here under are that of Instruction to Bidder) |  |
| --- | --- | --- |
|  | The following Contract Data shall supplement and / or amend the Conditions of Contract (CC). Whenever there is a conflict, the provisions herein shall prevail over those in the CC. [The Purchaser shall select insert the appropriate wording using the samples below or other acceptable wording, and delete the text in italics] |  |
|  | 1.1(k) 1.1(i) | The Purchaser / Employer is Name: National Water Supply and Drainage Board, Address: Galle Road, Ratmalana Name of Authorized Representative: The Chairman, National Water Supply & Drainage Board,: The Engineer is General Manager, National Water Supply and Drainage Board, Galle Road, Ratmalana. |
|  | 1.1(o) 1.1(u) 1.2 | The Project Site(s)/Final Destination(s) is/are: The Start Date shall be 14 Days from the Letter of Acceptance. Name of Engineer's Representative : ______________ (Fill the Name of PD / DGM of relevant RSC and Designation) |
|  | 8.1 | For notices, the Purchaser’s address shall be: Attention: Address: Telephone: Facsimile number: Electronic mail address: Revised on 11-12-2014 |
| 11.1 11.3 |  | The Works consists of ……………………………………………………………… ………………………………………………….………………………………………… …………………………………………………………………………………………… ………………………………………………………………………………… Contract period is …………………………….. |
| 12.1 |  | Details of Shipping and other Documents to be furnished by the Supplier are , Give List ………………………………………………………………………………… …………………………….……………………………………………………………… …………………………………………………………………………………………… ……………………………………………………………………………………………. |
| 13.17.1 13.17.2 13.5 15.7 |  | Contractor shall supply operating and maintenance manuals by the ……………… As built drawings supply before …………….(Specify the Date) The Maintenance program shall be for a period stated in the cl.2.6 under specifications. Retention on Payments : 10% of each Payment Limit of Retention : 5% of Contract Price. |
| 17.1 |  | The forms of security shall be specified in the specimen forms included in the Bidding Document. The amount of Performance security is 10 % of the Contract Price |

| 23 | The minimum insurance covers shall be : |  |
| --- | --- | --- |
|  | (a) | The minimum cover for insurance of the Works and of Plant and Materials is 110% of the Initial Contract Price. ###### The maximum deductible for insurance of the Works and of Plant and Materials is 5% of the Initial Contract Price. |
|  | (b) | The minimum cover for loss or damage to Equipment is the replacement cost of equipment The maximum deductible for insurance of Equipment is 5% of the replacement cost of the equipment |

|  | (d) | The minimum cover for personal injury or death, for third party and employees of the Employer and other persons engaged by the Employer in the Works is Rs 1,000,000 per event, number of events are unlimited |  |
| --- | --- | --- | --- |
|  | (e) | The minimum cover for personal injury or death, - for the Contractor's workmen is Rs 1,000,000 per event , number of events are unlimited. - Contractor's employees other than workmen is Rs 1,000,000 per event , number of events are unlimited. |  |
| 23.8 | Marine Insurance shall be in an amount equal to 110% of the CIF value of the goods from “warehouse to Warehouse” on “all risk” Basis. Tests to be performed |  |  |
| 25.1 | Pre delivery Inspection All specification, Clean on Board Bill of Lading, Supplier’s Documents, Custom Clearance Documents shall be provided for the inspection by the supplier before 14 days of expected delivery date. |  |  |
| 26.1 | Liquidated Damages is Rs………….. per day The maximum amount of liquidated damages shall be 10% of the Contract Price |  |  |
| 27.1 | Maintenance manuals shall be supplied within ……….. weeks after completion. |  |  |
| 27.3 27.5 41.1 | The comprehensive warranty shall be valid up to 01 year from the date of commissioning for trouble free operation. The warranty shall cover following items/ parts ……………………………………………………………………………………………… ………………………………………………………………………………… ……………..Attend to repairs within …………….. days from the Notification. The defect liability period is ……………………………………….. |  |  |

6.  SPECIFICATIONS

### SPECIFICATION FOR SUPPLY & INSTALLATION OF WINDOW TYPE AIR CONDITIONING UNITS & ACCESSORIES

### SPECIFICATION FOR SUPPLY & INSTALLATION OF SPLIT & CASSETE TYPE

### AIR CONDITIONING UNITS & ACCESSORIES

Revised  on  22-11-2013

7.   SCHEDULE OF PARTICULARS

SCHEDULE OF PARTICULARS

To be filled by the Bidder

  - Make	:

  - Model	:

  - Country of origin	:

  - Capacity of the unit quoted	:

  - Name, Contact telephone Numbers and address of the of the local Agent:

  - Required Power (KW)	:

  - Operating Voltage (V)	:

  - Operating Current (A)	:

  - If the unit is Window type	:

    - Details of the wall bracket (Give a drawing) :

    - Details of the drain pipe	:

    - List of materials 	:

  - If the units are split type	:

    - Details of the mounting brackets (Give a drawing).

    - Details of the installation of the out door unit.

    - List of materials.

    - Give details of the Insulation materials for the suction pipes.

    - Technical details.

    - Insulation thickness.

    - Details of the drain pipe.

  - Power cable   :   provide details

  - Moulded Current circuit Breakers :

    - Capacity

    - Number of poles

  - Power breakers :

    - Capacity

    - Number of poles

  - Earth cable  :

  - List of Spares : If any

  - Availability of the workshop facility :

    - Address :

    - Contact Number :

  - Availability of the After sales service :

    - Address :

b.	Contact Number

8.   DEVIATION FROM SPECIFICATION

DEVIATIONS FROM SPECIFICATIONS

Preamble

The Bidder is required to list any deviations of materials workmanship etc. from the Specifications including such information as has already been given elsewhere in the Bidding Documents. The information shall be in sufficient detail to enable the Engineer to make a realistic assessment of the effect of such deviations on the performance or life of the materials to be supplied and also such deviation if any shall be subject to clause 29 of Instructions to Bidders.

The list shall also include deviations from the Specifications relating to the mode of operation and/or control of any item of equipment, and any deviations from the specified design requirements for plant components.

Deviations

Note:

Additional sheets should be attached as necessary

9.    LIST OF DRAWINGS

LIST OF DRAWINGS

| Drg. No. | # Description |
| --- | --- |

10     DELIVERY  SCHEDULE

- LIST OF DELIVERY SCHEDULE

DELIVERY SCHEDULE

[The Purchaser shall fill in this table, with the exception of the column “ Bidder’s offered Delivery date” to be filled by the Bidder]

| Item No. | Description of Goods | Quantity | Unit | Final Destination [insert place of Delivery] | Delivery Date |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Purchaser’s delivery date as per the contract | Bidder’s offered Delivery date [to be provided by the bidder] |

11.  BILL OF QUANTITIES

### SUPPLY & INSTALLATION OF …………….. ……………………………………….. TYPE AIR CONDITIONING UNITS & ACCESSORIES

BILL OF QUANTITIES

## NOTES

1.	Documents to be read in conjunction with the Bill of Quantities

1.1	Attention is directed to the Form of Bid, Notice to Bidders, Instructions to Bidders, Conditions of Contract, Specifications and Appendices, which are to be read in conjunction with the Bill of Quantities.

2.	Description of Items

2.1	General obligations and general descriptions of work and material given in the Conditions of Contract and the Specifications are not necessarily repeated in the Bill of Quantities.

2.2	Descriptions attached to the items in the Bills of Quantities are only sufficient detail to ensure identification of the work described in the Specification.

2.3	Reference is to be made to the Conditions of Contract, Specifications and the Appendices for detailed information.

3.	Contracts to be priced completely

3.1	The Bidders may price one or more of the Bills in the Bill of Quantities. Each priced bill must be complete by itself and the final summary, covering all bills, must be completed.

4.	Rates and Prices to be fully inclusive

4.1	In pricing the items of the Bills, the Bidder shall cover himself and will be deemed to have covered himself for:-

a)	All services and materials which according to the true intent and meaning of the contract may be reasonably inferred as necessary for completion of delivery /installation of the materials and equipment in sound condition to the site as indicated in the schedule of requirements.

b)	All obligations, liabilities and responsibilities that the Contract Documents place upon the Bidders in connection with or in relation to the Contract.

4.2	The Bidder shall include in his Bided prices, unless itemised separately for :-

- All costs arising out of inspection and testing at the place of manufacture.

- All costs of packing as specified or as required for export overseas and storage.

- All costs and insurances of delivering the materials to the site/stores as indicated in the Schedule of Requirements.

- All costs incurred in the installation of AC Units/control panels and all necessary accessories according to the drawings and specifications.

5.	Bids with unit prices which are so unbalanced as to be detrimental to the Employer's interests may be rejected or cause rejection, at the discretion of the Employer.

6.	Unit rates accepted by the Employer shall be held good and effective until the work is completed and accepted by the Employer.

7.	A rate and/or price is to be entered against each item in the Bill of Quantities whether quantities are stated or not. The cost of any item against which a rate has not been entered shall be deemed to be covered by other rates in the corresponding bill.

### SUPPLY & INSTALLATION OF …………………………………………………………… TYPE AIR CONDITIONING UNITS & ACCESSORIES

BILL OF QUANTITIES

BILL No 01:

| Item | Description | Qty. | Unit | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1. | Allow for all insurance works to be provided during Installation period for the items in this bill | - | Rs |  |  |
| 2 | Supply of Air Conditioning Units of Window Type |  | Nos. |  |  |
| 3 | Supply of Electrical Power cables and MCB , MCCB with sub distribution unit | 01 | No |  |  |
| 4 | Supply any other accessories required to complete the Above Air Conditioning units | - | Item |  |  |
| 5 | Installations of the Air Conditioning units (Rate to include for construction of suitable wall opening and make good with painting of all damaged walls and floor areas (all metal and welding, breaking, making good of walls and floor any extra Wiring/Conditioning) | - | Item |  |  |
|  | Total of Page No. ……..carried to Summary in Page No……. |  |  |  |  |

Revised on 12-11-2014

### SUPPLY & INSTALLATION OF …………………………………………………………. TYPE AIR CONDITIONING UNITS & ACCESSORIES

SUMMARY OF BILL NO. 01

| Page Number | Amount Rs. Cts. |
| --- | --- |
| Page No. ...... |  |
| Page No. ........ |  |
| Total of Page No…….. Carried to Summary of Bills in Page No. ….. |  |

### SUPPLY & INSTALLATION OF …………………………………………………………  TYPE AIR CONDITIONING UNITS & ACCESSORIES

Summary of Bills

| Bill No. | Description | Amount |  |
| --- | --- | --- | --- |
|  |  | Rs. | Cts. |
| 01 | Procurement & installation of…………... ……………………………………………Type Air Conditioning Units and accessories |  |  |
|  | Less Discount (if any) |  |  |
|  | Cost of Independent Inspection Agency. |  |  |
|  | Total of Bid (Excluding VAT) carried to Form of Bid in Page No. 3 -1 |  |  |

VAT Registration Number:………………………………………………………………..

(A copy of the VAT Registration Certificate shall be annexed.)

Note: - The NWSDB VAT Registration No: - 4090 31820 7000

Name   of the Inspection Authority:

…………………………………………………………………………………………………

…………………………………………………………………………………………………

Revised on 09-10-2013

12.  SPECIMEN   FORMS

- BID SECURITY

- CONTRACT AGREEMENT

- PERFORMANCE GUARANTEE

#### ADVANCE   PAYMENT SECURITY

- LETTER OF ACCEPTANCE

FORM OF BID SECURITY

…………………… [issuing agency’s name, and address of  issuing branch or office]

………………………

………………………..

Beneficiary : …………………….[Chairman- NWSDB/DGM – RSC………./PD………..WSP]

……………………………….

………………………………..

………………………………[Address]

Date………………			BID GUARANTEE No : ………………………

We have been informed that …………………………………………………………. [name of  the Bidder ; if joint venture, list complete legal names of partners] (hereinafter called “the Bidder”) has submitted to you its bid dated ……………….. [insert date] (hereinafter called  “ the Bid”) for the execution / supply of  ………………………………………………………….

.[name of contract]  under Contract No……………………………… .

Furthermore, we understand that, according to your conditions, Bids must be supported by a Bid Guarantee.

At the request of the Bidder, we ……………………………………………………….. [name of issuing agency] hereby irrevocably under take to pay you any sum or sums not exceeding in total an amount of ………………………. [amount in figures] …………………..  ……………………………………….[amount in words] upon receipt by us of  your first demand in writing accompanied by a written statement stating that the Bidder is in breach of its obligation (s) under the bid conditions, because of the Bidder:

(a).	has withdrawn its Bid during the period of  bid validity specified ; or

(b).	does not accept the correction of errors in accordance with the Instructions to Bidders (hereinafter “the ITB” ) or

(c ).	having been notified of the acceptance of its Bid by the Employer/ Purchaser during the period of Bid validity , (i) fails or refuses to execute the Contract Form, if required, or  (ii) fails or  refuses to furnish the Performance Security, in accordance with the ITB.

This Guarantee shall expire: (a) if the Bidder is the successful bidder, upon our receipt of copies of the Contract signed by the Bidder and of the Performance Security issued to you by the Bidder, or (b) if the Bidder is not the successful bidder, upon the earlier of (i) our receipt of a copy of your notification to the Bidder that the Bidder was unsuccessful, otherwise it will remain in force up to ………………… [insert date].

Consequently, any demand of payment under this Guarantee must be received by us the office on or before that date………………………………….

………………………………………………

[Signature (s) of authorized representative (s)]

Revised on 12-11-2014

THE GOVERNMENT OF THE DEMOCRATIC SOCIALIST REPUBLIC OF

SRI LANKA

###### MINISTRY OF WATER SUPPLY

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

SUPPLY AND INSTALLATION OF AIR CONDITIONING UNITS

AND ACCESSORIES

CONTRACT No.: ……………………………………

CONTRACT AGREEMENT

Contract Agreement made and entered into between the National Water Supply and Drainage Board, a corporate body duly established under the provisions of the National Water Supply and Drainage Board Law No. 2 of 1974 and having its Head Office at Ratmalana in Sri Lanka (hereinafter sometimes referred to as "the Board") of the one part and Messrs : ………………………………….…….…………….....................................................................................................................…………….....… which duly incorporated under the laws of Democratic Socialist Republic of Sri Lanka and having registered It's office at ………..........................................................……………………………………………………..…

………………………………………………………………(hereinafter called "the Contractor" which term of expression shall where the context so requires or admits mean and include its successors and permitted assigns) of the other part.

WHEREAS the Board is desirous of entering into a contract with the Contractor for the supply and installation of ............................................................…………………..................................... …………………… to ....................................... at locations as specified in the Delivery Schedule and has accepted a Bid by the Contractor for the execution and completion of such works.

AND WHEREAS the Bills of Quantities or Schedule of Rates and Specifications and General Conditions of Contract describing the Works to be done have been prepared by the Board and the same have been signed by the parties hereto.

NOW it is hereby agreed as follows:

1.	For the consideration hereinafter mentioned the Contractor shall, upon and subject to the conditions hereto annexed, complete the Works referred to in the said Bills of Quantities or Schedule of Rates and in the said Specifications and Conditions of Contract to the entire satisfaction of the Board on or before the …………………………………………………………. ...………………..............................................…….........................................................…..…………………………………………………………………………………………………………………………………..subject to extras, omissions and variations to be determined by the Engineer as hereinafter provided.

Revised on 16-08-2022

2.	The said General Conditions of Contract, the said Specifications, the said Bills of Quantities or Schedule of Rates, (a detailed list whereof is annexed hereto,) Instructions to Tenderers, Contract data, Bid Data and Schedule of Particulars and Form of Tender, all duly signed by the Board and the Contractor shall for all purposes whatsoever be read, regarded and construed as part and parcel of the Agreement.

3.	The Contractor will be paid for the said execution of the Works the sum of ……..............................................................……(Rs................................) hereinafter sometimes referred to as the "Contract Price" or such as shall become payable hereunder according to the terms of the Contract.

4.	As security for the due and proper performance and fulfillment of this contract and for the due payment of all claims to which the Board may be entitled hereunder, the Contractor hereby undertakes to maintain to the Board with a Guarantee in favor of the Board from a Bank approved by the Engineer, as surety ………………………………………………………………. ................................................………………………………………………………………………(Rs.............……....) which said Performance Guarantee shall remain in force and shall not be discharged until the Engineer shall have granted a Final Certificate to the effect that the Contractor has duly discharged and completed all his obligations under this contract and that there is no sum whatever due to the Board at the date of such Final Acceptance Certificate under this Contract.

5.	The following terms used in this Agreement and or in the Specifications shall be understood as having the meanings hereby ascribed to them, namely;

- "The Procurement Committee" shall mean the Procurement Committee appointed for the purpose of determining the Tender.

- "The Contractor" or "The Supplier" shall mean the person or persons, firm or firms, company or companies who have contracted for the supply and delivery of the materials, equipment and installation herein specified and includes its successors and permitted assigns.

- "The Chairman" shall mean the officer for the time being holding the office of or acting as the Chairman, National Water Supply and Drainage Board.

- "The Engineer" shall mean the Officer for the time being holding the Office of or acting to the General Manager, National Water Supply and Drainage Board.

- "The Engineer's Representative" shall mean the authorized Representative of the Engineer immediately responsible for the supervision of the Works or any other person appointed from time to time by the Engineer to act as Engineer and notified in writing to the Contractor.

- "The Government" shall mean the Government of the Democratic Socialist Republic of Sri Lanka.

- "The Purchaser" or "The Board" shall mean the National Water Supply and Drainage Board.

- "Months" shall mean calendar months.

- "The Contract Documents" shall mean the Instructions to Bidders, Contract Data, Bidding Data, Schedule of Particulars, the General Conditions of Contract, the Form of Bid, the Specifications, Bill of Quantities, Addenda, Articles of Agreement and their annexure.

- "The Contract Price" shall mean the sum stated in the Letter of Acceptance payable to the Contractor for the supply of Goods and Services in accordance with the provisions of the Contract.

- "The Works" shall mean the supply, delivery and Installation of Goods and the Services.

- "Variation" shall mean any alteration of the description of any item in the Bill of Quantities or of the Specifications which in the opinion of the Engineer, is required for the perfect completion of the Works outlined in the Agreement.

- "RS or SL Rs." shall mean Sri Lanka Rupees.

IN WITNESS WHEREOF the parties hereto have set their hands and seal to these presents at the places and dates hereinafter mentioned.

Signed by the said ..............................................................…………. Chairman, National Water Supply and Drainage Board/ DGM (RSC…....….)/ Project Director (…………..……WSP) and…………………… ... Board Member of the National Water Supply and Drainage Board/……………...……(Name/Designation)(RSC…...………)/………...……….(Name/Designation)……………………………….WSP)at…………………………......................…………on the...............................day..................…………........…….….……….………………..of………………..……….....................................Two Thousand and ……………………………….. …….……………….in the presence of the following Witnesses

Chairman ...................…….................	Board Member/………………(Name/Designation) (RSC……….)...................…(Name/Designation) (………….WSP)

Revised on 12-11-2014

NATIONAL WATER SUPPLY AND DRAINAGE BOARD

WITNESSES

Signature 1:	….………........................	Signature 2 : ........................

Name	        :…………………………….	Name	      	:…………………..

Address	...........................……....	Address	:………………

……………………….			……………………….

Signed by the said .......................................................................... in the capacity of .............................................at..................................on the ………………........ day of.........………………... Two Thousand and ............. in the presence of the following Witnesses.

……................................

Signature of Contractor

WITNESSES

Signature 1:	.....................……..		Signature 2 :.……….....................

Name	      :	………………………	Name	        : …..……………………

Address	.................................		Address	................................

.................................			   	 ..............................

Capacity	: ………………………..	Capacity	: ………………………..

FORM OF PERFORMANCE SECURITY (Unconditional)

…………………………..[ Issuing Agency’s Name and Address of issuing Branch or Office]

…………………………..

…………………………..

Beneficiary : Chairman/DGM/PD

………………………….

…………………………..

…………………………..[Address of Relevant Office]

Date ……………..

PERFORMANCE GUARANTEE No.: …………………………………………………..

We have been informed that …………………………………………………………….. [name of Contractor/Supplier] (hereinafter called “the Contractor”) has entered into Contract No. …………………….. dated ……………….  with you, for the ……………….. [“Supply”]  of ………………………………………………………………………………….. [name of contract and brief description of  Works] (hereinafter called “the Contract”).

Furthermore, we understand that according to the conditions of the Contract, a performance guarantee  is required.

At the request of the Contractor, we ………………………………………… [name of Agency]  hereby irrevocably under take to pay you any sum or sums not exceeding in total and amount of ………………… [in figures]  ………………………………………  …………[in words]  , such sum being payable in the types and proportions of currencies in which the Contract Price is payable ,  upon receipt by us of your first demand in writing accompanied by a written statement stating that the Contractor is in breach of its obligation (s) under the Contract, without your needing to prove or to show grounds for your demand or the sums specified therein.

This shall expire, no later  than the ………………… day of ………………… , 20 …………… [28 days beyond the scheduled contract completion date]  and any demand for payments under it must be received by us at this office on or before that date.

………………………………………………….

[Signature (s)]

Signature and seal of the guarantor

Witness

Name	:      ………………………………………………………………

Signature : ………………………………………………………………

Revised on 12-11-2014

FORM OF ADVANCE PAYMENT SECURITY

…………………………..[Issuing Agency’s Name and Address of issuing Branch or Office]

…………………………….

……………………………

Beneficiary : Chairman/DGM/PD

………………………….

…………………………..

…………………………..[Address of Relevant Office]

Date ……………..

ADVANCE PAYMENT GUARANTEE No. ………………………………………

We have been informed that …………………………………………………………….. [name of Contractor/Supplier] (hereinafter called “the Contractor” ) has entered in to Contract No. ……………….  dated  with you, for the Supply of …………………………………… [name of Contract and brief description] (hereinafter called “the Contract”).

Furthermore, we understand that according to the conditions of Contract an advance payment in the sum ……………………. [amount in figures] (………………………………………………. ……………………….) [amount in words] is to be made against an advance payment guarantee

At the request of the Contractor, we ………………………………………………………. [issuing agency] hereby irrevocably undertake to pay you any sum or sums not exceeding in total  and amount of ………………. . [amount in figures] (…………………………………………… …………………………………….)[amount in words] upon receipt by us of your first demand in writing accompanied by a written statement stating that the Contractor is in breach of its obligation under the Contract.

The maximum amount of this guarantee shall be progressively reduced by the amount of the advance payment repaid by the Contractor.

This guarantee shall be valid until the recovery of the advance payment is full.

Consequently, any demand for payment under this guarantee must be received by us at this office on or before that date.

……………………

[Signature (s) ]

Signature and seal of the guarantor …………………………………………

Witness :

Name : ………………………………………………………………

Revised on 12-11-2014

………………………………

………………………………

………………………………

………..[Date]

Regd. Post

Ms. ……………………………………….

……………………………………………

……………………………………………

Dear Sirs,

### SUPPLY & INSTALLATION OF ………………………………………..

### TYPE AIR CONDITIONING UNITS & ACCESSORIES

CONTRACT NO: …………………………………..

Letter of Acceptance

We are pleased to inform you that your offer submitted on ……………………(Date) on the above tender, amounting to Sri Lanka Rupees ………………………………………. (LKR ……………………../=) has been accepted.

- Applicable VAT will be payable on production of Tax Invoices.  The Registered No. for NWSDB for VAT is 4090318207000.

### …………………………………………………………….  type Air Conditioning Units & Accessories  should be from …………………………………

Inspection and Testing of goods should be carried as per Clause 25 of General Conditions of Contract with respect to quantity, quality.

All Air Conditioning Units under this contract shall be delivered at such places, in such quantities as specified in the Delivery Schedule and Contract Period is ……………………… months from the date hereof.

The liquidated damages for any delay beyond the above period shall be LKR …………....../= per shipment per day not exceeding 10% of the total contract price.

Revised on 17-11-2014

An advance payment of 20% of the contract price could be obtained after signing the agreement on production of an advance payment guarantee in the prescribed format from a recognized bank.  Operating in Sri Lanka approved by the Central Bank of Sri Lanka.

Performance Security in the form of demand guarantee in the prescribed format (a copy annexed) from a recognized bank operating in Sri Lanka approved by the Central Bank of Sri Lanka for an amount of 10% of the total contract price valid for a period of …………… months from the date hereof shall be submitted within 14 days from the date hereof. Performance security shall be denominated in the currency of contract and proportionate to the each currency.

Please acknowledge receipt of this letter by a return fax and make arrangements to sign the Agreement by prior appointment with the Asst. General Manager (Tenders & Contracts) within 28 days.

Engineer’s Representative of this contract is …………………………………..

Please contact Deputy General Manager (………………..) on Tele No. …………….. for further action on this contract.

Yours faithfully,

National Water Supply & Drainage Board

General Manager

###### Cc:   1.	      Secretary, Ministry of City Planning, Water Supply and Higher Education

- Auditor General – Duplicate offer and a copy of the Tender Board decision attached.

- Addl. General Manager (…………)

- Deputy General Manager (…………)

- Deputy General Manager (Finance)

- Deputy General Manager (IA)

- Asst. General Manager (……………)

- Chief Engineer (…………………….)

Stores Copy

Revised on 17-01-2019

.

13.  APPENDICES

APPENDIX 1-  DETAILS OF SIMILAR SUPPLY AND INSTALLATION COMPLETED WITHIN THE LAST THREE YEARS

AND ONGOING

| Name and Address of Employer | Name and details of Contract | Value of Contract | Period of Contract YY-MM |  | Remarks (Completed/ ongoing etc) | Value of work remaining incomplete |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | From | To |  |  |

APPENDIX 2  -  FINANCIAL STATEMENT

Summary of assets and liabilities based on the audited financial statements for the last three financial years (Current statement may be unaudited) together with the Financial Performance as indicated in the following schedule shall be submitted.

If the business has not been in operation for three years following schedule shall be submitted for the period that the business has been in operation together with the aforesaid financial statements.

Bidders whose financial capability is marginally less to undertake this bid may show credit facilities available to them from a Banks.

##### Financial Performance for the Last 3 Years

| Year | xxxx | xxxx | xxxx |
| --- | --- | --- | --- |
| Turnover from Contracting |  |  |  |
| Fixed Assets (FA) |  |  |  |
| Current Assets (CA) |  |  |  |
| Current Liabilities (CL) |  |  |  |
| Long Term Liabilities (LL) |  |  |  |
| Net Worth = Total Assets – Total Liabilities |  |  |  |
| Current Ratio = Current Assets Current Liability |  |  |  |
| Liquidity Ratio = Current Assets(except stock) Current Liability |  |  |  |
| Gearing Ratio = Debt Capital x 100 Total Capital Employed |  |  |  |
| Turnover x 100 Total Operating Assets |  |  |  |
| Net Profit x 100 Total Assets |  |  |  |

Revised on 27-09-2017

# APPENDIX 2A – AUTHORIZATION FOR BANK REFERENCES

[Contractor or Supplier shall provide the authorization to the Procurement Committee to Seek, reference from Bankers on the financial status of the Contractor/Supplier]

# Supply & Installation of   Air Conditioning Units & Accessories

Contract No…………………………………….

We, ………………………………………………………………………………………. [Name of the Company] at (Official Address) ……………………………………………

………………………………………………………………………………… hereby authorize the Procurement Committee / National Water Supply & Drainage Board to seek references from our Bankers , ……………………………………………………………..

…………………………………………………………………………..[specify the name of  Banks] at ……………………………………………………………………………….

……………………………………………. (official address of  Bank) in connection with the Contract for the ……………………………………………………………………….

……………………………………………………………………………………………

Contract No. ………………………………………

Signed by ……………………………………………………….. in the capacity of  ……

…………………………………………………………….

Signature ………………………………………

Address  ……………………………………………

……………………………………………

……………………………………………

…………………………………………….

Appendix 3 - Confirmation of Capability of  Supply and

Installation according to Delivery Schedule.

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

Chairman,

Procurement Committee,

# Supply & Installation of   Air Conditioning Units & Accessories

Contract No…………………………………….

We, ……………………………………………………………….[name of manufacturer] of ….………………………………………………………………………………………………. …………….. ………………………………………………………………..…….[address of  manufacturer]confirm that we have sufficient production capacity to produce the quantity of  Air Conditioning Units and Accessories submitted in our bid and shall deliver them according to the delivery schedule indicated in the bid.

……………………………..					……………………………..

Authorized Officer of the Manufacturer.			   Seal of the Company.

Appendix 4 -   Manufacturer’s Authorization to sign the

Contract

[The Bidder shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letter head of the Manufacturer and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer. The bidder shall include it in its bid].

Date : [insert date (as day, month and year) of Bid Submission]

No. : [insert contract number]

To:   Chairman/DGM/PD

………………………….

…………………………..

…………………………..[Address of Relevant Office]

# Supply & Installation of   Air Conditioning Units & Accessories

Contract No…………………………………….

We …………………………………………[insert complete name of  Manufacturer], who are official manufacturers of Air Conditioning Units,  having factories at ……………………………………….…………[insert full address of Manufacturer’s factories], do hereby authorize …………….………………………….. [insert complete name of  Bidder] to submit a bid the purpose of which is to provide, Air Conditioning Units and accessories  manufactured by us …………………………………….. [insert name] and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with Clause ……….. of the General Conditions of Contract, with respect to the Goods offered by the above firm.

Signed :  …………………………………[insert signature(s) of authorized representative(s) of the Manufacturer]

Name : ………………………………………………………..[insert complete name(s) of authorized representative(s) of the Manufacturer]

Title :  …………………………………….. [insert title]

Duly authorized to sign this Authorization on behalf of :  ……………………………[insert complete name of  Bidder]

Dated on  …………………….. day of  …………………………….[insert date of signing].

Revised on 12-11-2014

Appendix 5 - bidder’s Authorization to sign the Contract

[The Bidder shall require to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letter head of the Bidder and should be signed by a person with the proper authority to sign documents that are binding on the Bidder. The bidder shall include it in its bid].

Date : [insert date (as day, month and year) of Bid Submission]

No. : [insert contract number]

To :  Chairman,

Procurement Committee

………………………….

………………………….

# Supply & Installation of  Air Conditioning Units & Accessories

Contract No…………………………………….

We …………………………………………[insert complete name of  the Bidder], who ……………………………………….…………[insert full address of Bidder], do hereby authorize …………….………………………….. [insert complete name of  Bidders authorize officer who signs the contract] to submit a bid on behalf of our company and to subsequently negotiate and sign the Contract.

Specimen Signature …………………………………………………………

Signed :  …………………………………[insert signature(s) of authorized representative(s) of the Bidder]

Name : ………………………………………………………..[insert complete name(s) of authorized representative(s) of the Bidder]

Title :  …………………………………….. [insert title]

Duly authorized to sign this Authorization on behalf of :  ……………………………[insert complete name of  Bidder]

This is to certify that the seal and signatures of legal representative and authorized person affixed to power of attorney attached hereto are found to be authentic.

………………………………

Signature of Attorney at Law

……………………………..

Seal of Attorney at Law

In the place of  (…………………………………………………………………………….. address)

Date ……………………

Appendix 6 - TOR FOR INDEPENDENT INSPECTION AGENCY

Refer Clause 25.6 of General Conditions of Contract

| Activity |  | Test Performed | Results | Acceptability as per Schedule of Particulars |
| --- | --- | --- | --- | --- |
| 1. 2. 2.1 2.2 2.3 2.4 2.5 2.6 2.7 | Quality Assurance certificate for the delivery. Random sampling test Following parameters against the quoted technical data Over load protection and rate Temperature control and on/off Temperature reading Confirming of wiring standards as per the IEE Steel gauge of the out door unit Noise level of the indoor units dB (A) Noise level of the out door unit dB (A) Maximum energy consumption (kw) |  |  |  |

APPENDIX  7 -    Manufacturer’s awareness of the TOR  for

Independent Inspection Agency

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

Chairman,

Procurement Committee,

# Supply & Installation of   Air Conditioning Units & Accessories

Contract No…………………………………….

We, ……………………………………………………………….[name of manufacturer] of ………………………………………………………………………………………………………………….………………………………………………………………..…….[address of  manufacturer]confirm that we have noticed that

a)   Appendix 6 – TOR for Independent Inspection Agency

b)   Clause 8.1 of   General Conditions of Contract

……………………………...................			………………………….

Authorised Officer of the Manufacturer.			   Seal of the Company.

Name :……………………………………

APPENDIX 8 -    Manufacturer’s Warranty for the goods supplied

under the contract

[Address of the Manufacturer]

…………………………………………..

………………………………………….

………………………………………….

Chairman,

Procurement Committee,

# Supply & Installation of   Air Conditioning Units & Accessories

Contract No…………………………………….

We, ……………………………………………………………….[name of manufacturer] of ………………………………………………………………………………………………………………….………………………………………………………………..…….[address of  manufacturer]warrant that the goods supplied under this contract.

| Part/ Section | Warranty period |
| --- | --- |
| Compressor | 05 Year |
| Electrical Fans & condenser | 01 Year |
| Cabinet /Enclosure | 01 Year |

…………………………………………			    ..…………….………

Authorised Officer of the Manufacturer.			   Seal of the Company.

Name :……………………………………

Appendix 9 - Confirmation of Supplying Goods Manufactured

at the Factory quoted

[This form shall be filled on the letter head of the manufacturer’s company]

Date :............................

General Manager,

National Water Supply & Drainage Board,

Galle Road, Ratmalana.

# Supply & Installation of   Air Conditioning Units & Accessories

Contract No…………………………………….

We ………………………………………………………………………………………(Name & Address of the manufacturer) hereby guarantee that,

1. 	The Supply of Air Conditioning units and Accessories for the above contract shall be manufactured at the manufacturing factory at ……………………………………………………………... ………………………………………………(Address of the manufacturing factory).

……………………….				……………………………………

Signature of the 					Seal of the Company

Chief Executive Officer/

General Manager of the manufacturer

Name : …………………………………

Address : ………………………………

………………………………

The above signed declare that the statement made above is true and correct in every detail.

…………………………….				……………………………..

Signature of the Attorney at Law 			Seal of the Attorney

Name :…………………………………..

Address : ………………………………

Revised on 12-11-2014

APPENDIX 10 - Manufacturer’s GUARANTEE  for the REPLACEMENT

OF UNACCEPTABLE goods supplied under the contract

[Address of the Manufacturer]

…………………………………………..

………………………………………….

Chairman, …………………Procurement Committee,

# Supply & Installation of   Air Conditioning Units & Accessories

# Contract No…………………………………….

We, ……………………………………………………………….[name of manufacturer] of ………………………………………………………………………………………………………………….…………………………………..…….[address of  manufacturer] guarantee  that we shall unconditionally undertake to replace any unacceptable goods  supplied under this contract with no additional cost to the employer ensuring timely completion of the project.

If any case we fail to replace the unacceptable goods, We agree that the NWSDB shall not make balance 25% payment and encash  the Performance Guarantee . We further aware that  NWSDB will immediately suspend issuing bidding documents to us and thereafter action shall be taken to blacklist us.

…………………………………………			    ..…………….………

Authorised Officer of the Manufacturer.			   Seal of the Company.

Name :……………………………………

Appendix 11 – AFFIDAVIT BY THE BIDDER

I ………………………………………… of ………………………………………… being a ……………………… (Buddhist or any other religionist), do hereby solemnly sincerely and truly declare and affirm as follows.

01.	I am the Affirmant above named.

02.	I hereby declare that I have applied for the contract of National Water Supply and Drainage Board bearing No: …………………………………….. and my spouse or dependent does not work in National Water Supply and Drainage Board on permanent, casual or contract basis.

The foregoing affidavit having been read over and explained to the affirmant above named who having understood its nature content and context affirmed hereto and set his usual signature hereto in ……………...............     on this ………….……………… day of …………….…….. 20…...

Before me	           ……………………

Declarant

……..…………………

Justice of the peace /

Commissioner for Oaths

Revised on 17-01-2019