SPECIFICATION

FOR POLY ALUMINIUM CHLORIDE

Revised on 02-07-2018

SPECIFICATIONS FOR POLYALUMINIUM CHLORIDE

# GENERAL

# TABLE OF CONTENTS

PAGE NUMBER

1	Ambient Conditions								8av - 2

2	Suitability for Potable Water							8av - 2

3	Definitions									8av -  2

4	Inspection and Testing							8av -  2

5	Marking									8av -  3

6	Protection during Delivery							8av -  3

7	Storing handling and hauling of  Materials					8av - 3

8	Manufacturer's Certificate							8av - 3

9	Quality and workmanship							8av - 4

GENERAL

1	Ambient Conditions

All materials shall be in every respect suitable for storage, use and operation in the conditions of temperature and humidity appertaining in Sri Lanka.

The annual average temperature is 35 C while the relative humidity varies generally from 70% during the day to 90% at night.

2	Suitability for Potable Water

Polyaluminium Chloride that will come into contact with potable water shall not constitute a toxic hazard, shall not support microbial growth,

### Definitions

The definitions given in the relevant standards which are referred to in the specification shall apply for the terms used in this specification.

4	Inspection and Testing

The Manufacturer shall supply, furnish and prepare the necessary test samples of materials and supply the labour facilities and appliances for such testing as may be required to be carried out on his premises according to this specification. If there are no facilities at his own works for making the prescribed tests the Contractor shall bear the cost of carrying out the tests elsewhere.

The Engineer and  nominated Inspection authority shall have full access to all parts of the plant that are concerned with the testing, furnishing or preparation of materials for the performance and testing of work under this Specification.

The Contractor shall furnish the Engineer with reasonable facilities and space (without charge) for the inspection, testing and obtaining of such information, as he desires regarding the character of material in use and the progress and manner of the work.

Further all materials shall be tested to the appropriate tests at the manufacturer’s premises and shall be supported by a test certificate from the manufacturer

The format for test certificate shall be in accordance with the format given in the schedule of particulars.

Contractor is held responsibility for the assuring quality of the goods supplied by him until the final delivery point. Polyaluminium Chloride is tested at the Employer’s final delivery point by the employer and goods shall conform to the standard for the acceptance.

Revised 18-06-2018

5	Marking

All markings shall be legible and durable unless otherwise specified and shall be as specified in this specification.

6. 	Protection During Delivery

The contractor shall provide protection to the approval of the Engineer, prior to the materials leaving the place of manufacture and shall maintain such protection until the items reach their destination in order to guard effectively against damage during transit and storage and the ingress of foreign matter inside the packages.

All details of the proposed method of providing such protection shall be submitted at the time of tendering.

The cost of providing protection shall be included in the unit prices tendered in the Bills of Quantities.

7.	Storing, Handling and Hauling of Materials.

All materials shall be stored in an approved location and in such a manner as to preserve their quality and condition.

Storage shall be in accordance with the manufacturers recommendation and shall be stored in a dry place with a proper packing.

Materials and components shall be handled in such a manner as to avoid any damage or contamination and in accordance with all applicable recommendations of the manufacturers.

The contractor shall give instructions to the shipper on precautions to be taken in the handling of materials during loading, towage delivery and unloading and shall give particulars of these instructions to the purchaser

8.	Manufacturer’s Certificate

The Contractor shall supply to the Engineer a certificate stating that each item supplied has been subjected to the tests laid down herein and conforms in all respects to this Specification or such other Specification which has been submitted to and approved by the Engineer. In addition to this, contractor shall provide certificate for the conformity to the specification from the independent testing agencies mentioned in General condition of contract. Testing at Manufacturers factory by Employer will perform as specified.

9.	Quality and Workmanship

The Bidder shall provide ISO 9001 : 2015 Quality Management System requirement certificate for Quality Assurance for the goods manufacturing factory from an accredited agency for Polyaluminium Chloride. Accredited Agency shall be a member of International Accredited Forum (IAF) and shall have the authority for the accreditation of mentioned goods in their scope of accreditation.  Scope of the production shall be clearly specified in the certificate. Manufacturer shall maintain the validity of this certificate during the contract Period. If the supply is made from several factories, ISO 9001 : 2015 certificates for quality management system requirement shall be submitted for each factory.

Revised 25-05-2017

Revised 02-07-2018

## TECHNICAL SPECIFICATIONS FOR Polyaluminium Chloride

1.	Specification 								6av - 6

2.	Packing Requirements 						6av - 6

3.	Marking 								6av - 7

4.	Sampling 								6av - 7

5.	Sampling Instruments 						6av - 8

6.	Scale of Sampling 							6av - 8

7.	Number of Tests 							6av - 9

8.	Method of Test 							6av - 9

9.	Conformity to specifications 						6av - 10

10.	Age of Polyaluminium Chloride 					6av - 10

## TECHNICAL SPECIFICATIONS FOR Polyaluminium Chloride

# 1 	SPECIFICATION

Chemical Name :-  Poly Aluminium Chloride Hydroxide

Description: Polyaluminium Chloride shall be in the form of white to pale yellow powder and shall be free from organic contaminants.

Form :-  Powder /granules

Color :- White to Pale Yellow

Water Soluble Poly Aluminium Chloride, as Al2O3, percent by mass (min) =  28

Water insoluble matter, percent by mass (max)      			           =  1.5

Ammonical nitrogen, percent by mass (max)               		           = 0.01

pH of 5 percent solution , w/v						           = 2.5-4.5

Chloride (as Cl   -  ) percent by mass (max)			 	          = 33.0

Sulphate as (SO 4  2- ) percent by mass (max)				          = 10.0

Basicity, percent by mass   (min)					          = 35

Arsenic  (as As) ppm (max)						          = 15

Cadmium (as Cd) ppm (max)				 		          = 18

Chromium (as Cr) ppm (max)	 				                      = 45

Mercury (as Hg) ppm (max)					                      = 0.6

Nickel (as Ni) ppm (max)				 		          =700

Lead (as Pb) ppm (max) 					      	          = 90

Antimony (as Sb) ppm (max)					                      = 40

Selenium (as Se) ppm (max)			 		                      = 40

Iron (as Fe) and Manganese (as Mn) ppm (max)	                                 = 300

Particle size – passing through 04 mm (ASTM No.5) sieve 		          =100%

# 2 	PACKING REQUIREMENTS

Packing of PAC Should be in 25 Kg Polypropylene bags with air tight PE inner liner.

# 3 	MARKING

Each package shall be marked legibly & indelibly with the following information: (letter height shall be 40mm)

Each package shall be marked legibly & indelibly with the following information:

- Name of the product

- Name and address of the manufacturer and / or local agent

- Trade mark, if any

- Net mass, in Kg.

- Type and Grade

- Standard to which the product confirms

- Date of Manufacture & Date of expiry.

- Batch number

- Contract No.

4 SAMPLING

4.1      LOT

The quantity of material belonging to one batch of manufacture or supply and ordered for inspection at one time shall constitute a lot. Weight of a lot shall be 50 kg or less.

4.2     GENERAL REQUIREMENTS OF SAMPLING

In drawing, handling and preparing samples, the following precautions shall be observed.

.

    - The samples shall not be taken from broken packages.

    - The sampling instrument shall be clean and dry when used.

    - The samples shall be placed in clean, dry and air-tight glass or

Suitable containers.

    - The material being sampled, the instruments and the containers for  samples shall be protected from adventitious contamination.

    - The sample containers shall be air-tight after filling and marked with

necessary details of sampling. Samples shall be stored in the shade.

5       SAMPLING INSTRUMENTS

5.1    Sampling tube of sufficient length

6       SCALE OF SAMPLING

6.1  	Each lot shall be tested separately for ascertaining its conformity to the

requirement of this specification.

6.2	Sampling from Bulk

A sampling tube of sufficient length shall be inserted to get the sample. The material so obtained shall be thoroughly mixed and reduced by coning and quartering to obtain a test sample.

6.3  	Sampling from packages

6.3.1	The number of packages to be selected from a lot shall be in accordance    with table 2.

6.3.2 		The packages shall be selected at random. In order to ensure randomness of selection random number tables as given in SLS 428:1977 shall be used.

6.3.3 	The material obtained from each package shall be thoroughly mixed and reduced by coning and quartering to obtain a test sample.

6.3.4		Five sets of such samples shall be obtained from each package for

testing. Three of them shall be analyzed to take the average value.

The remaining two samples shall be sealed and kept for future references.

## Table 2 – Scale of Sampling

| Number of Packages in the lot | Number of Packages to be selected |
| --- | --- |
| Up to 09 09 to 27 28 to 64 65 to 100 101 to 300 301 to 500 501 to 800 801 to 1300 1301 to above | 2 3 4 5 6 7 8 9 10 |

7	NUMBER OF TESTS

7.1	Each package selected as in 6.3 shall be inspected for marking requirements. (This shall be done in case of sampling from packages and may be done at the place of sampling.)

7.2	The test sample prepared as in 6.3.1 or 6.3.2  or 6.3.3 as the case may be, shall be tested for all the requirements of this specification.

8	METHOD OF TEST

8.1	During the analysis, unless otherwise stated, use only reagents of recognized analytical grade and only distilled water or water of equivalent purity.

8.2	Tests for the requirements laid down shall be carried out as prescribed  in IS   15573: 2005

8.3	Ammoniacal Nitrogen shall be tested as prescribed in SLS 701, 1985.

9	CONFORMITY TO SPECIFICATIONS

A lot shall be declared as conforming to the requirements of this specification, if the following conditions are satisfied.

9.1 	Each package examined as in 7.1 satisfies the relevant packaging and marking requirements.

9.2	The test results on test sample when tested as in 7.2 satisfy the relevant requirements.

  - Samples do not satisfy relevant requirements will be rejected.

10.	AGE OF POLYALUMINIUM CHLORIDE

Polyaluminium Chloride to be supplied shall be new and the age from the date of manufacture shall not be more than 02 months when shipping.